## Inputs
Bank of America - Broomfield, CO (CO1-111) - PRUEBA 12A v61 ¦ METAL FRAMING & DRYWALL TAKEOFF
Bid set: 2025.08.26_CO1-111_Broomfield_PERMIT SET_BID SET.pdf · 2026-10-16 · Edit ONLY the yellow cells.
PARAMETER | VALUE | NOTE / SOURCE
Waste - ALL METAL, any type | 0.15 | Estimator standing rule.
Waste - EVERYTHING THAT IS NOT METAL | 0.06 | Same figure as board.
Board sheet width (ft) | 4
Board sheet length (ft) | 12
SF per board sheet | 48 | Width x length.
Stud stock length (ft) | 20
Track stock length (ft) | 10

## Partition Takeoff
ORGANIZED PARTITION TAKEOFF - Bank of America - Broomfield, CO (CO1-111) - PRUEBA 12A v61
Grouped by partition type. Every row cites its DETAIL/SHEET and its status.
Partition / Scope | Wall # | Length (LF) | Height (FT) | Layers | Stud Size | Stud O.C. (in) | Board (SF) | Location | Source (DETAIL/SHEET) | Status
TYPE G1
G1 #G1-105/106 - A02.01 · 5/A12.01 | G1-105/106 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.92 | A02.01 · 5/A12.01 | 5/A12.01 | [CONFIRMADO]
G1 #G1-S6 - A02.01 · 5/A12.01 · 10/A12.01 | G1-S6 | 2.667 | 15.375 | 4 | 1-5/8" | 16 | 164.02 | A02.01 · 5/A12.01 · 10/A12.01 | 5/A12.01 | [DERIVADO]
G1 #G1-S7 - A02.01 · 5/A12.01 · 10/A12.01 | G1-S7 | 2.667 | 15.375 | 4 | 1-5/8" | 16 | 164.02 | A02.01 · 5/A12.01 · 10/A12.01 | 5/A12.01 | [DERIVADO]
TYPE G
G #G-106/107 - A02.01 · 5/A12.01 | G-106/107 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.92 | A02.01 · 5/A12.01 | 5/A12.01 | [CONFIRMADO]
G #G-107/108 - A02.01 · 5/A12.01 | G-107/108 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.92 | A02.01 · 5/A12.01 | 5/A12.01 | [CONFIRMADO]
G #G-108/116 - A02.01 · 5/A12.01 | G-108/116 | 10.073 | 15.375 | 4 | 1-5/8" | 16 | 619.48 | A02.01 · 5/A12.01 | 5/A12.01 | [DERIVADO]
G #G-102/109 - A02.01 · 5/A12.01 | G-102/109 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | A02.01 · 5/A12.01 | 5/A12.01 | [CONFIRMADO]
G #G-109/110 - A02.01 · 5/A12.01 | G-109/110 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | A02.01 · 5/A12.01 | 5/A12.01 | [CONFIRMADO]
G #G-110/114 - A02.01 · 5/A12.01 | G-110/114 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | A02.01 · 5/A12.01 | 5/A12.01 | [CONFIRMADO]
G #G-S1 - A02.01 · 5/A12.01 · 10/A12.01 | G-S1 | 2.42 | 15.375 | 4 | 1-5/8" | 16 | 148.82 | A02.01 · 5/A12.01 · 10/A12.01 | 5/A12.01 | [DERIVADO]
G #G-S2 - A02.01 · 5/A12.01 · 10/A12.01 | G-S2 | 3.467 | 15.375 | 4 | 1-5/8" | 16 | 213.22 | A02.01 · 5/A12.01 · 10/A12.01 | 5/A12.01 | [DERIVADO]
G #G-S3 - A02.01 · 5/A12.01 · 10/A12.01 | G-S3 | 3.253 | 15.375 | 4 | 1-5/8" | 16 | 200.06 | A02.01 · 5/A12.01 · 10/A12.01 | 5/A12.01 | [DERIVADO]
G #G-S4 - A02.01 · 5/A12.01 · 10/A12.01 | G-S4 | 3.253 | 15.375 | 4 | 1-5/8" | 16 | 200.06 | A02.01 · 5/A12.01 · 10/A12.01 | 5/A12.01 | [DERIVADO]
G #G-S5 - A02.01 · 5/A12.01 · 10/A12.01 | G-S5 | 0.973 | 15.375 | 4 | 1-5/8" | 16 | 59.84 | A02.01 · 5/A12.01 · 10/A12.01 | 5/A12.01 | [DERIVADO]
TYPE BULKHEAD
BULKHEAD #BH-105 - A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | BH-105 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | 8/A12.01 | [CONFIRMADO]
BULKHEAD #BH-106 - A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | BH-106 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | 8/A12.01 | [CONFIRMADO]
BULKHEAD #BH-107 - A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | BH-107 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | 8/A12.01 | [CONFIRMADO]
BULKHEAD #BH-108 - A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | BH-108 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | 8/A12.01 | [CONFIRMADO]
BULKHEAD #BH-109 - A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | BH-109 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | 8/A12.01 | [CONFIRMADO]
BULKHEAD #BH-110 - A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | BH-110 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | A02.01 7'-6" HOLD CLEAR FINISHED OPENING · 8/A12.01 · 9/A12.01 · 2/A11.01 | 8/A12.01 | [CONFIRMADO]
TYPE A1K
A1K #A1K-N - A02.01 (3'-5" impreso) · 4/A12.01 | A1K-N | 3.417 | 15.375 | 2 | 3-5/8" | 24 | 105.08 | A02.01 (3'-5" impreso) · 4/A12.01 | 4/A12.01 | [CONFIRMADO]
A1K #A1K-SE - A02.01 · 4/A12.01 | A1K-SE | 2.98 | 12.939 | 2 | 3-5/8" | 24 | 77.12 | A02.01 · 4/A12.01 | 4/A12.01 | [DERIVADO]
A1K #A1K-SW - A02.01 · 4/A12.01 | A1K-SW | 1.767 | 12.927 | 2 | 3-5/8" | 24 | 45.68 | A02.01 · 4/A12.01 | 4/A12.01 | [DERIVADO]
A1K #A1K-J - A02.01 · 4/A12.01 | A1K-J | 0.587 | 12.939 | 2 | 3-5/8" | 24 | 15.2 | A02.01 · 4/A12.01 | 4/A12.01 | [DERIVADO]
A1K #A1K-NJ - A02.01 · 4/A12.01 | A1K-NJ | 0.787 | 15.375 | 2 | 3-5/8" | 24 | 24.2 | A02.01 · 4/A12.01 | 4/A12.01 | [DERIVADO]
TYPE B2K
B2K #B2K-1 - A02.01 · 4/A12.01 (familia K: B2 + 3/8 = 7 5/8", medido 7.68") | B2K-1 | 1.26 | 15.375 | 2 | 6" | 24 | 38.74 | A02.01 · 4/A12.01 (familia K: B2 + 3/8 = 7 5/8", medido 7.68") | 4/A12.01 | [DERIVADO]
TYPE A5
A5 #A5-122E - A02.01 (19'-0" impreso en total) · 3/A12.01 · A04.01 (cara E da a ACT-4 11'-6") | A5-122E | 7.553 | 15.375 | 2 | 6" | 16 | 158.62 | A02.01 (19'-0" impreso en total) · 3/A12.01 · A04.01 (cara E da a ACT-4 11'-6") | 3/A12.01 | [DERIVADO]
A5 #A5-122Eb - A02.01 · 3/A12.01 · A04.01 (ACT-4 9'-0") | A5-122Eb | 11.447 | 15.375 | 2 | 6" | 16 | 211.77 | A02.01 · 3/A12.01 · A04.01 (ACT-4 9'-0") | 3/A12.01 | [DERIVADO]
A5 #A5-122W - A02.01 · 3/A12.01 (FEC-1 recess 0.833 ft <= stud bay) | A5-122W | 10.593 | 15.375 | 2 | 6" | 16 | 222.46 | A02.01 · 3/A12.01 (FEC-1 recess 0.833 ft <= stud bay) | 3/A12.01 | [DERIVADO]
A5 #A5-P122 - A02.01 · 3/A12.01 | A5-P122 | 1.373 | 15.375 | 2 | 6" | 16 | 24.72 | A02.01 · 3/A12.01 | 3/A12.01 | [DERIVADO]
A5 #A5-118A - A02.01 · 3/A12.01 | A5-118A | 3.28 | 12.918 | 2 | 6" | 16 | 60.68 | A02.01 · 3/A12.01 | 3/A12.01 | [DERIVADO]
TYPE A1
A1 #A1-122N - A02.01 · 3/A12.01 | A1-122N | 16.42 | 15.375 | 2 | 3-5/8" | 16 | 336.61 | A02.01 · 3/A12.01 | 3/A12.01 | [DERIVADO]
A1 #A1-MW01E - A02.01 · 3/A12.01 | A1-MW01E | 3.533 | 15.375 | 2 | 3-5/8" | 16 | 63.6 | A02.01 · 3/A12.01 | 3/A12.01 | [DERIVADO]
A1 #A1-MW01S - A02.01 · 3/A12.01 | A1-MW01S | 2.02 | 15.375 | 2 | 3-5/8" | 16 | 36.36 | A02.01 · 3/A12.01 | 3/A12.01 | [DERIVADO]
A1 #A1-122S - A02.01 · 3/A12.01 | A1-122S | 15.833 | 12.971 | 2 | 3-5/8" | 16 | 285 | A02.01 · 3/A12.01 | 3/A12.01 | [DERIVADO]
A1 #A1-111N - A02.01 (5'-0" impreso) · 3/A12.01 · A00.30 | A1-111N | 5 | 15.375 | 2 | 3-5/8" | 16 | 51.68 | A02.01 (5'-0" impreso) · 3/A12.01 · A00.30 | 3/A12.01 | [CONFIRMADO]
A1 #A1-MW21E - A02.01 · 3/A12.01 | A1-MW21E | 1.733 | 12.963 | 2 | 3-5/8" | 16 | 32.06 | A02.01 · 3/A12.01 | 3/A12.01 | [DERIVADO]
A1 #A1-118N - A02.01 · 3/A12.01 · A00.30 | A1-118N | 5.107 | 12.927 | 2 | 3-5/8" | 16 | 41.16 | A02.01 · 3/A12.01 · A00.30 | 3/A12.01 | [DERIVADO]
A1 #A1-W120 - A02.01 · 3/A12.01 | A1-W120 | 17.06 | 12.891 | 2 | 3-5/8" | 16 | 373.46 | A02.01 · 3/A12.01 | 3/A12.01 | [DERIVADO]
A1 #A1-119N - A02.01 · 3/A12.01 · A00.30 | A1-119N | 11.667 | 12.775 | 2 | 3-5/8" | 16 | 169.18 | A02.01 · 3/A12.01 · A00.30 | 3/A12.01 | [DERIVADO]
A1 #A1-ALC-B - A02.01 (sin tag -> nota A) · 3/A12.01 | A1-ALC-B | 4.887 | 12.957 | 2 | 3-5/8" | 16 | 87.96 | A02.01 (sin tag -> nota A) · 3/A12.01 | 3/A12.01 | [DERIVADO]
A1 #A1-ALC-N - A02.01 (sin tag, nota A, 4 7/8" medido) · 3/A12.01 | A1-ALC-N | 1.3 | 12.957 | 2 | 3-5/8" | 16 | 23.4 | A02.01 (sin tag, nota A, 4 7/8" medido) · 3/A12.01 | 3/A12.01 | [DERIVADO]
A1 #A1-ALC-S - A02.01 (sin tag, nota A) · 3/A12.01 | A1-ALC-S | 1.3 | 12.865 | 2 | 3-5/8" | 16 | 23.4 | A02.01 (sin tag, nota A) · 3/A12.01 | 3/A12.01 | [DERIVADO]
TYPE B
B #B-120N - A02.01 (9'-7" impreso) · 1/A12.01 | B-120N | 9.583 | 12.831 | 2 | 3-5/8" | 16 | 227.92 | A02.01 (9'-7" impreso) · 1/A12.01 | 1/A12.01 | [CONFIRMADO]
B #B-120/121 - A02.01 · 1/A12.01 | B-120/121 | 9.583 | 12.702 | 2 | 3-5/8" | 16 | 243.44 | A02.01 · 1/A12.01 | 1/A12.01 | [CONFIRMADO]
B #B-E120 - A02.01 · 1/A12.01 · A00.30 | B-E120 | 14.147 | 12.831 | 2 | 3-5/8" | 16 | 269.72 | A02.01 · 1/A12.01 · A00.30 | 1/A12.01 | [DERIVADO]
B #B-113S - A02.01 (face 113 dibujada lw 0.6) · 1/A12.01 · A00.30 | B-113S | 11.733 | 12.751 | 2 | 3-5/8" | 16 | 252.56 | A02.01 (face 113 dibujada lw 0.6) · 1/A12.01 · A00.30 | 1/A12.01 | [DERIVADO]
B #B-115N - A02.01 · 1/A12.01 | B-115N | 11.733 | 12.67 | 2 | 3-5/8" | 16 | 297.32 | A02.01 · 1/A12.01 | 1/A12.01 | [DERIVADO]
B #B-112/117 - A02.01 · 1/A12.01 | B-112/117 | 3.5 | 12.743 | 2 | 3-5/8" | 16 | 89.2 | A02.01 · 1/A12.01 | 1/A12.01 | [DERIVADO]
TYPE B2
B2 #B2-102E - A02.01 · 1/A12.01 · A00.30 | B2-102E | 5.813 | 15.375 | 2 | 6" | 16 | 117.42 | A02.01 · 1/A12.01 · A00.30 | 1/A12.01 | [DERIVADO]
B2 #B2-RR-a - A02.01 · 1/A12.01 · A00.30 | B2-RR-a | 5.533 | 15.375 | 2 | 6" | 16 | 123.48 | A02.01 · 1/A12.01 · A00.30 | 1/A12.01 | [DERIVADO]
B2 #B2-RR-b - A02.01 · 1/A12.01 · A00.30 | B2-RR-b | 15.787 | 12.865 | 2 | 6" | 16 | 266.22 | A02.01 · 1/A12.01 · A00.30 | 1/A12.01 | [DERIVADO]
B2 #B2-119W - A02.01 · 1/A12.01 | B2-119W | 11.74 | 12.781 | 2 | 6" | 16 | 300.1 | A02.01 · 1/A12.01 | 1/A12.01 | [DERIVADO]
TYPE C1
C1 #C1-104MON - A02.01 (10'-0" impreso) · 6/A12.01 · KN 7 A02.01 | C1-104MON | 10 | 15.375 | 1 | 3-5/8" | 16 | 153.75 | A02.01 (10'-0" impreso) · 6/A12.01 · KN 7 A02.01 | 6/A12.01 | [CONFIRMADO]
C1 #C1-114 - A02.01 · 6/A12.01 · F/A08.01 (MR detras de toilet/lavatory) | C1-114 | 10.027 | 12.918 | 1 | 3-5/8" | 16 | 129.53 | A02.01 · 6/A12.01 · F/A08.01 (MR detras de toilet/lavatory) | 6/A12.01 | [DERIVADO]
C1 #C1-113 - A02.01 · 6/A12.01 · F/A08.01 | C1-113 | 10.027 | 12.903 | 1 | 3-5/8" | 16 | 129.38 | A02.01 · 6/A12.01 · F/A08.01 | 6/A12.01 | [DERIVADO]
C1 #C1-FCAM - A02.01 · 6/A12.01 | C1-FCAM | 2.98 | 12.925 | 1 | 3-5/8" | 16 | 28.31 | A02.01 · 6/A12.01 | 6/A12.01 | [DERIVADO]
TYPE F
F #F-101/102 - A02.01 (diagonal 60 deg, vector) · 12/A12.01 · 1,4/A08.11 (R.O. 2'-3" x 2'-8 1/4", sill 2' | F-101/102 | 17.458 | 15.375 | 2 | 3-5/8" | 16 | 413.44 | A02.01 (diagonal 60 deg, vector) · 12/A12.01 · 1,4/A08.11 (R.O. 2'-3" x 2'-8 1/4", sill 2' | 12/A12.01 | [DERIVADO]
TYPE EXT
EXT #EXT-E1 - A02.01 · C/A09.21 · 10/S5.10 · S2.20 W12x19 | EXT-E1 | 50.481 | 14.362 | 1 | 6" | 16 | 712.15 | A02.01 · C/A09.21 · 10/S5.10 · S2.20 W12x19 | C/A09.21 | [DERIVADO]
EXT #EXT-E2 - A02.01 · C/A09.21 · 10/S5.10 · S2.20 W14x22 | EXT-E2 | 24.852 | 11.907 | 1 | 6" | 16 | 324.37 | A02.01 · C/A09.21 · 10/S5.10 · S2.20 W14x22 | C/A09.21 | [DERIVADO]
EXT #EXT-S1 - A02.01 · C/A09.21 · 10/S5.10 · S2.20 W18x35 | EXT-S1 | 34.062 | 11.064 | 1 | 6" | 16 | 399.88 | A02.01 · C/A09.21 · 10/S5.10 · S2.20 W18x35 | C/A09.21 | [DERIVADO]
EXT #EXT-S2 - A02.01 · C/A09.21 · 10/S5.10 · S2.20 W14x22 | EXT-S2 | 17.671 | 11.394 | 1 | 6" | 16 | 221.58 | A02.01 · C/A09.21 · 10/S5.10 · S2.20 W14x22 | C/A09.21 | [DERIVADO]
EXT #EXT-W1 - A02.01 · C/A09.21 · 10/S5.10 · S2.20 W12x19 | EXT-W1 | 22.521 | 14.362 | 1 | 6" | 16 | 315.59 | A02.01 · C/A09.21 · 10/S5.10 · S2.20 W12x19 | C/A09.21 | [DERIVADO]
EXT #EXT-W2 - A02.01 · C/A09.21 · 10/S5.10 · S2.20 W14x22 | EXT-W2 | 24.852 | 11.907 | 1 | 6" | 16 | 324.37 | A02.01 · C/A09.21 · 10/S5.10 · S2.20 W14x22 | C/A09.21 | [DERIVADO]
EXT #EXT-WNW - A02.01 · C/A09.21 · 10/S5.10 · S2.20 W12x19 | EXT-WNW | 20.96 | 14.362 | 1 | 6" | 16 | 316.59 | A02.01 · C/A09.21 · 10/S5.10 · S2.20 W12x19 | C/A09.21 | [DERIVADO]
EXT #EXT-WJ - A02.01 · C/A09.21 · 10/S5.10 · S2.20 W12x19 | EXT-WJ | 3.407 | 14.362 | 1 | 6" | 16 | 52.38 | A02.01 · C/A09.21 · 10/S5.10 · S2.20 W12x19 | C/A09.21 | [DERIVADO]
EXT #EXT-NE - A02.01 · C/A09.21 · 10/S5.10 · S2.20 W12x19 | EXT-NE | 12.64 | 14.362 | 1 | 6" | 16 | 194.34 | A02.01 · C/A09.21 · 10/S5.10 · S2.20 W12x19 | C/A09.21 | [DERIVADO]
EXT #EXT-N-SF - A02.01 26'-3" · 2/A09.26 STEEL HEADER FRAMING · A09.01 | EXT-N-SF | 26.247 | 5.4 | 1 | 6" | 16 | 180.45 | A02.01 26'-3" · 2/A09.26 STEEL HEADER FRAMING · A09.01 | 2/A09.26 | [DERIVADO]
TYPE COLUMN_WRAP
COLUMN_WRAP #C1-WR1 - A02.01 C1 tag · 6/A12.01 · vestibule 100 NW col (G/2) | C1-WR1 | 9.14 | 11.75 | 1 | 3-5/8" | 16 | 95.97 | A02.01 C1 tag · 6/A12.01 · vestibule 100 NW col (G/2) | 6/A12.01 | [DERIVADO]
COLUMN_WRAP #C1-WR2 - A02.01 C1 tag · 6/A12.01 · vestibule 100 NE col | C1-WR2 | 9.14 | 11.75 | 1 | 3-5/8" | 16 | 95.97 | A02.01 C1 tag · 6/A12.01 · vestibule 100 NE col | 6/A12.01 | [DERIVADO]
COLUMN_WRAP #C1-WR3 - A02.01 C1 tag · 6/A12.01 · grille 103 N jamb box 3/A08.21 | C1-WR3 | 5.02 | 15.375 | 1 | 3-5/8" | 16 | 77.18 | A02.01 C1 tag · 6/A12.01 · grille 103 N jamb box 3/A08.21 | 6/A12.01 | [DERIVADO]
COLUMN_WRAP #C1-WR4 - A02.01 C1 tag · 6/A12.01 · grille 103 S jamb box 3/A08.21 | C1-WR4 | 5 | 15.375 | 1 | 3-5/8" | 16 | 76.88 | A02.01 C1 tag · 6/A12.01 · grille 103 S jamb box 3/A08.21 | 6/A12.01 | [DERIVADO]
COLUMN_WRAP #CANCOL-1 - 5/A09.25 FOS 1'-2 1/2" · A04.01/A02.01 4 columns grid 1 · 7/A09.26 B/STUD 10'-7 1/4" | CANCOL-1 | 4.832 | 10.604 | 0 | 3-5/8" | 16 | 0 | 5/A09.25 FOS 1'-2 1/2" · A04.01/A02.01 4 columns grid 1 · 7/A09.26 B/STUD 10'-7 1/4" | 5/A09.25 | [DERIVADO]
COLUMN_WRAP #CANCOL-2 - 5/A09.25 FOS 1'-2 1/2" · A04.01/A02.01 4 columns grid 1 · 7/A09.26 B/STUD 10'-7 1/4" | CANCOL-2 | 4.832 | 10.604 | 0 | 3-5/8" | 16 | 0 | 5/A09.25 FOS 1'-2 1/2" · A04.01/A02.01 4 columns grid 1 · 7/A09.26 B/STUD 10'-7 1/4" | 5/A09.25 | [DERIVADO]
COLUMN_WRAP #CANCOL-3 - 5/A09.25 FOS 1'-2 1/2" · A04.01/A02.01 4 columns grid 1 · 7/A09.26 B/STUD 10'-7 1/4" | CANCOL-3 | 4.832 | 10.604 | 0 | 3-5/8" | 16 | 0 | 5/A09.25 FOS 1'-2 1/2" · A04.01/A02.01 4 columns grid 1 · 7/A09.26 B/STUD 10'-7 1/4" | 5/A09.25 | [DERIVADO]
COLUMN_WRAP #CANCOL-4 - 5/A09.25 FOS 1'-2 1/2" · A04.01/A02.01 4 columns grid 1 · 7/A09.26 B/STUD 10'-7 1/4" | CANCOL-4 | 4.832 | 10.604 | 0 | 3-5/8" | 16 | 0 | 5/A09.25 FOS 1'-2 1/2" · A04.01/A02.01 4 columns grid 1 · 7/A09.26 B/STUD 10'-7 1/4" | 5/A09.25 | [DERIVADO]
TYPE STOREFRONT_CRIPPLES
STOREFRONT_CRIPPLES #VEST-N - A02.01 · A/A09.21 (T/GLAZING 8'-6", T/STUD HP 19'-8") · 1/A09.25 | VEST-N | 17.26 | 11.167 | 1 | 6" | 16 | 56.1 | A02.01 · A/A09.21 (T/GLAZING 8'-6", T/STUD HP 19'-8") · 1/A09.25 | C/A09.21 | [DERIVADO]
STOREFRONT_CRIPPLES #VEST-W - A02.01 · A/A09.21 · A09.01 W elevation | VEST-W | 6.333 | 11.167 | 1 | 6" | 16 | 20.58 | A02.01 · A/A09.21 · A09.01 W elevation | C/A09.21 | [DERIVADO]
TYPE DOOR_BULKHEAD
DOOR_BULKHEAD #BH-V101 - A02.01 · 1/A12.10 · 3/A12.10 (10'-0") · 5,7/A12.10 | BH-V101 | 16.13 | 5.375 | 2 | 3-5/8" | 16 | 16.12 | A02.01 · 1/A12.10 · 3/A12.10 (10'-0") · 5,7/A12.10 | 3/A12.01 | [DERIVADO]
DOOR_BULKHEAD #BH-V100E - A02.01 · 1/A12.10 · 4/A12.10 | BH-V100E | 6.333 | 1.75 | 2 | 3-5/8" | 16 | 14.25 | A02.01 · 1/A12.10 · 4/A12.10 | 3/A12.01 | [DERIVADO]
TYPE GRILLE_HEAD
GRILLE_HEAD #GRILLE-103 - A02.01 13'-4" R.O. · 1/A08.21 · 4/A08.21 | GRILLE-103 | 13.333 | 1.5 | 2 | 2-1/2" | 16 | 40 | A02.01 13'-4" R.O. · 1/A08.21 · 4/A08.21 | 4/A08.21 | [CONFIRMADO]
TYPE SOFFIT_SIDE
SOFFIT_SIDE #CSR-W - A04.01 GB 8'-0" (3'-5") · 10/A09.33 | CSR-W | 12.013 | 7.375 | 1 | 3-5/8" | 16 | 18.02 | A04.01 GB 8'-0" (3'-5") · 10/A09.33 | 10/A09.33 | [DERIVADO]
SOFFIT_SIDE #CSR-E - A04.01 GB 8'-0" (3'-5") · 10/A09.33 | CSR-E | 12.013 | 7.375 | 1 | 3-5/8" | 16 | 18.02 | A04.01 GB 8'-0" (3'-5") · 10/A09.33 | 10/A09.33 | [DERIVADO]
TYPE CEILING_TRANSITION
CEILING_TRANSITION #TR104-N - A04.01 (30'-0" impreso) · 7/A09.33 | TR104-N | 17.027 | 4.375 | 1 | 3-5/8" | 16 | 8.51 | A04.01 (30'-0" impreso) · 7/A09.33 | 7/A09.33 | [DERIVADO]
CEILING_TRANSITION #TR104-W - A04.01 (30'-0" impreso) · 7/A09.33 | TR104-W | 30 | 4.375 | 1 | 3-5/8" | 16 | 15 | A04.01 (30'-0" impreso) · 7/A09.33 | 7/A09.33 | [CONFIRMADO]
CEILING_TRANSITION #TR104-E - A04.01 (30'-0" impreso) · 7/A09.33 | TR104-E | 30 | 4.375 | 1 | 3-5/8" | 16 | 15 | A04.01 (30'-0" impreso) · 7/A09.33 | 7/A09.33 | [CONFIRMADO]
CEILING_TRANSITION #TR-EC - A04.01 (doble linea y 1110.72-1118.04, ACT-4 11'-6" -> 9'-0") · 7/A09.33 | TR-EC | 5.107 | 6.375 | 1 | 3-5/8" | 16 | 12.77 | A04.01 (doble linea y 1110.72-1118.04, ACT-4 11'-6" -> 9'-0") · 7/A09.33 | 7/A09.33 | [DERIVADO]
TYPE ROOF_STEP
ROOF_STEP #RS-1 - A02.02 KN13 · 4/A02.02 (corrida exterior sobre low roof) | RS-1 | 51.733 | 3.33 | 0 | 3-5/8" | 16 | 0 | A02.02 KN13 · 4/A02.02 (corrida exterior sobre low roof) | 4/A02.02 | [DERIVADO]
ROOF_STEP #RS-2 - A02.02 · 4/A02.02 (corrida interior high side) | RS-2 | 51.733 | 3.42 | 0 | 3-5/8" | 16 | 0 | A02.02 · 4/A02.02 (corrida interior high side) | 4/A02.02 | [DERIVADO]
ROOF_STEP #RS-3 - A02.02 · 4/A02.02 (5/8 GYP TIGHT TO DECK) | RS-3 | 51.733 | 4.552 | 1 | 3-5/8" | 16 | 235.49 | A02.02 · 4/A02.02 (5/8 GYP TIGHT TO DECK) | 4/A02.02 | [DERIVADO]
TYPE PARAPET
PARAPET #PAR-N-T - A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | PAR-N-T | 16.208 | 4.292 | 0 | 6" parapet | 16 | 0 | A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | 11/S5.10 | [DERIVADO]
PARAPET #PAR-N - A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | PAR-N | 40 | 2.042 | 0 | 6" parapet | 16 | 0 | A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | 11/S5.10 | [DERIVADO]
PARAPET #PAR-E-FB - A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | PAR-E-FB | 50.689 | 2.042 | 0 | 6" parapet | 16 | 0 | A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | 11/S5.10 | [DERIVADO]
PARAPET #PAR-E-BA - A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | PAR-E-BA | 25.244 | 4.886 | 0 | 6" parapet | 16 | 0 | A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | 11/S5.10 | [DERIVADO]
PARAPET #PAR-S - A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | PAR-S | 52.333 | 4.886 | 0 | 6" parapet | 16 | 0 | A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | 11/S5.10 | [DERIVADO]
PARAPET #PAR-W-BA - A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | PAR-W-BA | 25.244 | 4.886 | 0 | 6" parapet | 16 | 0 | A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | 11/S5.10 | [DERIVADO]
PARAPET #PAR-W-DB - A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | PAR-W-DB | 22.678 | 2.042 | 0 | 6" parapet | 16 | 0 | A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | 11/S5.10 | [DERIVADO]
PARAPET #PAR-W-J - A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | PAR-W-J | 3.875 | 2.042 | 0 | 6" parapet | 16 | 0 | A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | 11/S5.10 | [DERIVADO]
PARAPET #PAR-W-FD - A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | PAR-W-FD | 30 | 4.292 | 0 | 6" parapet | 16 | 0 | A02.02 · 4/A09.26 · 11/S5.10 · A09.21-23 T/STUD | 11/S5.10 | [DERIVADO]
TYPE FASCIA_BOX
FASCIA_BOX #FA-N - A02.02 74'-6" + 3'-8" · 7/A09.26 · 7/S5.20 | FA-N | 78.167 | 1.864 | 0 | 3-5/8" | 16 | 0 | A02.02 74'-6" + 3'-8" · 7/A09.26 · 7/S5.20 | 7/A09.26 | [DERIVADO]
FASCIA_BOX #FA-W - A02.02 55'-10 3/4" · 7/A09.26 · 7/S5.20 | FA-W | 55.896 | 1.864 | 0 | 3-5/8" | 16 | 0 | A02.02 55'-10 3/4" · 7/A09.26 · 7/S5.20 | 7/A09.26 | [DERIVADO]
FASCIA_BOX #FA-WS - A02.02 4'-10 1/4" + 16'-7 3/4" · 7/A09.26 · 7/S5.20 | FA-WS | 21.5 | 1.864 | 0 | 3-5/8" | 16 | 0 | A02.02 4'-10 1/4" + 16'-7 3/4" · 7/A09.26 · 7/S5.20 | 7/A09.26 | [DERIVADO]
FASCIA_BOX #FA-E - A02.02 vector · 7/A09.26 · 7/S5.20 | FA-E | 56.483 | 1.864 | 0 | 3-5/8" | 16 | 0 | A02.02 vector · 7/A09.26 · 7/S5.20 | 7/A09.26 | [DERIVADO]
FASCIA_BOX #FA-ES - A02.02 3'-8" · 7/A09.26 · 7/S5.20 | FA-ES | 3.667 | 1.864 | 0 | 3-5/8" | 16 | 0 | A02.02 3'-8" · 7/A09.26 · 7/S5.20 | 7/A09.26 | [DERIVADO]
FASCIA_BOX #FA-S - A02.02 16'-2" + 6'-10" + 2 x 3'-0" · F/A09.22 · 7/A09.26 · 7/S5.20 | FA-S | 29 | 1.864 | 0 | 3-5/8" | 16 | 0 | A02.02 16'-2" + 6'-10" + 2 x 3'-0" · F/A09.22 · 7/A09.26 · 7/S5.20 | 7/A09.26 | [DERIVADO]
TOTAL - PARTITIONS |  | 1541.562 |  |  |  |  | 16813.59

## Material Summary
MATERIAL SUMMARY - NET / WASTE / PURCHASE
Waste lives HERE, in its own column, never inside the net quantity.
Material | Unit | Net | Waste % | Waste | Purchase | Selling unit | Pieces to buy | Where it comes from
6" metal stud 600S137-33 (exterior @16" 7/S5.20; K walls 14 GA @24" 4/A12.01) | LF | 4495.73 | 0.15 | 674.3595 | 5170.0895 | stick 20 ft | 360 | familias_out.json (canon.py v61.1): "6" stud (todos los gauges)"; 7/S5.20
3-5/8" metal stud 362S137-33 | LF | 6524.39 | 0.15 | 978.6585 | 7503.0485 | stick 20 ft | 582 | familias_out.json (canon.py v61.1): "3-5/8" stud (todos los gauges)"; 7/S5.20
1-5/8" metal stud (G/G1 double row, bulkheads) | LF | 4074.64 | 0.15 | 611.196 | 4685.836 | stick 20 ft | 305 | familias_out.json (canon.py v61.1): "1-5/8" stud"; 5/A12.01
2-1/2" metal stud (coiling grille head) | LF | 16.5 | 0.15 | 2.475 | 18.975 | stick 10 ft | 3 | familias_out.json (canon.py v61.1): "2-1/2" stud"; 4/A08.21
6" parapet stud 600S162-54 @16" | LF | 750.82 | 0.15 | 112.623 | 863.443 | stick 20 ft | 51 | familias_out.json (canon.py v61.1): "6" parapet stud"; 11/S5.10
Bottom track 600T125-33 / 362T125-33 | LF | 1334.65 | 0.15 | 200.1975 | 1534.8475 | piece 10 ft | 154 | familias_out.json (canon.py v61.1): "bottom track (todos)"; 7/S5.20
Top / deflection track 600T200-97 / slip track | LF | 1334.65 | 0.15 | 200.1975 | 1534.8475 | piece 10 ft | 154 | familias_out.json (canon.py v61.1): "top / deflection track (todos)"; 7/S5.20; 3/A12.01
Ceiling / soffit track 362T125-33 | LF | 1316.06 | 0.15 | 197.409 | 1513.469 | piece 10 ft | 152 | familias_out.json (canon.py v61.1): "track de ceilings / soffits"; 7/A09.33; 7/A09.26
Bracing 1-1/2" C.R. channel @ 48" O.C. | LF | 2560.07 | 0.15 | 384.0105 | 2944.0805 | piece 20 ft | 148 | familias_out.json (canon.py v61.1): "bracing C.R. channel"; F/1/S5.20
Purlin 1x1 16 GA across min (2) flutes (track parallel to flute) | LF | 228.19 | 0.15 | 34.2285 | 262.4185 | piece 10 ft | 27 | familias_out.json (canon.py v61.1): "purlin (track to deck)"; 10/A09.33
Header / box beam (7/S5.20 header schedule) | LF | 244.72 | 0.15 | 36.708 | 281.428 | piece 10 ft | 29 | familias_out.json (canon.py v61.1): "header / box beam"; 7/S5.20; 8/A12.01; 4/A08.21
Sill track | LF | 66.76 | 0.15 | 10.014 | 76.774 | piece 10 ft | 8 | familias_out.json (canon.py v61.1): "sill track"; 10/A09.27
7/8" furring channel @ 16" O.C. | LF | 890.73 | 0.15 | 133.6095 | 1024.3395 | piece 12 ft | 86 | familias_out.json (canon.py v61.1): "furring channel"; A04.01; RFI-05
1-1/2" carrying channel @ 48" O.C. | LF | 325.87 | 0.15 | 48.8805 | 374.7505 | piece 16 ft | 24 | familias_out.json (canon.py v61.1): "carrying channel"; A04.01; RFI-05
12 GA hanger wire @ 48" O.C. | EA | 121 | 0.15 | 18.15 | 139.15 | EA | 140 | familias_out.json (canon.py v61.1): "hanger wire"; 3/A09.33
5/8" gypsum board, regular (walls + ceilings) | SF | 17562.17 | 0.06 | 1053.7302 | 18615.9002 | 4x12 sheet | 388 | familias_out.json (canon.py v61.1): "5/8" gyp board regular (walls + ceilings)"
5/8" moisture resistant gypsum board | SF | 258.91 | 0.06 | 15.5346 | 274.4446 | 4x12 sheet | 6 | familias_out.json (canon.py v61.1): "5/8" gyp MOISTURE RESISTANT"; F/A08.01
3/8" UL752 Level-2 ballistic fiberglass panel (customer side to 8'-0") | SF | 86.38 | 0.06 | 5.1828 | 91.5628 | 4x8 sheet | 3 | familias_out.json (canon.py v61.1): "ballistic panel"; 4/A12.01
3/8" gypsum board (8'-0" to structure, customer side) | SF | 66.62 | 0.06 | 3.9972 | 70.6172 | 4x8 sheet | 3 | familias_out.json (canon.py v61.1): "3/8" gyp board"; 4/A12.01
5/8" glass mat sheathing (base 0'-6" + canopy band) | SF | 455.31 | 0.06 | 27.3186 | 482.6286 | 4x8 sheet | 16 | familias_out.json (canon.py v61.1): "5/8" glass mat sheathing"; 9,12/A09.27; 7/A09.26
5/8" exterior gypsum sheathing / dens deck (parapet roof side) | SF | 926.99 | 0.06 | 55.6194 | 982.6094 | 4x8 sheet | 31 | familias_out.json (canon.py v61.1): "5/8" EXTERIOR gyp sheathing"; 4/A09.26
5/8" FRT plywood (nailbase bonded polyiso, soffit/fascia, strips, backboards) | SF | 6465.79 | 0.06 | 387.9474 | 6853.7374 | 4x8 sheet | 215 | familias_out.json (canon.py v61.1): "FRT plywood (SF)"; A09.21; 7/A09.26; 10/A09.27
FRT blocking (parapet 2 plies, bulkhead, toilet accessories, roof step) | LF | 699.8 | 0.06 | 41.988 | 741.788 | piece 8 ft | 93 | familias_out.json (canon.py v61.1): "FRT blocking"; 4/A09.26; A08.01 note E
Metal stud blocking 362CR22 (edge of gypboard + accessories) | LF | 735.45 | 0.15 | 110.3175 | 845.7675 | piece 10 ft | 91 | familias_out.json (canon.py v61.1): "metal stud blocking (362CR / STUD BLOCKING)"; 4/S5.20
Framed openings MEP (ceiling fixtures / access panel) | LF | 818.75 | 0.15 | 122.8125 | 941.5625 | piece 10 ft | 95 | framed_openings_out.json; E00.01; E02.01
Acoustical sealant (beads per partition detail) | LF | 813.61 | 0.06 | 48.8166 | 862.4266 | LF | 863 | gen_takeoff.py: sum L x beads (3/A12.01=2, 1/A12.01=4, 5/A12.01=2, 4/A12.01=4) - door R.O. bottom (55.5)
Batt insulation in partitions (sound) | SF | 4932.5 | 0.06 | 295.95 | 5228.45 | SF | 5229 | gen_takeoff.py: sum L x stud H, partitions "INSULATION YES" A12.01
FRP panel restrooms 113/114 (5'-0" above cove base) | SF | 325.07 | 0.06 | 19.5042 | 344.5742 | 4x10 sheet | 9 | gen_takeoff.py: perimetro 113 30.84 + 114 34.17 LF x 5.0; A-D/A08.01, 8/A08.01
Cement board behind tile cove base (6") | SF | 32.51 | 0.06 | 1.9506 | 34.4606 | 3x5 sheet | 3 | gen_takeoff.py: mismo perimetro x 0.5 ft; 58.7; 8/A08.01

## Pending Items
RFI | Question / condition | Delta of each alternative
RFI-01 | A09.01 'SOUTH ELEVATION' draws the NORTH facade (grid 8 at left, entrance/vestibule) and A09.02 'NORTH ELEVATION' draws the SOUTH facade (rear egress door 123). Confirm labels; take-off uses facade per plan/grid order. | 0 (classification only; facades kept separate N/E/S/W)
RFI-02 | Canopy band height at wall (7/A09.26): carried T/STUD 12'-7" - B/STUD 10'-7 1/4" = 1.979 ft; alternate to fascia B/STUD 10'-8 5/8" = 1.864 ft. | glass mat -15.8 SF / FRT plywood nailbase +15.8 SF
RFI-03 | Canopy soffit sheathing: 7/A09.26 & 15/16/A09.27 say 5/8" EXT GRADE FRT PLYWOOD; 4,5/A09.33 say 5/8" EXTERIOR SHEATHING. Carried FRT plywood. | alternate: -1491.4 SF FRT plywood / +1491.4 SF 5/8" exterior gyp sheathing
RFI-05 | GWB ceiling suspension spacing not printed (furring 16" O.C., carrying 48" O.C., hangers 48" O.C. carried per ASTM C754 typical). | furring @24": approx -1/3 furring channel LF
RFI-06 | Window heads 11/A09.27: 'METAL STUD BOX BEAM OR STEEL FRAMING AS REQUIRED' - carried metal box beam (53.3). | if steel by others: -55.33 LF header
RFI-07 | North storefront head 2/A09.26 'STEEL HEADER FRAMING' - carried by others (no header LF); cripples above carried. | if ours: +27.58 LF header (26.247 + 1.333)
RFI-08 | Bracing rows cross openings without studs (53.4 literal, corridas.py). | -98.59 LF C.R. channel if not crossing
RFI-09 | Parapet 3/4" FRT plywood blocking 4/A09.26 'AS REQUIRED' - 2 plies carried (53.3). | 1 ply: -264.3 LF FRT blocking
RFI-10 | Roof step 4/A02.02 stud heights not printed: measured on detail (1 1/2"=1'-0", scale validated with T/STEEL 15'-4 1/2" vs 13'-0 5/8"): R1 3.33 ft, R2 3.42 ft; R3 to ceiling below 8'-6" (53.3) 4.552 ft. | +/- 1 ft height on 51.73 LF x 3 runs = +/-155 SF / studs prorated
RFI-11 | Coiling grille 103 head (4/A08.21): 2-1/2" CFMF head framing height carried 1'-6"; framing above head to deck not detailed. | if wall to deck above head: +13.33 LF x ~2.4 ft studs/board
RFI-12 | Tower parapet (T.O. PARAPET 2 20'-0", T/STUD HP 19'-8") carried N grid 2-4 and W F-D only; S/W returns in elevations not on roof plan. | +4.29 ft x return LF if additional
RFI-13 | FEC-2 recessed cabinet in B wall (3'-0" recess measured) header + sill carried; FEC sizes not printed (A00.40). | if semi-recessed fits bay: -8.67 LF header/sill
RFI-14 | Recessed toilet accessories TA-2 (x2), TA-13 recess kit (x2), TA-14 (x2) - widths not printed: header/sill NOT carried (58.4 vs 59.8). | +20.0 LF header, +20.0 LF sill track (2'-0" + 1'-4" each)
RFI-15 | Blocking material at wall stops (A00.30 note D) and equipment (A02.01 note C) not specified - carried 362CR22 metal. | alternate FRT 2x: same LF in FRT blocking
RFI-16 | EPS-5 formed metal panel 7/8" hat channel (7/A09.26) = cladding substrate, EXCLUDED (alcance_filtro.py, 60.4). | +450 LF hat channel if included
RFI-17 | Purlin on top track parallel to flute: corridas.py counts L x rows; 59.1 says double row = one piece. | -60.2 LF purlin if one piece per double-row G
RFI-18 | R-11 / R-11A fixture widths not printed (FSM2L); 4" carried for framed opening ends. R-11C desc 12' vs catalog 20'-0" (60.9) carried 12'. | R-11C at 20': +64 LF framed openings
RFI-19 | ATM 9D drive-up 6/A08.11: '2 1/2" METAL STUD SISTERED TO 6" METAL STUD' and (2) layers 3/4" FRT plywood plinth - extents not dimensioned, not carried. | approx +8 studs x 6 ft 2-1/2" (48 LF) + plinth plywood
RFI-20 | Drive-up canopy columns at grid 1 (PT-3 stucco piers): no framing/sheathing detail found - not carried. | per column wrap detail
RFI-21 | Walls crossing grid B HI/LOW line (B2-RR-a, A5-122E, A1-122S...) carried at high side 15'-4 1/2" (53.2) instead of splitting. | split at B: approx -2.3 ft x studs south of B
RFI-22 | Metal trim (corner bead, J/L-bead 53.1) and shadow molding not quantified (no tool in v61). | PENDING - add per 53.1
RFI-23 | Electrical 120 / NER 121 KN6 3/4" FRT plywood backboards: 8'-0" high (one 4x8 course from 6" AFF) carried on walls marked 6 in A02.01. | full height to 12'-6": +~180 SF
RFI-24 | A1K north piece at teller line: ballistic face carried toward office 108 (north); confirm customer side. | 0 SF (location only)
RFI-25 | MEP crossings at walls to deck (M01.01): ducts 8"x10", 10"x12", 12"x12", 14"x14" R-2 w/ FD fit the 14 3/8" stud bay (59.8 -> no header/sill). FCU-1 21"x17" duct near ATM room 102 - confirm if it penetrates B2 wall 102E. | + (21"+2x1'-4") = 4.42 LF header + 4.42 LF sill if it penetrates
RFI-26 | Storefront piers 1/A09.25 (grid 2) and 2/A09.25 (grid 4) carried as C1 column wraps (perimeter x height, 3-5/8"); detail shows 6" CFMF + 3-5/8" framing + 3/4" FRT plywood at jambs. | +~2 x 6" studs x 11.75 ft per pier + jamb plywood ~25 SF
RFI-27 | Millwork shelving standards MW05 (storage) and MW06A (janitor, x2 per 8/A08.01) - number of standards not dimensioned; blocking not carried. | + height x standards (e.g. 3 x 7 ft = 21 LF per unit)
RFI-28 | G/G1 board height: 5/A12.01 draws both 2-layer faces to the top line (structure); carried to structure. Alternate ceiling + 6". | approx -2,170 SF 5/8" regular (back-check RFI-BC-4)
RFI-29 | S2.20 note 'BUILDING FOOTPRINT MIRRORED NORTH-SOUTH' vs elevation titles (RFI-01): perimeter beams assigned per S2.20 grid order = A02.01 grid order (no mirror found). | approx +/-25 LF 6" stud if beams swap N/S
RFI-30 | corridas.py carries bottom track = L x rows without deducting door R.O. (tool convention). | bottom track approx -(sum door R.O.) = -63 LF
RFI-31 | MW01 printer cabinet opening toward 103 (3'-1 1/2" printed): no header/cripples/board above cabinet carried; cabinet height in A12.03. | +4.5 LF header, +16 SF board
RFI-32 | 3.3" cavity between G-108/116 (116 face, 2 layers) and A1K-N (north face, K panel): both faces carried. | -52 to -92 SF if cavity faces omitted
RFI-33 | S1.11: exterior studs 600S162-54 @16" and @12" within 6 ft of building corners vs 7/S5.20 600S137-33 @16" (56.2): carried 12" zones at building corners (more material). | -~60 LF 6" stud if 16" throughout; gauge 54 vs 33 mil

## PARA REVISAR EN LA MANANA
# | Punto | Hoja + detalle | Imagen
1 | Confirmar el censo de 51 tags (A02.01) y las ubicaciones circuladas por tipo en Planos marcados/ (pausa de barrido en modo desatendido). | A02.01 | Planos marcados/
2 | Rótulos de elevación transpuestos N/S (RFI-01): las fachadas se asignaron por planta y orden de ejes. | A02.01 | Planos marcados/
3 | Parapet infill: studs_nodos cuenta @16" continuo; 59.4 pide fórmula por bay entre HSS posts @5'-0". La tool no cubre el caso (delta estimado bajo). | A02.01 | Planos marcados/
4 | Purlin: la tool multiplica por rows en G doble fila; 59.1 dice una pieza (RFI-17). | A02.01 | Planos marcados/
5 | Roof step 4/A02.02: alturas medidas en el detalle (RFI-10). | A02.01 | Planos marcados/
6 | Canopy soffits: se agregó el caso canopy_joist a canon.py (v61.1) con test; revisar áreas de canopy W/N/E medidas en A02.02/A02.01. | A02.01 | Planos marcados/
7 | Glass mat: banda 1.979 ft vs 1.864 (RFI-02). Nailbase incluye parapet hasta T/STUD 17'-5". | A02.01 | Planos marcados/
8 | Bulkheads de office front: alto stud = B.O.D. - HOLD 8'-0 1/2" (2/A11.01); box beam como header; 3/4" FRT plywood blocking como FRT blocking. | A02.01 | Planos marcados/
9 | Millwork blocking: largos medidos en planta (A12.03-06 no abiertos detalle por detalle). | A02.01 | Planos marcados/
10 | Toilet accessory blocking FRT (nota E A08.01): largos por accesorio asumidos (lista en blocking_items). | A02.01 | Planos marcados/
11 | Trims (corner bead / J-bead) no cuantificados (RFI-22). | A02.01 | Planos marcados/
12 | alcances.py compuerta no puede correr: importa familias.py, que la prueba prohíbe bajar. | A02.01 | Planos marcados/
13 | Waiting 104 transiciones 7/A09.33 en 3 lados (0'-6" drop 11'-6" -> 11'-0"). | A02.01 | Planos marcados/
14 | CSR soffit 116 (GB 8'-0" 3'-5" ancho): lados soffit_side + fondo como ceiling furring. | A02.01 | Planos marcados/
15 | Adversarial #1 aplicado: F wall caras (102 a ceiling+6", 101 gyp sobre plywood), alcove A1, BH 109/110 7'-6" HOLD, C1 monitor 10'-0", A5-122E partido en y 1110.72, duplicados A1K, door 116 R.O. 3'-4", transicion 11'-6"->9'-0". | A02.01 | Back-check/
16 | Adversarial #2 aplicado: alturas EXT-E2/W2 (11.907), S canopy door 123, walls 6" sobre storefront del vestibule a 19'-8" (A/A09.21), bulkheads A12.10, columnas canopy 5/A09.25, hatch/ladder/lockers, vestibule 100 7.66 ft, torre W desde G, CSR 9/A12.08, zonas @12" S1.11. | A02.01 | Back-check/
17 | No aplicado (para revisar): B2K hasta x1622.04 (regla del protocolo: 1.26 a cara del A1K); G1 stubs 109/110 extension; nodos B2-102E; A1-W120 cara 118B; C1-FCAM altura; FEC-2 R.O. (RFI-13). | A02.01 | Back-check/
18 | Back-check ciego: la mayoria de las diferencias son omisiones del revisor (bulkheads, canopy joists, 2 layers G). Quedan RFI-28 (altura board G), RFI-29 (planta espejada), RFI-30 (bottom track sin deducir doors). | A02.01 | Back-check/

## Alcances
ALC | Alcance | Estado | Nota (cantidad, NO APLICA + hoja, o RFI)
ALC-01 | Interior partition framing (studs + tracks) | CUANTIFICADO | familias_out.json
ALC-02 | Exterior wall framing (CFMF) | CUANTIFICADO | familias_out.json
ALC-03 | Parapet framing | CUANTIFICADO | familias_out.json
ALC-04 | Top / deflection and bottom track | CUANTIFICADO | familias_out.json
ALC-05 | Headers, sills and jambs at openings | CUANTIFICADO | familias_out.json
ALC-06 | Bracing / bridging | CUANTIFICADO | familias_out.json
ALC-07 | Gypsum board on walls (layers per type) | CUANTIFICADO | familias_out.json
ALC-08 | Moisture / abuse / special board at wet zones | CUANTIFICADO | familias_out.json
ALC-09 | Exterior gypsum / glass mat sheathing | CUANTIFICADO | familias_out.json
ALC-10 | FRT plywood sheathing / substrate | CUANTIFICADO | familias_out.json
ALC-11 | Gypsum board ceilings | CUANTIFICADO | familias_out.json
ALC-12 | Ceiling suspension (furring / carrying channel / hanger wire / ceiling track) | CUANTIFICADO | familias_out.json
ALC-13 | Soffits and bulkheads (framing + board) | CUANTIFICADO | familias_out.json
ALC-14 | Canopy / marquee framing and sheathing | CUANTIFICADO | familias_out.json
ALC-15 | Column furring / wraps | CUANTIFICADO | C1 column wraps (vestibule, grille jambs) 6/A12.01
ALC-16 | Blocking (FRT wood / metal) for millwork and accessories | CUANTIFICADO | familias_out.json
ALC-17 | Framed openings (MEP, access panels, diffusers) | CUANTIFICADO | familias_out.json
ALC-18 | Trim: corner bead, casing bead, control joints, reveals | RFI | RFI-22 metal trim not quantified
ALC-19 | Acoustical sealant / sound attenuation | CUANTIFICADO | familias_out.json
ALC-20 | FRP / cement board / tile backer | CUANTIFICADO | FRP 113/114 + cement board under tile cove base (A08.01, 58.7)
ALC-21 | Shaft walls / area separation walls | NO APLICA | NO APLICA: A02.01 no shaft walls
ALC-22 | Rated assemblies (UL designs) and their board type | NO APLICA | NO APLICA: A02.01 no rated partitions in A12.01 schedule (FIRE RATING --)
ALC-23 | Special panels (ballistic, lead-lined, abuse) | CUANTIFICADO | familias_out.json
ALC-24 | Finish level (Level 4 / Level 5) | RFI | RFI: finish level not specified in A00.40/A05.01 for drywall; Level 4 assumed