## Inputs
Bank of America - Broomfield CO1-111 (prueba automatica 14A v64) ¦ METAL FRAMING & DRYWALL TAKEOFF
Bid set: 2025.08.26_CO1-111_Broomfield_PERMIT SET_BID SET.pdf · 2026-10-17 · Edit ONLY the yellow cells.
PARAMETER | VALUE | NOTE / SOURCE
Waste - ALL METAL, any type | 0.15 | Estimator standing rule.
Waste - EVERYTHING THAT IS NOT METAL | 0.06 | Same figure as board.
Board sheet width (ft) | 4
Board sheet length (ft) | 12
SF per board sheet | 48 | Width x length.
Stud stock length (ft) | 20
Track stock length (ft) | 10

## Partition Takeoff
ORGANIZED PARTITION TAKEOFF - Bank of America - Broomfield CO1-111 (prueba automatica 14A v64)
Grouped by partition type. Every row cites its DETAIL/SHEET and its status.
Partition / Scope | Wall # | Length (LF) | Height (FT) | Layers | Stud Size | Stud O.C. (in) | Board (SF) | Location | Source (DETAIL/SHEET) | Status
TYPE A1
A1 #A1-7 - wall: corridor 111 / 120/121 | A1-7 | 17.06 | 12.8869 | 2 | 3-5/8" | 16 | 373.39 | wall: corridor 111 / 120/121 | 3/A12.01; A02.01 tag A1; 3/A12.01 | [DERIVADO]
A1 #A1-0 - wall: waiting 104 / 122 | A1-0 | 17.02 | 15.375 | 2 | 3-5/8" | 16 | 348.91 | wall: waiting 104 / 122 | 3/A12.01; A02.01 tag A1; 3/A12.01 | [DERIVADO]
A1 #A1-4 - wall: 122 / break room 118 | A1-4 | 15.427 | 12.9665 | 2 | 3-5/8" | 16 | 277.68 | wall: 122 / break room 118 | 3/A12.01; A02.01 tag A1; 3/A12.01 | [DERIVADO]
A1 #A1-8 - wall: cash window 116 / work room 119 | A1-8 | 11.667 | 12.7704 | 2 | 3-5/8" | 16 | 169.18 | wall: cash window 116 / work room 119 | 3/A12.01; A02.01 tag A1; 3/A12.01 | [CONFIRMADO]
A1 #A1-3 - wall: corridor 111 / central zone | A1-3 | 5 | 15.375 | 2 | 3-5/8" | 16 | 51.68 | wall: corridor 111 / central zone | 3/A12.01; A02.01 tag A1; 3/A12.01 | [CONFIRMADO]
A1 #A1-ALC - wall: corridor 111 alcove | A1-ALC | 4.073 | 12.9446 | 1 | 3-5/8" | 16 | 36.66 | wall: corridor 111 alcove | 3/A12.01; A02.01 tag A1; 3/A12.01 | [DERIVADO]
A1 #A1-1 - wall: MW01 niche / 122 | A1-1 | 3.127 | 15.375 | 2 | 3-5/8" | 16 | 65.66 | wall: MW01 niche / 122 | 3/A12.01; A02.01 tag A1; 3/A12.01 | [DERIVADO]
A1 #A1-2 - wall: MW01 niche / 122 | A1-2 | 2.427 | 15.375 | 2 | 3-5/8" | 16 | 50.96 | wall: MW01 niche / 122 | 3/A12.01; A02.01 tag A1; 3/A12.01 | [DERIVADO]
A1 #A1-6 - wall: break room 118 / central zone east | A1-6 | 2.14 | 12.9581 | 2 | 3-5/8" | 16 | 39.59 | wall: break room 118 / central zone east | 3/A12.01; A02.01 tag A1; 3/A12.01 | [DERIVADO]
A1 #A1-5 - wall: break room 118 / central zone east | A1-5 | 1.3 | 12.9224 | 2 | 3-5/8" | 16 | 24.05 | wall: break room 118 / central zone east | 3/A12.01; A02.01 tag A1; 3/A12.01 | [DERIVADO]
A1 #A1-ST - wall: break room 118 / central zone east | A1-ST | 0.476 | 12.9224 | 2 | 3-5/8" | 16 | 8.8 | wall: break room 118 / central zone east | 3/A12.01; A02.01 tag A1; 3/A12.01 | [DERIVADO]
TYPE A1K
A1K #A1K-10 - wall: 108 / teller 116 | A1K-10 | 3.417 | 15.375 | 2 | 3-5/8" | 24 | 105.08 | wall: 108 / teller 116 | 4/A12.01; A02.01 tag A1K; 4/A12.01 | [CONFIRMADO]
A1K #A1K-11 - wall: teller 116 / future FCAM | A1K-11 | 3.413 | 12.9345 | 2 | 3-5/8" | 24 | 88.28 | wall: teller 116 / future FCAM | 4/A12.01; A02.01 tag A1K; 4/A12.01 | [DERIVADO]
A1K #A1K-12 - wall: teller 116 / break room 118 | A1K-12 | 1.16 | 12.9224 | 2 | 3-5/8" | 24 | 29.98 | wall: teller 116 / break room 118 | 4/A12.01; A02.01 tag A1K; 4/A12.01 | [DERIVADO]
A1K #A1K-12J - wall: teller 116 / break room 118 | A1K-12J | 0.587 | 12.9345 | 2 | 3-5/8" | 24 | 15.18 | wall: teller 116 / break room 118 | 4/A12.01; A02.01 tag A1K; 4/A12.01 | [DERIVADO]
TYPE A5
A5 #A5-13 - wall: 122 / central zone east 103 | A5-13 | 19.407 | 15.375 | 2 | 6" | 16 | 359.03 | wall: 122 / central zone east 103 | 3/A12.01; A02.01 tag A5; 3/A12.01 | [DERIVADO]
A5 #A5-14 - wall: corridor 111 / 122 | A5-14 | 11 | 15.375 | 2 | 6" | 16 | 198 | wall: corridor 111 / 122 | 3/A12.01; A02.01 tag A5; 3/A12.01 | [DERIVADO]
A5 #A5-16 - wall: break room 118 / teller 116 | A5-16 | 3.713 | 12.9224 | 2 | 6" | 16 | 68.69 | wall: break room 118 / teller 116 | 3/A12.01; A02.01 tag A5; 3/A12.01 | [DERIVADO]
A5 #A5-15 - wall: corridor 111 / 122 | A5-15 | 1.373 | 15.375 | 2 | 6" | 16 | 24.72 | wall: corridor 111 / 122 | 3/A12.01; A02.01 tag A5; 3/A12.01 | [DERIVADO]
TYPE B
B #B-24 - wall: 120/121 / break room 118 | B-24 | 14.147 | 12.8268 | 2 | 3-5/8" | 16 | 269.6 | wall: 120/121 / break room 118 | 1/A12.01; A02.01 tag B; 1/A12.01 | [DERIVADO]
B #B-19 - wall: 113 / 112/117 | B-19 | 11.733 | 12.7471 | 2 | 3-5/8" | 16 | 252.46 | wall: 113 / 112/117 | 1/A12.01; A02.01 tag B; 1/A12.01 | [DERIVADO]
B #B-22 - wall: janitor 112/storage 117 / wellness 115 | B-22 | 11.733 | 12.6666 | 2 | 3-5/8" | 16 | 297.24 | wall: janitor 112/storage 117 / wellness 115 | 1/A12.01; A02.01 tag B; 1/A12.01 | [DERIVADO]
B #B-18 - wall: break room 118 / electrical 120 | B-18 | 9.987 | 12.8268 | 2 | 3-5/8" | 16 | 256.2 | wall: break room 118 / electrical 120 | 1/A12.01; A02.01 tag B; 1/A12.01 | [DERIVADO]
B #B-23 - wall: electrical 120 / NER 121 | B-23 | 9.58 | 12.6983 | 2 | 3-5/8" | 16 | 243.3 | wall: electrical 120 / NER 121 | 1/A12.01; A02.01 tag B; 1/A12.01 | [DERIVADO]
B #B-20 - wall: janitor 112 / storage 117 | B-20 | 3.5 | 12.7387 | 2 | 3-5/8" | 16 | 89.18 | wall: janitor 112 / storage 117 | 1/A12.01; A02.01 tag B; 1/A12.01 | [DERIVADO]
TYPE B2
B2 #B2-28 - wall: 113/117/115 / corridor 111 | B2-28 | 15.787 | 12.8606 | 2 | 6" | 16 | 266.08 | wall: 113/117/115 / corridor 111 | 1/A12.01; A02.01 tag B2; 1/A12.01 | [DERIVADO]
B2 #B2-29 - wall: break room 118 / work room 119 | B2-29 | 11.74 | 12.7773 | 2 | 6" | 16 | 300 | wall: break room 118 / work room 119 | 1/A12.01; A02.01 tag B2; 1/A12.01 | [DERIVADO]
B2 #B2-26 - wall: ATM room 102 / central zone | B2-26 | 6.173 | 15.375 | 2 | 6" | 16 | 128.5 | wall: ATM room 102 / central zone | 1/A12.01; A02.01 tag B2; 1/A12.01 | [DERIVADO]
B2 #B2-27 - wall: 114 / corridor 111 | B2-27 | 1.82 | 12.982 | 2 | 6" | 16 | 47.26 | wall: 114 / corridor 111 | 1/A12.01; A02.01 tag B2; 1/A12.01 | [DERIVADO]
TYPE B2K
B2K #B2K-54 - wall: 108 / teller 116 | B2K-54 | 1.26 | 15.375 | 2 | 6" | 24 | 38.74 | wall: 108 / teller 116 | 4/A12.01; A02.01 tag B2K; 4/A12.01 | [DERIVADO]
TYPE C1
C1 #C1-37 - wall: 114 | C1-37 | 10.027 | 12.9213 | 1 | 3-5/8" | 16 | 129.56 | wall: 114 | 6/A12.01; A02.01 tag C1; 6/A12.01 | [DERIVADO]
C1 #C1-39 - wall: 113 | C1-39 | 10.027 | 12.8916 | 1 | 3-5/8" | 16 | 129.27 | wall: 113 | 6/A12.01; A02.01 tag C1; 6/A12.01 | [DERIVADO]
C1 #C1-36 - wall: waiting 104 | C1-36 | 10 | 15.375 | 1 | 3-5/8" | 16 | 153.75 | wall: waiting 104 | 6/A12.01; A02.01 tag C1; 6/A12.01 | [CONFIRMADO]
C1 #PIER-32 - pier: PIER-32 | PIER-32 | 9.082 | 14.362 | 0 | 6" | 16 | 0 | pier: PIER-32 | 3/A12.01; A02.01 tag C1; 2/A09.25 DETAIL @ STOREFRONT PIER | [DERIVADO]
C1 #PIER-33 - pier: PIER-33 | PIER-33 | 9.029 | 14.362 | 0 | 6" | 16 | 0 | pier: PIER-33 | 3/A12.01; A02.01 tag C1; 1/A09.25 DETAIL @ STOREFRONT PIER | [DERIVADO]
C1 #COL-34 - column_wrap: grille jamb | COL-34 | 4 | 15.375 | 1 | 3-5/8" | 16 | 48 | column_wrap: grille jamb | 6/A12.01; A02.01 tag C1; 3/A08.21 COILING GRILLE PLAN DETAILS @ JAMB | [DERIVADO]
C1 #COL-35 - column_wrap: grille jamb | COL-35 | 4 | 15.375 | 1 | 3-5/8" | 16 | 48 | column_wrap: grille jamb | 6/A12.01; A02.01 tag C1; 3/A08.21 COILING GRILLE PLAN DETAILS @ JAMB | [DERIVADO]
C1 #C1-38 - wall: future FCAM | C1-38 | 2.627 | 12.9208 | 1 | 3-5/8" | 16 | 33.94 | wall: future FCAM | 6/A12.01; A02.01 tag C1; 6/A12.01 | [DERIVADO]
TYPE CANOPY-COL
CANOPY-COL #CCOL-1 - column_wrap: CCOL-1 | CCOL-1 | 4.833 | 10.5 | 0 | 3-5/8" | 16 | 0 | column_wrap: CCOL-1 | 5/A09.25 DETAIL @ CANOPY COLUMN (1'-2 1/2" FOS); 5/A09.25 DETAIL @ CANOPY COLUMN (1'-2 1/2" FOS); A04.01 grid 1 | [DERIVADO]
CANOPY-COL #CCOL-2 - column_wrap: CCOL-2 | CCOL-2 | 4.833 | 10.5 | 0 | 3-5/8" | 16 | 0 | column_wrap: CCOL-2 | 5/A09.25 DETAIL @ CANOPY COLUMN (1'-2 1/2" FOS); 5/A09.25 DETAIL @ CANOPY COLUMN (1'-2 1/2" FOS); A04.01 grid 1 | [DERIVADO]
CANOPY-COL #CCOL-3 - column_wrap: CCOL-3 | CCOL-3 | 4.833 | 10.5 | 0 | 3-5/8" | 16 | 0 | column_wrap: CCOL-3 | 5/A09.25 DETAIL @ CANOPY COLUMN (1'-2 1/2" FOS); 5/A09.25 DETAIL @ CANOPY COLUMN (1'-2 1/2" FOS); A04.01 grid 1 | [DERIVADO]
CANOPY-COL #CCOL-4 - column_wrap: CCOL-4 | CCOL-4 | 4.833 | 10.5 | 0 | 3-5/8" | 16 | 0 | column_wrap: CCOL-4 | 5/A09.25 DETAIL @ CANOPY COLUMN (1'-2 1/2" FOS); 5/A09.25 DETAIL @ CANOPY COLUMN (1'-2 1/2" FOS); A04.01 grid 1 | [DERIVADO]
TYPE CEILING_BULKHEAD
CEILING_BULKHEAD #CSR-BH - ceiling_bulkhead: teller 116 / corridor/central | CSR-BH | 12 | 7.375 | 2 | 3-5/8" | 16 | 100.5 | ceiling_bulkhead: teller 116 / corridor/central | 10/A09.33; 10/A09.33 CEILING DETAIL @ CSR SOFFIT; A04.01 | [DERIVADO]
TYPE CEILING_TRANSITION
CEILING_TRANSITION #TR-104 - ceiling_transition: waiting 104 transition face | TR-104 | 77.02 | 4.375 | 1 | 3-5/8" | 16 | 77.02 | ceiling_transition: waiting 104 transition face | 7/A09.33; 7/A09.33 TYPICAL CEILING TRANSITION; A04.01 | [DERIVADO]
TYPE DOOR_BULKHEAD
DOOR_BULKHEAD #DB-1 - door_bulkhead: office / central zone | DB-1 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | door_bulkhead: office / central zone | 5/A12.01; 8/A12.01 OFFICE BULKHEAD @ DOOR; 9/A12.01 @ GLASS PANEL | [CONFIRMADO]
DOOR_BULKHEAD #DB-2 - door_bulkhead: office / central zone | DB-2 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | door_bulkhead: office / central zone | 5/A12.01; 8/A12.01 OFFICE BULKHEAD @ DOOR; 9/A12.01 @ GLASS PANEL | [CONFIRMADO]
DOOR_BULKHEAD #DB-3 - door_bulkhead: office / central zone | DB-3 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | door_bulkhead: office / central zone | 5/A12.01; 8/A12.01 OFFICE BULKHEAD @ DOOR; 9/A12.01 @ GLASS PANEL | [CONFIRMADO]
DOOR_BULKHEAD #DB-4 - door_bulkhead: office / central zone | DB-4 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | door_bulkhead: office / central zone | 5/A12.01; 8/A12.01 OFFICE BULKHEAD @ DOOR; 9/A12.01 @ GLASS PANEL | [CONFIRMADO]
DOOR_BULKHEAD #DB-5 - door_bulkhead: office / central zone | DB-5 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | door_bulkhead: office / central zone | 5/A12.01; 8/A12.01 OFFICE BULKHEAD @ DOOR; 9/A12.01 @ GLASS PANEL | [CONFIRMADO]
DOOR_BULKHEAD #DB-6 - door_bulkhead: office / central zone | DB-6 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 220 | door_bulkhead: office / central zone | 5/A12.01; 8/A12.01 OFFICE BULKHEAD @ DOOR; 9/A12.01 @ GLASS PANEL | [CONFIRMADO]
TYPE EXT
EXT #EXT-S - wall: interior | EXT-S | 51.733 | 11.386 | 1 | 6" | 16 | 621.62 | wall: interior | C/A09.21; A02.01; C/A09.21 "5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK"; S1.11 n.5 | [DERIVADO]
EXT #EXT-E-HI - wall: interior | EXT-E-HI | 50.253 | 14.362 | 1 | 6" | 16 | 708.64 | wall: interior | C/A09.21; A02.01; C/A09.21 "5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK"; S1.11 n.5 | [DERIVADO]
EXT #EXT-E-LOW - wall: interior | EXT-E-LOW | 25.08 | 11.647 | 1 | 6" | 16 | 320.82 | wall: interior | C/A09.21; A02.01; C/A09.21 "5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK"; S1.11 n.5 | [DERIVADO]
EXT #EXT-W-LOW - wall: interior | EXT-W-LOW | 25.08 | 11.647 | 1 | 6" | 16 | 320.82 | wall: interior | C/A09.21; A02.01; C/A09.21 "5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK"; S1.11 n.5 | [DERIVADO]
EXT #EXT-W-HI - wall: interior | EXT-W-HI | 21.867 | 14.362 | 1 | 6" | 16 | 304.21 | wall: interior | C/A09.21; A02.01; C/A09.21 "5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK"; S1.11 n.5 | [DERIVADO]
EXT #EXT-W-N - wall: interior | EXT-W-N | 20.907 | 14.362 | 1 | 6" | 16 | 315.78 | wall: interior | C/A09.21; A02.01; C/A09.21 "5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK"; S1.11 n.5 | [DERIVADO]
EXT #EXT-N1 - wall: interior | EXT-N1 | 12.64 | 14.362 | 1 | 6" | 16 | 194.34 | wall: interior | C/A09.21; A02.01; C/A09.21 "5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK"; S1.11 n.5 | [DERIVADO]
EXT #EXT-W-JOG - wall: interior | EXT-W-JOG | 3.875 | 14.362 | 1 | 6" | 16 | 59.58 | wall: interior | C/A09.21; A02.01; C/A09.21 "5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK"; S1.11 n.5 | [CONFIRMADO]
TYPE F
F #F-40 - wall: ATM room 102 / 24 HR vestibule 101 | F-40 | 17.762 | 15.375 | 2 | 3-5/8" | 16 | 325.38 | wall: ATM room 102 / 24 HR vestibule 101 | 12/A12.01; A02.01 tag F; 12/A12.01 | [DERIVADO]
TYPE G
G #G-44 - wall: 106 / 107 | G-44 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.92 | wall: 106 / 107 | 5/A12.01; A02.01 tag G; 5/A12.01 | [CONFIRMADO]
G #G-47 - wall: 107 / 108 | G-47 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.92 | wall: 107 / 108 | 5/A12.01; A02.01 tag G; 5/A12.01 | [CONFIRMADO]
G #G-46 - wall: ATM room 102 / 109 | G-46 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | wall: ATM room 102 / 109 | 5/A12.01; A02.01 tag G; 5/A12.01 | [CONFIRMADO]
G #G-49 - wall: 109 / 110 | G-49 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | wall: 109 / 110 | 5/A12.01; A02.01 tag G; 5/A12.01 | [CONFIRMADO]
G #G-51 - wall: 110 / 114 | G-51 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | wall: 110 / 114 | 5/A12.01; A02.01 tag G; 5/A12.01 | [CONFIRMADO]
G #G-50 - wall: 108 / 116 | G-50 | 10.073 | 15.375 | 4 | 1-5/8" | 16 | 619.48 | wall: 108 / 116 | 5/A12.01; A02.01 tag G; 5/A12.01 | [DERIVADO]
G #GS-43 - wall: central zone 103 / office | GS-43 | 3.467 | 15.375 | 4 | 1-5/8" | 16 | 213.22 | wall: central zone 103 / office | 5/A12.01; A02.01 tag G; 5/A12.01 | [DERIVADO]
G #GS-45 - wall: central zone 103 / office | GS-45 | 3.253 | 15.375 | 4 | 1-5/8" | 16 | 200.06 | wall: central zone 103 / office | 5/A12.01; A02.01 tag G; 5/A12.01 | [DERIVADO]
G #GS-48 - wall: central zone 103 / office | GS-48 | 3.253 | 15.375 | 4 | 1-5/8" | 16 | 200.06 | wall: central zone 103 / office | 5/A12.01; A02.01 tag G; 5/A12.01 | [DERIVADO]
G #GS-105N - wall: central zone 103 / office | GS-105N | 2.42 | 15.375 | 4 | 1-5/8" | 16 | 148.82 | wall: central zone 103 / office | 5/A12.01; A02.01 tag G; 5/A12.01 | [DERIVADO]
G #GS-108S - wall: central zone 103 / office | GS-108S | 0.973 | 15.375 | 4 | 1-5/8" | 16 | 59.84 | wall: central zone 103 / office | 5/A12.01; A02.01 tag G; 5/A12.01 | [DERIVADO]
TYPE G1
G1 #G1-52 - wall: 105 / 106 | G1-52 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.92 | wall: 105 / 106 | 5/A12.01; A02.01 tag G1; 5/A12.01 | [CONFIRMADO]
G1 #G1-53 - wall: central zone / office | G1-53 | 3.84 | 15.375 | 4 | 1-5/8" | 16 | 236.16 | wall: central zone / office | 5/A12.01; A02.01 tag G1; 5/A12.01 | [DERIVADO]
G1 #GS-110S - wall: corridor 111 / 110 | GS-110S | 3.727 | 15.375 | 4 | 1-5/8" | 16 | 229.22 | wall: corridor 111 / 110 | 5/A12.01; A02.01 tag G1; 5/A12.01 | [DERIVADO]
TYPE GRILLE_HEAD
GRILLE_HEAD #GH-103 - grille_head: central zone / 24 HR vestibule | GH-103 | 13.333 | 4.875 | 2 | 2-1/2" | 16 | 26.66 | grille_head: central zone / 24 HR vestibule | 4/A08.21; 4/A08.21 2 1/2" CFMF @ 16" O.C. | [CONFIRMADO]
TYPE PARAPET
PARAPET #PAR-S - parapet: PAR-S | PAR-S | 53.5 | 4.885 | 0 | 6" parapet | 16 | 0 | parapet: PAR-S | 11/S5.10 PARAPET INFILL 600S162-54 @16"; 11/S5.10 PARAPET INFILL 600S162-54 @16"; 6/S5.10 posts @5'-0"; A02.02 | [DERIVADO]
PARAPET #PAR-E-HI - parapet: PAR-E-HI | PAR-E-HI | 51.222 | 2.042 | 0 | 6" parapet | 16 | 0 | parapet: PAR-E-HI | 11/S5.10 PARAPET INFILL 600S162-54 @16"; 11/S5.10 PARAPET INFILL 600S162-54 @16"; 6/S5.10 posts @5'-0"; A02.02 | [DERIVADO]
PARAPET #PAR-N - parapet: PAR-N | PAR-N | 39.85 | 2.042 | 0 | 6" parapet | 16 | 0 | parapet: PAR-N | 11/S5.10 PARAPET INFILL 600S162-54 @16"; 11/S5.10 PARAPET INFILL 600S162-54 @16"; 6/S5.10 posts @5'-0"; A02.02 | [DERIVADO]
PARAPET #PAR-W1-T - parapet: PAR-W1-T | PAR-W1-T | 30.361 | 4.292 | 0 | 6" parapet | 16 | 0 | parapet: PAR-W1-T | 11/S5.10 PARAPET INFILL 600S162-54 @16"; 11/S5.10 PARAPET INFILL 600S162-54 @16"; 6/S5.10 posts @5'-0"; A02.02 | [DERIVADO]
PARAPET #PAR-E-LOW - parapet: PAR-E-LOW | PAR-E-LOW | 25.967 | 4.625 | 0 | 6" parapet | 16 | 0 | parapet: PAR-E-LOW | 11/S5.10 PARAPET INFILL 600S162-54 @16"; 11/S5.10 PARAPET INFILL 600S162-54 @16"; 6/S5.10 posts @5'-0"; A02.02 | [DERIVADO]
PARAPET #PAR-W2-LOW - parapet: PAR-W2-LOW | PAR-W2-LOW | 25.967 | 4.625 | 0 | 6" parapet | 16 | 0 | parapet: PAR-W2-LOW | 11/S5.10 PARAPET INFILL 600S162-54 @16"; 11/S5.10 PARAPET INFILL 600S162-54 @16"; 6/S5.10 posts @5'-0"; A02.02 | [DERIVADO]
PARAPET #PAR-W2-HI - parapet: PAR-W2-HI | PAR-W2-HI | 21.867 | 2.042 | 0 | 6" parapet | 16 | 0 | parapet: PAR-W2-HI | 11/S5.10 PARAPET INFILL 600S162-54 @16"; 11/S5.10 PARAPET INFILL 600S162-54 @16"; 6/S5.10 posts @5'-0"; A02.02 | [DERIVADO]
PARAPET #PAR-N-T - parapet: PAR-N-T | PAR-N-T | 17.686 | 4.292 | 0 | 6" parapet | 16 | 0 | parapet: PAR-N-T | 11/S5.10 PARAPET INFILL 600S162-54 @16"; 11/S5.10 PARAPET INFILL 600S162-54 @16"; 6/S5.10 posts @5'-0"; A02.02 | [DERIVADO]
PARAPET #PAR-T-RET - parapet: PAR-T-RET | PAR-T-RET | 4.6 | 4.292 | 0 | 6" parapet | 16 | 0 | parapet: PAR-T-RET | 11/S5.10 PARAPET INFILL 600S162-54 @16"; 11/S5.10 PARAPET INFILL 600S162-54 @16"; 6/S5.10 posts @5'-0"; A02.02 | [DERIVADO]
PARAPET #PAR-WJ - parapet: PAR-WJ | PAR-WJ | 3.95 | 2.042 | 0 | 6" parapet | 16 | 0 | parapet: PAR-WJ | 11/S5.10 PARAPET INFILL 600S162-54 @16"; 11/S5.10 PARAPET INFILL 600S162-54 @16"; 6/S5.10 posts @5'-0"; A02.02 | [DERIVADO]
TYPE ROOF_STEP
ROOF_STEP #RS-1 - roof_step: RS-1 | RS-1 | 51.733 | 2.323 | 0 | 3-5/8" | 16 | 0 | roof_step: RS-1 | 6/A02.02; 6/A02.02 | [DERIVADO]
ROOF_STEP #RS-2 - roof_step: interior | RS-2 | 51.733 | 2.323 | 1 | 3-5/8" | 16 | 120.18 | roof_step: interior | 6/A02.02; 6/A02.02 | [DERIVADO]
TYPE STOREFRONT_CRIPPLES
STOREFRONT_CRIPPLES #SF-N - storefront_cripples: interior | SF-N | 26.25 | 4.987 | 1 | 6" | 16 | 180.47 | storefront_cripples: interior | C/A09.21; 2/A09.26 STEEL HEADER FRAMING; S2.20 HSS9x5x5/8 (LLV) line F | [CONFIRMADO]
STOREFRONT_CRIPPLES #SF-V100 - storefront_cripples: interior | SF-V100 | 12.563 | 4.987 | 1 | 6" | 16 | 86.37 | storefront_cripples: interior | C/A09.21; 2/A09.26 STEEL HEADER FRAMING; S2.20 HSS9x5x5/8 (LLV) line F | [CONFIRMADO]
STOREFRONT_CRIPPLES #SF-W100 - storefront_cripples: vestibule 100 | SF-W100 | 6.5 | 4.987 | 1 | 6" | 16 | 44.69 | storefront_cripples: vestibule 100 | C/A09.21; 2/A09.26 STEEL HEADER FRAMING | [CONFIRMADO]
TYPE VESTIBULE_HEAD
VESTIBULE_HEAD #VH-S - vestibule_head: VH-S | VH-S | 15.64 | 5.375 | 0 | 3-5/8" | 16 | 0 | vestibule_head: VH-S | 5/A12.10; 5/A12.10; 7/A12.10 METAL STUD FRAMING & BOX HEADER AS NEEDED | [DERIVADO]
VESTIBULE_HEAD #VH-E - vestibule_head: VH-E | VH-E | 6.42 | 5.375 | 0 | 3-5/8" | 16 | 0 | vestibule_head: VH-E | 4/A12.10; 4/A12.10; 5/A12.10 METAL STUD FRAMING & BOX HEADER AS NEEDED | [DERIVADO]
TOTAL - PARTITIONS |  | 1222.924 |  |  |  |  | 16417.12

## Material Summary
MATERIAL SUMMARY - NET / WASTE / PURCHASE
Waste lives HERE, in its own column, never inside the net quantity.
Material | Unit | Net | Waste % | Waste | Purchase | Selling unit | Pieces to buy | Where it comes from
6" metal stud 600S162-54 (ext, S1.11 n.5) / 600S137-33 (int) | LF | 4496.61 | 0.15 | 674.4915 | 5171.1015 | stick 20 ft | 352 | familias_out.json (canon.py) [6" stud (todos los gauges)]; 7/S5.20; S1.11
3-5/8" metal stud 362S137-33 (A1K/B2K 14 GA @24") | LF | 5857.08 | 0.15 | 878.562 | 6735.642 | stick 20 ft | 438 | familias_out.json (canon.py) [3-5/8" stud (todos los gauges)]; 7/S5.20; 4/A12.01
1-5/8" metal stud (G/G1 double row) | LF | 4106.1 | 0.15 | 615.915 | 4722.015 | stick 20 ft | 307 | familias_out.json (canon.py) [1-5/8" stud]; 5/A12.01
2-1/2" CFMF stud @16" (grille head) | LF | 53.62 | 0.15 | 8.043 | 61.663 | stick 20 ft | 4 | familias_out.json (canon.py) [2-1/2" stud]; 4/A08.21
6" parapet stud 600S162-54 @16" (infill, bay by bay) | LF | 983.29 | 0.15 | 147.4935 | 1130.7835 | stick 20 ft | 58 | familias_out.json (canon.py) [6" parapet stud]; 11/S5.10; 6/S5.10
bottom track (600T125-33 / 362T125-33 / 162T) | LF | 1296.77 | 0.15 | 194.5155 | 1491.2855 | piece 10 ft | 150 | familias_out.json (canon.py) [bottom track (todos)]; 7/S5.20
top / deflection track (slip track, 600T200-97 ext) | LF | 1296.77 | 0.15 | 194.5155 | 1491.2855 | piece 10 ft | 150 | familias_out.json (canon.py) [top / deflection track (todos)]; 3/A12.01; 7/S5.20; 10/S5.10
ceiling / soffit track (perimeter, canopy, transitions) | LF | 1324.65 | 0.15 | 198.6975 | 1523.3475 | piece 10 ft | 153 | familias_out.json (canon.py) [track de ceilings / soffits]; 7/A09.33; 7/A09.26; 10/A09.33
bracing 1-1/2" C.R. channel @48" | LF | 2489.45 | 0.15 | 373.4175 | 2862.8675 | piece 16 ft | 179 | familias_out.json (canon.py) [bracing C.R. channel]; F/1/S5.20
purlin 1x1x1 16GA (track to deck, parallel flute) | LF | 227.76 | 0.15 | 34.164 | 261.924 | piece 10 ft | 27 | familias_out.json (canon.py) [purlin (track to deck)]; 10/A09.33
header / box beam (by pieces) | LF | 518.38 | 0.15 | 77.757 | 596.137 | piece 10 ft | 60 | familias_out.json (canon.py) [header / box beam]; 7/S5.20; 11/A09.27; 8/A12.01; 4/A08.21; per piece: track 79.24, 6" C box 119.02, C box 261.45, 6" CFMF box 58.67
sill track (2/S5.20 invert, double > 4'-0") | LF | 119.09 | 0.15 | 17.8635 | 136.9535 | piece 10 ft | 14 | familias_out.json (canon.py) [sill track]; 2/S5.20
furring channel 7/8" (drywall ceilings) | LF | 803.46 | 0.15 | 120.519 | 923.979 | piece 12 ft | 77 | familias_out.json (canon.py) [furring channel]; A04.01; A09.33
carrying channel 1-1/2" C.R. | LF | 320.18 | 0.15 | 48.027 | 368.207 | piece 16 ft | 24 | familias_out.json (canon.py) [carrying channel]; A04.01; A09.33
hanger wire 12 GA (LF derived = PCS x height) | LF | 530.05 | 0.15 | 79.5075 | 609.5575 | roll LF | 610 | familias_out.json (canon.py) [hanger wire]; A09.33; S2.20
5/8" gypsum board regular (walls + ceilings) | SF | 17145.43 | 0.06 | 1028.7258 | 18174.1558 | 4x12 sheet | 379 | familias_out.json (canon.py) [5/8" gyp board regular (walls + ceilings)]; A12.01; A04.01
5/8" moisture resistant gypsum board | SF | 258.83 | 0.06 | 15.5298 | 274.3598 | 4x12 sheet | 6 | familias_out.json (canon.py) [5/8" gyp MOISTURE RESISTANT]; F/A08.01
ballistic panel 3/8" UL752 Level-2 fiberglass | SF | 78.7 | 0.06 | 4.722 | 83.422 | 4x8 sheet | 3 | familias_out.json (canon.py) [ballistic panel]; 4/A12.01
3/8" gypsum board (above ballistic) | SF | 59.94 | 0.06 | 3.5964 | 63.5364 | 4x8 sheet | 2 | familias_out.json (canon.py) [3/8" gyp board]; 4/A12.01
5/8" glass mat sheathing (base + canopy band) | SF | 504.36 | 0.06 | 30.2616 | 534.6216 | 4x8 sheet | 17 | familias_out.json (canon.py) [5/8" glass mat sheathing]; 5/A09.26; 7/A09.26
5/8" exterior gypsum sheathing (parapet roof side) | SF | 985.93 | 0.06 | 59.1558 | 1045.0858 | 4x8 sheet | 33 | familias_out.json (canon.py) [5/8" EXTERIOR gyp sheathing]; A/A09.21; C/A09.21
FRT plywood (nailbase, fascia, strips, column wraps) | SF | 6755.04 | 0.06 | 405.3024 | 7160.3424 | 4x8 sheet | 224 | familias_out.json (canon.py) [FRT plywood (SF)]; C/A09.21; 7/A09.26; 12/A12.01; 5/A09.25
FRT blocking (parapet 2 plies, office bulkheads, toilet rooms) | LF | 773.39 | 0.06 | 46.4034 | 819.7934 | piece 8 ft | 820 | familias_out.json (canon.py) [FRT blocking]; 4/A09.26; 8/A12.01; E/A08.01
metal stud blocking 362CR22 (edge of gypboard + equipment) | LF | 611.6 | 0.15 | 91.74 | 703.34 | piece 10 ft | 79 | familias_out.json (canon.py) [metal stud blocking (362CR / STUD BLOCKING)]; 4/S5.20; A02.01 note C
metal trim - corner bead, casing bead, shadow molding | LF | 839.41 | 0.15 | 125.9115 | 965.3215 | piece 10 ft | 97 | familias_out.json (canon.py) [metal trim (corner bead, casing, shadow molding)]; 8/A12.01; 10/A12.01; 7/A09.33; 11/A09.27
cement board (tile cove base) | SF | 33.79 | 0.06 | 2.0274 | 35.8174 | 3x5 sheet | 3 | familias_out.json (canon.py) [cement board]; 3/A08.01
framed openings MEP (track, 2 x (L + W) x qty) | LF | 925.2 | 0.15 | 138.78 | 1063.98 | piece 10 ft | 107 | framed_openings_out.json; E00.01; E02.01; A04.01
acoustical sealant | LF | 795.97 | 0.06 | 47.7582 | 843.7282 | tube 28 oz (~25 LF) | 844 | sealant_insulation.json (sellar.py); 3/A12.01; 1/A12.01; 4/A12.01; 5/A12.01
batt insulation (partitions, schedule YES) | SF | 4775.47 | 0.06 | 286.5282 | 5061.9982 | SF | 5062 | sealant_insulation.json; 3/A12.01 schedule INSULATION YES; + 156.2 SF sound batt above 113/114 A04.01 key note 11
FRP panel (restrooms, 5'-0" above cove base) | SF | 357.9 | 0.06 | 21.474 | 379.374 | 4x8 sheet | 12 | 3/A08.01 5'-0" TO TOP OF FRP; 53.9 (tile_base perimeter x 5.0) + 20 SF mop sink 4,5/A08.01 FRP 4'-0" AFF
hanger wire 12 GA - hangers (PCS, height per room in source) | PCS | 113 | 0.15 | 16.95 | 129.95 | EA | 130 | familias_out.json hanger_pcs; 100 vestibule 15 pcs @ 5.375 ft; 101 24 HR vestibule 20 pcs @ 5.375 ft; 104 waiting 54 pcs @ 4.375 ft; 114 women 12 pcs @ 4.490 ft; 113 men 12 pcs @ 4.316 ft
canopy soffit framing - 4 canopy bands (count) | EA | 4 | 0 | 0 | 4 | EA | 4 | A04.01; 7/A09.26 (cantidades en studs / track / FRT plywood)
column wraps - canopy columns 5/A09.25 + grille jambs 3/A08.21 (count) | EA | 6 | 0 | 0 | 6 | EA | 6 | 5/A09.25; 3/A08.21

## Pending Items
RFI | Question / condition | Delta of each alternative
RFI-E1 | Exterior elevation titles transposed N/S: A09.01 'SOUTH ELEVATION' shows the plan-north facade (storefront, line F); A09.02 'NORTH ELEVATION' shows plan-south (door 123). S2.20 note 'BUILDING FOOTPRINT MIRRORED NORTH-SOUTH'. Take-off follows A02.01 plan + grid order. | 0 (assignment only; other trades read the same sheets)
RFI-S1 | Exterior studs: S1.11 note 5 '600S162-54 @ 12" O.C. within 6 ft of building corners, @16" all other' vs S5.20 7 '600S137-33 @16"'. Carried S1.11 (more material, 56.2). | approx. -120 LF 6" stud if @16" everywhere; gauge 54 mil vs 33 mil price delta
RFI-C1 | GWB suspended ceilings (A04.01 'NEW SUSPENDED GYPSUM BOARD CEILING'): furring / carrying / hanger spacing not printed in A09.33. Carried furring 16" O.C., carrying 48" O.C., hangers 48" O.C., carrying N-S. | furring @24": approx. -260 LF furring channel
RFI-D1 | Deck flute direction (10/A09.33 'VIF FLUTE DIRECTION'): carried flute E-W (deck spans between N-S framing in S2.20) -> purlin on E-W top tracks. | purlin 225.16 LF moves to N-S walls if flute runs N-S
RFI-H2 | Drive-up ATM (5,6/A08.11) 'METAL STUD BOX BEAM': number of pieces not dimensioned; carried 2 (C box). | -3.51 LF header if 1 piece
RFI-H3 | Vestibule heads 4,5,7/A12.10 'METAL STUD FRAMING & BOX HEADER AS NEEDED': size/pieces not printed; carried 2 C pieces over 15.64 + 6.42 ft (E11). | -24.73 LF header if single piece; -49.45 if not needed
RFI-G1 | Coiling grille 103 head height not printed (1,2,4/A08.21); grille head 2-1/2" CFMF carried from 10'-6" to B.O.D. | each 1'-0" of head height = approx. 11 LF 2-1/2" stud
RFI-T1 | 7/A09.33 kicker '3 5/8" METAL STUD KICKER AT 48" O.C.' length not printed; carried diagonal at 45 deg to deck (6.19 ft, 53.3) plus vertical studs @16" (E7). | -98 LF 3-5/8" stud if kicker 1'-6"
RFI-P1 | Storefront piers 1/A09.25 and 2/A09.25: framed as pier perimeter (6" CFMF); interior 3-5/8" framing, 3/4" FRT plywood and 5/8" board at jambs not separately quantified. | approx. +60 SF board, +40 SF FRT plywood, +40 LF 3-5/8" stud
RFI-R1 | R-11C/R-11CE: E00.01 description 12' vs catalog '-20'-0"'; RCP draws 'R-11 (12')'. Carried 12' (60.9). | +64.0 LF framed openings if 20'
RFI-S2 | Partition G (5/A12.01): sealant drawn at top only; base bead not labeled. Carried top only. | + approx. 165 LF acoustical sealant if base included
RFI-B1 | A02.01 note C 'PROVIDE BLOCKING' gives no material: carried metal 362CR22 (4/S5.20) for equipment, lockers, ladder, wall stops; FRTW where the set says so (A12.03-A12.06 note D millwork, A08.01 note E toilet rooms, 8/A12.01 bulkheads, 8/A12.10, 10/A09.33). | material change only
RFI-B2 | Millwork blocking lengths taken from plan hatch (1 run base, 2 runs MW12 upper); door wall stops 14 doors x 2'-0" (hardware groups not verified). | +/- 30 LF
RFI-CAN | Canopy: east band ends at y=1184.9 on A04.01 while A09.02 EAST ELEVATION shows canopy full length A-G; glass mat band height taken T/CANOPY - B/CANOPY (2.167 ft). | +25 LF canopy E and approx. +56 SF W canopy band B-A if the elevations govern over A04.01
RFI-PAR | Entry tower (T.O. PARAPET 2): A02.02 key note 10 draws only the east return (~4.6 LF, carried both faces); no south return drawn. | + approx. 17.7 LF x 4.29 ft parapet if a south return exists
RFI-RS | Roof step at grid B (6/A02.02): carried 2 stud runs (exterior membrane face + interior gyp face). | +120 LF 3-5/8" stud per extra run
RFI-L5 | Level 5 finish only at WC-20 wallcovering (A05.01 key note 9); walls not mapped; Level 4 assumed elsewhere. | Level 5 SF pending wall mapping
RFI-CJ | No gypsum control joints labeled in the set (CJ = stucco joint, A09.01 legend). Excluded per ASTM C840 / GA-216 check. | 0 (alternate if required)
RFI-BR | Bracing (53.4 literal) crosses openings without studs (canon.py). | -86.26 LF C.R. channel
RFI-BT | Bottom track continuous through doors (E10). | -33.83 LF bottom track if deducted
RFI-H4 | Box beams GL-2 (11/A09.27), ATM 9D (6/A08.11), grille 103 (4/A08.21) and vestibule heads carried as 2 C; office front box beam 9/A12.01 draws 2 C + 2 track (4 pieces). Confirm piece count of the other boxes. | +119.0 / +7.0 / +58.7 / +49.5 LF header if 4 pieces
RFI-G2 | Coiling grille R.O.: A02.01 13'-4" R.O. vs 5/A08.21 14'-3" jamb to jamb. | +3.7 LF header
RFI-M1 | Restroom 113/114 air devices: M01.01 draws 4 slots 2.29 x 0.64 ft, A04.01 draws ~10" squares (fit module). | +23.5 LF framed openings
RFI-UU5 | UU5 50' fixture vs east canopy band 48.05 ft (A04.01). | -3.9 LF framed openings if shortened
RFI-REC | Recessed accessories TA-13 x2, TA-14 x2, TA-2 x2, FEC-1: framed openings not carried (v64 §7: recessed accessories are never header). | +56 LF track if framed
RFI-ATM | Drive-up ATM 6/A08.11 '2 1/2" METAL STUD SISTERED TO 6" METAL STUD W/ MINERAL WOOL' not in canon. | +16 LF 2-1/2" stud, +16 SF mineral wool
RFI-BLK | Wall-mounted equipment (A00.40: phones, cork boards, monitor arms, FEC-2, wellness mirror, Knox box), office artwork 8'-0" (A11.01/03/04), exterior signage/devices (A09.01/02 key notes 1,5,8): blocking not carried. | +32 LF equipment, +48 to +96 LF artwork, +48 LF exterior
RFI-TA | Toilet accessory FRT blocking carried 24 LF; count per accessory gives ~44 LF. | +20 LF FRT blocking
RFI-L5b | Level 5 also at WC-22 (A05.01 key note 10, half wall). | +100 to +130 SF Level 5
RFI-PL | ATM plinths 3,6/A08.11 'GC BUILT PLINTH' (FRT plywood + 2x4/4x4): rough carpentry, not carried. | +30 SF FRT plywood, +25 LF wood
RFI-PVC | PVC edge / inside corner trim of FRP (3,7/A08.01) not carried (not metal). | +94 LF PVC trim
RFI-A5 | A5-13 carried at 15'-4 1/2" full length; 4.56 ft lie south of grid B (low deck). | approx. -9 LF 6" stud
RFI-DB | A1-0 board behind furring C1-36 (10'-0") may be double counted. | up to -153.8 SF 5/8" board
RFI-ALC | Drinking fountain alcove returns (A02.01 y 1336.0 / 1409.3, x 1099.7-1133.9): type/thickness not resolved; not carried. | +3 LF A1, +70 to +100 SF board
RFI-A1H | A1/A5 (3/A12.01): board carried to scheduled ceiling + 6" per face (detail dimension '6"' above SCHEDULED CEILING); studs to structure. | +833 SF 5/8" board if board runs to B.O.D. (blind back-check criterion)

## PARA REVISAR EN LA MANANA
# | Punto | Hoja + detalle | Imagen
1 | Barrido de tags: 50 tags reales en A02.01 -> 58 walls interiores + 8 exteriores; 3 G stubs y el fondo del alcove sin tag (rojo en los planos). Confirmar lista completa. | 3/A12.01 | 01_PLANO_A1.jpg ... 11_PLANO_BULKHEADS_HEADS.jpg
3 | S1.11 n.5 vs 7/S5.20 (gauge y @12" en esquinas) RFI-S1. | 7/S5.20 | 10_PLANO_EXTERIORES.jpg
4 | Elevaciones N/S transpuestas (RFI-E1). | 1/A09.01 | a0901.png
5 | Spacing de suspension de GWB ceilings no impreso (RFI-C1). | 7/A09.33 | rcp.png
6 | Wall F diagonal: largo = promedio de las dos faces (17.76 ft); ATM walk-up R.O. 2'-3". | 12/A12.01 | 07_PLANO_F.jpg
7 | B2K sin renglon en el schedule: derivado de la familia K (4/A12.01). | 4/A12.01 | 02_PLANO_A1K_B2K.jpg
8 | Canopy este: RCP vs elevacion (RFI-CAN); torre de parapet 2 sin retornos (RFI-PAR). | 7/A09.26 | rcp.png
9 | Header vestibule 'BOX HEADER AS NEEDED' y DU ATM box beam (RFI-H2/H3); grille head (RFI-G1). | 5/A12.10 | 11_PLANO_BULKHEADS_HEADS.jpg
10 | Kickers de transicion 7/A09.33 a 45 grados (RFI-T1). | 7/A09.33 | rcp_wait.png
11 | Level 5 en WC-20 sin mapear (RFI-L5) - ALC-24 queda pendiente_rfi. | A05.01 | -
12 | Piers de storefront: board/FRT de jambs no separado (RFI-P1). | 1/A09.25 | a0925.png
13 | Agentes adversariales: 4 informes en Back-check/ (ADV1-ADV4); correcciones aplicadas en CORRECCIONES.md, recomprobadas con imagen/texto del set. | 9/A12.01 | d9_a1201.png
14 | Rechazado por regla v64: framed openings de recessed accessories (RFI-REC). | A08.01 | -
15 | canon.py modificado: door entre walls con head_ft carga cripples + top/bottom track (test_14a, falla con el canon original). | 10/A12.02 | -
16 | Box beams de GL-2/ATM/grille/vestibule a 2 piezas vs 4 del office front (RFI-H4). | 11/A09.27 | -

## Alcances
ALC | Alcance | Estado | Nota (cantidad, NO APLICA + hoja, o RFI)
ALC-01 | Interior partition framing (studs + tracks) | CUANTIFICADO | studs 6", 3-5/8", 1-5/8" from canon.py (studs_nodos)
ALC-02 | Exterior wall framing (CFMF) | CUANTIFICADO | 8 exterior walls 6" CFMF (C/A09.21, S1.11 n.5)
ALC-03 | Parapet framing | CUANTIFICADO | parapet infill 11/S5.10 bay by bay (E3)
ALC-04 | Top / deflection and bottom track | CUANTIFICADO | bottom and top/deflection track separated (corridas.py)
ALC-05 | Headers, sills and jambs at openings | CUANTIFICADO | header by pieces 7/S5.20 + sill 2/S5.20 (headers.py)
ALC-06 | Bracing / bridging | CUANTIFICADO | bracing C.R. channel @48" F/1/S5.20
ALC-07 | Gypsum board on walls (layers per type) | CUANTIFICADO | board per face (board_caras.py)
ALC-08 | Moisture / abuse / special board at wet zones | CUANTIFICADO | MR only at chase C1 (F/A08.01)
ALC-09 | Exterior gypsum / glass mat sheathing | CUANTIFICADO | glass mat base + canopy band; exterior gyp sheathing at parapet
ALC-10 | FRT plywood sheathing / substrate | CUANTIFICADO | FRT plywood nailbase, fascia, F public side, column wraps, backboards
ALC-11 | Gypsum board ceilings | CUANTIFICADO | GWB ceilings 100, 101, 104, 113, 114 + CSR soffit (A04.01)
ALC-12 | Ceiling suspension (furring / carrying channel / hanger wire / ceiling track) | CUANTIFICADO | furring, carrying, hanger wire PCS + LF, perimeter track (canon ceilings)
ALC-13 | Soffits and bulkheads (framing + board) | CUANTIFICADO | CSR soffit 10/A09.33, office bulkheads 8,9/A12.01, transition 7/A09.33
ALC-14 | Canopy / marquee framing and sheathing | CUANTIFICADO | canopy soffit joists, fascia box, track 2 lines (7/A09.26, E13)
ALC-15 | Column furring / wraps | CUANTIFICADO | column wraps: 4 canopy columns 5/A09.25 + 2 grille jambs 3/A08.21
ALC-16 | Blocking (FRT wood / metal) for millwork and accessories | CUANTIFICADO | FRT blocking (parapet, bulkheads, toilet rooms) + metal 362CR22
ALC-17 | Framed openings (MEP, access panels, diffusers) | CUANTIFICADO | framed openings MEP (framed_openings.py)
ALC-18 | Trim: corner bead, casing bead, control joints, reveals | CUANTIFICADO | corner bead, casing, shadow molding (trim_items + jamb returns + transitions)
ALC-19 | Acoustical sealant / sound attenuation | CUANTIFICADO | acoustical sealant per detail (sellar.py) + batt
ALC-20 | FRP / cement board / tile backer | CUANTIFICADO | FRP restrooms 5'-0" + cement board cove base (3/A08.01)
ALC-21 | Shaft walls / area separation walls | NO APLICA | NOT APPLICABLE: A12.01 has no shaft wall / area separation types; A02.01 no shafts
ALC-22 | Rated assemblies (UL designs) and their board type | NO APLICA | NOT APPLICABLE: A12.01 FIRE RATING '--' in all types; A02.01 key note 6 'FIRE RATED' is the plywood backboard (quantified as FRT plywood)
ALC-23 | Special panels (ballistic, lead-lined, abuse) | CUANTIFICADO | ballistic panel 4/A12.01 A1K/B2K
ALC-24 | Finish level (Level 4 / Level 5) | RFI | RFI-L5: Level 5 at WC-20 (A05.01 key note 9) not mapped; Level 4 elsewhere