## Inputs
Bank of America - Broomfield, CO (CO1-111) ¦ METAL FRAMING & DRYWALL TAKEOFF
Bid set: 2025.08.26_CO1-111_Broomfield_PERMIT SET_BID SET.pdf · 2026-10-17 · Edit ONLY the yellow cells.
PARAMETER | VALUE | NOTE / SOURCE
Waste - ALL METAL, any type | 0.15 | Estimator standing rule.
Waste - EVERYTHING THAT IS NOT METAL | 0.06 | Same figure as board.
Board sheet width (ft) | 4
Board sheet length (ft) | 12
SF per board sheet | 48 | Width x length.
Stud stock length (ft) | 20
Track stock length (ft) | 10

## Partition Takeoff
ORGANIZED PARTITION TAKEOFF - Bank of America - Broomfield, CO (CO1-111)
Grouped by partition type. Every row cites its DETAIL/SHEET and its status.
Partition / Scope | Wall # | Length (LF) | Height (FT) | Layers | Stud Size | Stud O.C. (in) | Board (SF) | Location | Source (DETAIL/SHEET) | Status
TYPE G1
G1 #G1-01 - 105 / 106 | G1-01 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.92 | 105 / 106 | 5/A12.01 | [CONFIRMADO]
G1 #G1-SW1 - 109 / 111 | G1-SW1 | 3.84 | 15.375 | 4 | 1-5/8" | 16 | 236.16 | 109 / 111 | 5/A12.01 | [DERIVADO]
G1 #G1-SW2 - 110 / 111 | G1-SW2 | 3.347 | 15.375 | 4 | 1-5/8" | 16 | 205.84 | 110 / 111 | 5/A12.01 | [DERIVADO]
TYPE G
G #G-02 - 106 / 107 | G-02 | 11.767 | 15.375 | 4 | 1-5/8" | 16 | 723.68 | 106 / 107 | 5/A12.01 | [DERIVADO]
G #G-03 - 107 / 108 | G-03 | 11.767 | 15.375 | 4 | 1-5/8" | 16 | 723.68 | 107 / 108 | 5/A12.01 | [DERIVADO]
G #G-04 - 108 / 116 | G-04 | 10.507 | 15.375 | 4 | 1-5/8" | 16 | 646.18 | 108 / 116 | 5/A12.01 | [DERIVADO]
G #G-S0 - 103 / 105 | G-S0 | 2.42 | 14.358 | 4 | 1-5/8" | 16 | 138.98 | 103 / 105 | 5/A12.01 | [DERIVADO]
G #G-S1 - 103 / 106 | G-S1 | 3.467 | 14.358 | 4 | 1-5/8" | 16 | 199.12 | 103 / 106 | 5/A12.01 | [DERIVADO]
G #G-S2 - 103 / 107 | G-S2 | 3.253 | 14.225 | 4 | 1-5/8" | 16 | 185.1 | 103 / 107 | 5/A12.01 | [DERIVADO]
G #G-S3 - 103 / 108 | G-S3 | 3.253 | 14.225 | 4 | 1-5/8" | 16 | 185.1 | 103 / 108 | 5/A12.01 | [DERIVADO]
G #G-110 - 110 / 114 | G-110 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | 110 / 114 | 5/A12.01 | [CONFIRMADO]
G #G-ATM - 102 / 109 | G-ATM | 12.333 | 15.375 | 4 | 1-5/8" | 16 | 758.48 | 102 / 109 | 5/A12.01 | [DERIVADO]
G #G-109 - 109 / 110 | G-109 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | 109 / 110 | 5/A12.01 | [CONFIRMADO]
TYPE B2K
B2K #B2K-01 - 108 / 103 | B2K-01 | 1.773 | 15.375 | 2 | 6" | 24 | 54.52 | 108 / 103 | 4/A12.01 | [DERIVADO]
TYPE A1K
A1K #A1K-T - 116 / 116 teller | A1K-T | 3.417 | 15.375 | 2 | 3-5/8" | 24 | 105.08 | 116 / 116 teller | 4/A12.01 | [CONFIRMADO]
A1K #A1K-B - 116 / FCAM | A1K-B | 3.417 | 12.939 | 2 | 3-5/8" | 24 | 88.42 | 116 / FCAM | 4/A12.01 | [CONFIRMADO]
A1K #A1K-BW - 103 / 118 | A1K-BW | 1.16 | 12.927 | 2 | 3-5/8" | 24 | 30 | 103 / 118 | 4/A12.01 | [DERIVADO]
TYPE C1
C1 #C1-FCAM - FCAM | C1-FCAM | 2.627 | 12.925 | 1 | 3-5/8" | 16 | 33.95 | FCAM | 6/A12.01 | [DERIVADO]
C1 #C1-MON - 104 | C1-MON | 10 | 15.375 | 1 | 3-5/8" | 16 | 153.75 | 104 | 6/A12.01 | [CONFIRMADO]
C1 #CH-01 - 114 / 113 (incl. jog C1-MON-R1 0.313 LF) (incl. jog C1-MON-R2 0.313 LF) | CH-01 | 10.027 | 12.918 | 2 | 3-5/8" | 16 | 259.06 | 114 / 113 (incl. jog C1-MON-R1 0.313 LF) (incl. jog C1-MON-R2 0.313 LF) | 6/A12.01 | [DERIVADO]
C1 #PIER-1 - 100 / EXTERIOR | PIER-1 | 9.026 | 14.358 | 2 | 6" | 16 | 47.39 | 100 / EXTERIOR | 6/A12.01 | [DERIVADO]
C1 #PIER-2 - 100 / EXTERIOR | PIER-2 | 9.08 | 14.358 | 2 | 6" | 16 | 47.67 | 100 / EXTERIOR | 6/A12.01 | [DERIVADO]
C1 #CW-G1 - 101 / 103 / GRILLE GUIDE | CW-G1 | 4 | 15.375 | 3 | 3-5/8" | 16 | 34.5 | 101 / 103 / GRILLE GUIDE | 6/A12.01 | [DERIVADO]
C1 #CW-G2 - 101 / 103 / GRILLE GUIDE | CW-G2 | 4 | 15.375 | 3 | 3-5/8" | 16 | 34.5 | 101 / 103 / GRILLE GUIDE | 6/A12.01 | [DERIVADO]
TYPE A1
A1 #A1-WR - 116 / 119 | A1-WR | 11.667 | 12.775 | 2 | 3-5/8" | 16 | 215.84 | 116 / 119 | 3/A12.01 | [CONFIRMADO]
A1 #A1-118N - 116 / 118 | A1-118N | 1.3 | 12.927 | 2 | 3-5/8" | 16 | 24.05 | 116 / 118 | 3/A12.01 | [DERIVADO]
A1 #A1-118NW - 118 / 116 | A1-118NW | 1.733 | 11.821 | 2 | 3-5/8" | 16 | 32.06 | 118 / 116 | 3/A12.01 | [DERIVADO]
A1 #A1-122N - 104 / NICHE / 122 | A1-122N | 17.02 | 15.375 | 3 | 3-5/8" | 16 | 368.24 | 104 / NICHE / 122 | 3/A12.01 | [DERIVADO]
A1 #A1-NE - NICHE / 122 | A1-NE | 3.127 | 15.375 | 2 | 3-5/8" | 16 | 76.22 | NICHE / 122 | 3/A12.01 | [DERIVADO]
A1 #A1-NS - NICHE / 122 | A1-NS | 3.033 | 15.375 | 2 | 3-5/8" | 16 | 73.93 | NICHE / 122 | 3/A12.01 | [DERIVADO]
A1 #A1-122S - 122 / 118 | A1-122S | 15.813 | 12.971 | 2 | 3-5/8" | 16 | 284.64 | 122 / 118 | 3/A12.01 | [CONFIRMADO]
A1 #A1-ELW - 111 / 118 / 120 | A1-ELW | 17.06 | 11.749 | 3 | 3-5/8" | 16 | 345.97 | 111 / 118 / 120 | 3/A12.01 | [DERIVADO]
A1 #A1-111 - 103 / 111 | A1-111 | 1.473 | 15.375 | 2 | 3-5/8" | 16 | 30.94 | 103 / 111 | 3/A12.01 | [DERIVADO]
A1 #A1-ALN - 114 / 111 | A1-ALN | 1.707 | 12.957 | 2 | 3-5/8" | 16 | 30.72 | 114 / 111 | 3/A12.01 | [DERIVADO]
A1 #A1-ALS - 111 / 113 | A1-ALS | 1.707 | 12.865 | 2 | 3-5/8" | 16 | 30.72 | 111 / 113 | 3/A12.01 | [DERIVADO]
A1 #A1-ALB - 114 / CHASE / 113 / 111 | A1-ALB | 4.073 | 11.807 | 4 | 3-5/8" | 16 | 76.35 | 114 / CHASE / 113 / 111 | 3/A12.01 | [DERIVADO]
TYPE A5
A5 #A5-118 - 118 / 116 | A5-118 | 3.713 | 11.785 | 2 | 6" | 16 | 68.69 | 118 / 116 | 3/A12.01 | [DERIVADO]
A5 #A5-122W - 103 / 111 / 122 | A5-122W | 15.467 | 15.375 | 3 | 6" | 16 | 310.18 | 103 / 111 / 122 | 3/A12.01 | [DERIVADO]
A5 #A5-122E - 122 / 103 / 116 | A5-122E | 19 | 14.225 | 3 | 6" | 16 | 371.4 | 122 / 103 / 116 | 3/A12.01 | [CONFIRMADO]
TYPE B2
B2 #B2-WR - 118 / 119 | B2-WR | 11.74 | 11.639 | 2 | 6" | 16 | 273.28 | 118 / 119 | 1/A12.01 | [DERIVADO]
B2 #B2-CA - 114 / 111 | B2-CA | 5.533 | 13.052 | 2 | 6" | 16 | 144.44 | 114 / 111 | 1/A12.01 | [DERIVADO]
B2 #B2-CB - 113 / 111 | B2-CB | 15.787 | 12.865 | 2 | 6" | 16 | 406.2 | 113 / 111 | 1/A12.01 | [DERIVADO]
B2 #B2-102 - 102 / 103 | B2-102 | 1.653 | 15.375 | 2 | 6" | 16 | 50.82 | 102 / 103 | 1/A12.01 | [DERIVADO]
TYPE B
B #B-ELN - 118 / 120 | B-ELN | 9.58 | 12.831 | 2 | 3-5/8" | 16 | 245.84 | 118 / 120 | 1/A12.01 | [DERIVADO]
B #B-ELS - 120 / 121 | B-ELS | 9.583 | 12.702 | 2 | 3-5/8" | 16 | 243.44 | 120 / 121 | 1/A12.01 | [CONFIRMADO]
B #B-ELE - 120 / 118 | B-ELE | 14.147 | 12.831 | 2 | 3-5/8" | 16 | 363.04 | 120 / 118 | 1/A12.01 | [DERIVADO]
B #B-MS - 113 / 112 | B-MS | 11.733 | 12.751 | 2 | 3-5/8" | 16 | 299.22 | 113 / 112 | 1/A12.01 | [DERIVADO]
B #B-JE - 112 / 117 | B-JE | 3.5 | 12.743 | 2 | 3-5/8" | 16 | 89.2 | 112 / 117 | 1/A12.01 | [CONFIRMADO]
B #B-JS - 112 / 115 | B-JS | 11.733 | 12.67 | 2 | 3-5/8" | 16 | 297.32 | 112 / 115 | 1/A12.01 | [DERIVADO]
TYPE F
F #F-01 - 101 / 102 | F-01 | 16.916 | 15.375 | 2 | 3-5/8" | 16 | 321.4 | 101 / 102 | 12/A12.01 | [DERIVADO]
TYPE BULKHEAD-G
BULKHEAD-G #BH-E0+BH-E1+BH-E2+BH-E3 - 103 / 105 + 103 / 106 + 103 / 107 + 103 / 108 | BH-E0+BH-E1+BH-E2+BH-E3 | 30 | 6.25 | 4 | 1-5/8" | 16 | 749.96 | 103 / 105 + 103 / 106 + 103 / 107 + 103 / 108 | 9/A12.01 | [CONFIRMADO]
TYPE BULKHEAD-G1
BULKHEAD-G1 #BH-W0+BH-W1 - 111 / 109 + 111 / 110 | BH-W0+BH-W1 | 15 | 7.333 | 4 | 1-5/8" | 16 | 440 | 111 / 109 + 111 / 110 | 9/A12.01 | [CONFIRMADO]
TYPE EXT-6CFMF
EXT-6CFMF #EXT-W2 - int 101/102 | EXT-W2 | 21.46 | 14.358 | 1 | 6" | 16 | 329.95 | int 101/102 | C/A09.21 | [DERIVADO]
EXT-6CFMF #EXT-D - int 102 | EXT-D | 3.353 | 14.358 | 1 | 6" | 16 | 51.55 | int 102 | C/A09.21 | [DERIVADO]
EXT-6CFMF #EXT-W3H+EXT-W3L - int 109/110/114 + int 114/113/112/115 | EXT-W3H+EXT-W3L | 46.946 | 13.062 | 1 | 6" | 16 | 664.07 | int 109/110/114 + int 114/113/112/115 | C/A09.21 | [DERIVADO]
EXT-6CFMF #EXT-S1+EXT-S2 - int 115/111/121/118 + int 119 | EXT-S1+EXT-S2 | 51.733 | 11.133 | 1 | 6" | 16 | 648.26 | int 115/111/121/118 + int 119 | C/A09.21 | [DERIVADO]
EXT-6CFMF #EXT-E-H+EXT-E-L - int 105/106/107/108/116 + int 116/119 | EXT-E-H+EXT-E-L | 75.333 | 13.55 | 1 | 6" | 16 | 1100.52 | int 105/106/107/108/116 + int 116/119 | C/A09.21 | [DERIVADO]
EXT-6CFMF #EXT-NE - int 105 | EXT-NE | 12.64 | 14.358 | 1 | 6" | 16 | 194.34 | int 105 | C/A09.21 | [DERIVADO]
TYPE CANOPY-COL
CANOPY-COL #CW-C1 - CW-C1 | CW-C1 | 5.667 | 10.604 | 0 | 3-5/8" | 16 | 0 | CW-C1 | 5/A09.25 CANOPY COLUMN; A02.01 grid 1 | [DERIVADO]
CANOPY-COL #CW-C2 - CW-C2 | CW-C2 | 5.667 | 10.604 | 0 | 3-5/8" | 16 | 0 | CW-C2 | 5/A09.25 CANOPY COLUMN; A02.01 grid 1 | [DERIVADO]
CANOPY-COL #CW-C3 - CW-C3 | CW-C3 | 5.667 | 10.604 | 0 | 3-5/8" | 16 | 0 | CW-C3 | 5/A09.25 CANOPY COLUMN; A02.01 grid 1 | [DERIVADO]
CANOPY-COL #CW-C4 - CW-C4 | CW-C4 | 5.667 | 10.604 | 0 | 3-5/8" | 16 | 0 | CW-C4 | 5/A09.25 CANOPY COLUMN; A02.01 grid 1 | [DERIVADO]
TYPE EXT-PARAPET
EXT-PARAPET #PAR-G - PAR-G | PAR-G | 16.2 | 4.292 | 0 | 6" parapet | 16 | 0 | PAR-G | 11/S5.10; 6/S5.10; 4/A09.26 | [DERIVADO]
EXT-PARAPET #PAR-2 - PAR-2 | PAR-2 | 30 | 4.292 | 0 | 6" parapet | 16 | 0 | PAR-2 | 11/S5.10; 6/S5.10; 4/A09.26 | [DERIVADO]
EXT-PARAPET #PAR-4 - PAR-4 | PAR-4 | 3.57 | 4.292 | 0 | 6" parapet | 16 | 0 | PAR-4 | 11/S5.10; 6/S5.10; 4/A09.26 | [DERIVADO]
EXT-PARAPET #PAR-D - PAR-D | PAR-D | 3.867 | 2.042 | 0 | 6" parapet | 16 | 0 | PAR-D | 11/S5.10; 6/S5.10; 4/A09.26 | [DERIVADO]
EXT-PARAPET #PAR-3H+PAR-3L - PAR-3H + PAR-3L | PAR-3H+PAR-3L | 47.922 | 3.403 | 0 | 6" parapet | 16 | 0 | PAR-3H + PAR-3L | 11/S5.10; 6/S5.10; 4/A09.26 | [DERIVADO]
EXT-PARAPET #PAR-A - PAR-A | PAR-A | 52.333 | 4.886 | 0 | 6" parapet | 16 | 0 | PAR-A | 11/S5.10; 6/S5.10; 4/A09.26 | [DERIVADO]
EXT-PARAPET #PAR-8H+PAR-8L - PAR-8H + PAR-8L | PAR-8H+PAR-8L | 75.933 | 2.901 | 0 | 6" parapet | 16 | 0 | PAR-8H + PAR-8L | 11/S5.10; 6/S5.10; 4/A09.26 | [DERIVADO]
EXT-PARAPET #PAR-F - PAR-F | PAR-F | 40 | 2.042 | 0 | 6" parapet | 16 | 0 | PAR-F | 11/S5.10; 6/S5.10; 4/A09.26 | [DERIVADO]
| TOTAL - PARTITIONS | 938.258 |  |  |  |  | 16297.76
TYPE OTHER FRAMING (NOT A PARTITION)
vestibule_head #VH-1 - 100 / 101 / 100-SOFFIT | VH-1 | 15.646 | 5.375 | 3 | 3-5/8" | 16 | 21.99 | 100 / 101 / 100-SOFFIT | 4/A12.10 | [CONFIRMADO]
vestibule_head #VH-2 - 100 / 103 / 100-SOFFIT | VH-2 | 6.417 | 4.358 | 3 | 3-5/8" | 16 | 18.65 | 100 / 103 / 100-SOFFIT | 4/A12.10 | [CONFIRMADO]
grille_head #GH-1 - 101 / 103 / 101-SOFFIT | GH-1 | 13.333 | 2 | 3 | 2-1/2" | 16 | 57.78 | 101 / 103 / 101-SOFFIT | 4/A08.21 | [CONFIRMADO]
storefront_cripples #SC-N - 103 | SC-N | 26.247 | 5.4 | 1 | 6" | 16 | 180.45 | 103 | C/A09.21 | [DERIVADO]
storefront_cripples #SC-T - 100 | SC-T | 12.58 | 5.858 | 1 | 6" | 16 | 86.49 | 100 | C/A09.21 | [DERIVADO]
storefront_cripples #SC-WV - 100 | SC-WV | 6.5 | 5.858 | 1 | 6" | 16 | 44.69 | 100 | C/A09.21 | [DERIVADO]
roof_step #RS-1 - RS-1 | RS-1 | 51.733 | 2.323 | 0 | 3-5/8" | 16 | 0 | RS-1 | 4/A02.02 | [DERIVADO]
roof_step #RS-2 - RS low | RS-2 | 51.733 | 1.142 | 1 | 3-5/8" | 16 | 59.08 | RS low | 4/A02.02 | [DERIVADO]
roof_step #RS-3 - RS high | RS-3 | 51.733 | 3.465 | 1 | 3-5/8" | 16 | 179.25 | RS high | 4/A02.02 | [DERIVADO]
fascia_box #FB-W - FB-W | FB-W | 95.65 | 1.864 | 0 | 3-5/8" canopy | 16 | 0 | FB-W | 7/A09.26; 15/A09.27; 16/A09.27; A04.01 canopy fascia | [DERIVADO]
fascia_box #FB-N - FB-N | FB-N | 60.533 | 1.864 | 0 | 3-5/8" canopy | 16 | 0 | FB-N | 7/A09.26; 15/A09.27; 16/A09.27; A04.01 canopy fascia | [DERIVADO]
fascia_box #FB-E - FB-E | FB-E | 55.577 | 1.864 | 0 | 3-5/8" canopy | 16 | 0 | FB-E | 7/A09.26; 15/A09.27; 16/A09.27; A04.01 canopy fascia | [DERIVADO]
fascia_box #FB-S - FB-S | FB-S | 29.89 | 1.864 | 0 | 3-5/8" canopy | 16 | 0 | FB-S | 7/A09.26; 15/A09.27; 16/A09.27; A04.01 canopy fascia | [DERIVADO]
soffit_side #CSR-S1 - 116 CSR | CSR-S1 | 12.01 | 7.375 | 1 | 3-5/8" | 16 | 18.02 | 116 CSR | 9/A12.08 | [DERIVADO]
soffit_side #CSR-S2 - 116 CSR | CSR-S2 | 12.01 | 7.375 | 1 | 3-5/8" | 16 | 18.02 | 116 CSR | 9/A12.08 | [DERIVADO]
ceiling_transition #TR-104 - 104 | TR-104 | 77.03 | 4.375 | 1 | 3-5/8" | 16 | 77.03 | 104 | 7/A09.33 | [DERIVADO]
ceiling_bulkhead #CB-111 - 103 | CB-111 | 5.64 | 6.875 | 1 | 3-5/8" | 16 | 16.92 | 103 | 8/A09.33 | [DERIVADO]
ceiling_bulkhead #CB-116W - 103 | CB-116W | 5.09 | 6.375 | 1 | 3-5/8" | 16 | 12.72 | 103 | 8/A09.33 | [DERIVADO]

## Material Summary
MATERIAL SUMMARY - NET / WASTE / PURCHASE
Waste lives HERE, in its own column, never inside the net quantity.
Material | Unit | Net | Waste % | Waste | Purchase | Selling unit | Pieces to buy | Where it comes from
6" metal stud 600S137-33 / 600S162-54 (exterior + A5/B2/B2K) | LF | 4397.64 | 0.15 | 659.646 | 5057.286 | stick 20 ft | 353 | familias_out.json '6" stud (todos los gauges)'; 7/S5.20; S1.11 n.5 (gauge per RFI-03); 3/A12.01; C/A09.21
3-5/8" metal stud 362S137-33 (A1/B/C1/F/A1K 14 ga + soffits + canopy) | LF | 6663.03 | 0.15 | 999.4545 | 7662.4845 | stick 20 ft | 499 | familias_out.json '3-5/8" stud (todos los gauges)'; 7/S5.20; 3/A12.01; 4/A12.01 14 GA @ 24"; 7/A09.26
1-5/8" metal stud double row (G / G1 / office bulkheads) | LF | 3772.46 | 0.15 | 565.869 | 4338.329 | stick 20 ft | 283 | familias_out.json '1-5/8" stud'; 5/A12.01; 9/A12.01
6" parapet stud 600S162-54 @ 16" (infill) | LF | 998.92 | 0.15 | 149.838 | 1148.758 | stick 10 ft | 134 | familias_out.json '6" parapet stud'; 11/S5.10; 6/S5.10
Bottom track (all sizes, 600T125-33 / 362T125-33 / 162T) | LF | 1347.98 | 0.15 | 202.197 | 1550.177 | piece 10 ft | 156 | familias_out.json 'bottom track (todos)'; 7/S5.20
Top / deflection slip track (600T200-97 ext.; continuous slip track int.) | LF | 1347.98 | 0.15 | 202.197 | 1550.177 | piece 10 ft | 156 | familias_out.json 'top / deflection track (todos)'; 7/S5.20; 3/A12.01; 10/S5.10
Ceiling / soffit / canopy track 362T125-33 | LF | 1399.78 | 0.15 | 209.967 | 1609.747 | piece 10 ft | 161 | familias_out.json 'track de ceilings / soffits'; 7/A09.26; 9/A12.08; 7/A09.33
Bracing 1-1/2" C.R. channel @ 48" O.C. | LF | 2464.52 | 0.15 | 369.678 | 2834.198 | piece 16 ft | 178 | familias_out.json 'bracing C.R. channel'; F/1/S5.20
Purlin 1x1x1 16 ga across min. (2) flutes | LF | 216.21 | 0.15 | 32.4315 | 248.6415 | piece 10 ft | 25 | familias_out.json 'purlin (track to deck)'; 10/A09.33
Header / box beam (track, 2-362CSJ20, box beams by pieces) | LF | 818.71 | 0.15 | 122.8065 | 941.5165 | piece 10 ft | 95 | familias_out.json 'header / box beam'; 7/S5.20; 11/A09.27; 9/A12.01; 4/A08.21
Sill track (double > 4'-0") | LF | 119.09 | 0.15 | 17.8635 | 136.9535 | piece 10 ft | 14 | familias_out.json 'sill track'; 2/S5.20
Furring channel 7/8" @ 16" O.C. (GWB ceilings) | LF | 820.29 | 0.15 | 123.0435 | 943.3335 | piece 12 ft | 79 | familias_out.json 'furring channel'; A04.01; ASTM C754 (RFI-01)
Carrying channel 1-1/2" @ 48" O.C. | LF | 290.12 | 0.15 | 43.518 | 333.638 | piece 16 ft | 21 | familias_out.json 'carrying channel'; A04.01 (RFI-01)
Hanger wire 12 ga (LF derived = PCS x height) | LF | 531.67 | 0.15 | 79.7505 | 611.4205 | roll | 612 | familias_out.json 'hanger wire'; 3/A09.33; 100 15 pcs x 5.375; 101 20 pcs x 5.375; 104 54 pcs x 4.375; 113 12 pcs x 4.389; 114 12 pcs x 4.552
Hanger wire 12 ga pieces (one per hanger, height per room) | PCS | 113 | 0 | 0 | 113 | each | 113 | hanger_pcs.total_pcs (canon.py); 3/A09.33
5/8" gypsum board regular (walls + ceilings) | SF | 17811.52 | 0.06 | 1068.6912 | 18880.2112 | 4x12 sheet | 394 | familias_out.json '5/8" gyp board regular (walls + ceilings)'; board_caras.py; A04.01
5/8" gypsum board moisture resistant (chase faces, toilet / lavatory) | SF | 259.06 | 0.06 | 15.5436 | 274.6036 | 4x12 sheet | 6 | familias_out.json '5/8" gyp MOISTURE RESISTANT'; F/A08.01
3/8" UL752 Level-2 fiberglass ballistic panel (to 8'-0") | SF | 78.14 | 0.06 | 4.6884 | 82.8284 | 4x8 sheet | 3 | familias_out.json 'ballistic panel'; 4/A12.01
3/8" gypsum board (8'-0" to deck over ballistic) | SF | 60.87 | 0.06 | 3.6522 | 64.5222 | 4x8 sheet | 3 | familias_out.json '3/8" gyp board'; 4/A12.01
5/8" glass mat sheathing (base T/SLAB-T/BASE + band behind canopy) | SF | 446.99 | 0.06 | 26.8194 | 473.8094 | 4x8 sheet | 15 | familias_out.json '5/8" glass mat sheathing'; 5/A09.26; 9/A09.27; 3/A09.26; 7/A09.26
5/8" exterior gypsum sheathing (parapet roof side) | SF | 942.26 | 0.06 | 56.5356 | 998.7956 | 4x8 sheet | 32 | familias_out.json '5/8" EXTERIOR gyp sheathing'; 4/A09.26
5/8" FRT plywood (nailbase on polyiso, canopy soffit/fascia, F wall, backboards, jamb strips) | SF | 7028.37 | 0.06 | 421.7022 | 7450.0722 | 4x8 sheet | 233 | familias_out.json 'FRT plywood (SF)'; C/A09.21; 7/A09.26; 12/A12.01; A11.03
FRT blocking (parapet 2 plies, toilet accessories, office jambs, millwork, grille) | LF | 971.63 | 0.06 | 58.2978 | 1029.9278 | piece 8 ft | 129 | familias_out.json 'FRT blocking'; 4/A09.26; E/A08.01; 10/A12.01; A12.03 note D
Metal stud blocking 362CR22 (edge of gypboard + wall stops) | LF | 626.92 | 0.15 | 94.038 | 720.958 | piece 10 ft | 73 | familias_out.json 'metal stud blocking (362CR / STUD BLOCKING)'; 4/S5.20; A00.30 note D
Metal trim - corner bead, casing bead, shadow molding, L bead | LF | 1180.36 | 0.15 | 177.054 | 1357.414 | piece 10 ft | 136 | familias_out.json 'metal trim (corner bead, casing, shadow molding)'; 8/A12.01; 9/A12.01; 10/A12.01; 7/A09.33; 9/A12.08
Cementitious backer board under tile cove base | SF | 33.47 | 0.06 | 2.0082 | 35.4782 | 3x5 sheet | 3 | familias_out.json 'cement board'; A08.01 CT-12C (58.7)
FRP panel WC-3 (restrooms) + mop sink | SF | 350.67 | 0.06 | 21.0402 | 371.7102 | 4x8 sheet | 12 | familias_out.json 'FRP'; A/A08.01; A05.01 key note 6
Acoustical sealant (per partition detail + bulkheads) and sealant at base exterior | LF | 1294.38 | 0.06 | 77.6628 | 1372.0428 | tube 10.1 oz (~ 30 LF) | 1373 | familias_out.json 'acoustical sealant'; 1/A12.01; 3/A12.01; 4/A12.01; 5/A12.01; 5/A09.26
Framed openings MEP / light fixtures / slot diffusers / access panel in GWB ceilings | LF | 941.33 | 0.15 | 141.1995 | 1082.5295 | piece 10 ft | 109 | framed_openings_out.json 'framed openings MEP'; 6/A09.33; 5/A09.33; E00.01; M00.03
Additional head track at openings over 4'-0" wide | LF | 56 | 0.15 | 8.4 | 64.4 | run 10 ft | 7 | accesorios.py [CRITERIO]: HEAD TRACK @ NON LOAD BRG: ADD FULL LENGTH ADDL HEAD TRACK @ OPNG > 4'-0"; decisión usuario #1: R.O. + 1'-4" (8" de bearing cada lado)
Stud reinforcement at MEP penetrations | PCS | 35 | 0 | 0 | 35 | each | 35 | accesorios.py [CRITERIO]: 6/S5.20; M01.01; 6/S5.20; M01.01 R-2 14x14 + FD; 6/S5.20; M01.01 S-2 + FD; 6/S5.20; M01.01 R-1A 8"; 6/S5.20; M01.01 S-2 6x6 35 CFM; 6/S5.20; P01.01 4" ST 90 GPM; 6/S5.20; P01.01 ST/OD TIGHT TO STRUCTURE; 6/S5.20; P01.01 chase (pipes dentro
Extra framing - sistered stud and furring at the ATM recess | LF | 18 | 0.15 | 2.7 | 20.7 | stick 20 ft | 2 | accesorios.py [DERIVADO]: 6/A08.11 '2 1/2" METAL STUD SISTERED TO 6" METAL STUD' (furring = sustrato del fiber cement, 60.4)
2-1/2" CFMF @ 16" O.C. at coiling grille head (4/A08.21) | LF | 10.43 | 0.15 | 1.5645 | 11.9945 | stick 20 ft | 1 | accesorios.py [DERIVADO]: 4/A08.21 6" + 1'-6" (bulkhead 2'-0"), (2) 6" CFMF BOX BEAM HEADER
Gypsum board jamb return at openings | SF | 91.17 | 0.06 | 5.4702 | 96.6402 | 4x12 ft sheet | 3 | accesorios.py [CRITERIO]: criterio estimador (ref v4: ancho del return = profundidad del stud 6", no acotado; RFI con delta a 0.20 ft)
PVC trim - edge trim molding and inside corner molding at the FRP | LF | 229.87 | 0.06 | 13.7922 | 243.6622 | trim stick 10 ft | 25 | accesorios.py [DERIVADO]: A/A08.01 '5'-0" TO TOP OF FRP' sobre cove base 6" (53.9.1); A04.01 polígono 113 (muesca NE); A/A08.01 '5'-0" TO TOP OF FRP' sobre cove base 6" (53.9.1); A04.01 polígono 114 (muesca SE); A05.01 key note 6 'FRP FROM FLOOR TO 4'-0" AFF, WIDTH
Power-driven fasteners and duct sleeves | PCS | 296 | 0 | 0 | 296 | each | 296 | accesorios.py [DERIVADO]: parapet infill: PAFs SPACED AT 12" O.C. MAX al steel beam; M01.01; M01.01 R-2 14x14 + FD; M01.01 S-2 + FD
Access panel 2'x2' | PCS | 1 | 0 | 0 | 1 | each | 1 | accesorios.py [CONFIRMADO]: A04.01 key note 4
Drywall screws 1-1/4" bugle head | PCS | 21757.74 | 0 | 0 | 21757.74 | each | 21758 | accesorios.py [DERIVADO]: criterio estimador (Inputs B20: GA-216 field 12" O.C., perimeter 8" O.C.)
Framing screws, pan head self-drilling | PCS | 6892 | 0 | 0 | 6892 | each | 6892 | accesorios.py [DERIVADO]: criterio estimador (Inputs B21: 2 por conexión stud-track en cada extremo)
Power-driven fasteners, slab pins for the bottom track | PCS | 480.87 | 0 | 0 | 480.87 | each | 481 | accesorios.py [DERIVADO]: criterio estimador (Handoff - Approved: el más cerrado de los tres del set, SILL TRACK ANCHORAGE interior @ 12" O.C.)
Expansion anchors Hilti 1/4" Kwik Bolt II, exterior bottom track @ 8" O.C. | PCS | 351.2 | 0 | 0 | 351.2 | each | 352 | accesorios.py [DERIVADO]: SILL TRACK ANCHORAGE exterior walls @ 8" O.C. (schedule de studs)
Joint compound, all purpose | LB | 1305.46 | 0 | 0 | 1305.46 | lb | 1306 | accesorios.py [DERIVADO]: criterio estimador (Inputs B23: 72 lb / 1,000 SF level 4)
Joint tape, paper | LF | 6708.64 | 0 | 0 | 6708.64 | LF | 6709 | accesorios.py [DERIVADO]: criterio estimador (Inputs B24: 370 LF / 1,000 SF)
Level 5 finish | SF | 803.98 | 0.06 | 48.2388 | 852.2188 | SF | 853 | accesorios.py [DERIVADO]: A05.01 WC-18 muro sur de cada office; A00.40 LEVEL 5; A05.01 key note 10 WC-22 LEVEL 5; A00.40

## Pending Items
RFI | Question / condition | Delta of each alternative
RFI-01 | GWB ceiling suspension (rooms 100, 101, 104, 113, 114) not specified on A04.01 or A09.33. Priced per ASTM C754: 7/8" furring channel @ 16", 1-1/2" carrying channel @ 48", 12 ga hanger wire @ 48". | furring @ 24": approx. -270 LF; carrying @ 36": approx. +80 LF
RFI-02 | 5/A12.01 PARTITION G does not note the top of gypsum board. Priced to deck (more material); 8/A12.01 and 9/A12.01 do carry it to deck. | to ceiling + 6" both faces: approx. -3,050 SF 5/8" (G/G1, 2 layers x 2 faces)
RFI-03 | Exterior stud: S1.11 note 5 600S162-54 @ 12" within 6 ft of building corners / @ 16" vs 7/S5.20 600S137-33 @ 16". Corner zones @ 12" included (more material); gauge to be confirmed. | no 12" zones: approx. -110 LF 6" stud; 54 mil vs 33 mil changes price
RFI-04 | Perimeter beam depth d not printed (AISC nominal W12x19 12.2", W14x22 13.7", W18x35 17.7"). Exterior stud height = B.O.D. - d (10/S5.10). Same criterion for interior walls under N-S beams (E26) whose profile is not legible per line on S2.20. | studs to B.O.D. without d: approx. +290 LF 6" and +110 LF interior
RFI-05 | Bottom track anchorage: 7/S5.20 (Hilti KB @ 8" ext., DNI @ 12" int.) vs 3/S5.20 (PAF @ 16"). Tighter spacing priced. | see slab pins family (delta @ 16" / @ 24")
RFI-06 | Deflection: S1.11 clips for 1" vs 6/S5.10 and 10/S5.10 deflection track +/- 1/2". | 600T200-97 top track kept; clip/track to be confirmed
RFI-07 | S2.20 canopy 'B.O.D. EL. 111'-9"' (read as 11'-9"); no effect on interior quantities. | 0
RFI-08 | A05.01 key note 9 calls WC-20 LEVEL 5 on the diagonal wall of 24 HR Vestibule 101, but WC-20 does not exist on A00.40. Not included. | + approx. 163 SF Level 5 finish (F wall 16.92 x 9.63)
RFI-09 | ATM drive-up R.O.: plan 2/A08.11 2'-2 1/2" vs elevation 5/A08.11 2'-2 1/8". 2'-2 1/8" used. | +0.03 ft header/sill
RFI-10 | R-11C / R-11CE: description 12' vs catalog 20'-0" (E00.01). 12' (as drawn) used. | +64 LF framed openings
RFI-11 | GYPSUM BOARD JAMB RETURN width not dimensioned (2/A09.26, 11/A09.27). 0.5 ft used. | at 0.20 ft: -55 LF x 0.3 ft
RFI-12 | Office front CONT. BOX BEAM (8/A12.01, 9/A12.01): size and run length not dimensioned; run measured per front (E 42.73 ft, W 22.40 ft) x 4 pieces. | per opening (6 x 7.5 ft): approx. -80 LF
RFI-13 | Vestibule heads 4/A12.10 to 7/A12.10 'METAL STUD FRAMING & BOX HEADER AS NEEDED': size not printed; 4-piece box headers carried over VH-1 and VH-2. | no box header: approx. -100 LF header
RFI-14 | TA-13 (hand dryer recess kit) and TA-14 (recessed waste) in the chase: size not printed; not framed. | if > 14 3/8": + 4 openings x (header + sill) = approx. +27 LF
RFI-15 | Tower high parapet back faces (key note 7, protection board) not dimensioned in plan; extra sheathing/infill not quantified. | approx. +2 x 16 LF high parapet
RFI-16 | Cladding substrate (7/8" hat channel @ 16" for EPS-5, lath for PT-3/PT-4 stucco, ATM fiber cement furring) EXCLUDED. | +1,413 LF hat channel; +1,538 SF lath
RFI-17 | Short A1K ballistic walls at teller line: customer face assumed toward the 116 strip / central zone; confirm panel side. | 0 (same area)
RFI-18 | Millwork blocking: note D A12.03-A12.06 FRTW vs A12.04 'PRESSURE TREATED'; no size printed. 72 LF FRT carried [DERIVADO by tag]. | +/- 30 LF
RFI-19 | Mop sink FRP (A05.01 key note 6): mop sink width not printed; 2'-0" per side used. | 28": +2.7 SF
RFI-20 | Restrooms: M01.01 linear slots (75/60 CFM) vs RCP two 2'x2' symbols. 2' slots carried. | 2'x2': approx. +16 LF framed openings
RFI-21 | Canopy soffit: joist direction and spacing not drawn (4/A09.33, 5/A09.33 note 3 5/8" CFMF @ 16"); carried perpendicular to wall. | parallel joists: +/- 10%
RFI-22 | Roof step 4/A02.02: T/STEEL hidden in render; heights of the 3 runs derived from S2.20 (15'-4 1/2" / 13'-0 5/8") and W14 depth. | +/- 0.5 ft per run
RFI-23 | Gypsum board control joints: not shown in the set (only stucco CJ). EXCLUDED; per ASTM C840 / GA-216 to be confirmed. | if required: alternate per LF
RFI-24 | Interior walls under N-S beams (E26): stopped under the beam with nominal d; if the beam is not over the wall, raise to B.O.D. Includes G-S2 (same beam line as G-S3, back-check H-5). | approx. +110 LF stud
RFI-25 | S1.10 note 7 / S1.11 note 4: COLD FORMED STEEL FRAMING is DELEGATED DESIGN / DEFERRED SUBMITTAL with drawings sealed by a Colorado engineer. Engineering EXCLUDED from material; cost to be confirmed. | engineering allowance (no material)
RFI-26 | FEC-1 RECESSED (A00.40) in A1 wall 3 5/8": size 'REFER TO SPECIFICATIONS' not printed; depth may not fit. Not framed. | + header + sill approx. 2 x 3.33 LF
RFI-27 | FRT plywood row (canon family 'FRT plywood (SF)') combines 5/8" FRT nailbase + 2 1/2" polyiso (C/A09.21), 5/8" FRT (canopy, fascia, column wraps) and 3/4" FRT (F wall, backboards, jambs). Split for purchasing and confirm who installs the nailbase. | no SF change; price change
RFI-28 | 9/A12.01 office bulkheads BH-E0..3 / BH-W0..1: soffit bottom (1 layer 5/8" x 7 1/2") NOT carried (canon.py requires the detail's 2 layers on every face). Soffit bottoms at 4/A12.10 (VH) and 4/A08.21 (GH-1) are carried. | +28.1 SF 5/8" (45 LF x 0.625 ft)
RFI-29 | Untagged piers G1-SW2 (3.35 ft, SW of 110) and G-S0 (2.42 ft, NW of 105) carried as G1 / G by drawn thickness; A02.01 note A says untagged = A1. | as A1: approx. -231 SF board; -268 LF 1-5/8" stud, +105 LF 3-5/8" stud
RFI-30 | C1 board height (CH-01 restroom chase MR, C1-MON TV recess, C1-FCAM): 6/A12.01 does not note the top; carried to deck. | to ceiling + 6": -78.6 SF 5/8" MR; -41.2 SF 5/8" regular
RFI-31 | B2K tag is used on A02.01 but has no row in the A12.01 partition schedule; carried as 6" @ 24" with ballistic panel (like A1K). | as B2 @ 16": minor (1.77 LF)
RFI-32 | S2.20 '@ LOW ROOF' at W16x31 (grid E) with no B.O.D. of its own; roof step taken at grid B (W14x22 HI/LOW). | if step is at grid E: E-B band drops approx. 2.3 ft (hundreds of SF)
RFI-33 | Gypsum board: door/window openings are NOT deducted from board SF (estimator convention, offsets waste). | if deducted: approx. -816 SF (15 doors + windows)
RFI-34 | Exterior 6" CFMF stops under the perimeter beam (C/A09.21, 10/S5.10) and parapet studs start at deck; if CFMF bypasses the beam continuously, confirm on S5.10 / S5.20. | continuous: approx. +200 LF 6" stud
RFI-ACC1 | additional head track: aberturas con box propio (openings_extra) > 4'-0": ¿llevan también el head track adicional de 2/S5.20? | 107.19 lf
RFI-ACC2 | gypsum board jamb return: ancho del jamb return no acotado | -54.7 sf
RFI-ACC3 | slab pins: spacing del pin: 12" (anchorage interior) vs 16" (fastener schedule) vs 24" (caja del tipo K) | {'delta_16in': -120.22, 'delta_24in': -240.44} pcs

## PARA REVISAR EN LA MANANA
# | Punto | Hoja + detalle | Imagen
1 | RFI-01: GWB ceiling suspension (rooms 100, 101, 104, 113, 114) not specified on A04.01 or A09.33. Priced per ASTM C754: 7/8" furring channel @ 16", 1-1/2" carrying channel @ 48", 12 ga hanger wire @ 48". Delta: furring @ 24": approx. -270 LF; carrying @ 36": approx. +80 LF | A02.01 | Planos marcados/A0201_*.jpg
2 | RFI-02: 5/A12.01 PARTITION G does not note the top of gypsum board. Priced to deck (more material); 8/A12.01 and 9/A12.01 do carry it to deck. Delta: to ceiling + 6" both faces: approx. -3,050 SF 5/8" (G/G1, 2 layers x 2 faces) | 5/A12.01 | Planos marcados/A0201_*.jpg
3 | RFI-03: Exterior stud: S1.11 note 5 600S162-54 @ 12" within 6 ft of building corners / @ 16" vs 7/S5.20 600S137-33 @ 16". Corner zones @ 12" included (more material); gauge to be confirmed. Delta: no 12" zones: approx. -110 LF 6" stud; 54 mil vs 33 mil changes price | A02.01 | Planos marcados/A0201_*.jpg
4 | RFI-04: Perimeter beam depth d not printed (AISC nominal W12x19 12.2", W14x22 13.7", W18x35 17.7"). Exterior stud height = B.O.D. - d (10/S5.10). Same criterion for interior walls under N-S beams (E26) whose profile is not legible per line on S2.20. Delta: studs to B.O.D. without d: approx. +290 LF 6" and +110 LF interior | A02.01 | Planos marcados/A0201_*.jpg
5 | RFI-05: Bottom track anchorage: 7/S5.20 (Hilti KB @ 8" ext., DNI @ 12" int.) vs 3/S5.20 (PAF @ 16"). Tighter spacing priced. Delta: see slab pins family (delta @ 16" / @ 24") | A02.01 | Planos marcados/A0201_*.jpg
6 | RFI-06: Deflection: S1.11 clips for 1" vs 6/S5.10 and 10/S5.10 deflection track +/- 1/2". Delta: 600T200-97 top track kept; clip/track to be confirmed | A02.01 | Planos marcados/A0201_*.jpg
7 | RFI-07: S2.20 canopy 'B.O.D. EL. 111'-9"' (read as 11'-9"); no effect on interior quantities. Delta: 0 | A02.01 | Planos marcados/A0201_*.jpg
8 | RFI-08: A05.01 key note 9 calls WC-20 LEVEL 5 on the diagonal wall of 24 HR Vestibule 101, but WC-20 does not exist on A00.40. Not included. Delta: + approx. 163 SF Level 5 finish (F wall 16.92 x 9.63) | A02.01 | Planos marcados/A0201_*.jpg
9 | RFI-09: ATM drive-up R.O.: plan 2/A08.11 2'-2 1/2" vs elevation 5/A08.11 2'-2 1/8". 2'-2 1/8" used. Delta: +0.03 ft header/sill | A02.01 | Planos marcados/A0201_*.jpg
10 | RFI-10: R-11C / R-11CE: description 12' vs catalog 20'-0" (E00.01). 12' (as drawn) used. Delta: +64 LF framed openings | A02.01 | Planos marcados/A0201_*.jpg
11 | RFI-11: GYPSUM BOARD JAMB RETURN width not dimensioned (2/A09.26, 11/A09.27). 0.5 ft used. Delta: at 0.20 ft: -55 LF x 0.3 ft | A02.01 | Planos marcados/A0201_*.jpg
12 | RFI-12: Office front CONT. BOX BEAM (8/A12.01, 9/A12.01): size and run length not dimensioned; run measured per front (E 42.73 ft, W 22.40 ft) x 4 pieces. Delta: per opening (6 x 7.5 ft): approx. -80 LF | A02.01 | Planos marcados/A0201_*.jpg
13 | RFI-13: Vestibule heads 4/A12.10 to 7/A12.10 'METAL STUD FRAMING & BOX HEADER AS NEEDED': size not printed; 4-piece box headers carried over VH-1 and VH-2. Delta: no box header: approx. -100 LF header | A02.01 | Planos marcados/A0201_*.jpg
14 | RFI-14: TA-13 (hand dryer recess kit) and TA-14 (recessed waste) in the chase: size not printed; not framed. Delta: if > 14 3/8": + 4 openings x (header + sill) = approx. +27 LF | A02.01 | Planos marcados/A0201_*.jpg
15 | RFI-15: Tower high parapet back faces (key note 7, protection board) not dimensioned in plan; extra sheathing/infill not quantified. Delta: approx. +2 x 16 LF high parapet | A02.01 | Planos marcados/A0201_*.jpg
16 | RFI-16: Cladding substrate (7/8" hat channel @ 16" for EPS-5, lath for PT-3/PT-4 stucco, ATM fiber cement furring) EXCLUDED. Delta: +1,413 LF hat channel; +1,538 SF lath | A02.01 | Planos marcados/A0201_*.jpg
17 | RFI-17: Short A1K ballistic walls at teller line: customer face assumed toward the 116 strip / central zone; confirm panel side. Delta: 0 (same area) | A02.01 | Planos marcados/A0201_*.jpg
18 | RFI-18: Millwork blocking: note D A12.03-A12.06 FRTW vs A12.04 'PRESSURE TREATED'; no size printed. 72 LF FRT carried [DERIVADO by tag]. Delta: +/- 30 LF | A02.01 | Planos marcados/A0201_*.jpg
19 | RFI-19: Mop sink FRP (A05.01 key note 6): mop sink width not printed; 2'-0" per side used. Delta: 28": +2.7 SF | A02.01 | Planos marcados/A0201_*.jpg
20 | RFI-20: Restrooms: M01.01 linear slots (75/60 CFM) vs RCP two 2'x2' symbols. 2' slots carried. Delta: 2'x2': approx. +16 LF framed openings | A02.01 | Planos marcados/A0201_*.jpg
21 | RFI-21: Canopy soffit: joist direction and spacing not drawn (4/A09.33, 5/A09.33 note 3 5/8" CFMF @ 16"); carried perpendicular to wall. Delta: parallel joists: +/- 10% | A02.01 | Planos marcados/A0201_*.jpg
22 | RFI-22: Roof step 4/A02.02: T/STEEL hidden in render; heights of the 3 runs derived from S2.20 (15'-4 1/2" / 13'-0 5/8") and W14 depth. Delta: +/- 0.5 ft per run | A02.01 | Planos marcados/A0201_*.jpg
23 | RFI-23: Gypsum board control joints: not shown in the set (only stucco CJ). EXCLUDED; per ASTM C840 / GA-216 to be confirmed. Delta: if required: alternate per LF | A02.01 | Planos marcados/A0201_*.jpg
24 | RFI-24: Interior walls under N-S beams (E26): stopped under the beam with nominal d; if the beam is not over the wall, raise to B.O.D. Includes G-S2 (same beam line as G-S3, back-check H-5). Delta: approx. +110 LF stud | A02.01 | Planos marcados/A0201_*.jpg
25 | RFI-25: S1.10 note 7 / S1.11 note 4: COLD FORMED STEEL FRAMING is DELEGATED DESIGN / DEFERRED SUBMITTAL with drawings sealed by a Colorado engineer. Engineering EXCLUDED from material; cost to be confirmed. Delta: engineering allowance (no material) | A02.01 | Planos marcados/A0201_*.jpg
26 | RFI-26: FEC-1 RECESSED (A00.40) in A1 wall 3 5/8": size 'REFER TO SPECIFICATIONS' not printed; depth may not fit. Not framed. Delta: + header + sill approx. 2 x 3.33 LF | A02.01 | Planos marcados/A0201_*.jpg
27 | RFI-27: FRT plywood row (canon family 'FRT plywood (SF)') combines 5/8" FRT nailbase + 2 1/2" polyiso (C/A09.21), 5/8" FRT (canopy, fascia, column wraps) and 3/4" FRT (F wall, backboards, jambs). Split for purchasing and confirm who installs the nailbase. Delta: no SF change; price change | A02.01 | Planos marcados/A0201_*.jpg
28 | RFI-28: 9/A12.01 office bulkheads BH-E0..3 / BH-W0..1: soffit bottom (1 layer 5/8" x 7 1/2") NOT carried (canon.py requires the detail's 2 layers on every face). Soffit bottoms at 4/A12.10 (VH) and 4/A08.21 (GH-1) are carried. Delta: +28.1 SF 5/8" (45 LF x 0.625 ft) | 9/A12.01 | Planos marcados/A0201_*.jpg
29 | RFI-29: Untagged piers G1-SW2 (3.35 ft, SW of 110) and G-S0 (2.42 ft, NW of 105) carried as G1 / G by drawn thickness; A02.01 note A says untagged = A1. Delta: as A1: approx. -231 SF board; -268 LF 1-5/8" stud, +105 LF 3-5/8" stud | A02.01 | Planos marcados/A0201_*.jpg
30 | RFI-30: C1 board height (CH-01 restroom chase MR, C1-MON TV recess, C1-FCAM): 6/A12.01 does not note the top; carried to deck. Delta: to ceiling + 6": -78.6 SF 5/8" MR; -41.2 SF 5/8" regular | A02.01 | Planos marcados/A0201_*.jpg
31 | RFI-31: B2K tag is used on A02.01 but has no row in the A12.01 partition schedule; carried as 6" @ 24" with ballistic panel (like A1K). Delta: as B2 @ 16": minor (1.77 LF) | A02.01 | Planos marcados/A0201_*.jpg
32 | RFI-32: S2.20 '@ LOW ROOF' at W16x31 (grid E) with no B.O.D. of its own; roof step taken at grid B (W14x22 HI/LOW). Delta: if step is at grid E: E-B band drops approx. 2.3 ft (hundreds of SF) | A02.01 | Planos marcados/A0201_*.jpg
33 | RFI-33: Gypsum board: door/window openings are NOT deducted from board SF (estimator convention, offsets waste). Delta: if deducted: approx. -816 SF (15 doors + windows) | A02.01 | Planos marcados/A0201_*.jpg
34 | RFI-34: Exterior 6" CFMF stops under the perimeter beam (C/A09.21, 10/S5.10) and parapet studs start at deck; if CFMF bypasses the beam continuously, confirm on S5.10 / S5.20. Delta: continuous: approx. +200 LF 6" stud | A02.01 | Planos marcados/A0201_*.jpg
35 | Tag sweep (unattended run): A1 10, A1K 3, A5 4, B 7, B2 6, B2K 1, C1 8, F 1, G 9, G1 2 on A02.01; untagged walls classified by drawn thickness: 2 office front stubs (G-S0 G, G1-SW2 G1, see RFI-29) and 3 alcove walls (A1). Confirm the list against the marked plans per type. | A02.01 | Planos marcados/A0201_<TYPE>.jpg
36 | Item register was created after an exploratory canon.py run (56.1 requires it before the first model number); the Excel was built after the register. | A02.01 | -

## Alcances
ALC | Alcance | Estado | Nota (cantidad, NO APLICA + hoja, o RFI)
ALC-01 | Interior partition framing (studs + tracks) | CUANTIFICADO | QUANTIFIED: Excel Material Summary 6"/3-5/8"/1-5/8" stud; A02.01; 3/A12.01
ALC-02 | Exterior wall framing (CFMF) | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-03 | Parapet framing | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-04 | Top / deflection and bottom track | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-05 | Headers, sills and jambs at openings | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-06 | Bracing / bridging | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-07 | Gypsum board on walls (layers per type) | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-08 | Moisture / abuse / special board at wet zones | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-09 | Exterior gypsum / glass mat sheathing | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-10 | FRT plywood sheathing / substrate | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-11 | Gypsum board ceilings | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-12 | Ceiling suspension (furring / carrying channel / hanger wire / ceiling track) | CUANTIFICADO | QUANTIFIED: Excel furring channel + carrying channel + hanger wire + ceiling track; A04.01
ALC-13 | Soffits and bulkheads (framing + board) | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-14 | Canopy / marquee framing and sheathing | CUANTIFICADO | QUANTIFIED: Excel canopy joists / fascia / FRT plywood; 7/A09.26
ALC-15 | Column furring / wraps | CUANTIFICADO | QUANTIFIED: Excel column wraps 5/A09.25 (3-5/8" studs + FRT plywood)
ALC-16 | Blocking (FRT wood / metal) for millwork and accessories | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-17 | Framed openings (MEP, access panels, diffusers) | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-18 | Trim: corner bead, casing bead, control joints, reveals | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-19 | Acoustical sealant / sound attenuation | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-20 | FRP / cement board / tile backer | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-21 | Shaft walls / area separation walls | NO APLICA | NOT APPLICABLE: A02.01 has no shaft walls or area separation walls; the scan did not find the term in the set
ALC-22 | Rated assemblies (UL designs) and their board type | NO APLICA | NOT APPLICABLE: A12.01 all partition types FIRE RATING '--' / U.L. '--'; A02.01 key note 6 and E02.02 key note 29 are FIRE-RATED plywood backboards (quantified as FRT plywood); A05.01 NER fire rated stamp on plywood; M00.01 / M00.03 / E00.01 generic penetration notes; E04.02 '2 HOUR FIRE RATED' is a generic electrical detail (no rated walls on A02.01)
ALC-23 | Special panels (ballistic, lead-lined, abuse) | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-24 | Finish level (Level 4 / Level 5) | CUANTIFICADO | QUANTIFIED: Excel Material Summary scope family; familias_out.json
ALC-X25 | batt insulation | NO APLICA | EXCLUDED (criterio del estimador: no insulation)