## Inputs
Bank of America - Broomfield, CO (CO1-111) ¦ METAL FRAMING & DRYWALL TAKEOFF
Bid set: 2025.08.26_CO1-111_Broomfield_PERMIT SET_BID SET.pdf · 2026-10-18 · Edit ONLY the yellow cells.
PARAMETER | VALUE | NOTE / SOURCE
Waste - ALL METAL, any type | 0.15 | Estimator standing rule: 15% on everything that is metal.
Waste - EVERYTHING THAT IS NOT METAL | 0.06 | Estimator standing rule: same figure as board.
Board sheet width (ft) | 4 | Sheet size is a parameter; buy the size that wastes least.
Board sheet length (ft) | 12 | Change it and every sheet count re-rounds.
SF per board sheet | 48 | Width x length.
Stud stock length (ft) | 20 | Stud, header, framed opening and stud blocking: sticks.
Track stock length (ft) | 10 | Track, sill track and purlin: runs.
Floor plan scale (pt/ft) | 18 | Project value (canon constants).
B.O. Deck (ft) | 15.375 | Project value (canon constants).
T.O. Parapet (ft) | 17.75 | Project value (canon constants).
Sealant coverage (LF per tube) | 25 | Sealant yield per tube - set your supplier's figure.
C.R. channel stock length (ft) | 16 | 1-1/2" cold-rolled channel (bracing, carrying channel).
Hat / furring channel stock (ft) | 12 | 7/8" hat furring channel.
Trim stick length (ft) | 10 | Corner bead, casing bead, shadow molding, PVC trim.
Hanger wire purchase | continuous coil (LF) | Bought by LF from a continuous coil; the hanger count goes on its own PCS row.
Drywall screws per SF of board | 1.2 | YIELD (GA-216 field / perimeter spacing).
Framing screws per stud piece | 4 | YIELD: 2 per stud-to-track connection, each end.
Power-driven pin spacing (ft) | 1 | YIELD: bottom track on slab, interior walls.
Joint compound (lb per SF) | 0.072 | YIELD: 72 lb per 1,000 SF, level 4 (estimator criterion).
Joint tape (LF per SF) | 0.37 | YIELD: 370 LF per 1,000 SF.
Expansion anchor spacing (ft) | 0.6667 | YIELD: exterior bottom track on slab.

## Partition Takeoff
ORGANIZED PARTITION TAKEOFF - Bank of America - Broomfield, CO (CO1-111)
Grouped by partition type. Every row cites its DETAIL/SHEET and its status.
Partition / Scope | Wall # | Length (LF) | Height (FT) | Layers | Stud Size | Stud O.C. (in) | Board (SF) | Location | Source (DETAIL/SHEET) | Status
TYPE A1
A1 #A-A1-01 - Calling Cubes 122 north wall (Waiting 104 GB field to the north), grid 5-6 between E and D; west end free at MW01 alcove, east end at the A5 east wall | A-A1-01 | 17.02 | 15.375 | 4 | 3-5/8" | 16 | 360.26 | Calling Cubes 122 north wall (Waiting 104 GB field to the north), grid 5-6 between E and D; west end free at MW01 alcove, east end at the A5 east wall | 3/A12.01 | [DERIVED]
A1 #A-A1-02 - MW01 printer alcove east wall (inside Calling Cubes 122 NW corner) | A-A1-02 | 3.533 | 15.375 | 2 | 3-5/8" | 16 | 86.12 | MW01 printer alcove east wall (inside Calling Cubes 122 NW corner) | 3/A12.01 | [DERIVED]
A1 #A-A1-03 - MW01 printer alcove south wall | A-A1-03 | 2.625 | 15.375 | 2 | 3-5/8" | 16 | 63.98 | MW01 printer alcove south wall | 3/A12.01 | [CONFIRMED]
A1 #A-A1-04 - Corridor 111 north wall with door 111 (between restroom east wall and the CC west wall) | A-A1-04 | 5.587 | 15.375 | 2 | 3-5/8" | 16 | 62.88 | Corridor 111 north wall with door 111 (between restroom east wall and the CC west wall) | 3/A12.01 | [DERIVED]
A1 #A-A1-05 - Calling Cubes 122 south wall (Break Room 118 / MW21 to the south) | A-A1-05 | 15.833 | 13.052 | 2 | 3-5/8" | 16 | 285 | Calling Cubes 122 south wall (Break Room 118 / MW21 to the south) | 3/A12.01 | [DERIVED]
A1 #A-A1-06 - Corridor 111 east wall from the CC south wall to the south exterior wall (door 118B; Electrical 120 and NER 121 west walls) | A-A1-06 | 20.52 | 11.91 | 4 | 3-5/8" | 16 | 362.15 | Corridor 111 east wall from the CC south wall to the south exterior wall (door 118B; Electrical 120 and NER 121 west walls) | 3/A12.01 | [DERIVED]
A1 #A-A1-07 - Short wall south of the CC east wall (east end of MW21), same east face line as A-A5-02 | A-A1-07 | 2.14 | 11.91 | 2 | 3-5/8" | 16 | 39.59 | Short wall south of the CC east wall (east end of MW21), same east face line as A-A5-02 | 3/A12.01 | [DERIVED]
A1 #A-A1-08 - Stub west of door 118A (customer alcove / Break Room 118) | A-A1-08 | 1.3 | 13.052 | 2 | 3-5/8" | 16 | 24.05 | Stub west of door 118A (customer alcove / Break Room 118) | 3/A12.01 | [DERIVED]
A1 #A-A1-09 - Work Room 119 north wall with door 119 (Cash Window 116 to the north), from the B2 wall to the east exterior wall | A-A1-09 | 11.667 | 13.052 | 2 | 3-5/8" | 16 | 168.06 | Work Room 119 north wall with door 119 (Cash Window 116 to the north), from the B2 wall to the east exterior wall | 3/A12.01 | [CONFIRMED]
A1 #A-A1-10 - Drinking-fountain alcove back wall (west), between Women's 114 / restroom chase end / Men's 113 and the corridor alcove; owns both alcove corners | A-A1-10 | 4.887 | 11.91 | 5 | 3-5/8" | 16 | 63.6 | Drinking-fountain alcove back wall (west), between Women's 114 / restroom chase end / Men's 113 and the corridor alcove; owns both alcove corners | 3/A12.01 | [DERIVED]
A1 #A-A1-11 - Drinking-fountain alcove north return, from the alcove back wall east face to the B2 wall west face (recessed item on the Women's 114 side, x 1099.68-1116.12) | A-A1-11 | 1.3 | 13.052 | 2 | 3-5/8" | 16 | 23.4 | Drinking-fountain alcove north return, from the alcove back wall east face to the B2 wall west face (recessed item on the Women's 114 side, x 1099.68-1116.12) | 3/A12.01 | [DERIVED]
A1 #A-A1-12 - Drinking-fountain alcove south return, from the alcove back wall east face to the B2 wall west face (recessed item on the Men's 113 side, x 1097.4-1115.76) | A-A1-12 | 1.3 | 13.052 | 2 | 3-5/8" | 16 | 23.4 | Drinking-fountain alcove south return, from the alcove back wall east face to the B2 wall west face (recessed item on the Men's 113 side, x 1097.4-1115.76) | 3/A12.01 | [DERIVED]
TYPE A5
A5 #A-A5-01+A-A5-02 - Calling Cubes 122 east wall, north piece (HI deck) from the CC north wall corner to grid B + Calling Cubes 122 east wall, south piece (LOW deck) from grid B to the south face of the CC south wall (wall continues south as A1 A-A1-08) | A-A5-01+A-A5-02 | 19.407 | 13.697 | 3 | 6" | 16 | 378.93 | Calling Cubes 122 east wall, north piece (HI deck) from the CC north wall corner to grid B + Calling Cubes 122 east wall, south piece (LOW deck) from grid B to the south face of the CC south wall (wall continues south as A1 A-A1-08) | 3/A12.01 | [DERIVED]
A5 #A-A5-03 - Calling Cubes 122 west wall, north of corridor 111 (FEC-1 recessed in west face) | A-A5-03 | 10.593 | 15.375 | 2 | 6" | 16 | 222.46 | Calling Cubes 122 west wall, north of corridor 111 (FEC-1 recessed in west face) | 3/A12.01 | [DERIVED]
A5 #A-A5-04+A-A5-05 - Calling Cubes 122 west wall at door 122, north piece (HI) - offset one thickness east of A-A5-03 + Calling Cubes 122 west wall with door 122, south piece (LOW) | A-A5-04+A-A5-05 | 4.873 | 12.315 | 2 | 6" | 16 | 39.94 | Calling Cubes 122 west wall at door 122, north piece (HI) - offset one thickness east of A-A5-03 + Calling Cubes 122 west wall with door 122, south piece (LOW) | 3/A12.01 | [DERIVED]
A5 #A-A5-06 - Wall between 118A vestibule and Cash Window 116, from the A1K south wall to door 116 | A-A5-06 | 3.28 | 11.91 | 2 | 6" | 16 | 60.68 | Wall between 118A vestibule and Cash Window 116, from the A1K south wall to door 116 | 3/A12.01 | [DERIVED]
TYPE A1K
A1K #A-A1K-01 - North end wall of the CSR teller line (Cash Window 116), south of the office 108 G wall | A-A1K-01 | 3.417 | 15.375 | 2 | 3-5/8" | 16 | 105.08 | North end wall of the CSR teller line (Cash Window 116), south of the office 108 G wall | 4/A12.01 | [CONFIRMED]
A1K #A-A1K-02 - South end wall of the CSR teller line (Cash Window 116), north of the C1 box | A-A1K-02 | 3.417 | 13.052 | 2 | 3-5/8" | 16 | 89.2 | South end wall of the CSR teller line (Cash Window 116), north of the C1 box | 4/A12.01 | [CONFIRMED]
A1K #A-A1K-03 - Kevlar wall south of the customer alcove, offset 10.56 pt (7") south of A-A1K-02 by a jog at x 1653.96-1661.76 | A-A1K-03 | 2.24 | 13.052 | 2 | 3-5/8" | 16 | 58.48 | Kevlar wall south of the customer alcove, offset 10.56 pt (7") south of A-A1K-02 by a jog at x 1653.96-1661.76 | 4/A12.01 | [DERIVED]
TYPE B
B #A-B-01 - Electrical 120 north wall (Break Room 118 side), grids 4-5 south of B | A-B-01 | 9.583 | 13.052 | 2 | 3-5/8" | 16 | 250.16 | Electrical 120 north wall (Break Room 118 side), grids 4-5 south of B | 1/A12.01 | [CONFIRMED]
B #A-B-02 - Electrical 120 / NER 121 separator | A-B-02 | 9.58 | 13.052 | 2 | 3-5/8" | 16 | 250.08 | Electrical 120 / NER 121 separator | 1/A12.01 | [DERIVED]
B #A-B-03 - Electrical 120 / NER 121 east wall (Break Room 118), doors 120 and 121 | A-B-03 | 14.147 | 13.052 | 2 | 3-5/8" | 16 | 273.74 | Electrical 120 / NER 121 east wall (Break Room 118), doors 120 and 121 | 1/A12.01 | [DERIVED]
B #A-B-04 - Men's Restroom 113 south wall / Janitor 112 + Storage 117 north wall, door 112 | A-B-04 | 11.733 | 13.052 | 2 | 3-5/8" | 16 | 258.5 | Men's Restroom 113 south wall / Janitor 112 + Storage 117 north wall, door 112 | 1/A12.01 | [DERIVED]
B #A-B-05 - Janitor 112 + Storage 117 south wall / Wellness 115 north wall (two tags, one straight run) | A-B-05 | 11.733 | 13.052 | 2 | 3-5/8" | 16 | 306.28 | Janitor 112 + Storage 117 south wall / Wellness 115 north wall (two tags, one straight run) | 1/A12.01 | [DERIVED]
B #A-B-06 - Janitor 112 / Storage 117 separator (between MW06A and MW05), from A-B-04 south face to A-B-05 north face | A-B-06 | 3.5 | 13.052 | 2 | 3-5/8" | 16 | 91.36 | Janitor 112 / Storage 117 separator (between MW06A and MW05), from A-B-04 south face to A-B-05 north face | 1/A12.01 | [DERIVED]
TYPE B2
B2 #A-B2-01 - ATM Room 102 east wall, door 102, between C1 grille jamb box and G wall | A-B2-01 | 5.667 | 15.375 | 2 | 6" | 16 | 111.66 | ATM Room 102 east wall, door 102, between C1 grille jamb box and G wall | 1/A12.01 | [CONFIRMED]
B2 #A-B2-02a+A-B2-02b - Women's Restroom 114 east wall, stub north of door 114 (HI zone, north of grid B) + Women's Restroom 114 east wall, door 114, to drinking-fountain alcove return | A-B2-02a+A-B2-02b | 5.533 | 13.212 | 2 | 6" | 16 | 98.42 | Women's Restroom 114 east wall, stub north of door 114 (HI zone, north of grid B) + Women's Restroom 114 east wall, door 114, to drinking-fountain alcove return | 1/A12.01 | [DERIVED]
B2 #A-B2-03 - Men's 113 / Storage 117 / Wellness 115 east wall to exterior, doors 113, 117, 115 | A-B2-03 | 15.787 | 13.052 | 2 | 6" | 16 | 268.78 | Men's 113 / Storage 117 / Wellness 115 east wall to exterior, doors 113, 117, 115 | 1/A12.01 | [DERIVED]
B2 #A-B2-04 - Break Room 118 / Work Room 119, from door 116 jamb to exterior | A-B2-04 | 11.74 | 11.91 | 2 | 6" | 16 | 279.64 | Break Room 118 / Work Room 119, from door 116 jamb to exterior | 1/A12.01 | [DERIVED]
TYPE B2K
B2K #A-B2K-01 - Teller line west end, north of Waiting 104 / south of Office 108 front, west of A1K teller wall | A-B2K-01 | 1.773 | 15.375 | 2 | 6" | 16 | 54.52 | Teller line west end, north of Waiting 104 / south of Office 108 front, west of A1K teller wall | 1/A12.01+4/A12.01 | [DERIVED]
TYPE C1
C1 #A-C1-01 - Restroom plumbing chase, north face (Women's 114), exterior wall to drinking-fountain alcove wall | A-C1-01 | 10.027 | 13.052 | 1 | 3-5/8" | 16 | 130.87 | Restroom plumbing chase, north face (Women's 114), exterior wall to drinking-fountain alcove wall | 6/A12.01 | [DERIVED]
C1 #A-C1-02 - Restroom plumbing chase, south face (Men's 113) | A-C1-02 | 10.027 | 13.052 | 1 | 3-5/8" | 16 | 130.87 | Restroom plumbing chase, south face (Men's 113) | 6/A12.01 | [DERIVED]
C1 #A-C1-03+A-C1-03a+A-C1-03b - Furred bump-out for 85" display monitor (key note 7) on Calling Cubes 122 north A1 wall, Waiting 104 side + Monitor bump-out west return (jog <= 1'-0", PT3: LF adds to A-C1-03) + Monitor bump-out east return (jog <= 1'-0", PT3: LF adds to A-C1-03) (incl. jog A-C1-03a 0.313 LF) (incl. jog A-C1-03b 0.313 LF) | A-C1-03+A-C1-03a+A-C1-03b | 10.626 | 15.375 | 1 | 3-5/8" | 16 | 163.37 | Furred bump-out for 85" display monitor (key note 7) on Calling Cubes 122 north A1 wall, Waiting 104 side + Monitor bump-out west return (jog <= 1'-0", PT3: LF adds to A-C1-03) + Monitor bump-out east return (jog <= 1'-0", PT3: LF adds to A-C1-03) (incl. jog A-C1-03a 0.313 LF) (incl. jog A-C1-03b 0.313 LF) | 6/A12.01 | [DERIVED]
C1 #A-C1-08+A-C1-08R - Lining on south face of A1K teller south wall at FUTURE FCAM + Return of the C1 lining at FUTURE FCAM to the A1K wall face (incl. jog A-C1-08R 0.227 LF) | A-C1-08+A-C1-08R | 3.207 | 13.052 | 1 | 3-5/8" | 16 | 41.86 | Lining on south face of A1K teller south wall at FUTURE FCAM + Return of the C1 lining at FUTURE FCAM to the A1K wall face (incl. jog A-C1-08R 0.227 LF) | 6/A12.01 | [DERIVED]
C1 #A-C1-04 - C1 box around HSS post at grid 4, south jamb of coiling grille 103, end of F wall / top of B2 A-B2-01 | A-C1-04 | 2.887 | 15.375 | 5 | 3-5/8" | 16 | 44.39 | C1 box around HSS post at grid 4, south jamb of coiling grille 103, end of F wall / top of B2 A-B2-01 | 6/A12.01 | [DERIVED]
C1 #A-C1-05 - C1 box 1'-0" x 1'-0" around HSS post at grid 4, north jamb of coiling grille 103 / corner of vestibule storefronts | A-C1-05 | 3.445 | 15.375 | 10 | 3-5/8" | 16 | 52.97 | C1 box 1'-0" x 1'-0" around HSS post at grid 4, north jamb of coiling grille 103 / corner of vestibule storefronts | 6/A12.01 | [DERIVED]
C1 #A-C1-06 - C1 box at grid G/4, NE corner of Vestibule 100 (encloses two HSS posts), protrudes north of the storefront line | A-C1-06 | 2.966 | 15.375 | 2 | 3-5/8" | 16 | 45.6 | C1 box at grid G/4, NE corner of Vestibule 100 (encloses two HSS posts), protrudes north of the storefront line | 6/A12.01 | [DERIVED]
C1 #A-C1-07 - C1 box at grid G/2, NW corner of Vestibule 100 (HSS post + Knox box key note 2) | A-C1-07 | 3.266 | 15.375 | 2 | 3-5/8" | 16 | 50.21 | C1 box at grid G/2, NW corner of Vestibule 100 (HSS post + Knox box key note 2) | 6/A12.01 | [DERIVED]
TYPE F
F #A-F-01 - 24 HR Vestibule 101 / ATM Room 102 diagonal partition with walk-up ATM | A-F-01 | 17.762 | 15.375 | 2 | 3-5/8" | 16 | 325.38 | 24 HR Vestibule 101 / ATM Room 102 diagonal partition with walk-up ATM | 12/A12.01 | [DERIVED]
TYPE G
G #A-G-01 - East office front (grid 7), stub between north exterior wall and office 105 front opening; UNTAGGED, typed G by measured thickness 9.24 pt = 6.16" (G 6 1/8", 55.4) | A-G-01 | 2.42 | 14.383 | 4 | 1-5/8" | 16 | 139.24 | East office front (grid 7), stub between north exterior wall and office 105 front opening; UNTAGGED, typed G by measured thickness 9.24 pt = 6.16" (G 6 1/8", 55.4) | 5/A12.01 | [DERIVED]
G #A-G-02 - East office front (grid 7), stub between office 105 door and office 106 DFC-1A (incl. 4" return north of the 105/106 G1) | A-G-02 | 3.467 | 14.383 | 4 | 1-5/8" | 16 | 199.46 | East office front (grid 7), stub between office 105 door and office 106 DFC-1A (incl. 4" return north of the 105/106 G1) | 5/A12.01 | [DERIVED]
G #A-G-03 - East office front (grid 7), stub between office 106 door and office 107 DFC-1A (incl. 4" return) | A-G-03 | 3.253 | 14.225 | 4 | 1-5/8" | 16 | 185.12 | East office front (grid 7), stub between office 106 door and office 107 DFC-1A (incl. 4" return) | 5/A12.01 | [DERIVED]
G #A-G-04 - East office front (grid 7), stub between office 107 door and office 108 DFC-1A (incl. 4" return) | A-G-04 | 3.253 | 14.225 | 4 | 1-5/8" | 16 | 185.12 | East office front (grid 7), stub between office 107 door and office 108 DFC-1A (incl. 4" return) | 5/A12.01 | [DERIVED]
G #A-G-06 - Office 106 / Office 107 demising wall, front stub (A-G-03) to east exterior wall (just north of grid E) | A-G-06 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.9 | Office 106 / Office 107 demising wall, front stub (A-G-03) to east exterior wall (just north of grid E) | 5/A12.01 | [CONFIRMED]
G #A-G-07 - Office 107 / Office 108 demising wall, front stub (A-G-04) to east exterior wall | A-G-07 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.9 | Office 107 / Office 108 demising wall, front stub (A-G-04) to east exterior wall | 5/A12.01 | [CONFIRMED]
G #A-G-08 - Office 108 south wall / Cash Window 116, from the end of the B2K ballistic wall (x 1661.76) to east exterior wall | A-G-08 | 10.073 | 15.375 | 4 | 1-5/8" | 16 | 619.5 | Office 108 south wall / Cash Window 116, from the end of the B2K ballistic wall (x 1661.76) to east exterior wall | 5/A12.01 | [DERIVED]
G #A-G-09 - ATM Room 102 / Office 109 wall, west exterior wall to office front (grid 4); east end = 4" return at the 109 door jamb (end of this wall, PROTOCOL 7) | A-G-09 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | ATM Room 102 / Office 109 wall, west exterior wall to office front (grid 4); east end = 4" return at the 109 door jamb (end of this wall, PROTOCOL 7) | 5/A12.01 | [CONFIRMED]
G #A-G-10 - Office 109 / Office 110 demising wall, west exterior wall (column furring) to front stub A-G1-11 | A-G-10 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | Office 109 / Office 110 demising wall, west exterior wall (column furring) to front stub A-G1-11 | 5/A12.01 | [CONFIRMED]
G #A-G-12 - Office 110 / Women's Restroom 114 wall, west exterior wall to office front corner stub A-G1-13 | A-G-12 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | Office 110 / Women's Restroom 114 wall, west exterior wall to office front corner stub A-G1-13 | 5/A12.01 | [CONFIRMED]
TYPE G1
G1 #A-G1-05 - Office 105 / Office 106 demising wall, front stub (A-G-02) to east exterior wall | A-G1-05 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.9 | Office 105 / Office 106 demising wall, front stub (A-G-02) to east exterior wall | 5/A12.01 | [CONFIRMED]
G1 #A-G1-11+A-G1-14 - West office front (grid 4), stub between office 109 DFC-1A and office 110 door (incl. 4" return south of the 109/110 G) + West office front line, north end at Office 109 / ATM 102 corner (corner + 4" return to the DFC-1A jamb), untagged (incl. jog A-G1-14 0.847 LF) | A-G1-11+A-G1-14 | 4.353 | 15.375 | 4 | 1-5/8" | 16 | 267.74 | West office front (grid 4), stub between office 109 DFC-1A and office 110 door (incl. 4" return south of the 109/110 G) + West office front line, north end at Office 109 / ATM 102 corner (corner + 4" return to the DFC-1A jamb), untagged (incl. jog A-G1-14 0.847 LF) | 5/A12.01 | [DERIVED]
G1 #A-G1-13 - West office front (grid 4), SW corner stub of office 110 (office 110 DFC-1A south jamb to the 110/114 G wall corner); UNTAGGED, typed G1 by thickness 12.72 pt = 8.48" (same as tagged G1 stub PT0049, 55.4) | A-G1-13 | 3.18 | 15.375 | 4 | 1-5/8" | 16 | 195.58 | West office front (grid 4), SW corner stub of office 110 (office 110 DFC-1A south jamb to the 110/114 G wall corner); UNTAGGED, typed G1 by thickness 12.72 pt = 8.48" (same as tagged G1 stub PT0049, 55.4) | 5/A12.01 | [DERIVED]
TYPE BULKHEAD-G
BULKHEAD-G #A-BH-E1+A-BH-E2+A-BH-E3+A-BH-E4 - Office bulkhead over vendor office front of Office 105 (DFC-1A + door, note E/A02.01: front by vendor, bulkhead ours), east front grid 7 + Office bulkhead over vendor office front of Office 106 (DFC-1A + door, note E/A02.01: front by vendor, bulkhead ours), east front grid 7 + Office bulkhead over vendor office front of Office 107 (DFC-1A + door, note E/A02.01: front by vendor, bulkhead ours), east front grid 7 + Office bulkhead over vendor office front of Office 108 (DFC-1A + door, note E/A02.01: front by vendor, bulkhead ours), east front grid 7 | A-BH-E1+A-BH-E2+A-BH-E3+A-BH-E4 | 30 | 6.262 | 5 | 1-5/8" | 16 | 766.8 | Office bulkhead over vendor office front of Office 105 (DFC-1A + door, note E/A02.01: front by vendor, bulkhead ours), east front grid 7 + Office bulkhead over vendor office front of Office 106 (DFC-1A + door, note E/A02.01: front by vendor, bulkhead ours), east front grid 7 + Office bulkhead over vendor office front of Office 107 (DFC-1A + door, note E/A02.01: front by vendor, bulkhead ours), east front grid 7 + Office bulkhead over vendor office front of Office 108 (DFC-1A + door, note E/A02.01: front by vendor, bulkhead ours), east front grid 7 | 5/A12.01 | [CONFIRMED]
BULKHEAD-G #A-BH-W1+A-BH-W2 - Office bulkhead over vendor office front of Office 109 (DFC-1A + door, vendor), west front grid 4 + Office bulkhead over vendor office front of Office 110 (DFC-1A + door, vendor), west front grid 4 | A-BH-W1+A-BH-W2 | 15 | 7.333 | 5 | 1-5/8" | 16 | 447.66 | Office bulkhead over vendor office front of Office 109 (DFC-1A + door, vendor), west front grid 4 + Office bulkhead over vendor office front of Office 110 (DFC-1A + door, vendor), west front grid 4 | 5/A12.01 | [CONFIRMED]
TYPE EXT-6CFMF
EXT-6CFMF #A-EXT-01 - 24 HR Vestibule 101 / ATM Room 102 | A-EXT-01 | 20.907 | 14.358 | 1 | 6" | 16 | 315.78 | 24 HR Vestibule 101 / ATM Room 102 | C/A09.21 | [DERIVED]
EXT-6CFMF #A-EXT-02 - ATM Room 102 | A-EXT-02 | 3.907 | 14.358 | 1 | 6" | 16 | 60.07 | ATM Room 102 | C/A09.21 | [DERIVED]
EXT-6CFMF #A-EXT-04a+A-EXT-04b - Office 5 CB 109 / Office 6 CB 110 / corridor-restroom + Women 114 / Men 113 / Janitor 112 / Wellness 115 | A-EXT-04a+A-EXT-04b | 47.414 | 13.07 | 1 | 6" | 16 | 639.04 | Office 5 CB 109 / Office 6 CB 110 / corridor-restroom + Women 114 / Men 113 / Janitor 112 / Wellness 115 | C/A09.21 | [DERIVED]
EXT-6CFMF #A-EXT-05a+A-EXT-05b - Wellness 115 / Corridor 123 vestibule / NER 121 / Break Room 118 + Work Room 119 | A-EXT-05a+A-EXT-05b | 51.734 | 11.17 | 1 | 6" | 16 | 621.07 | Wellness 115 / Corridor 123 vestibule / NER 121 / Break Room 118 + Work Room 119 | C/A09.21 | [DERIVED]
EXT-6CFMF #A-EXT-06a+A-EXT-06b - Offices 105/106/107/108 / Cash Window 116 + Cash Window 116 / Work Room 119 | A-EXT-06a+A-EXT-06b | 75.334 | 13.548 | 1 | 6" | 16 | 1036.31 | Offices 105/106/107/108 / Cash Window 116 + Cash Window 116 / Work Room 119 | C/A09.21 | [DERIVED]
EXT-6CFMF #A-EXT-07 - Office 1 ME 105 | A-EXT-07 | 12.64 | 14.358 | 1 | 6" | 16 | 194.34 | Office 1 ME 105 | C/A09.21 | [DERIVED]
EXT-6CFMF #A-EXT-P1 - A-EXT-P1 | A-EXT-P1 | 3.375 | 14.358 | 0 | 6" | 16 | 0 | A-EXT-P1 | 1/A09.25; A02.01; S2.20 | [CONFIRMED]
EXT-6CFMF #A-EXT-P2 - A-EXT-P2 | A-EXT-P2 | 2.896 | 14.358 | 0 | 6" | 16 | 0 | A-EXT-P2 | 2/A09.25; A02.01; S2.20 | [CONFIRMED]
TYPE EXT-PARAPET
EXT-PARAPET #A-PAR-2 - Tower parapet (T.O. PARAPET 2) on grid 2, G to D (A09.01 West elev.; A09.23 Section J) | A-PAR-2 | 29.033 | 4.292 | 0 | 6" parapet | 16 | 0 | Tower parapet (T.O. PARAPET 2) on grid 2, G to D (A09.01 West elev.; A09.23 Section J) | 11/S5.10; 4/A09.26; A02.02 | [DERIVED]
EXT-PARAPET #A-PAR-G - Tower parapet on grid G, cols 2-4 over vestibule bump-out (A09.21 Sections A, B; A09.01 'South' elev. = north face) | A-PAR-G | 16.393 | 4.292 | 0 | 6" parapet | 16 | 0 | Tower parapet on grid G, cols 2-4 over vestibule bump-out (A09.21 Sections A, B; A09.01 'South' elev. = north face) | 11/S5.10; 4/A09.26; A02.02 | [DERIVED]
EXT-PARAPET #A-PAR-4R - Tower east return at col 4, from G south past F to free end (key note 10 ACM COPING, A02.02) | A-PAR-4R | 3.947 | 4.292 | 0 | 6" parapet | 16 | 0 | Tower east return at col 4, from G south past F to free end (key note 10 ACM COPING, A02.02) | 11/S5.10; 4/A09.26; A02.02 | [DERIVED]
EXT-PARAPET #A-PAR-D - Tower south end on grid D, cols 2-3 (jog of the west wall) | A-PAR-D | 3.907 | 4.292 | 0 | 6" parapet | 16 | 0 | Tower south end on grid D, cols 2-3 (jog of the west wall) | 11/S5.10; 4/A09.26; A02.02 | [DERIVED]
EXT-PARAPET #A-PAR-F - Parapet grid F cols 4-8 (T.O. PARAPET 1), tees into tower return at col 4 | A-PAR-F | 39.61 | 2.042 | 0 | 6" parapet | 16 | 0 | Parapet grid F cols 4-8 (T.O. PARAPET 1), tees into tower return at col 4 | 11/S5.10; 4/A09.26; A02.02 | [DERIVED]
EXT-PARAPET #A-PAR-8N+A-PAR-8S - Parapet grid 8, F to B (HI roof) + Parapet grid 8, B to A (LOW sloped roof; same straight run as A-PAR-8N, split at deck break B, D9) | A-PAR-8N+A-PAR-8S | 75.96 | 2.897 | 0 | 6" parapet | 16 | 0 | Parapet grid 8, F to B (HI roof) + Parapet grid 8, B to A (LOW sloped roof; same straight run as A-PAR-8N, split at deck break B, D9) | 11/S5.10; 4/A09.26; A02.02 | [DERIVED]
EXT-PARAPET #A-PAR-A - Parapet grid A, cols 3-8 (LOW roof low edge) | A-PAR-A | 52.347 | 4.885 | 0 | 6" parapet | 16 | 0 | Parapet grid A, cols 3-8 (LOW roof low edge) | 11/S5.10; 4/A09.26; A02.02 | [DERIVED]
EXT-PARAPET #A-PAR-3N+A-PAR-3S - Parapet grid 3, D to B (HI roof; drive-up canopy outside) + Parapet grid 3, B to A (LOW roof; same run as A-PAR-3N, split at deck break B) | A-PAR-3N+A-PAR-3S | 47.927 | 3.397 | 0 | 6" parapet | 16 | 0 | Parapet grid 3, D to B (HI roof; drive-up canopy outside) + Parapet grid 3, B to A (LOW roof; same run as A-PAR-3N, split at deck break B) | 11/S5.10; 4/A09.26; A02.02 | [DERIVED]
TYPE CANOPY-COL
CANOPY-COL #A-CW-1 - Drive-up canopy column 1 at grid 1 (bubble 5/A09.25) | A-CW-1 | 5.667 | 10.604 | 0 | 3-5/8" | 16 | 0 | Drive-up canopy column 1 at grid 1 (bubble 5/A09.25) | 5/A09.25; A02.01 | [DERIVED]
CANOPY-COL #A-CW-2 - Drive-up canopy column 2 at grid 1 (bubble 5/A09.25) | A-CW-2 | 5.667 | 10.604 | 0 | 3-5/8" | 16 | 0 | Drive-up canopy column 2 at grid 1 (bubble 5/A09.25) | 5/A09.25; A02.01 | [DERIVED]
CANOPY-COL #A-CW-3 - Drive-up canopy column 3 at grid 1 (bubble 5/A09.25) | A-CW-3 | 5.667 | 10.604 | 0 | 3-5/8" | 16 | 0 | Drive-up canopy column 3 at grid 1 (bubble 5/A09.25) | 5/A09.25; A02.01 | [DERIVED]
CANOPY-COL #A-CW-4 - Drive-up canopy column 4 at grid 1 (bubble 5/A09.25 SIM) | A-CW-4 | 5.667 | 10.604 | 0 | 3-5/8" | 16 | 0 | Drive-up canopy column 4 at grid 1 (bubble 5/A09.25 SIM) | 5/A09.25; A02.01 | [DERIVED]
| TOTAL - PARTITIONS | 955.114 |  |  |  |  | 15935.27
TYPE OTHER FRAMING (NOT A PARTITION)
ceiling_bulkhead #A-CSR-WN - CSR soffit over teller line, CSR-W drop | A-CSR-WN | 6.44 | 7.375 | 1 | 3-5/8" | 16 | 9.66 | CSR soffit over teller line, CSR-W drop | 10/A09.33 | [DERIVED]
ceiling_bulkhead #A-CSR-WS - CSR soffit over teller line, CSR-W drop | A-CSR-WS | 5.573 | 5.052 | 1 | 3-5/8" | 16 | 8.36 | CSR soffit over teller line, CSR-W drop | 10/A09.33 | [DERIVED]
ceiling_bulkhead #A-CSR-EN - CSR soffit over teller line, CSR-E drop | A-CSR-EN | 6.44 | 7.375 | 1 | 3-5/8" | 16 | 9.66 | CSR soffit over teller line, CSR-E drop | 10/A09.33 | [DERIVED]
ceiling_bulkhead #A-CSR-ES - CSR soffit over teller line, CSR-E drop | A-CSR-ES | 5.573 | 5.052 | 1 | 3-5/8" | 16 | 8.36 | CSR soffit over teller line, CSR-E drop | 10/A09.33 | [DERIVED]
ceiling_transition #A-TR104-N - 104 WAITING N edge | A-TR104-N | 17.027 | 4.375 | 1 | 3-5/8" | 16 | 17.03 | 104 WAITING N edge | 8/A09.33 | [DERIVED]
ceiling_transition #A-TR104-W - 104 WAITING W edge | A-TR104-W | 30 | 4.375 | 1 | 3-5/8" | 16 | 30 | 104 WAITING W edge | 8/A09.33 | [DERIVED]
ceiling_transition #A-TR104-E - 104 WAITING E edge | A-TR104-E | 30 | 4.375 | 1 | 3-5/8" | 16 | 30 | 104 WAITING E edge | 8/A09.33 | [DERIVED]
ceiling_transition #A-TRCZ-N - 103 CENTRAL ZONE ACT-4 9'-0" customer area (west of CSR) N edge | A-TRCZ-N | 5.093 | 6.375 | 1 | 3-5/8" | 16 | 15.28 | 103 CENTRAL ZONE ACT-4 9'-0" customer area (west of CSR) N edge | 8/A09.33 | [DERIVED]
vestibule_head #A-VH-S - Over interior storefront between Vestibule 100 and 24 HR Vestibule 101 (doors 101), grids 2-4 | A-VH-S | 15.646 | 5.375 | 0 | 3-5/8" | 16 | 0 | Over interior storefront between Vestibule 100 and 24 HR Vestibule 101 (doors 101), grids 2-4 | A02.01; 1/A12.10; 4/A12.10; 5/A12.10; S2.20; A04.01 | [CONFIRMED]
vestibule_head #A-VH-E - Over interior storefront between Vestibule 100 and Central Zone 103 (door 100A), grid 4 between F and E.4 | A-VH-E | 6.417 | 4.383 | 1 | 3-5/8" | 16 | 9.63 | Over interior storefront between Vestibule 100 and Central Zone 103 (door 100A), grid 4 between F and E.4 | 6/A12.10 | [CONFIRMED]
grille_head #A-GH-103 - Coiling grille door 103 head, grid 4 between E.4 and E (24 HR Vestibule 101 / Central Zone 103) | A-GH-103 | 13.333 | 2 | 3 | 2-1/2" | 16 | 37.22 | Coiling grille door 103 head, grid 4 between E.4 and E (24 HR Vestibule 101 / Central Zone 103) | 4/A08.21 | [CONFIRMED]
storefront_cripples #A-EXT-CR1 - Central Zone 103 / Waiting 104 | A-EXT-CR1 | 26.25 | 4.525 | 1 | 6" | 16 | 180.47 | Central Zone 103 / Waiting 104 | C/A09.21 | [CONFIRMED]
storefront_cripples #A-EXT-CR2 - Vestibule 100 | A-EXT-CR2 | 12.562 | 4.983 | 1 | 6" | 16 | 86.37 | Vestibule 100 | C/A09.21 | [CONFIRMED]
storefront_cripples #A-EXT-CR3 - Vestibule 100 | A-EXT-CR3 | 6.5 | 4.983 | 1 | 6" | 16 | 44.69 | Vestibule 100 | C/A09.21 | [CONFIRMED]
roof_step #A-RS-1 - Roof step at grid B, cols 3-8: upper exterior row (nailbase face, LOW roof deck to 2X FRT blocking) | A-RS-1 | 51.593 | 3.113 | 0 | 3-5/8" | 16 | 0 | Roof step at grid B, cols 3-8: upper exterior row (nailbase face, LOW roof deck to 2X FRT blocking) | 4/A02.02; A02.02 | [DERIVED]
roof_step #A-RS-2 - Roof step at grid B, cols 3-8: interior row under HI deck (5/8" gyp, to bottom of box) | A-RS-2 | 51.593 | 3.46 | 1 | 3-5/8" | 16 | 178.51 | Roof step at grid B, cols 3-8: interior row under HI deck (5/8" gyp, to bottom of box) | 4/A02.02 | [DERIVED]
roof_step #A-RS-3 - Roof step at grid B, cols 3-8: lower row under LOW deck (5/8" gyp, to bottom of box) | A-RS-3 | 51.593 | 1.131 | 2 | 3-5/8" | 16 | 125.52 | Roof step at grid B, cols 3-8: lower row under LOW deck (5/8" gyp, to bottom of box) | 4/A02.02 | [DERIVED]
fascia_box #A-FB-N - Canopy fascia, north edge, full width (drive-up NW corner to NE corner) | A-FB-N | 77.66 | 1.865 | 0 | 3-5/8" | 16 | 0 | Canopy fascia, north edge, full width (drive-up NW corner to NE corner) | 3/A09.26; A04.01 | [DERIVED]
fascia_box #A-FB-W1 - Drive-up canopy fascia, west edge (outboard of col 1) | A-FB-W1 | 56.02 | 1.865 | 0 | 3-5/8" | 16 | 0 | Drive-up canopy fascia, west edge (outboard of col 1) | 16/A09.27; A04.01 | [DERIVED]
fascia_box #A-FB-W2 - Drive-up canopy fascia, south edge (grid B) to col 3 wall | A-FB-W2 | 21.25 | 1.865 | 0 | 3-5/8" | 16 | 0 | Drive-up canopy fascia, south edge (grid B) to col 3 wall | 16/A09.27; A04.01 | [DERIVED]
fascia_box #A-FB-E1 - Side canopy fascia, east edge (grid 8 + 3'-0") | A-FB-E1 | 52.08 | 1.865 | 0 | 3-5/8" | 16 | 0 | Side canopy fascia, east edge (grid 8 + 3'-0") | 7/A09.26; A04.01 | [DERIVED]
fascia_box #A-FB-E2 - Side canopy fascia, south end of east canopy (near B.2) to grid 8 wall | A-FB-E2 | 2.743 | 1.865 | 0 | 3-5/8" | 16 | 0 | Side canopy fascia, south end of east canopy (near B.2) to grid 8 wall | 7/A09.26; A04.01 | [DERIVED]
fascia_box #A-FB-S1 - South canopy fascia at grid A, cols 3-4 (A09.22 Section F) | A-FB-S1 | 22.5 | 1.865 | 0 | 3-5/8" | 16 | 0 | South canopy fascia at grid A, cols 3-4 (A09.22 Section F) | 7/A09.26; A04.01 | [DERIVED]
fascia_box #A-FB-S2 - South canopy fascia, west return to grid A wall | A-FB-S2 | 2.743 | 1.865 | 0 | 3-5/8" | 16 | 0 | South canopy fascia, west return to grid A wall | 7/A09.26; A04.01 | [DERIVED]
fascia_box #A-FB-S3 - South canopy fascia, east return to grid A wall | A-FB-S3 | 2.743 | 1.865 | 0 | 3-5/8" | 16 | 0 | South canopy fascia, east return to grid A wall | 7/A09.26; A04.01 | [DERIVED]

## Material Summary
MATERIAL SUMMARY - NET / WASTE / PURCHASE
Waste lives HERE, in its own column, applied ONCE: Pieces = ROUNDUP(Net x (1 + waste) / stock). Every stock length, coverage and yield is an Inputs cell.
Material | Unit | Net | Waste % | Waste | Purchase | Selling unit | Pieces to buy | Where it comes from | Yield check (live formula)
6" metal stud - exterior CFMF 600S162-54 (S1.11 n.5) and interior 6" types A5/B2/B2K | LF | 4515.4 | 0.15 | 677.31 | 5192.71 | stick 20 ft | 260 | familias_out.json '6" stud (all gauges)'; 7/S5.20; S1.11
3-5/8" metal stud 362S137-33 (interior, soffits, canopy, transitions) | LF | 7217.92 | 0.15 | 1082.688 | 8300.608 | stick 20 ft | 416 | familias_out.json '3-5/8" stud (all gauges)'; 7/S5.20; 3/A12.01
1-5/8" metal stud - G / G1 double row (gauge per RFI-A-K-7) | LF | 3850.57 | 0.15 | 577.5855 | 4428.1555 | stick 20 ft | 222 | familias_out.json '1-5/8" stud'; 5/A12.01
6" parapet stud 600S162-54 @ 16" infill between HSS posts | LF | 1000.94 | 0.15 | 150.141 | 1151.081 | stick 20 ft | 58 | familias_out.json '6" parapet stud'; 11/S5.10
Bottom track - all sizes (600T125-33 exterior; 3-5/8" / 1-5/8" / 6" interior) | LF | 1343.06 | 0.15 | 201.459 | 1544.519 | run 10 ft | 155 | familias_out.json 'bottom track (all)'; 7/S5.20
Top / deflection track - all sizes (600T200-97 exterior deflection; continuous slip track interior) | LF | 1343.06 | 0.15 | 201.459 | 1544.519 | run 10 ft | 155 | familias_out.json 'top / deflection track (all)'; 7/S5.20; 10/S5.10
Ceiling / soffit track 3-5/8" (ceilings, soffits, canopy, transitions) | LF | 1380.02 | 0.15 | 207.003 | 1587.023 | run 10 ft | 159 | familias_out.json 'ceiling / soffit track'; 7/A09.33; 7/A09.26
Purlin 1x1x1 16 ga across min. (2) flutes - track to deck parallel to flute | LF | 234.57 | 0.15 | 35.1855 | 269.7555 | run 10 ft | 27 | familias_out.json 'purlin (track to deck)'; 10/A09.33
Header / box beam - by pieces (R.O. + 1'-4") x pieces | LF | 792.12 | 0.15 | 118.818 | 910.938 | stick 20 ft | 46 | familias_out.json 'header / box beam'; 7/S5.20; 11/A09.27
Sill track - (R.O. + 1'-4") x pieces, double over 4'-0" | LF | 119.09 | 0.15 | 17.8635 | 136.9535 | run 10 ft | 14 | familias_out.json 'sill track'; 2/S5.20
Bracing 1-1/2" C.R. channel @ 48" O.C. | LF | 2469.51 | 0.15 | 370.4265 | 2839.9365 | C.R. channel 16 ft | 178 | familias_out.json 'bracing C.R. channel'; F/1/S5.20
Furring channel 7/8" hat @ 16" O.C. (GWB ceilings) | LF | 398.26 | 0.15 | 59.739 | 457.999 | hat channel 12 ft | 39 | familias_out.json 'furring channel'; 8/A09.33
Carrying channel 1-1/2" C.R. @ 48" O.C. (GWB ceilings) | LF | 318.94 | 0.15 | 47.841 | 366.781 | C.R. channel 16 ft | 23 | familias_out.json 'carrying channel'; 8/A09.33
Hanger wire 12 ga - LF = hangers x height per room | LF | 533.62 | 0.15 | 80.043 | 613.663 | continuous coil (LF) | 614 | familias_out.json 'hanger wire'; 8/A09.33; S2.20
5/8" gypsum board, regular (walls + ceilings) | SF | 17468.58 | 0.06 | 1048.1148 | 18516.6948 | 4x12 sheet | 386 | familias_out.json '5/8" gyp board regular (walls + ceilings)'; 3/A12.01; 5/A12.01
5/8" gypsum board, moisture resistant (behind toilet and lavatory) | SF | 261.75 | 0.06 | 15.705 | 277.455 | 4x12 sheet | 6 | familias_out.json '5/8" gyp MOISTURE RESISTANT'; F/A08.01; 6/A12.01
Ballistic panel UL752 level 2 fiberglass (A1K / B2K customer face) | SF | 96.12 | 0.06 | 5.7672 | 101.8872 | 4x8 sheet | 4 | familias_out.json 'ballistic panel'; 4/A12.01
3/8" gyp board over the ballistic panel | SF | 74.1 | 0.06 | 4.446 | 78.546 | 4x8 sheet | 3 | familias_out.json '3/8" gyp board'; 4/A12.01
5/8" glass mat sheathing (base strip and canopy band) | SF | 482.13 | 0.06 | 28.9278 | 511.0578 | 4x8 sheet | 16 | familias_out.json '5/8" glass mat sheathing'; 5/A09.26; 7/A09.26
5/8" exterior gyp sheathing - parapet roof side | SF | 944.57 | 0.06 | 56.6742 | 1001.2442 | 4x8 sheet | 32 | familias_out.json '5/8" EXTERIOR gyp sheathing'; 4/A09.26
FRT blocking - 2X / plywood plies where labeled FRT | LF | 934.54 | 0.06 | 56.0724 | 990.6124 | 8 ft | 124 | familias_out.json 'FRT blocking'; 4/A09.26; 8/A12.01
Metal stud blocking 362CR22 (STUD BLOCKING) | LF | 657.31 | 0.15 | 98.5965 | 755.9065 | stick 20 ft | 38 | familias_out.json 'metal stud blocking (362CR / STUD BLOCKING)'; 4/S5.20
Metal trim - corner bead, casing bead, shadow molding | LF | 1499.98 | 0.15 | 224.997 | 1724.977 | trim stick 10 ft | 173 | familias_out.json 'metal trim (corner bead, casing, shadow molding)'; 7/A09.33; 8/A12.01
Cement board under tile cove base | SF | 31.38 | 0.06 | 1.8828 | 33.2628 | 3x5 sheet | 3 | familias_out.json 'cement board'; 3/A08.01
FRP panels 5'-0" A.F.F. at restrooms + mop sink | SF | 329.75 | 0.06 | 19.785 | 349.535 | 4x8 sheet | 11 | familias_out.json 'FRP'; A/A08.01
Acoustical sealant | LF | 1200.18 | 0.06 | 72.0108 | 1272.1908 | tube (25 LF per tube) | 51 | familias_out.json 'acoustical sealant'; 3/A12.01
Framed openings MEP - recessed fixtures and air devices in framed ceilings / soffits | LF | 1024.91 | 0.15 | 153.7365 | 1178.6465 | stick 20 ft | 59 | framed_openings_out.json 'framed openings MEP'; E00.01; E02.01; M01.01
5/8" exterior grade FRT plywood (canopy soffits, fascia, column wraps) | SF | 2159.98 | 0.06 | 129.5988 | 2289.5788 | 4x12 ft sheet (Inputs) | 48 | familias_out.json FRT plywood by material; canon rows
5/8" FRT plywood bonded to 2-1/2" polyiso (exterior sheathing / nailbase) | SF | 3973.01 | 0.06 | 238.3806 | 4211.3906 | 4x12 ft sheet (Inputs) | 88 | familias_out.json FRT plywood by material; canon rows
3/4" FRT plywood | SF | 638.48 | 0.06 | 38.3088 | 676.7888 | 4x12 ft sheet (Inputs) | 15 | familias_out.json FRT plywood by material; canon rows
Sealant at base of gypsum (exterior, not acoustical) | LF | 222.54 | 0.06 | 13.3524 | 235.8924 | tube (25 LF per tube) | 10 | familias_out.json acoustical sealant rows 'base of gypsum (exterior)'
Hanger wire 12 ga - hanger count (one per hanger, height per room) | PCS | 113 | 0 | 0 | 113 |  | 113 | familias_out.json hanger_pcs.total_pcs; wire bought on the LF row
Additional head track at openings over 4'-0" wide | LF | 56 | 0.15 | 8.4 | 64.4 | run 10 ft | 7 | accesorios.py [CRITERION]: HEAD TRACK @ NON LOAD BRG: ADD FULL LENGTH ADDL HEAD TRACK @ OPNG > 4'-0"; Estimator user decision #1: R.O. + 1'-4" (8" bearing each side)
Stud reinforcement at MEP penetrations | PCS | 31 | 0 | 0 | 31 | each | 31 | accesorios.py [CRITERION]: 6/S5.20; M01.01 registered to A02.01 (dx -571.9, dy +21.8 pt); duct edge lines at 1822.82 / 1834.82 pt -> width 8.0" (pair spacing / 1.5 pt per in); 6/S5.20; 6/S5.20; M01.01 registered to A02.01 (dx -571.9, dy +21.8 pt); duct edge lines at
Extra framing - sistered stud and furring at the ATM recess | LF | 22.35 | 0.15 | 3.3525 | 25.7025 | stick 20 ft | 2 | accesorios.py [CRITERION]: 6/A08.11; 5/A08.11
2-1/2" CFMF @ 16" O.C. at coiling grille head (4/A08.21) | LF | 10.43 | 0.15 | 1.5645 | 11.9945 | stick 20 ft | 1 | accesorios.py [DERIVED]: 4/A08.21
Gypsum board jamb return at openings | SF | 91.16 | 0.06 | 5.4696 | 96.6296 | 4x12 ft sheet (Inputs) | 3 | accesorios.py [CRITERION]: Estimator criterion (return width = 6" stud depth, not dimensioned; RFI with delta at 0.20 ft)
PVC trim - edge trim molding and inside corner molding at the FRP | LF | 221.5 | 0.06 | 13.29 | 234.79 | trim stick 10 ft | 24 | accesorios.py [DERIVED]: A,B,C,D/A08.01 '5'-0" TO TOP OF FRP' (WC-3), measured above the cove base (53.9); 1/A08.01 vector polygon: 6 vertices, 1 reflex at the lav-alcove jog (TA-14 wall); key note 6/A05.01 'FRP FROM FLOOR TO 4'-0" AFF, WIDTH TO MATCH WIDTH OF MOP
Power-driven fasteners and duct sleeves | PCS | 300 | 0 | 0 | 300 | each | 300 | accesorios.py [DERIVED]: Parapet infill: PAFs SPACED AT 12" O.C. MAX to the steel beam; M01.01 'R-2 14x14 FD (TYP. 2)' with FD symbol at wall (registered dx -571.9, dy +21.8); 6/S5.20 plate; E12 not framed; M01.01 'R-2 14x14 FD' with FD symbol at wall (registered d
Access panel 2'x2' | PCS | 1 | 0 | 0 | 1 | each | 1 | accesorios.py [CONFIRMED]: A04.01 key note 4 '2' X 2' LOCKING ACCESS PANEL, KEYED TO MATCH MAIN ENTRY' in GB 10'-0" ceiling of 100; M00.01 note 16 / P00.01 note 15 (access panels where required): no other equipment or damper above GWB found on M01.01 (M01.01 general
Drywall screws 1-1/4" bugle head | PCS | 21365.32 | 0 | 0 | 21365.32 | each | 21366 | accesorios.py [DERIVED]: Inputs!B20 (Drywall screws per SF of board = 1.2) x 17804.4 SF of board | 21365.28
Framing screws, pan head self-drilling | PCS | 7044 | 0 | 0 | 7044 | each | 7044 | accesorios.py [DERIVED]: Inputs!B21 (Framing screws per stud piece = 4) x 1761 stud pieces | 7044
Power-driven fasteners, slab pins for the bottom track | PCS | 503.52 | 0 | 0 | 503.52 | each | 504 | accesorios.py [DERIVED]: 503.52 LF of interior bottom track on slab / Inputs!B22 (Power-driven pin spacing (ft) = 1) | 503.52
Expansion anchors Hilti 1/4" Kwik Bolt II, exterior bottom track @ 8" O.C. | PCS | 327.31 | 0 | 0 | 327.31 | each | 328 | accesorios.py [DERIVED]: 218.21 LF of exterior bottom track on slab / Inputs!B25 (Expansion anchor spacing (ft) = 0.6667) | 327.2986
Joint compound, all purpose | LB | 1281.92 | 0 | 0 | 1281.92 | lb | 1282 | accesorios.py [DERIVED]: Inputs!B23 (Joint compound (lb per SF) = 0.072) x 17804.4 SF of board | 1281.9168
Joint tape, paper | LF | 6587.64 | 0 | 0 | 6587.64 | LF | 6588 | accesorios.py [DERIVED]: Inputs!B24 (Joint tape (LF per SF) = 0.37) x 17804.4 SF of board | 6587.628
Level 5 finish | SF | 859.18 | 0.06 | 51.5508 | 910.7308 | SF | 911 | accesorios.py [DERIVED]: A11.04 WC-18 wall, printed 11-9 1/4" V.I.F.; h = office ceiling 9'-0" ACT-4 (A04.01), elevation 324 pt / 36 = 9.0 ft; A00.40 WC-18 'WALL SURFACE TO BE LEVEL 5'; 4/A11.01 WC-18 wall, printed 11-9 1/4" V.I.F.; h = office ceiling 9'-0" ACT-4 (

## Pending Items
RFI | Question / condition | Delta of each alternative
RFI-ACC-additional-head-track | additional head track: openings with their own box (openings_extra) > 4'-0": do they also take the additional head track of 2/S5.20? | 100.54 lf
RFI-ACC-extra-framing-atm | extra framing ATM: ATM 102: ATM recess not fully dimensioned (width CONFIRMED, sistered height DERIVED, furring rows DERIVED) | 8.18 lf
RFI-ACC-gypsum-board-jamb-return | gypsum board jamb return: jamb return width not dimensioned | -54.69 sf
RFI-ACC-slab-pins | slab pins: pin spacing: 12" (interior anchorage) vs 16" (fastener schedule) vs 24" (type K box) | 16in: -125.88 pcs; 24in: -251.76 pcs
RFI-ACC-stud-reinforcement-mep | stud reinforcement MEP: duct widths from registered vector spacing; wall assignment ('?') pending the orchestrator; E02.02 conduits assumed <= 1" through knockouts | +/-1 plate per crossing if a duct >= 16" or a conduit > 1" is found
RFI-ACC-level-5-finish | Level 5 finish: WC-20 (key note 9/A05.01) not in the A00.40 legend | -146.4 SF if no WC-20
RFI-ACC-pvc-trim-at-frp | PVC trim at FRP: mop sink width not printed (model TSH-24 = 24"; plan 2'-0") | +/-2 x 0.5 ft x per 6" change
RFI-A-C-1 | GWB ceiling carrying channel direction: No GWB ceiling framing plan/detail gives the carrying channel direction. Confirm direction. Assumed: carrying N-S, furring/joists E-W (constants.carrying_direction) | carrying E-W: furring channel -24.4 LF, carrying +6.2 LF, 3-5/8" joists (104) +11.4 LF (canon run of this fragment)
RFI-A-C-2 | 104 WAITING GWB ceiling system: No RCP bubble. 8/A09.33 (GWB lower than ACT, the 104 condition) and 6/A09.33 (trimless R-11 in GWB) draw 3 5/8" metal stud framing @ 16" O.C. in the GWB ceiling. Confirm stud joists vs furring channel. Assumed: stud_joist (joist_source 8/A09.33, 6/A09.33) with carrying + hangers | furring channel (E14 default): -408.65 LF 3-5/8" stud, +408.65 LF furring channel (same carrying/hangers)
RFI-A-C-3 | CSR soffit drop lines: 9/A12.08 and 4/A12.08 show the 3'-5" CSR soffit with ACT-4 9'-0" on BOTH long sides (two stud drops). Typical 10/A09.33 shows a scheduled partition on one side. Which governs? Assumed: 2 drop lines (9/A12.08 called detail; RCP edges both face a ceiling) | 1 drop line (10/A09.33): -69.5 LF 3-5/8" stud, -24.0 LF ceiling/soffit track, -18.0 SF board on drop face, less bracing on those drops
RFI-A-C-4 | Restroom 113/114 deck zone: Restroom 114 straddles grid B by 0.45 ft (deck break). Hanger height taken from LOW zone. Assumed: LOW B.O.D. 13.052 - 8.5 = 4.552 ft hanger drop for 113 and 114 | HI B.O.D. for 114: +2.323 ft x 12 hangers = +27.9 LF hanger wire
RFI-A-C-5 | R-11 linear slot framed opening width: E00.01 (Focal Point FSM2L) prints no width; width measured in 6/A09.33 (2.89"). Provide cutsheet. Assumed: 2.89" (6/A09.33 board gap) | 4" opening: +1.1 LF framed openings (6 fixtures)
RFI-A-C-6 | Slot diffuser (TBDI-10) opening size: M00.03 SD/SDR TITUS TBDI-10 (2) 1" slots, size SEE DRAWING. Opening taken as the drawn face frame (4.32" x 4'-0" / 4.24" x 2'-0"). Assumed: face frame per section (16 sections) | outer plenum rectangle (7.7" x 4.29' / 7.8" x 2.29'): +18.3 LF framed openings
RFI-A-C-7 | R-11C / R-11CE length: E00.01 description 12' vs catalog -20'-0". E02.01 and A04.01 draw 12'-0". Assumed: 12'-0" (description = drawn, 60.9) | 20'-0": +64.0 LF framed openings (4 fixtures)
RFI-A-C-8 | Transition trim at 104 (8/A09.33): A-K transition_trim_per_lf = 4 is from 7/A09.33 (2 corner bead + 2 shadow molding). The 104 GWB/ACT edge follows 8/A09.33, which draws 1 corner L bead + 1 shadow molding. Assumed: A-K constant 4 applied to all transitions (not changed here) | 2 per LF on the 77.03 LF of 104 edges: -154.1 LF metal trim
RFI-A-C2-1 | UU1-UU6 canopy linear slot framed opening width: E00.01 Coronet LSR-WET-2.5 (UU1-UU6) prints no housing width. 7/A09.26 and 15/16 A09.27 draw a ~4.1" plywood gap. Provide cutsheet rough-in width. Assumed: 4.09 in (7/A09.26 plywood gap) | 2.5 in (catalog token LSR-WET-2.5 read as aperture): -5.57 LF framed openings (42 ends x 1.59 in); 4.5 in rough-in: +1.44 LF framed openings
RFI-A-C2-2 | UU6 length: E00.01 UU6 = 16' (description and catalog). E02.01 draws 16.33 ft (294 pt / 18). Confirm 16'-0". Assumed: 16.0 ft (schedule, rule 54.1) | 16.33 ft as drawn: +0.67 LF framed openings
RFI-A-C2-3 | SA-4 screen vent opening in drive-up canopy soffit: A04.01 key note 12 SA-4 SCREEN VENT (3 runs between columns) and 16/A09.27 show a 4" gap in the FRT plywood / plaster soffit. No length printed and no SA-4 spec in the drawings. Confirm continuous 4" x 14'-0" runs and that the opening is framed by the soffit framer. Assumed: framed opening 3 x (2 x 14.04 + 2 x 0.333) = 86.24 LF | vent by plaster sub in plywood cut only (no framing): -86.24 LF framed openings; individual vents (size unknown): [PENDING]
RFI-A-K-1 | GWB ceiling framing spacing: A09.33 / A04.01 print no furring channel, carrying channel or hanger spacing for suspended GWB ceilings/soffits. Confirm furring O.C., carrying O.C. and hanger spacing. Assumed: furring 16" O.C., carrying 48" O.C., hangers 48" O.C. (canon criterion) | furring 24" O.C.: furring LF x 0.667 (-33%); carrying 36" O.C.: carrying rows ROUNDUP((w-1)/3)+1 vs /4: about +33% LF; hangers 36" O.C.: hanger PCS about +33%
RFI-A-K-2 | Board sheet length for joint blocking: Sheet length not printed (4/S5.20 only 'PROVIDE BLOCKING AT THE EDGE OF GYPBOARD'). Confirm board length. Assumed: 12 ft (4x12 stock): faces > 12 ft get stud blocking (HI zone 15'-4 1/2" and LOW zone 13'-0 5/8" to-deck faces) | 10 ft: adds walls with faces 10-12 ft (none at to-deck heights here; LOW and HI faces already > 12 ft): ~0 LF; 8 ft: adds every wall with a face > 8 ft (ceiling + 6" faces at 9.0 ft): + sum L x rows of those walls
RFI-A-K-3 | Exterior stud gauge/spacing: 7/S5.20 lists 600S137-33 @ 16" O.C. for EXTERIOR WALLS; S1.11 LIGHT GAUGE n.5 requires 600S162-54 @ 16" O.C. and @ 12" O.C. within 6 ft of building corners. Which governs? Assumed: S1.11 n.5 (600S162-54, @ 12" within 6 ft of building corners, @ 16" elsewhere) | 7/S5.20 600S137-33 @ 16" everywhere: corner zones: -(ROUNDUP(6/1)-ROUNDUP(6/1.333)) = -1 to -2 studs per corner side per 6 ft; gauge 33 mil vs 54 mil (same LF)
RFI-A-K-4 | K-wall studs (A1K/A5K/B2K): 4/A12.01 '14 GA. METAL STUDS @ 24" O.C. MAX' vs 7/S5.20 interior 362S137-33 @ 16" O.C. Confirm gauge and spacing. Assumed: 14 GA @ 16" O.C. (heavier gauge of the detail, tighter spacing of S5.20) | 14 GA @ 24" O.C.: field studs x 0.67 on K walls; 362S137-33 @ 16": same count, lighter gauge
RFI-A-K-5 | B2K not in schedule: Tag B2K appears on A02.01 (teller line north wall) but A12.01 has no B2K row/detail. Confirm composition. Assumed: B2 (1/A12.01) + K panel (4/A12.01): 6" stud, 5/8" both faces to deck, 3/8" fiberglass to 8'-0" + 3/8" gyp to deck on customer face; thickness 7 5/8" (= A5K; measured 7.68") | A5K: 0 (identical composition); B2 without kevlar: ballistic -L x 8.0 SF, 3/8" gyp -L x (B.O.D.-8.0) SF
RFI-A-K-6 | C1 height: 6/A12.01 shows a break line at top with no structure/ceiling label. Confirm C1 stud/board height. Assumed: studs and one 5/8" layer to deck (60.11 / 53.3) | to ceiling + 6": board -L x (B.O.D. - ceiling - 0.5) SF; studs shorter by same
RFI-A-K-7 | G/G1 1-5/8" studs: 1 5/8" stud gauge and spacing not printed (5/A12.01, 7/S5.20). Top of 5/A12.01 unlabeled. Assumed: 2 rows 1 5/8" @ 16" O.C. to underside of deck (8,9/A12.01 notes) | @ 24" O.C.: G studs x 0.67
RFI-A-K-8 | 6" interior studs: A5/B2/A8/A5K/B2K 6" studs: 7/S5.20 lists 600S137-33 only as EXTERIOR WALLS. Confirm interior 6" profile. Assumed: 600S137-33 @ 16" O.C. | other gauge: 0 LF; material grade only
RFI-A-K-9 | Interior track anchorage spacing: 3/S5.20 PAF @ 16" O.C. (levels 1-3) vs 7/S5.20 Hilti DNI @ 12" O.C. vs 4/A12.01 @ 24" O.C. alternating (K walls). Assumed: 12" O.C. (closest, A13) | 16" O.C.: slab pins x 0.75; 24" O.C. on K walls: K-wall pins x 0.5
RFI-A-K-10 | Exterior non-load-bearing headers: 7/S5.20 header schedule has rows only for LOAD BEARING (interior and exterior) and NON LOAD BRG INTERIOR. Exterior CFMF walls are non-load-bearing (S1.11 n.2). Which row for exterior openings without HSS lintel? Assumed: exterior openings with HSS/steel lintel (S2.20 HSS9x5x5/8 LLV) = steel by others (E16); others: 'BELOW ROOF STRUCTURE' rows 2-60CSJ18/16/14 (2 pieces) | non-load-bearing interior rows: same pieces (1-2), lighter members; LF (R.O.+1'-4") x 1 instead of x 2 for R.O. <= 3'-4"
RFI-A-K-11 | LOW zone slope height: LOW zone slopes 13'-0 5/8" (B) to 12'-6 3/8" (A). REFERENCIA 'HEIGHT DE DECK' says use the high end for the zone; 59.13 says interpolate per wall at its high end. Assumed: deck_zones.LOW = 13.052 ft (high end); per-wall formula given in deck_zones.LOW.source | per-wall interpolation: studs/board -0.0206 ft per ft south of B (up to -0.521 ft at grid A) per stud / per SF
RFI-A-K-12 | Canopy B.O.D. typo: S2.20 prints 'B.O.D. EL. 111' - 9" TYP. @ CANOPY'. Read as 11'-9" (A09.23 T/STEEL 11'-9"). Assumed: 11'-9" | as printed: not buildable; 0 for interior partitions
RFI-A-K-14 | G wall top sealant: 5/A12.01 draws no top bead; 8/9/A12.01 (same G construction) draw SEALANT at underside of structure both faces. Assumed: G top_faces 0 (59.12, per type detail) | top beads both faces: + L x 2 LF acoustical sealant on G walls
RFI-A-M-1 | Blocking piece length / rows not dimensioned: Wall stops, small wall-mounted equipment, toilet accessories other than grab bars, ladder brackets and grille jambs: blocking length/rows are not dimensioned. Confirm. Assumed: one 16" O.C. stud-bay piece (1.333 ft) per item narrower than a bay; printed width otherwise; one row | 24" piece per item: +0.667 ft per bay-size item (about +40 LF in total); 2 rows per item: x2 on the bay-size items (about +60 LF)
RFI-A-M-2 | Material of equipment / wall stop / locker / ladder blocking: Note C/A02.01, note D/A00.30, key notes 5/A02.01 and 9/A04.01 say PROVIDE BLOCKING without material. Assumed: metal stud blocking 362CR22 (4/S5.20, 58.6) | FRT wood (as toilet rooms note E/A08.01): same LF moves from metal to FRT blocking
RFI-A-M-3 | Millwork blocking rows and material: Note D/A12.03-A12.06 says FRTW blocking at all millwork cleats; 3/A12.04 and 10/A12.06 say PRESSURE TREATED blocking for shelving units. Rows per unit not drawn. Assumed: FRTW; 2 rows for full-height / base + upper units, 1 row for counters | 1 row everywhere: about -63 LF FRT blocking; pressure treated at shelving units: material only, 0 LF
RFI-A-M-4 | WC-20 Level 5 at 24 HR Vestibule: Key note 9/A05.01 asks Level 5 for wallcovering WC-20 at the 24 HR Vestibule F wall, but WC-20 is not in the A00.40 finish legend and the face is tagged P-24. Confirm WC-20 and its extent. Assumed: Level 5 on the full F-wall vestibule face (15.21 ft x (10.0 - 0.375)) | no WC-20 (paint P-24 only): -146.4 SF Level 5
RFI-A-M-5 | Monitor blocking height: 13/A12.02 draws 3/4" FRT plywood blocking 11" high; key note 24/A03.01 says 18" high. Assumed: one piece 3.687 ft long (LF unchanged) | 18" high: 0 LF; wider board
RFI-A-M-6 | Restroom width 11'-7 1/2" (A08.01) vs 11'-8" (A02.01): Confirm restroom width; tile base / FRP use the enlarged plan dimension. Assumed: 11'-7 1/2" (1/A08.01) | 11'-8": +0.083 ft perimeter per room; FRP +0.83 SF per room
RFI-A-M-7 | Duct sizes from vector: Duct widths in walls taken from the registered edge spacing on M01.01, not from labels; ducts above ceiling cross A1 studs that run to structure. Assumed: vector widths (8"-14"), 1 stud cut each at 16" O.C. | ducts above A1 board line not counted: -1 plate per A1 crossing
RFI-A-O-1 | Vestibule box headers size: 4-7/A12.10 say 'METAL STUD FRAMING & BOX HEADER AS NEEDED' without member size. Confirm box header member (3 5/8" or 6") and whether required at both storefront lines. Assumed: box header counted (E11), 4 pieces 3 5/8", vestibule S 15'-7 3/4" and vestibule E 6'-5" | no box header (storefront self-supporting): -(15.646+1.333)x4 - (6.417+1.333)x4 = -98.9 LF header; 6" box: same LF, 6" members
RFI-A-O-2 | Vestibule head stud size: Stud size/gauge over vestibule storefronts not printed (4-7/A12.10). Confirm. Assumed: 3 5/8" 362S137-33 @ 16" (7/S5.20 interior, 53.3) | 6" studs: same LF moved to 6" family (A-VH-S 13 studs x 5.375, A-VH-E 6 x 4.383)
RFI-A-O-3 | CSR teller opening 116 head: 12'-0 1/4" R.O. HOLD (1/A12.08) between A1K stubs: is there a wall above the CSR soffit to deck needing a header? Assumed: no header; head = CSR framed soffit 9/A12.08 | box header 4 pc: +(12.021+1.333)x4 = +53.4 LF header + cripples above
RFI-A-O-4 | Vestibule east head height under W12x14: Grid 4 storefront head sits under W12x14 (S2.20). Confirm studs stop under beam vs deck. Assumed: stop under beam: 4.383 ft (E26) | to deck 5.375 ft: +0.992 ft x 6 studs = +5.95 LF 3 5/8"
RFI-A-O-5 | Drive-up ATM R.O. width: 7/A08.11 plan R.O. 2'-2 1/2" vs 5/A08.11 elevation 2'-2 1/8" (26.4"). Confirm. Assumed: 2'-2 1/2" (larger) | 2'-2 1/8": -0.031 ft x 4 pc header = -0.13 LF; sill -0.06 LF
RFI-A-W1-1 | A1K customer side (4/A12.01 CUSTOMER SIDE fiberglass): A02.01 / 1/A12.08 do not mark which face of the CSR-line kevlar end walls is the customer side. Confirm the face that gets the 3/8" UL752 fiberglass panel. Assumed: face toward the CSR teller pod / customer alcove (A-A1K-01 south, A-A1K-02 north, A-A1K-03 north) with the two customer-side jogs at x 1653.96 pt; contour 10.241 ft (B2K face added by W2) | outer faces (away from the pod: A-A1K-01 north, A-A1K-02/03 south, jog at x 1661.76): ballistic/3/8 SF ~0 (same lengths; jog 0.58 ft either way); north jog of 0.58 ft moves to the B2K side
RFI-A-W1-2 | A-A1K-01 non-customer face in a 3" cavity: A-A1K-01 runs 3.3" south of the office 108 G wall (cavity y 1115.76-1120.68 pt closed at both ends). 4/A12.01 calls 5/8" both faces; the cavity face cannot be finished. Confirm board on that face. Assumed: 5/8" on both faces per 4/A12.01 (more material, 53.3) | omit cavity face: -3.417 x 15.375 = -52.5 SF 5/8" regular
RFI-A-W1-3 | Walls under S2.20 beams (E26): A-A5-01/-04 (grid 6/5, W14x30 HI) and A-A5-02/-05, A-A1-06, A-A1-07, A-A5-06 (W14x22 LOW) lie under beam lines (vigas_sobre_walls.py). 3/A12.01 says studs to 'UNDERSIDE OF STRUCTURE'. Confirm studs stop under the beam. Assumed: stops_under_beam: HI 15.375 - 1.15 = 14.225; LOW 13.052 - 1.142 = 11.910 (E26) | studs to B.O.D. beside the beam: +1.15 ft per stud on A-A5-01/-04, +1.142 ft per stud on the LOW walls; board faces of A-A1-06 in 120/121 +1.142 x 13.94 ft = +15.9 SF
RFI-A-W2-1 | C1 column boxes at grid G (exterior faces): C1 boxes at G/2 and G/4 (PT0031, PT0030) protrude north of the vestibule storefront; 6/A12.01 shows board on one face only and no exterior finish. Confirm finish of the exterior faces. Assumed: studs on the full box perimeter; 5/8" board only on vestibule (interior) faces; exterior faces by cladding trade | 5/8" board / exterior sheathing on exterior faces: +5.261 + 5.801 = 11.06 LF x 15.375 ft = +170 SF
RFI-A-W2-2 | B2K extent at A1K corner: B2K (PA0011) hatched band runs from x 1622.04 to the G end cap 1661.76 (2.207 ft); the A1K teller west wall face is at 1653.96. Confirm where B2K ends. Assumed: 1.773 ft (to A1K face, 59.3) | 2.207 ft (to G end cap): +0.434 LF B2K (studs/track/board both faces x 15.375, ballistic +0.434 x 8 SF)
RFI-A-W2-4 | B walls under roof-hatch beams: S2.20 roof-hatch framing (W8x10 at A y~1510, W14x22 at A y~1586, ~6'-0 1/2" long) sits over the west 5.29 ft of A-B-04 and A-B-05. Do those studs stop under the beams? Assumed: full wall at B.O.D. 13.052 ft | stop under beams over 5.287 ft: A-B-04: studs -(ROUNDUP(5.287/1.333)+1) x 0.658 ft = -3.3 LF, board -5.287 x 0.658 x 2 = -7.0 SF; A-B-05: -5 x 1.142 = -5.7 LF stud, -12.1 SF board
RFI-A-W2-3 | Customer side of B2K: Which face of B2K (between Office 108 front and Waiting 104) receives the ballistic panel? Assumed: Waiting 104 (south) face = customer side | Office 108 face: 0 SF (same length), face swap only
RFI-A-W3-1 | Office front CONT. BOX BEAM run length: 8,9/A12.01 call a CONT. BOX BEAM over the vendor office fronts; no run length is printed. Does the box beam run continuous from the first to the last office front jamb of each front (across the G/G1 stubs), only over the 7'-6" clear openings, or one box per opening? Assumed: One continuous run per front (user decision #22), first jamb to last jamb: east (105-108) 39.973 ft, west (109-110) 18.507 ft; 4 pieces; header LF = (run + 1'-4") x 4 = east 165.23 / west 79.36. FRT plywood blocking under the box carried only where the bulkhead soffit exists (30.0 / 15.0 LF). | continuous run = sum of openings only (4 x 7'-6" / 2 x 7'-6"): header east (30.0 + 1.333) x 4 = 125.33 (-39.89 LF); west (15.0 + 1.333) x 4 = 65.33 (-14.03 LF); one box per opening: header east 4 x (7.5 + 1.333) x 4 = 141.33 (-23.89 LF); west 2 x 8.833 x 4 = 70.67 (-8.69 LF); plywood blocking along the full box run: FRT blocking +9.97 LF east, +3.51 LF west
RFI-A-W3-2 | Office front walls under S2.20 beams (E26): S2.20: W12x14 on grid 7 (zone F-E) lies on the east front axis; W14x30 (zone E-B) is drawn ~3.8" east of grid 7, so its flange covers only the east stud row of the 6 1/8" front; W8x10 members cover part of three demising walls. Confirm where the G/G1 studs and 2 layers stop. Assumed: vigas_sobre_walls.py coverage >= 50% -> stops_under_beam: W12x14 (14.383 ft) A-G-01, A-G-02, A-BH-E1, A-BH-E2; W14x30 (14.225 ft) A-G-03 (55%), A-G-04, A-BH-E3, A-BH-E4. Coverage < 50% kept to deck 15.375 ft: A-G1-05 (W8x10, 3.35 ft of 11.77), A-G-09 (W8x10, 3.82 ft), A-G-10 (W8x10, 3.36 ft). | W14x30 offset: west stud row and lobby face run to deck (only east row stops under the flange): approx +1.15 ft x west-row studs (A-G-03 4, A-G-04 4, A-BH-E3 7, A-BH-E4 7 = 22 studs -> +25.3 LF 1-5/8") and +L x 1.15 x 2 layers on the lobby face (+49.5 SF 5/8"); portions under W8x10 stop under the beam (d 7.89"): about -0.657 ft x the studs under the beam (approx 6-8 per wall, -12 LF 1-5/8" total) and -covered L x 0.657 x 2 layers x 2 faces (-27.6 SF)
RFI-A-W3-3 | Office bulkhead stud length: 8,9/A12.01 do not dimension the CONT. BOX BEAM depth or the bulkhead studs; the studs sit on the box beam (drawn about 5" deep + 3/4" plywood). Assumed: Studs = full band from HOLD 8'-0 1/2" to deck/beam (53.3, more material): 7.333 / 6.342 / 6.183 ft | studs = band - box depth (~5" scaled, not printed) - 3/4" plywood: about -0.47 ft x 84 bulkhead studs (6 bulkheads x 7 per row x 2 rows) = -39.5 LF 1-5/8" stud; board unchanged (faces wrap the box)
RFI-A-W3-4 | Office bulkhead shadow molding, office side: 8,9/A12.01 label SHADOW MOLDING - AS SPECIFIED at the Central Zone (lobby) ceiling; the same profile is drawn without label at the office ceiling. Is it shadow molding by drywall on both faces? Assumed: Both faces (drawn): 2 x 30.0 LF east + 2 x 15.0 LF west = 90.0 LF | lobby side only: -45.0 LF metal trim
RFI-A-W3-5 | Untagged office front stubs: Two stubs on the office front lines have no partition tag: east front north end (A-G-01, 2.42 ft, between the north exterior wall and office 105 front) and the office 110 SW corner stub (A-G1-13, 3.18 ft). Note A/A02.01 says untagged partitions are A1. Assumed: Typed by measured thickness (55.4): A-G-01 = G (9.24 pt = 6.16"), A-G1-13 = G1 (12.72 pt = 8.48", same as tagged G1 stub PT0049); both carry the 10/A12.01 jamb. | A1 (note A): per stub: 1 row 3-5/8" instead of 2 rows 1-5/8" (A-G-01: -3 studs x 14.38 ft 1-5/8" net of +3 x 15.375 3-5/8"; A-G1-13: similar), board 1 layer per face to ceiling + 6" instead of 2 layers to deck: about -87 SF (A-G-01) and -127 SF (A-G1-13)
RFI-A-X1a-1 | Studs of A-EXT-01 under the col-2 HSS lintel: S2.20 shows HSS9x5x5/8 (LLV) B.O.S. 8'-7 1/2" along grid 2 from G to E, over the 24 HR Vestibule 101 wall part (y 454-732 pt). Do the 6" studs run full height to the W12x19 (HI) deflection track, or stop under the HSS with cripples above? Assumed: continuous studs to the W12x19 (HI): 14.358 ft (more material, 53.3) | studs split at the HSS (8'-7 1/2" below + 9'-4 1/2" to beam above): about -0.75 ft per stud on ~(15.6 ft / 1.333 + 1) = 13 studs = ~-10 LF 6" stud; +2 x 15.6 LF track
RFI-A-X1a-2 | ATM 102 sill datum: 6/A08.11 dimensions the R.O. sill 2'-8 1/8" above the FINISHED DRIVE-LANE, not T/SLAB. Confirm interior slab vs drive-lane offset. Assumed: sill_ft 2.677 / head_ft 5.281 above the reference used for the wall (no offset) | slab 6" above drive lane: cripples below the R.O.: 1 x -0.5 ft; above: +0.5 ft (net 0 LF)
RFI-A-X1a-3 | Storefront pier 6" CFMF stud count: 1/A09.25 and 2/A09.25 draw the 6" CFMF exterior L of each pier without stud count or spacing. Confirm studs per pier. Assumed: 2 x 6" studs per pier (members pointed by the '6" CFMF' leaders) x 14.358 ft | studs @ 16" on each leg + corners (~4 per pier): +2 studs x 14.358 = +28.7 LF per pier (+57.4 LF total)
RFI-A-X1a-4 | Exterior storefront head over SF-1 / SF-2 / SF-3: Only 2/A09.26 (at grid 2) details the storefront head; SF-1 (line F cols 4-7) has no own head callout. Confirm 2/A09.26 (steel header + 6" studs above) applies to SF-1. Assumed: 2/A09.26 for all three storefronts (HSS lintels on S2.20 at G cols 2-4, F cols 4-7, col 2 G-E): steel by others, 6" cripples above | 11/A09.27 metal stud box beam: header + (26.25 + 1.333) x 4 = +110.3 LF on SF-1
RFI-A-X1b-1 | Parapet height on LOW sloped roof: LOW roof slopes 13'-0 5/8" (B) to 12'-6 3/8" (A). Parapet infill / roof-side sheathing height on grids 3 and 8 south of B: average of the segment (55.3) or high/low end? Assumed: average B.O.D. per segment: h = 4.624 ft on 3S and 8S; grid A 4.885 ft | low end of deck (B.O.D. 12'-6 3/8"): +0.261 ft x 2 runs x 25.16 ft (studs and ext. gyp); high end (B.O.D. 13'-0 5/8"): -0.260 ft on the same runs
RFI-A-X1b-2 | 3/4" FRT plywood width at exterior openings: 2/A09.26, 11/A09.27, 10/A09.27, 14/A09.27, 3/A09.25, 4/A09.25 show 3/4" FRT PLYWOOD at heads, sills and jambs without width. Confirm width. Assumed: 6" (stud depth) | 9" (stud + polyiso/nailbase depth): +50% SF of the strips
RFI-A-X1b-3 | Drive-up canopy soffit joist direction: 16/A09.27 does not show the joist direction of the drive-up canopy soffit (cols 1-3). Joists E-W (wall to fascia) or N-S between steel beams? Assumed: E-W (perpendicular to the wall, like 7/A09.26) | N-S: joists ROUNDUP(21.0/1.333)+1 = 17 x 49.4 ft mean vs 43 x 18.66 ft: about +36 LF 3-5/8"
RFI-A-X1b-4 | Glass mat band behind drive-up canopy: 15/A09.27 (drive-up canopy at wall) draws the same layer that 7/A09.26 / 3/A09.26 label '5/8" GLASS-MAT SHEATHING' but without label. Confirm glass mat at grids 2/3 behind the canopy. Assumed: glass mat band included (W1 + W2) | nailbase continuous: -117.5 SF glass mat, + same SF nailbase
RFI-A-X1b-5 | Canopy band height: 7/A09.26 prints B/STUD 10'-8 5/8" (fascia) and 10'-7 1/4" (soffit). Band at the wall taken T/STUD 12'-7" - 10'-7 1/4". Assumed: 1.979 ft | 12'-7" - 10'-8 5/8" = 1.865 ft: -0.115 ft x band LF (glass mat -, nailbase +)
RFI-A-X1b-6 | Tower return at col 4: A02.02 draws a parapet return on col 4 from G to 3'-7" south of F (key note 10 ACM COPING). Confirm it is full T.O. PARAPET 2 height. Assumed: T/STUD HP 19'-8" over its full length | LP 17'-5": -2.25 ft x 3.95 ft parapet studs and roof-side sheathing
RFI-A-X1b-7 | Cladding substrates (60.4): ACM panels EPS-1/EPS-3, formed metal wall panel EPS-5 on 7/8" hat channel, stucco PT-3 / PT-4 and their lath/screeds are by the cladding installer. Confirm exclusion. Assumed: EXCLUDED | included: 7/8" hat channel LF over EPS-5 areas (N2/E/S, about 16" O.C. horizontal) - not quantified
RFI-A-X1b-8 | Exterior opening sizes: Storefront / window / ATM widths are not dimensioned on the elevations; taken from A02.01 vectors (N1, N2) and scaled elevations (W1, W2, E, S). Assumed: as listed in facades[].openings_detail | door / window schedule sizes: +/- (dW x H) SF nailbase per opening
RFI-ORQ-1 | East office front: a 4" G piece under bulkhead E4, on top of the B2K wall, was taken by neither reading. Is it framed (G double row)? | +0.333 LF G wall (2 rows): +0.67 LF 1-5/8" bottom and top track, +2 studs
RFI-ORQ-2 | Office bulkhead bottom corner bead: only under the 7'-6" openings (Σ bulkheads 30.0 east / 15.0 west, loaded) or along the full front (41.0 / 21.0)? | +34.0 LF corner bead if it runs the full front
RFI-ORQ-3 | West perimeter: S2.20 draws W12x19 (HI) and W16x26 (CANOPY) side by side. Studs of A-EXT-01 / A-EXT-04a stop under the roof beam W12x19 (loaded). | -0.29 ft per stud on A-EXT-01 and A-EXT-04a if they stop under the W16x26
RFI-ORQ-4 | A12.01 partition schedule: FIRE RATING '--' and U.L. NUMBER '--' for every type, but M01.01 shows 4 fire dampers in walls. Confirm no rated partition (no Type X board, no rated joints). | n/a: if rated, board type changes to Type X on the affected walls (SF unchanged) and fire-rated joint sealant is added
RFI-ORQ-5 | Partition grouping in the Partition Takeoff sheet: particion.py MODO_DEFAULT (straight-segment mode) used (protocol). A message from another session asked for mode 'run'; not applied without the estimator's order. | n/a: grouping of rows only; LF and materials unchanged
RFI-ORQ-6 | CSR soffit '5/8" FIRE TREATED PLYWOOD BLOCKING' (9/A12.08) drawn across the soffit underside: loaded as FRT blocking 12.013 LF (labeled blocking, D5). Confirm it is not a full plywood panel. | +41.0 SF 5/8" FRT plywood if a full panel (12.013 x 3.413) instead of 12.013 LF of blocking
RFI-ORQ-7 | MW01 printer alcove (A02.01, 3'-1 1/2" front; B3/A12.03 'REFER TO DEPTH OF DRYWALL ON PLAN'): is there a gypsum bulkhead over the alcove opening? Not loaded (cabinet top height not printed). | +~36 SF 5/8" gyp board (3.127 x (4.0 + 7.375)) + ~3.1 LF header/track + ~6 studs (3-5/8") if a bulkhead is built
RFI-ORQ-8 | TA-13 hand dryer recess kit measures 15.1" (A08.01 vector) > 14 5/8" stud bay: framed with header + sill track (58.4) or a standard recess between studs? Not loaded: rule 60.5 'recessed accessories are not header'. | +5.2 LF header + 5.2 LF sill track (2 units x (1.26 + 1.333))
RFI-ORQ-9 | Fascia box (7/A09.26, 3/A09.26): does the 5/8" ext. grade FRT plywood wrap the fascia top and inner face above the canopy roof? Only the outer face is loaded. | +119 to +238 SF 5/8" ext. grade FRT plywood
RFI-ORQ-10 | ATM 102 recess (6/A08.11): 'FIBER CEMENT PANEL ON FURRING ON 5/8" FRT PLYWOOD' lining; plywood not loaded (fiber cement is Div 07; plinth is GC rough carpentry). | +7.4 to +13 SF 5/8" FRT plywood
RFI-ORQ-11 | Wall-hung bi-level drinking fountain (P00.01): no carrier / backing called; blocking not loaded. | +2.7 LF metal stud blocking (2 rows x 1.333)

## Review Items
# | Item | Sheet + detail | Image
1 | Inventory (Stage 1): 49 partition tags on A02.01 (A1 10, A1K 3, A5 4, B 6, B2 6, C1 8, F 1, G 9, G1 2) + B2K (not in schedule). Every tag ends in a wall of the reconciled canon. List and circled crops: 1_inventario/inventario.md. | A02.01; A12.01 | Back-check/inventario/OVERVIEW_A02.01_p24.png
2 | Double reading A/B: 45 match, 17 differ, 6 only A, 5 only B, 22 alerts; all resolved with image (resolucion.md). 15 alerts were an artifact (reading B wrote page 23, 0-based). | A02.01 | Back-check/revision/revision.md
3 | 4" G piece at the east office front (RFI-ORQ-1). | 10/A12.01 | Back-check/resolucion/R2_PT4_east_bulkheads.png
4 | Bulkhead bottom corner bead extent (RFI-ORQ-2). | 8/A12.01; 9/A12.01 | Back-check/resolucion/R2_PT4_east_bulkheads.png
5 | Exterior stud profile: 7/S5.20 600S137-33 vs S1.11 n.5 600S162-54 @ 12" within 6 ft of corners (RFI-A-K-3). Heavier one loaded (56.2). | 7/S5.20; S1.11 | Back-check/A-K/
6 | Ceiling suspension spacing (furring 16", carrying 48", hangers 48") not printed: criterion + RFI-A-K-1. | 8/A09.33 | Back-check/A-C/
7 | Waiting 104 ceiling system: stud_joist per 8/A09.33 and 6/A09.33 (RFI-A-C-2; furring alternative). | 8/A09.33; 6/A09.33 | Back-check/A-C/
8 | Partition grouping kept as particion.py MODO_DEFAULT, straight-segment mode (RFI-ORQ-5; review note 03 of the test folder). | particion.py | -

## Scope Checklist
Scope ID | Scope | Status | Note (quantity, NOT APPLICABLE + sheet, or RFI)
ALC-01 | Interior partition framing (studs + tracks) | QUANTIFIED | Partition Takeoff; studs_nodos via canon.py; A12.01 types
ALC-02 | Exterior wall framing (CFMF) | QUANTIFIED | EXT-6CFMF walls, C/A09.21, 10/S5.10
ALC-03 | Parapet framing | QUANTIFIED | EXT-PARAPET by bay (E3), 11/S5.10
ALC-04 | Top / deflection and bottom track | QUANTIFIED | corridas.py, 7/S5.20
ALC-05 | Headers, sills and jambs at openings | QUANTIFIED | headers.py by pieces, 7/S5.20, 2/S5.20
ALC-06 | Bracing / bridging | QUANTIFIED | F/1/S5.20 1-1/2" C.R. channel @ 48"
ALC-07 | Gypsum board on walls (layers per type) | QUANTIFIED | board_caras.py face by face
ALC-08 | Moisture / abuse / special board at wet zones | QUANTIFIED | MR behind toilet and lavatory, F/A08.01
ALC-09 | Exterior gypsum / glass mat sheathing | QUANTIFIED | glass mat 5/A09.26, 7/A09.26; exterior gyp 4/A09.26
ALC-10 | FRT plywood sheathing / substrate | QUANTIFIED | nailbase, canopy, backboards, openings, F wall (12/A12.01)
ALC-11 | Gypsum board ceilings | QUANTIFIED | A04.01 GB ceilings 100, 101, 104, 113, 114, CSR soffit
ALC-12 | Ceiling suspension (furring / carrying channel / hanger wire / ceiling track) | QUANTIFIED | canon.py ceilings: furring, carrying, hanger wire, ceiling track
ALC-13 | Soffits and bulkheads (framing + board) | QUANTIFIED | CSR soffit 9/A12.08, 10/A09.33; office bulkheads 8,9/A12.01; transitions 7/A09.33
ALC-14 | Canopy / marquee framing and sheathing | QUANTIFIED | 7/A09.26, D/A09.22: canopy joists, fascia box, FRT plywood
ALC-15 | Column furring / wraps | QUANTIFIED | CANOPY-COL 5/A09.25 (4 columns, FOS chain)
ALC-16 | Blocking (FRT wood / metal) for millwork and accessories | QUANTIFIED | blocking_items by schedule (44.1), 4/S5.20 edge blocking
ALC-17 | Framed openings (MEP, access panels, diffusers) | QUANTIFIED | framed_openings.py, E00.01 / E02.01 / M01.01
ALC-18 | Trim: corner bead, casing bead, control joints, reveals | QUANTIFIED | trim_items + jamb returns + transitions; control joints EXCLUDED (not in set)
ALC-19 | Acoustical sealant / sound attenuation | QUANTIFIED | per type detail beads A12.01
ALC-20 | FRP / cement board / tile backer | QUANTIFIED | A08.01 FRP 5'-0", cement board at tile cove base
ALC-21 | Shaft walls / area separation walls | NOT APPLICABLE | A12.01: no shaft wall or area separation type in the partition schedule; A02.01 no shafts; text scan found no hit
ALC-22 | Rated assemblies (UL designs) and their board type | NOT APPLICABLE | A12.01 schedule FIRE RATING '--' and U.L. NUMBER '--' for all types; A02.01 key note 6 'FIRE RATED 3/4" PLYWOOD BACKBOARD' = FRT plywood (loaded); A05.01, M00.01, M00.03, E00.01, E02.02, E04.02 are generic penetration / backboard notes; RFI-ORQ-4 for the fire dampers
ALC-23 | Special panels (ballistic, lead-lined, abuse) | QUANTIFIED | ballistic panel 4/A12.01 (A1K, B2K)
ALC-24 | Finish level (Level 4 / Level 5) | QUANTIFIED | Level 5 tags WC-18 / WC-20 / WC-22 (A00.40, A05.01)
ALC-X25 | batt insulation | NOT APPLICABLE | EXCLUDED (estimator criterion: no insulation)