## Inputs
Bank of America - Broomfield, CO (CO1-111, NWC Hwy 7 and Palisade Pkwy) ¦ METAL FRAMING & DRYWALL TAKEOFF
Bid set: 2025.08.26_CO1-111_Broomfield_PERMIT SET_BID SET.pdf · 2026-10-19 · Edit ONLY the yellow cells.
PARAMETER | VALUE | NOTE / SOURCE
Waste - ALL METAL, any type | 0.15 | Estimator standing rule: 15% on everything that is metal.
Waste - EVERYTHING THAT IS NOT METAL | 0.06 | Estimator standing rule: same figure as board.
Board sheet width (ft) | 4 | Sheet size is a parameter; buy the size that wastes least.
Board sheet length (ft) | 12 | Change it and every sheet count re-rounds.
SF per board sheet | 48 | Width x length.
Stud stock length (ft) | 20 | Stud, header, framed opening and stud blocking: sticks.
Track stock length (ft) | 10 | Track, sill track and purlin: runs.
Floor plan scale (pt/ft) | n/a | Project value (canon constants).
B.O. Deck (ft) | n/a | Project value (canon constants).
T.O. Parapet (ft) | n/a | Project value (canon constants).
Sealant coverage (LF per tube) | 25 | Sealant yield per tube - set your supplier's figure.
C.R. channel stock length (ft) | 16 | 1-1/2" cold-rolled channel (bracing, carrying channel).
Hat / furring channel stock (ft) | 12 | 7/8" hat furring channel.
Trim stick length (ft) | 10 | Corner bead, casing bead, shadow molding, PVC trim.
Hanger wire purchase | continuous coil (LF) | Bought by LF from a continuous coil; the hanger count goes on its own PCS row.
Drywall screws per SF of board | 1.2 | YIELD (GA-216 field / perimeter spacing).
Framing screws per stud piece | 4 | YIELD: 2 per stud-to-track connection, each end.
Power-driven pin spacing (ft) | 1 | YIELD: bottom track on slab, interior walls.
Joint compound (lb per SF) | 0.072 | YIELD: 72 lb per 1,000 SF, level 4 (estimator criterion).
Joint tape (LF per SF) | 0.37 | YIELD: 370 LF per 1,000 SF.
Expansion anchor spacing (ft) | 0.6667 | YIELD: exterior bottom track on slab.

## Partition Takeoff
ORGANIZED PARTITION TAKEOFF - Bank of America - Broomfield, CO (CO1-111, NWC Hwy 7 and Palisade Pkwy)
Grouped by partition type. Every row cites its DETAIL/SHEET and its status.
Partition / Scope | Wall # | Length (LF) | Height (FT) | Layers | Stud Size | Stud O.C. (in) | Board (SF) | Location | Source (DETAIL/SHEET) | Status
TYPE EXT-6CFMF
EXT-6CFMF #EXT-F - 105 OFFICE 1 | EXT-F | 12.64 | 14.358 | 1 | 6" | 16 | 194.34 | 105 OFFICE 1 | C/A09.21 | [DERIVED]
EXT-6CFMF #EXT-8-1+EXT-8-2 - 105, 106, 107, 108 (OFFICES 1-4), 116 CASH WINDOW (north part) + 116 CASH WINDOW (south part), 119 WORK ROOM | EXT-8-1+EXT-8-2 | 76.44 | 13.545 | 1 | 6" | 16 | 1052.29 | 105, 106, 107, 108 (OFFICES 1-4), 116 CASH WINDOW (north part) + 116 CASH WINDOW (south part), 119 WORK ROOM | D/A09.22; E/A09.22 | [DERIVED]
EXT-6CFMF #EXT-A-1+EXT-A-2 - 115 WELLNESS, 111 CORRIDOR (door 123), 121 NER, 118 BREAK ROOM (west part) + 118 BREAK ROOM (east part), 119 WORK ROOM | EXT-A-1+EXT-A-2 | 51.733 | 11.17 | 1 | 6" | 16 | 621.04 | 115 WELLNESS, 111 CORRIDOR (door 123), 121 NER, 118 BREAK ROOM (west part) + 118 BREAK ROOM (east part), 119 WORK ROOM | F/A09.22 | [DERIVED]
EXT-6CFMF #EXT-3-1+EXT-3-2 - 109 OFFICE 5, 110 OFFICE 6, 114 (north end) + 114 WOMEN'S RESTROOM, 113 MEN'S RESTROOM, 112 JANITOR, 115 WELLNESS | EXT-3-1+EXT-3-2 | 48.48 | 13.076 | 1 | 6" | 16 | 654.4 | 109 OFFICE 5, 110 OFFICE 6, 114 (north end) + 114 WOMEN'S RESTROOM, 113 MEN'S RESTROOM, 112 JANITOR, 115 WELLNESS | H/A09.23 | [DERIVED]
EXT-6CFMF #EXT-D - 102 ATM ROOM | EXT-D | 3.353 | 14.358 | 1 | 6" | 16 | 51.55 | 102 ATM ROOM | J/A09.23 | [DERIVED]
EXT-6CFMF #EXT-2 - 100 VESTIBULE (south of SF-W), 101 24 HR VESTIBULE, 102 ATM ROOM | EXT-2 | 21.46 | 14.358 | 1 | 6" | 16 | 324.2 | 100 VESTIBULE (south of SF-W), 101 24 HR VESTIBULE, 102 ATM ROOM | J/A09.23 | [DERIVED]
TYPE C1
C1 #PIER-NW - 100 VESTIBULE (pier east face) / 100 VESTIBULE (pier south face) | PIER-NW | 2.6 | 14.358 | 1 | mixed | 16 | 39.98 | 100 VESTIBULE (pier east face) / 100 VESTIBULE (pier south face) | 1/A09.25 | [DERIVED]
C1 #PIER-NE - 100 VESTIBULE (pier west face) / 100 VESTIBULE / 103 CENTRAL ZONE (pier south face) / 103 CENTRAL ZONE (pier east face) | PIER-NE | 3.894 | 14.358 | 1 | mixed | 16 | 59.88 | 100 VESTIBULE (pier west face) / 100 VESTIBULE / 103 CENTRAL ZONE (pier south face) / 103 CENTRAL ZONE (pier east face) | 2/A09.25 | [DERIVED]
C1 #C1-5 - C1 furring south of A1K-2, FUTURE FCAM (Break Room 118) | C1-5 | 2.98 | 13.052 | 1 | 3-5/8" | 16 | 38.89 | C1 furring south of A1K-2, FUTURE FCAM (Break Room 118) | 6/A12.01 | [DERIVED]
C1 #C1-3 - C1 display furring on the Waiting 104 side of A1-1 (key note 7, 85" display) | C1-3 | 10 | 15.375 | 1.13 | 3-5/8" | 16 | 174.27 | C1 display furring on the Waiting 104 side of A1-1 (key note 7, 85" display) | 6/A12.01 | [CONFIRMED]
C1 #C1-4 - restroom plumbing chase, Women's Restroom 114 face | C1-4 | 10.027 | 13.052 | 1 | 3-5/8" | 16 | 130.87 | restroom plumbing chase, Women's Restroom 114 face | 6/A12.01 | [DERIVED]
C1 #C1-6 - restroom plumbing chase, Men's Restroom 113 face | C1-6 | 10.027 | 13.052 | 1 | 3-5/8" | 16 | 130.87 | restroom plumbing chase, Men's Restroom 113 face | 6/A12.01 | [DERIVED]
C1 #C1-1 - interior column box at grid 4 between Vestibule 100, 24 HR Vestibule 101 and Central Zone 103 | C1-1 | 4 | 15.375 | 1 | 3-5/8" | 16 | 61.52 | interior column box at grid 4 between Vestibule 100, 24 HR Vestibule 101 and Central Zone 103 | 6/A12.01 | [DERIVED]
C1 #C1-2 - interior column box at grid 4/E (end of F-1, top of B2-1; grille 103 jamb) | C1-2 | 2.94 | 15.375 | 1 | 3-5/8" | 16 | 45.21 | interior column box at grid 4/E (end of F-1, top of B2-1; grille 103 jamb) | 6/A12.01 | [DERIVED]
TYPE CANOPY-COL
CANOPY-COL #CW-1 - CW-1 | CW-1 | 5.666 | 10.604 | 0 | 3-5/8" | 16 | 0 | CW-1 | 5/A09.25 | [DERIVED]
CANOPY-COL #CW-2 - CW-2 | CW-2 | 5.666 | 10.604 | 0 | 3-5/8" | 16 | 0 | CW-2 | 5/A09.25 | [DERIVED]
CANOPY-COL #CW-3 - CW-3 | CW-3 | 5.666 | 10.604 | 0 | 3-5/8" | 16 | 0 | CW-3 | 5/A09.25 | [DERIVED]
CANOPY-COL #CW-4 - CW-4 | CW-4 | 5.666 | 10.604 | 0 | 3-5/8" | 16 | 0 | CW-4 | 5/A09.25 | [DERIVED]
TYPE EXT-PARAPET
EXT-PARAPET #PAR-G - PAR-G | PAR-G | 16.469 | 4.292 | 0 | 6" parapet | 16 | 0 | PAR-G | 4/A09.26 | [DERIVED]
EXT-PARAPET #PAR-4 - PAR-4 | PAR-4 | 3.876 | 4.292 | 0 | 6" parapet | 16 | 0 | PAR-4 | 4/A09.26 | [DERIVED]
EXT-PARAPET #PAR-F - PAR-F | PAR-F | 39.116 | 2.042 | 0 | 6" parapet | 16 | 0 | PAR-F | 4/A09.26 | [DERIVED]
EXT-PARAPET #PAR-8-1+PAR-8-2 - PAR-8-1 + PAR-8-2 | PAR-8-1+PAR-8-2 | 75.818 | 2.897 | 0 | 6" parapet | 16 | 0 | PAR-8-1 + PAR-8-2 | 4/A09.26 | [DERIVED]
EXT-PARAPET #PAR-A - PAR-A | PAR-A | 52.198 | 4.886 | 0 | 6" parapet | 16 | 0 | PAR-A | 4/A09.26 | [DERIVED]
EXT-PARAPET #PAR-3-1+PAR-3-2 - PAR-3-1 + PAR-3-2 | PAR-3-1+PAR-3-2 | 47.927 | 3.394 | 0 | 6" parapet | 16 | 0 | PAR-3-1 + PAR-3-2 | 4/A09.26 | [DERIVED]
EXT-PARAPET #PAR-D - PAR-D | PAR-D | 3.907 | 4.292 | 0 | 6" parapet | 16 | 0 | PAR-D | 4/A09.26 | [DERIVED]
EXT-PARAPET #PAR-2 - PAR-2 | PAR-2 | 28.891 | 4.292 | 0 | 6" parapet | 16 | 0 | PAR-2 | 4/A09.26 | [DERIVED]
TYPE A1
A1 #A1u-1 - east office front north stub (Office 1 105 / Central Zone 103) | A1u-1 | 2.42 | 14.383 | 2 | 3-5/8" | 16 | 52.03 | east office front north stub (Office 1 105 / Central Zone 103) | 3/A12.01 | [DERIVED]
A1 #A1-1+A1u-2+A1u-3 - Waiting 104 / Calling Cubes 122 and MW01 alcove (north wall) + east office front south 4" stub (Office 4 108) on top of B2K + west office front north 4" stub (Office 5 109) | A1-1+A1u-2+A1u-3 | 17.086 | 15.375 | 1.98 | 3-5/8" | 16 | 364.02 | Waiting 104 / Calling Cubes 122 and MW01 alcove (north wall) + east office front south 4" stub (Office 4 108) on top of B2K + west office front north 4" stub (Office 5 109) | 3/A12.01 | [DERIVED]
A1 #A1-4+A1u-4 - Central Zone 103 / Corridor 111 (north side of corridor, door 111) + west office front south stub (Office 6 110 / Central Zone 103) | A1-4+A1u-4 | 8.254 | 15.375 | 1.93 | 3-5/8" | 16 | 113.18 | Central Zone 103 / Corridor 111 (north side of corridor, door 111) + west office front south stub (Office 6 110 / Central Zone 103) | 3/A12.01 | [DERIVED]
A1 #A1-3 - MW01 alcove (Central Zone 103) / Calling Cubes 122 (MW07) | A1-3 | 2.02 | 15.375 | 2 | 3-5/8" | 16 | 49.24 | MW01 alcove (Central Zone 103) / Calling Cubes 122 (MW07) | 3/A12.01 | [DERIVED]
A1 #A1-2 - MW01 alcove (Central Zone 103) / Calling Cubes 122 | A1-2 | 3.533 | 15.375 | 1.89 | 3-5/8" | 16 | 79.88 | MW01 alcove (Central Zone 103) / Calling Cubes 122 | 3/A12.01 | [DERIVED]
A1 #A1-7 - end of the MW21 alcove (Break Room 118 / Central Zone 103) | A1-7 | 1.733 | 11.91 | 2 | 3-5/8" | 16 | 32.06 | end of the MW21 alcove (Break Room 118 / Central Zone 103) | 3/A12.01 | [DERIVED]
A1 #A1-6 - Central Zone 103 / Break Room 118 (door 118A) | A1-6 | 5.513 | 13.052 | 1.93 | 3-5/8" | 16 | 43.69 | Central Zone 103 / Break Room 118 (door 118A) | 3/A12.01 | [DERIVED]
A1 #A1-5 - Calling Cubes 122 / Break Room 118 (MW21) - south wall | A1-5 | 15.233 | 13.052 | 2 | 3-5/8" | 16 | 274.2 | Calling Cubes 122 / Break Room 118 (MW21) - south wall | 3/A12.01 | [DERIVED]
A1 #A1-8 - Corridor 111 east wall (Break Room 118, Electrical 120, NER 121; door 118B) | A1-8 | 20.52 | 11.91 | 1.96 | 3-5/8" | 16 | 353.06 | Corridor 111 east wall (Break Room 118, Electrical 120, NER 121; door 118B) | 3/A12.01 | [DERIVED]
A1 #A1-9 - Break Room 118 / Work Room 119 (door 119) | A1-9 | 11.667 | 13.052 | 2 | 3-5/8" | 16 | 162.22 | Break Room 118 / Work Room 119 (door 119) | 3/A12.01 | [CONFIRMED]
A1 #A1u-5+A1u-6+A1u-7 - drinking fountain alcove north return (Women's Restroom 114 / Corridor 111 alcove) + drinking fountain alcove back wall (Restrooms 114 / 113 and chase / Corridor 111 alcove) + drinking fountain alcove south return (Corridor 111 alcove / Men's Restroom 113) | A1u-5+A1u-6+A1u-7 | 7.487 | 12.307 | 1.64 | 3-5/8" | 16 | 110.4 | drinking fountain alcove north return (Women's Restroom 114 / Corridor 111 alcove) + drinking fountain alcove back wall (Restrooms 114 / 113 and chase / Corridor 111 alcove) + drinking fountain alcove south return (Corridor 111 alcove / Men's Restroom 113) | 3/A12.01 | [DERIVED]
TYPE G
G #G-1 - east office front stub between Office 1 105 and Office 2 106 | G-1 | 3.467 | 14.383 | 3.59 | 1-5/8" | 16 | 179.13 | east office front stub between Office 1 105 and Office 2 106 | 5/A12.01 | [DERIVED]
G #G-2 - east office front stub between Office 2 106 and Office 3 107 | G-2 | 3.253 | 14.225 | 3.68 | 1-5/8" | 16 | 170.5 | east office front stub between Office 2 106 and Office 3 107 | 5/A12.01 | [DERIVED]
G #G-3 - Office 2 106 / Office 3 107 | G-3 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.92 | Office 2 106 / Office 3 107 | 5/A12.01 | [CONFIRMED]
G #G-4 - east office front stub between Office 3 107 and Office 4 108 | G-4 | 3.253 | 14.225 | 3.68 | 1-5/8" | 16 | 170.5 | east office front stub between Office 3 107 and Office 4 108 | 5/A12.01 | [DERIVED]
G #G-5 - Office 3 107 / Office 4 108 | G-5 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.92 | Office 3 107 / Office 4 108 | 5/A12.01 | [CONFIRMED]
G #G-6 - Office 4 108 / Cash Window 116 | G-6 | 10.073 | 15.375 | 3.41 | 1-5/8" | 16 | 527.85 | Office 4 108 / Cash Window 116 | 5/A12.01 | [DERIVED]
G #G-7 - ATM Room 102 / Office 5 109 | G-7 | 12.333 | 15.375 | 3.79 | 1-5/8" | 16 | 718.32 | ATM Room 102 / Office 5 109 | 5/A12.01 | [DERIVED]
G #G-8 - Office 5 109 / Office 6 110 | G-8 | 11.625 | 15.375 | 4 | 1-5/8" | 16 | 714.94 | Office 5 109 / Office 6 110 | 5/A12.01 | [CONFIRMED]
G #G-9 - Office 6 110 / Women's Restroom 114 | G-9 | 12.333 | 15.375 | 3.79 | 1-5/8" | 16 | 718.32 | Office 6 110 / Women's Restroom 114 | 5/A12.01 | [DERIVED]
TYPE G1
G1 #G1-1 - Office 1 105 / Office 2 106 | G1-1 | 11.771 | 15.375 | 4 | 1-5/8" | 16 | 723.92 | Office 1 105 / Office 2 106 | 5/A12.01 | [CONFIRMED]
G1 #G1-2 - west office front stub between Office 5 109 and Office 6 110 | G1-2 | 3.507 | 15.375 | 3.71 | 1-5/8" | 16 | 200.09 | west office front stub between Office 5 109 and Office 6 110 | 5/A12.01 | [DERIVED]
TYPE BULKHEAD-G
BULKHEAD-G #BH-1+BH-2+BH-3+BH-4 - office bulkhead over DFC-1A front of Office 105 (east front) + office bulkhead over DFC-1A front of Office 106 (east front) + office bulkhead over DFC-1A front of Office 107 (east front) + office bulkhead over DFC-1A front of Office 108 (east front) | BH-1+BH-2+BH-3+BH-4 | 30 | 6.262 | 4 | 1-5/8" | 16 | 751.48 | office bulkhead over DFC-1A front of Office 105 (east front) + office bulkhead over DFC-1A front of Office 106 (east front) + office bulkhead over DFC-1A front of Office 107 (east front) + office bulkhead over DFC-1A front of Office 108 (east front) | 9/A12.01 | [CONFIRMED]
BULKHEAD-G #BH-5+BH-6 - office bulkhead over DFC-1A front of Office 109 (west front) + office bulkhead over DFC-1A front of Office 110 (west front) | BH-5+BH-6 | 15 | 7.375 | 4 | 1-5/8" | 16 | 442.48 | office bulkhead over DFC-1A front of Office 109 (west front) + office bulkhead over DFC-1A front of Office 110 (west front) | 9/A12.01 | [CONFIRMED]
TYPE B2K
B2K #B2K-1 - Cash Window 116 north ballistic return at the east office front end (Office 4 108 / teller area) | B2K-1 | 1.88 | 15.375 | 2 | 6" | 24 | 57.8 | Cash Window 116 north ballistic return at the east office front end (Office 4 108 / teller area) | 4/A12.01 | [DERIVED]
TYPE A1K
A1K #A1K-1 - Cash Window 116 north ballistic wall (south of the G wall void) | A1K-1 | 2.98 | 15.375 | 2 | 3-5/8" | 24 | 91.64 | Cash Window 116 north ballistic wall (south of the G wall void) | 4/A12.01 | [DERIVED]
A1K #A1K-2 - Cash Window 116 south ballistic wall (teller area / void at Break Room 118) | A1K-2 | 3.033 | 13.052 | 2 | 3-5/8" | 24 | 79.18 | Cash Window 116 south ballistic wall (teller area / void at Break Room 118) | 4/A12.01 | [DERIVED]
A1K #A1K-3 - Cash Window 116 south-west ballistic wall at the teller line end (teller area / Break Room 118) | A1K-3 | 2.093 | 13.052 | 2 | 3-5/8" | 24 | 54.64 | Cash Window 116 south-west ballistic wall at the teller line end (teller area / Break Room 118) | 4/A12.01 | [DERIVED]
TYPE B2
B2 #B2-1 - ATM Room 102 east wall to Central Zone 103 (grid 4) | B2-1 | 5.66 | 15.375 | 2 | 6" | 16 | 111.44 | ATM Room 102 east wall to Central Zone 103 (grid 4) | 1/A12.01 | [DERIVED]
B2 #B2-4 - Break Room 118 / Work Room 119 (door 116) | B2-4 | 15.073 | 11.91 | 1.97 | 6" | 16 | 306.42 | Break Room 118 / Work Room 119 (door 116) | 1/A12.01 | [DERIVED]
B2 #B2-2a+B2-2b - Women's Restroom 114 / Corridor 111, north of grid B + Women's Restroom 114 / Corridor 111 (door 114) | B2-2a+B2-2b | 5.534 | 13.286 | 1.93 | 6" | 16 | 93.97 | Women's Restroom 114 / Corridor 111, north of grid B + Women's Restroom 114 / Corridor 111 (door 114) | 1/A12.01 | [DERIVED]
B2 #B2-3 - Corridor 111 west wall (Men's 113, Storage 117, Wellness 115; doors 113, 117, 115) | B2-3 | 15.787 | 13.052 | 1.92 | 6" | 16 | 252.84 | Corridor 111 west wall (Men's 113, Storage 117, Wellness 115; doors 113, 117, 115) | 1/A12.01 | [DERIVED]
TYPE A5
A5 #A5-2 - Central Zone 103 / Calling Cubes 122 (west wall, FEC-1 recess) | A5-2 | 11 | 15.375 | 1.96 | 6" | 16 | 227.34 | Central Zone 103 / Calling Cubes 122 (west wall, FEC-1 recess) | 3/A12.01 | [DERIVED]
A5 #A5-1a+A5-1b - Calling Cubes 122 / Central Zone 103 (east wall, north of grid B) + Calling Cubes 122 / Central Zone 103 (east wall, south of grid B) | A5-1a+A5-1b | 19.814 | 13.721 | 1.98 | 6" | 16 | 383.8 | Calling Cubes 122 / Central Zone 103 (east wall, north of grid B) + Calling Cubes 122 / Central Zone 103 (east wall, south of grid B) | 3/A12.01 | [DERIVED]
A5 #A5-3a+A5-3b - Corridor 111 / Calling Cubes 122 stub north of grid B + Corridor 111 / Calling Cubes 122 (door 122) | A5-3a+A5-3b | 5.28 | 12.543 | 1.92 | 6" | 16 | 43.61 | Corridor 111 / Calling Cubes 122 stub north of grid B + Corridor 111 / Calling Cubes 122 (door 122) | 3/A12.01 | [DERIVED]
A5 #A5-4 - Break Room 118 (FUTURE FCAM) - wall south of the teller line | A5-4 | 3.28 | 11.91 | 2 | 6" | 16 | 59.04 | Break Room 118 (FUTURE FCAM) - wall south of the teller line | 3/A12.01 | [DERIVED]
TYPE B
B #B-1 - Break Room 118 / Electrical 120 (north wall) | B-1 | 9.987 | 13.052 | 1.96 | 3-5/8" | 16 | 255.39 | Break Room 118 / Electrical 120 (north wall) | 1/A12.01 | [DERIVED]
B #B-5 - Electrical 120 and NER 121 east wall to Break Room 118 (doors 120, 121) | B-5 | 13.74 | 13.052 | 1.97 | 3-5/8" | 16 | 257.8 | Electrical 120 and NER 121 east wall to Break Room 118 (doors 120, 121) | 1/A12.01 | [DERIVED]
B #B-4 - Electrical 120 / NER 121 | B-4 | 9.58 | 13.052 | 2 | 3-5/8" | 16 | 250.08 | Electrical 120 / NER 121 | 1/A12.01 | [DERIVED]
B #B-2 - Men's Restroom 113 / Janitor Closet 112 and Storage 117 (door 112) | B-2 | 11.733 | 13.052 | 1.97 | 3-5/8" | 16 | 253.18 | Men's Restroom 113 / Janitor Closet 112 and Storage 117 (door 112) | 1/A12.01 | [DERIVED]
B #B-3 - Janitor Closet 112 and Storage 117 / Wellness 115 | B-3 | 11.733 | 13.052 | 1.97 | 3-5/8" | 16 | 300.96 | Janitor Closet 112 and Storage 117 / Wellness 115 | 1/A12.01 | [DERIVED]
B #B-6 - Janitor Closet 112 / Storage 117 | B-6 | 3.5 | 13.052 | 2 | 3-5/8" | 16 | 91.36 | Janitor Closet 112 / Storage 117 | 1/A12.01 | [DERIVED]
TYPE F
F #F-1 - 60 deg diagonal partition 24 HR Vestibule 101 / ATM Room 102 (walk-up ATM) | F-1 | 17.762 | 15.375 | 2 | 3-5/8" | 16 | 325.38 | 60 deg diagonal partition 24 HR Vestibule 101 / ATM Room 102 (walk-up ATM) | 12/A12.01 | [DERIVED]
| TOTAL - PARTITIONS | 956.512 |  |  |  |  | 15474.53
TYPE OTHER FRAMING (NOT A PARTITION)
ceiling_transition #R-TR104-W - WAITING 104 GB island, W edge against ACT-4 11'-6" CENTRAL ZONE 103 | R-TR104-W | 30 | 4.375 | 1 | 3-5/8" | 16 | 30 | WAITING 104 GB island, W edge against ACT-4 11'-6" CENTRAL ZONE 103 | 8/A09.33 | [DERIVED]
ceiling_transition #R-TR104-N - WAITING 104 GB island, N edge against ACT-4 11'-6" CENTRAL ZONE 103 | R-TR104-N | 17.027 | 4.375 | 1 | 3-5/8" | 16 | 17.03 | WAITING 104 GB island, N edge against ACT-4 11'-6" CENTRAL ZONE 103 | 8/A09.33 | [DERIVED]
ceiling_transition #R-TR104-E - WAITING 104 GB island, E edge against ACT-4 11'-6" CENTRAL ZONE 103 | R-TR104-E | 30 | 4.375 | 1 | 3-5/8" | 16 | 30 | WAITING 104 GB island, E edge against ACT-4 11'-6" CENTRAL ZONE 103 | 8/A09.33 | [DERIVED]
soffit_side #R-CSR-W-N - CSR soffit (CASH WINDOW 116) W long edge, north of grid B | R-CSR-W-N | 6.551 | 7.375 | 1 | 3-5/8" | 16 | 9.83 | CSR soffit (CASH WINDOW 116) W long edge, north of grid B | 10/A09.33 | [DERIVED]
soffit_side #R-CSR-W-S - CSR soffit (CASH WINDOW 116) W long edge, south of grid B | R-CSR-W-S | 5.462 | 5.052 | 1 | 3-5/8" | 16 | 8.19 | CSR soffit (CASH WINDOW 116) W long edge, south of grid B | 10/A09.33 | [DERIVED]
soffit_side #R-CSR-E-N - CSR soffit (CASH WINDOW 116) E long edge, north of grid B | R-CSR-E-N | 6.551 | 7.375 | 1 | 3-5/8" | 16 | 9.83 | CSR soffit (CASH WINDOW 116) E long edge, north of grid B | 10/A09.33 | [DERIVED]
soffit_side #R-CSR-E-S - CSR soffit (CASH WINDOW 116) E long edge, south of grid B | R-CSR-E-S | 5.462 | 5.052 | 1 | 3-5/8" | 16 | 8.19 | CSR soffit (CASH WINDOW 116) E long edge, south of grid B | 10/A09.33 | [DERIVED]
storefront_cripples #SFC-N-VEST - 100 VESTIBULE | SFC-N-VEST | 12.563 | 4.983 | 1 | 6" | 16 | 86.37 | 100 VESTIBULE | 2/A09.26 | [CONFIRMED]
storefront_cripples #SFC-N-CZ - 103 CENTRAL ZONE / 104 WAITING | SFC-N-CZ | 26.25 | 4.525 | 1 | 6" | 16 | 180.47 | 103 CENTRAL ZONE / 104 WAITING | 2/A09.26 | [CONFIRMED]
storefront_cripples #SFC-W - 100 VESTIBULE | SFC-W | 6.5 | 4.983 | 1 | 6" | 16 | 44.69 | 100 VESTIBULE | 2/A09.26 | [CONFIRMED]
vestibule_head #VH-S - VH-S | VH-S | 15.667 | 5.375 | 0 | 3-5/8" | 16 | 0 | VH-S | 6/A12.10 | [CONFIRMED]
vestibule_head #VH-E - VH-E | VH-E | 6.417 | 4.383 | 0 | 3-5/8" | 16 | 0 | VH-E | 4/A12.10 | [CONFIRMED]
roof_step #RS-1 - RS-1 | RS-1 | 51.733 | 3.112 | 0 | 3-5/8" | 16 | 0 | RS-1 | 4/A02.02 | [DERIVED]
roof_step #RS-2 - north side (high roof rooms 116 / 118 / corridor, above ceiling) | RS-2 | 51.733 | 3.46 | 1 | 3-5/8" | 16 | 179 | north side (high roof rooms 116 / 118 / corridor, above ceiling) | 4/A02.02 | [DERIVED]
roof_step #RS-3 - south side (low roof rooms 113 / 114 / 121, above ceiling) / roof step soffit bottom (horizontal, underside of the step box) | RS-3 | 51.733 | 1.131 | 2 | 3-5/8" | 16 | 124.21 | south side (low roof rooms 113 / 114 / 121, above ceiling) / roof step soffit bottom (horizontal, underside of the step box) | 4/A02.02 | [DERIVED]
fascia_box #FB-W - FB-W | FB-W | 93.563 | 1.864 | 0 | 3-5/8" canopy | 16 | 0 | FB-W | 16/A09.27 | [DERIVED]
fascia_box #FB-N - FB-N | FB-N | 57.539 | 1.864 | 0 | 3-5/8" canopy | 16 | 0 | FB-N | 3/A09.26 | [DERIVED]
fascia_box #FB-E - FB-E | FB-E | 56.464 | 1.864 | 0 | 3-5/8" canopy | 16 | 0 | FB-E | 7/A09.26 | [DERIVED]
fascia_box #FB-S - FB-S | FB-S | 26.873 | 1.864 | 0 | 3-5/8" canopy | 16 | 0 | FB-S | 7/A09.26 | [DERIVED]
grille_head #GH-103 - 101 / 103 | GH-103 | 13.333 | 2 | 2 | 2-1/2" | 16 | 33.34 | 101 / 103 | 4/A08.21 | [DERIVED]
ceiling_transition #R-TR103-CSR - CENTRAL ZONE 103: ACT-4 11'-6" (north) drops to ACT-4 9'-0" (south, west of the CSR soffit), free edge between A5-1 and the wall stub at x 1622 | R-TR103-CSR | 5.093 | 6.375 | 1 | 3-5/8" | 16 | 15.28 | CENTRAL ZONE 103: ACT-4 11'-6" (north) drops to ACT-4 9'-0" (south, west of the CSR soffit), free edge between A5-1 and the wall stub at x 1622 | 8/A09.33 | [DERIVED]

## Material Summary
MATERIAL SUMMARY - NET / WASTE / PURCHASE
Waste lives HERE, in its own column, applied ONCE: Pieces = ROUNDUP(Net x (1 + waste) / stock). Every stock length, coverage and yield is an Inputs cell.
Material | Unit | Net | Waste % | Waste | Purchase | Selling unit | Pieces to buy | Where it comes from | Yield check (live formula)
6" metal stud 600S162-54 exterior / 600S137-33 interior | LF | 4566.7 | 0.15 | 685.005 | 5251.705 | stick 20 ft | 263 | familias_out.json '6" stud (all gauges)'; 7/S5.20; A12.01; S1.11
3-5/8" metal stud 362S137-33 (all gauges) | LF | 6902.94 | 0.15 | 1035.441 | 7938.381 | stick 20 ft | 397 | familias_out.json '3-5/8" stud (all gauges)'; 7/S5.20; A12.01
1-5/8" metal stud (G / G1 double row) | LF | 3599.24 | 0.15 | 539.886 | 4139.126 | stick 20 ft | 207 | familias_out.json '1-5/8" stud'; 5/A12.01; 6/A12.01
Parapet 6" stud 600S162-54 by bay (11/S5.10) | LF | 1000.79 | 0.15 | 150.1185 | 1150.9085 | stick 20 ft | 58 | familias_out.json '6" parapet stud'; 11/S5.10; 6/S5.10
Ceiling / soffit track 3-5/8" | LF | 1240.29 | 0.15 | 186.0435 | 1426.3335 | run 10 ft | 143 | familias_out.json 'ceiling / soffit track'; 7/A09.33; 9/A12.08; 7/A09.26
Purlin (track to deck, flute parallel) | LF | 185.65 | 0.15 | 27.8475 | 213.4975 | run 10 ft | 22 | familias_out.json 'purlin (track to deck)'; 10/A09.33; S2.20
Header / box beam (metal stud, by pieces) | LF | 817.95 | 0.15 | 122.6925 | 940.6425 | stick 20 ft | 48 | familias_out.json 'header / box beam'; 7/S5.20; 2/S5.20; 4/A08.21; A12.10
Sill track (by pieces) | LF | 119.12 | 0.15 | 17.868 | 136.988 | run 10 ft | 14 | familias_out.json 'sill track'; 2/S5.20
Bracing 1-1/2" C.R. channel @ 48" O.C. | LF | 2455.14 | 0.15 | 368.271 | 2823.411 | C.R. channel 16 ft | 177 | familias_out.json 'bracing C.R. channel'; F/1/S5.20
7/8" furring channel @ 16" O.C. | LF | 805.84 | 0.15 | 120.876 | 926.716 | hat channel 12 ft | 78 | familias_out.json 'furring channel'; A04.01; A09.33
1-1/2" carrying channel @ 48" O.C. | LF | 316.54 | 0.15 | 47.481 | 364.021 | C.R. channel 16 ft | 23 | familias_out.json 'carrying channel'; A04.01; A09.33
Hanger wire 12 ga | LF | 533.62 | 0.15 | 80.043 | 613.663 | continuous coil (LF) | 614 | familias_out.json 'hanger wire'; A04.01; S2.20 B.O.D.
5/8" gypsum board, regular (walls + ceilings) | SF | 16975.46 | 0.06 | 1018.5276 | 17993.9876 | 4x12 ft sheet | 375 | familias_out.json '5/8" gyp board regular (walls + ceilings)'; A12.01; A04.01
5/8" gypsum board, moisture resistant (behind toilet / lavatory) | SF | 261.74 | 0.06 | 15.7044 | 277.4444 | 4x12 ft sheet | 6 | familias_out.json '5/8" gyp MOISTURE RESISTANT'; F/A08.01; 1/A08.01
Ballistic panel UL752 level 2 fiberglass | SF | 91.19 | 0.06 | 5.4714 | 96.6614 | 4x8 sheet | 4 | familias_out.json 'ballistic panel'; 4/A12.01
3/8" gypsum board over ballistic panel | SF | 70.16 | 0.06 | 4.2096 | 74.3696 | 4x8 sheet | 3 | familias_out.json '3/8" gyp board'; 4/A12.01
5/8" glass mat sheathing | SF | 454.93 | 0.06 | 27.2958 | 482.2258 | 4x8 sheet | 16 | familias_out.json '5/8" glass mat sheathing'; 3/A09.26; 7/A09.26; 9/A09.27
5/8" exterior gypsum sheathing (parapet) | SF | 948.85 | 0.06 | 56.931 | 1005.781 | 4x8 sheet | 32 | familias_out.json '5/8" EXTERIOR gyp sheathing'; C/A09.21; 11/S5.10
FRT blocking | LF | 941.46 | 0.06 | 56.4876 | 997.9476 | piece 8 ft | 125 | familias_out.json 'FRT blocking'; 4/A09.26; A08.01; A12.03
Metal stud blocking 362CR / stud blocking | LF | 629 | 0.15 | 94.35 | 723.35 | stick 20 ft | 37 | familias_out.json 'metal stud blocking (362CR / STUD BLOCKING)'; 4/S5.20
Metal trim (corner bead, casing bead, shadow molding) | LF | 984.9 | 0.15 | 147.735 | 1132.635 | trim stick 10 ft | 114 | familias_out.json 'metal trim (corner bead, casing, shadow molding)'; 53.1; A12.01; 9/A12.08
Cement board at tile cove base | SF | 33.9 | 0.06 | 2.034 | 35.934 | 3x5 sheet | 3 | familias_out.json 'cement board'; A08.01; 58.7
FRP panels | SF | 354.95 | 0.06 | 21.297 | 376.247 | 4x8 sheet | 12 | familias_out.json 'FRP'; A/A08.01; A08.01
Acoustical sealant | LF | 1187.93 | 0.06 | 71.2758 | 1259.2058 | tube (25 LF per tube) | 51 | familias_out.json 'acoustical sealant'; A12.01 details
Framed openings MEP (3-5/8" framing at fixtures / diffusers / access panel) | LF | 940.9 | 0.15 | 141.135 | 1082.035 | stick 20 ft | 55 | framed_openings_out.json 'framed openings MEP'; E02.01; M01.01; A04.01
Bottom track 6" 16 GA | LF | 214.11 | 0.15 | 32.1165 | 246.2265 | run 10 ft | 25 | familias_out.json 'bottom track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Bottom track storefront piers (3-5/8" + 6" parts) | LF | 6.49 | 0.15 | 0.9735 | 7.4635 | run 10 ft | 1 | familias_out.json 'bottom track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Bottom track 3-5/8" 20 GA | LF | 236.14 | 0.15 | 35.421 | 271.561 | run 10 ft | 28 | familias_out.json 'bottom track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Bottom track 1-5/8" 20 GA | LF | 280.31 | 0.15 | 42.0465 | 322.3565 | run 10 ft | 33 | familias_out.json 'bottom track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Bottom track 6" 14 GA | LF | 1.88 | 0.15 | 0.282 | 2.162 | run 10 ft | 1 | familias_out.json 'bottom track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Bottom track 3-5/8" 14 GA | LF | 8.11 | 0.15 | 1.2165 | 9.3265 | run 10 ft | 1 | familias_out.json 'bottom track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Bottom track 6" 20 GA | LF | 81.43 | 0.15 | 12.2145 | 93.6445 | run 10 ft | 10 | familias_out.json 'bottom track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Bottom track 2-1/2" 20 GA grille head (4/A08.21) | LF | 13.33 | 0.15 | 1.9995 | 15.3295 | run 10 ft | 2 | familias_out.json 'bottom track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Bottom track other framing (parapets, storefront cripples, vestibule heads, roof step, fascia, transitions) | LF | 490.8 | 0.15 | 73.62 | 564.42 | run 10 ft | 57 | familias_out.json 'bottom track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Top / deflection track 6" 16 GA | LF | 214.11 | 0.15 | 32.1165 | 246.2265 | run 10 ft | 25 | familias_out.json 'top / deflection track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Top / deflection track storefront piers (3-5/8" + 6" parts) | LF | 6.49 | 0.15 | 0.9735 | 7.4635 | run 10 ft | 1 | familias_out.json 'top / deflection track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Top / deflection track 3-5/8" 20 GA | LF | 236.14 | 0.15 | 35.421 | 271.561 | run 10 ft | 28 | familias_out.json 'top / deflection track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Top / deflection track 1-5/8" 20 GA | LF | 280.31 | 0.15 | 42.0465 | 322.3565 | run 10 ft | 33 | familias_out.json 'top / deflection track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Top / deflection track 6" 14 GA | LF | 1.88 | 0.15 | 0.282 | 2.162 | run 10 ft | 1 | familias_out.json 'top / deflection track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Top / deflection track 3-5/8" 14 GA | LF | 8.11 | 0.15 | 1.2165 | 9.3265 | run 10 ft | 1 | familias_out.json 'top / deflection track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Top / deflection track 6" 20 GA | LF | 81.43 | 0.15 | 12.2145 | 93.6445 | run 10 ft | 10 | familias_out.json 'top / deflection track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Top / deflection track 2-1/2" 20 GA grille head (4/A08.21) | LF | 13.33 | 0.15 | 1.9995 | 15.3295 | run 10 ft | 2 | familias_out.json 'top / deflection track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
Top / deflection track other framing (parapets, storefront cripples, vestibule heads, roof step, fascia, transitions) | LF | 490.8 | 0.15 | 73.62 | 564.42 | run 10 ft | 57 | familias_out.json 'top / deflection track (all)' split by stud size (R71.8 track size tool); 7/S5.20; A12.01
5/8" exterior grade FRT plywood (canopy soffits, fascia, column wraps) | SF | 2106.11 | 0.06 | 126.3666 | 2232.4766 | 4x12 ft sheet (Inputs) | 47 | familias_out.json FRT plywood by material; canon rows
5/8" FRT plywood bonded to 2-1/2" polyiso (exterior sheathing / nailbase) | SF | 4036.25 | 0.06 | 242.175 | 4278.425 | 4x12 ft sheet (Inputs) | 90 | familias_out.json FRT plywood by material; canon rows
3/4" FRT plywood | SF | 700.33 | 0.06 | 42.0198 | 742.3498 | 4x12 ft sheet (Inputs) | 16 | familias_out.json FRT plywood by material; canon rows
Sealant at base of gypsum (exterior, not acoustical) | LF | 209.06 | 0.06 | 12.5436 | 221.6036 | tube (25 LF per tube) | 9 | familias_out.json acoustical sealant rows 'base of gypsum (exterior)'
Hanger wire 12 ga - hanger count (one per hanger, height per room) | PCS | 113 | 0 | 0 | 113 |  | 113 | familias_out.json hanger_pcs.total_pcs; wire bought on the LF row
Additional head track at openings over 4'-0" wide | LF | 56 | 0.15 | 8.4 | 64.4 | run 10 ft | 7 | accesorios.py [CRITERION]: 2/S5.20 'ADD FULL LENGTH ADDL HEAD TRACK @ OPNG >4'-0"'; 9/S5.20 'HEAD TRACK (DOUBLE TRACK @ OPNG > 4'-0")'; Estimator user decision #1: R.O. + 1'-4" (8" bearing each side)
Stud reinforcement at MEP penetrations | PCS | 58 | 0 | 0 | 58 | each | 58 | accesorios.py [CRITERION]: 6/S5.20; M01.01 (mep.cruces vs A02.01 band, registro M01.01 this run); 6/S5.20; P01.01 (mep.cruces vs A02.01 band, registro P01.01 this run); 6/S5.20; P01.02 (mep.cruces vs A02.01 band, registro P01.02 this run); 6/S5.20; M01.01 FD symbol a
Extra framing - sistered stud and furring at the ATM recess | LF | 48.9 | 0.15 | 7.335 | 56.235 | stick 20 ft | 3 | accesorios.py [CRITERION]: 6/A08.11
2-1/2" CFMF @ 16" O.C. at coiling grille head (4/A08.21) | LF | 10.43 | 0.15 | 1.5645 | 11.9945 | stick 20 ft | 1 | accesorios.py [DERIVED]: 4/A08.21 COILING GRILLE HEAD DETAIL
Gypsum board jamb return at openings | SF | 76.99 | 0.06 | 4.6194 | 81.6094 | 4x12 ft sheet (Inputs) | 2 | accesorios.py [CRITERION]: Estimator criterion (return width = 6" stud depth, not dimensioned; RFI with delta at 0.20 ft)
PVC trim - edge trim molding and inside corner molding at the FRP | LF | 221.58 | 0.06 | 13.2948 | 234.8748 | trim stick 10 ft | 24 | accesorios.py [DERIVED]: A/A08.01, B/A08.01, C/A08.01, D/A08.01 '5'-0" TO TOP OF FRP'; WC-3 = FIBER REINFORCED PLASTIC PANEL (A00.40); 1/A08.01 rectilinear polygon: 4 + step (2) + TA-13 recess notch (4) = 10 vertices; inside 7, outside 3; jogs < 6" sin trim (R72.10
Power-driven fasteners and duct sleeves | PCS | 298 | 0 | 0 | 298 | each | 298 | accesorios.py [DERIVED]: Parapet infill: PAFs SPACED AT 12" O.C. MAX to the steel beam; M01.01 (mep.cruces vs A02.01 band, registro M01.01 this run); M01.01 (p76) duct drawn through the A02.01 band of A1K-2 (manual, R72.5); M01.01 (p76) duct drawn through the A02.0
Access panel 2' x 2' | PCS | 1 | 0 | 0 | 1 | each | 1 | accesorios.py [CONFIRMED]: A04.01 key note 4 '2' X 2' LOCKING ACCESS PANEL. KEYED TO MATCH MAIN ENTRY.'
Drywall screws 1-1/4" bugle head | PCS | 20768.83 | 0 | 0 | 20768.83 | each | 20769 | accesorios.py [DERIVED]: Inputs!B20 (Drywall screws per SF of board = 1.2) x 17307.4 SF of board | 20768.88
Framing screws, pan head self-drilling | PCS | 6952 | 0 | 0 | 6952 | each | 6952 | accesorios.py [DERIVED]: Inputs!B21 (Framing screws per stud piece = 4) x 1738 stud pieces | 6952
Power-driven fasteners, slab pins for the bottom track | PCS | 524.36 | 0 | 0 | 524.36 | each | 525 | accesorios.py [DERIVED]: 524.36 LF of interior bottom track on slab / Inputs!B22 (Power-driven pin spacing (ft) = 1) | 524.36
Expansion anchors Hilti 1/4" Kwik Bolt II, exterior bottom track @ 8" O.C. | PCS | 321.14 | 0 | 0 | 321.14 | each | 322 | accesorios.py [DERIVED]: 214.11 LF of exterior bottom track on slab / Inputs!B25 (Expansion anchor spacing (ft) = 0.6667) | 321.1489
Joint compound, all purpose | LB | 1246.13 | 0 | 0 | 1246.13 | lb | 1247 | accesorios.py [DERIVED]: Inputs!B23 (Joint compound (lb per SF) = 0.072) x 17307.4 SF of board | 1246.1328
Joint tape, paper | LF | 6403.72 | 0 | 0 | 6403.72 | LF | 6404 | accesorios.py [DERIVED]: Inputs!B24 (Joint tape (LF per SF) = 0.37) x 17307.4 SF of board | 6403.738
Level 5 finish | SF | 874.77 | 0.06 | 52.4862 | 927.2562 | SF | 928 | accesorios.py [DERIVED]: A00.40 WC-18 'WALL SURFACE TO BE LEVEL 5'; A05.01 WC-18 tag; 1/A11.04; A00.40 WC-18 'WALL SURFACE TO BE LEVEL 5'; A05.01 WC-18 tag; 6/A11.01; A00.40 WC-18 'WALL SURFACE TO BE LEVEL 5'; A05.01 WC-18 tag; 5/A11.04; A00.40 WC-18 'WALL SURFACE

## Pending Items
RFI | Question / condition | Delta of each alternative
RFI-ACC-additional-head-track | additional head track: openings with their own box (openings_extra) > 4'-0": do they also take the additional head track of 2/S5.20? | 106.97 lf
RFI-ACC-stud-reinforcement-mep | stud reinforcement MEP: plates en walls de doble fila de studs: una por fila cortada (R72.9) vs una por cruce | -19 pcs
RFI-ACC-extra-framing-atm | extra framing ATM: ATM DU west: ATM recess not fully dimensioned (width DERIVED, sistered height CRITERION, furring rows CRITERION) | 9.85 lf
RFI-ACC-gypsum-board-jamb-return | gypsum board jamb return: jamb return width not dimensioned | -46.19 sf
RFI-ACC-pvc-trim-at-frp | PVC trim at FRP: room 113: 2 inside corner(s) en jogs < 6" sin PVC trim (R72.10) | 10 lf
RFI-ACC-pvc-trim-at-frp-2 | PVC trim at FRP: room 114: 2 inside corner(s) en jogs < 6" sin PVC trim (R72.10) | 10 lf
RFI-ACC-slab-pins | slab pins: pin spacing: 12" (interior anchorage) vs 16" (fastener schedule) vs 24" (type K box) | 16in: -131.09 pcs; 24in: -262.18 pcs
RFI-A-CL-01 cladding substrate scope (60.4) | 7/8" hat channel @ 16" O.C. under EPS-5 (2/A09.31, 1/A09.31, 3/A09.25, A09.26, A09.27), self-furring metal lath under PT-3 stucco (6/A09.31, 5/A09.31) and furring under the ATM fiber cement panel (6/A08.11) are cladding substrate: confirm they are by the cladding / plaster installer and excluded from metal frame / drywall scope. | None: 0; None: hat channel 753.3 LF (N 141.3 + S 154.0 + E 312.4 + W 145.6); lath 1035.49 SF (S 371.9 + E 355.68 + W 307.91); ATM furring 26.88 SF
RFI-A-CL-02 ACM Citadel Envelope 2000 sub-framing | EPS-1 / EPS-3 Citadel Envelope 2000 rainscreen (A09.01/A09.02 legend) is drawn on shims with no hat channel (3/A09.31, 4/A09.31, 5/A09.26); its sub-framing is the panel manufacturer's system. No hat channel row taken for ACM. Confirm. | None: 0; None: ACM area not quantified in this read: PENDING
RFI-A-CL-03 PT-3 on canopy / storefront columns | Drive-up canopy column at grid 1 is labeled PT-3 / PT-03 on 1/A09.01 and 2/A09.02 (face 1.59 ft wide, vector 834.3-862.9 pt p36 and 2106.6-2135.1 pt p35, slab to B/CANOPY 10'-6"); the 6 dark columns on 2/A09.01 (28.4 pt = 1.58 ft wide) are not labeled. Column wrap perimeter not in the elevations. Is stucco + lath on these columns? | None: 63.6 SF lath; None: +379.2 SF lath; None: 0
RFI-A-CL-04 EPS-5 / PT-3 behind canopy fascia | Areas taken as visible in elevation: EPS-5 from T/BASE 0'-6" to B/CANOPY 10'-6", PT-3 from 0'-6" to T/CANOPY 12'-8". Does the panel / stucco continue concealed behind the EPS-1 canopy fascia (10'-6" to 12'-8")? | None: 0; None: +2.167 ft x EPS-5 run lengths (N 39.8, S 23.1, E 48.1, W 22.6 ft) = 289.5 SF = +217.1 LF hat channel
RFI-A-CL-05 ATM fiber cement extent / furring | 6/A08.11 'FIBER CEMENT PANEL ON FURRING ON 5/8" FRT PLYWOOD' extent not dimensioned; taken as the ATM surround outline 4'-6" x 7'-3" (5/A08.11) less the 26.4" x 31.3" R.O. Furring type / spacing not printed (SF only). | None: 0; None: -26.88 SF
RFI-A-OP-01 north arrow vs elevation titles | A02.01 north arrow points up (plan top = north) but 1/A09.01 titled SOUTH ELEVATION shows the plan-top facade (grids 8..1, vestibule door 100) and 2/A09.02 titled NORTH ELEVATION shows the plan-bottom facade (door 123). Which governs the facade letters? | None: 0 LF (naming only); None: 0 LF (naming only)
RFI-A-OP-02 CONT. BOX BEAM run ends east front | 8/A12.01 does not draw where the CONT. BOX BEAM ends along the east office front (offices 105-108). Wall to wall (43.31 ft) or first to last vendor jamb (39.97 ft)? | None: 0; None: -(43.313-39.973) x 4 pieces = -13.36 LF box beam
RFI-A-OP-03 CONT. BOX BEAM run ends west front | Same for the west office front (offices 109-110): wall to wall 21.57 ft or jamb to jamb 18.51 ft? | None: 0; None: -(21.573-18.507) x 4 = -12.27 LF box beam
RFI-A-OP-04 BOX HEADER AS NEEDED size | 4/5/6/7 A12.10 call METAL STUD FRAMING & BOX HEADER AS NEEDED over the vestibule frames without size. Confirm a box header (2 C + 2 track) is required over each frame line. | None: 0; None: VF-S -(15.667+1.333)x4 = -68.0 LF; VF-E -(6.417+1.333)x4 = -31.0 LF
RFI-A-OP-05 DU ATM R.O. | 7/A08.11 prints 2'-2 1/2" R.O. and 5/A08.11 prints 2'-2 1/8" (26.4") R.O. for the drive-up ATM. Which governs? Also confirm the 2'-8 1/8" sill datum (finished drive-lane vs interior slab). | None: 0; None: -0.031 x 4 = -0.13 LF header, -0.03 LF sill
RFI-A-OP-06 CSR line header | No header is called over the 12'-0 1/4" R.O. HOLD teller opening of Cash Window 116 (9/A12.08 shows a 3 5/8" stud soffit at GB 8'-0"). Is a box header required? | None: 0; None: +(12.021+1.333)x4 = +53.42 LF; None: +(12.021+1.333)x2 = +26.71 LF
RFI-A-OP-07 FEC-1 cabinet size | FEC-1 recessed cabinet size not printed (A00.41 refers to spec 10 44 00). If wider than the 14 3/8" stud bay a framed opening is needed. | None: 0; None: +(2.0+1.333) header + (2.0+1.333) sill = +6.67 LF track
RFI-A-OP-08 door 123 head callout | Section F/A09.22 head callout at door 123 reads 3/A09.25 (window jamb) while 14/A09.27 is the HM DOOR HEAD (METAL STUD BOX BEAM AS REQUIRED, HEAD 8'-2"). 14/A09.27 used. | None: 0; None: -(3.333+1.333)x3 = -14.0 LF
RFI-A-OP-09 office front head height | Office front (DFC-1A) head height not dimensioned in 8/9 A12.01; taken = DFC-1A door height 7'-10" (A00.30). Confirm vendor frame height. | None: 0 LF header (affects cripples / board above only)
RFI-RCP-01 | GWB suspended ceiling spacing (furring channel, carrying channel, hangers) is not printed on A04.01 / A09.33 / S5.20. Carried 7/8" furring @16", 1-1/2" carrying @48", hangers @48" (CRITERION). | furring @24" O.C.: furring channel -255.9 LF (805.8 -> 549.9) over rooms 100, 101, 104, 113, 114; carrying + hangers @36": carrying +67.4 LF (316.5 -> 383.9); hangers +46 pcs (113 -> 159), hanger wire +219.3 LF
RFI-RCP-02 | Carrying channel direction not shown. Carried N-S (53.3, more LF). | E-W: furring -28.4 LF (805.8 -> 777.4), carrying +5.4 LF (316.5 -> 321.9), hangers 113 pcs both
RFI-RCP-03 | CSR soffit (116): 4/A12.08 shows ACT-4 9'-0" on both long sides and 9/A12.08 paints all sides -> 2 drop lines carried; typical 10/A09.33 shows one side at a scheduled partition (1 drop line). Confirm. | 1 drop line (10/A09.33): -1 drop line: about -69.5 LF 3-5/8" studs (6 x 7.375 + 5 x 5.052), -24.04 LF ceiling/soffit track, -18.0 SF 5/8" GB, -12.02 LF corner bead
RFI-RCP-03b | CSR soffit blocking: 9/A12.08 draws one 5/8" FRT plywood strip; 10/A09.33 draws two FRTW blocks. Carried 1 run. | 2 runs (10/A09.33): +12.02 LF FRT blocking
RFI-RCP-04 | Low roof south of grid B slopes (S2.20 B.O.D. 13'-0 5/8" at B to 12'-6 3/8" at A). Carried 13'-0 5/8" for restrooms 113/114 hangers and the CSR south drop studs. | interpolated / 12'-6 3/8": up to -0.521 ft per hanger: 24 hangers (113 + 114) = -12.5 LF hanger wire; CSR south drop studs 2 x 5 x 0.521 = -5.2 LF 3-5/8"
RFI-RCP-06 | Recessed fixture widths not printed: R-11A/C/CE (FSM2L) carried 2.64 in drawn; UU1-UU6 carried 2.5 in from catalog LSR-WET-2.5 while A04.01 draws 7.56 pt = 5.04 in. | UU at 5.04 in drawn: +2 x (5.04-2.5)/12 x 21 fixtures = +8.9 LF framed openings
RFI-RCP-07 | Slot diffuser SD (TBDI-10) section lengths are SEE DRAWING (M00.03); 2 vestibule rows and one restroom slot are partly hidden by duct graphics on M01.01 and were assumed equal to the visible sections (4'-0" / 2'-0"). | hidden sections shorter (visible line 2.55-2.93 ft): 5 vestibule sections at their visible lengths (2.55, 2.73, 2.76, 2.73, 2.78 ft) + 114 E slot 1.25 ft: -2 x (6.45 + 0.75) = -14.4 LF framed openings
RFI-RCP-08 | Canopy soffit 3 5/8" metal stud framing: spacing and direction not printed (3/A09.26, 7/A09.26, 15-16/A09.27). Carried @16" (5/A09.33 CFMF @16") perpendicular to the building wall. | joists parallel to the wall (on hangers to steel): W canopy: 17 joists x 49.32 ft (mean chord) = 838.4 LF vs 43 x 18.65 = 802.0 LF -> +36.4 LF; other canopies recalculated by canon.py
RFI-A-EXT-01 canopy beam in the exterior wall cavity | S2.20 canopy beams W12x19 / W16x26 (CANOPY) run on the exterior wall lines inside the 6" CFMF cavity (C/A09.21, H/A09.23, J/A09.23, 7/A09.26, 15/A09.27). Studs carried continuous slab to underside of the roof beam. Confirm or split at the canopy beam. | None: 0; None: per wall: +L bottom track +L top track, -studs x canopy beam depth (inventario.py rfi_split computes it from canopy_beam)
RFI-A-EXT-02 glass mat band height behind canopies | band glass mat height carried T/STUD 12'-7" - B/STUD 10'-8 5/8" = 1.865 ft (7/A09.26). The same detail prints a second B/STUD 10'-7 1/4" (soffit) and draws the glass mat strip over the canopy framing depth only. | None: 0; None: +0.114 x 184.34 LF band = +21.0 SF glass mat, -21.0 SF nailbase
RFI-A-EXT-03 D jog parapet height | The parapet on the D jog (grid 2 to 3) is carried HP (T/STUD 19'-8") as the return of the grid 2 T.O. PARAPET 2; 2/A09.01 shows the step near D but no section cuts the jog. | None: 0; None: -2.25 ft x 3.907 LF parapet studs height, -8.8 SF ext gyp sheathing, -8.7 SF nailbase strip
RFI-A-EXT-04 low roof slope (grid B to A) | Low roof B.O.D. slopes 13'-0 5/8" (B) to 12'-6 3/8" (A). Exterior wall studs on grids 3 and 8 (B..A) carried at the high end (13'-0 5/8" - W14x22); parapets on those lines at the average (55.3); grid A at 12'-6 3/8". | None: 0; None: -0.26 ft x (studs of EXT-8-2 + EXT-3-2, about 2 x 21) = about -11 LF 6" studs
RFI-A-EXT-05 building corner zones | S1.11: studs within 6 ft of building corners 600S162-54 @ 12" O.C. Applied at the NE, SE, SW corners and the convex D-jog corner (EXT-2 / EXT-D); NW corner is pier + storefront. | None: 0; None: EXT-2 and EXT-D @ 16": about -2 studs x 14.36 = -28.7 LF 6" studs
RFI-A-EXT-06 exterior stud gauge | S1.11 general notes require 600S162-54 @ 16" (12" at corners) for exterior studs; 7/S5.20 METAL STUD PROPERTIES lists 600S137-33 EXTERIOR WALLS @ 16". S1.11 carried (minimum unless the LGMF submittal shows otherwise). | None: 0; None: same LF, lighter gauge (price only)
RFI-A-EXT-07 vestibule head framing | 4-7/A12.10 METAL STUD FRAMING & BOX HEADER AS NEEDED: stud size not printed (3 5/8" carried) and no gypsum board drawn on the framing above the 10'-0" GB ceiling (faces none). | None: 0; None: VH-S + VH-E studs move from 3 5/8" to 6" (same LF); None: +2 x (15.667 x 5.375 + 6.417 x 4.383) = +224.7 SF 5/8" GB
RFI-A-EXT-08 storefront pier studs | 1/A09.25 and 2/A09.25 do not dimension stud counts; studs_drawn taken as the framing members drawn (NW: 2 x 3 5/8" + 2 x 6"; NE: 2 x 3 5/8" + 3 x 6"). | None: 0; None: NW +4 x 14.36, NE +5 x 14.36 = +129.2 LF
RFI-A-EXT-09 canopy column wrap top and gauge | 5/A09.25 does not give the wrap height or gauge; carried T/SLAB to B/STUD 10'-7 1/4" (16/A09.27 soffit framing) with 3 5/8" 20 ga. | None: 0; None: -0.104 x 4 wraps x 8 studs = -3.3 LF
RFI-A-INT-01 | Untagged DFC-1A office front stubs (A1u-1 2.42 ft, A1u-4 2.67 ft, 4" end stubs A1u-2 / A1u-3) are drawn at G / G1 thickness but carry no tag; A02.01 note A types them A1. Confirm type. | None: 0; None: studs: 3-5/8" -(5.75 ft x 1 row) -> 1-5/8" +(5.75 ft x 2 rows); board ~+2 layers x 2 faces x 5.75 ft x (deck - ceiling+6")
RFI-A-INT-02 | Tag B2K (inventory PC0011) at the Cash Window north return is not in the A12.01 schedule. Carried 4/A12.01 row A5K (6" 14 ga @24", 7 5/8") = kevlar hatch on a B2 line. | None: 0; None: -1.88 ft ballistic contour (-15.0 SF panel at 8'-0"), stud gauge 14 -> 20 ga
RFI-A-INT-03 | Ballistic (kevlar) walls at Cash Window 116: the customer side is not labeled on A02.01, and A1K-1 / A1K-2 face a 3.3 in enclosed void (behind G-6 and C1-5). Carried the face away from the teller area as the customer face (fiberglass panel + 5/8"). | None: 0; None: 0 SF ballistic (same L), board location only
RFI-A-INT-04 | 6/A12.01 PARTITION TYPE C1 draws studs and one-side 5/8" board up to a break line with no top condition. Carried studs and board to structure (53.3). | None: 0; None: C1-4/C1-6 restrooms: -2 x 10.03 x (13.052 - 9.0) = -81.3 SF 5/8" MR; C1-3: -10.0 x (15.375 - 11.5) = -38.8 SF; C1-5: -2.63 x (13.052 - 9.0) = -10.6 SF
RFI-A-INT-05 | 7/S5.20 METAL STUD PROPERTIES lists only 362S137-33 (interior) and 600S137-33 (exterior). Gauge of the 6" interior studs (A5, B2) and of the 1-5/8" studs (G, G1, bulkheads) is not printed; carried 33 mil. | None: 0 LF; None: 0 LF (price only)
RFI-A-INT-06 | Janitor 112 / Storage 117 partition (B-6, 3.5 ft) is tagged 'B' with a smaller symbol (inventory PA0034, ambiguous). Carried type B. | None: 0; None: board to ceiling+6" both faces: rooms open to structure -> 0 SF; sealant top -2 x 3.5 LF
RFI-A-INT-07 | Low roof south of grid B slopes from B.O.D. 13'-0 5/8" (grid B) to 12'-6 3/8" (grid A, F/A09.22 T/STEEL). Stud height of interior walls south of grid B carried at 13'-0 5/8" (53.3). | None: 0; None: up to -0.521 ft per stud at grid A
RFI-A-INT-08 | Deck break at grid B (D9) splits A5-1, A5-3 and B2-2; B2-2a (0.56 ft) and A5-3a (0.96 ft) are short pieces north of grid B, and door 114 starts 3.2 pt north of grid B. Confirm the step location / heights at these walls. | None: 0; None: -(0.56 + 0.96 + 15.09) ft x 2.323 ft studs 6" region
RFI-A-INT-09 | Restroom chase C1 linings (C1-4, C1-6) are drawn 7.32 pt = 4.88 in thick with two finish lines vs C1 3 5/8" + 5/8" = 4 1/4". Confirm one layer of 5/8" MR (vs 2 layers / tile backer). | None: 0; None: +2 x 10.03 x 13.052 = +261.8 SF
RFI-A-INT-11 | the beam-over-wall overlay tool (S2.20) finds S2.20 beams over only part of G1-1, G-2, G-8, G-7 (two parallel marks W12x19 / W8x10) and B-2 / B-3 (W8x10 / W14x22: S2.20 labels the south header of the roof opening W14x22). Carried these walls to the deck (beam_override, 53.3); walls with >= 50 % coverage stop under the beam (G-2: north 45 % under the W12x14 line, south 55 % under the W14x30 - tool mark used) (stops_under_beam). | None: 0; None: G1-1 / G-8 -3.35 ft x 0.657 ft x 2 rows each; B-2 / B-3 -5.29 ft x 0.657; G-7 -3.8 ft x (0.657..1.017) x 2
RFI-ADV-ADV4-02 | RFI: A05.01 key note 9 calls for Level 5 finish and P-15 tinted primer behind wallcovering WC-20 on the 24 HR Vestibule 101 face of the diagonal ATM partition (type F), but the same wall is tagged P-24 and WC-20 is not defined in A00.40. The finish schedule referenced by A05.01 (A00.31) is not in the set. We carry Level 5 on that face (161.99 SF). Please confirm WC-20 and issue A00.31. Delta if the wall is paint P-24 only: -161.99 SF Level 5. | see question: see question
RFI-ADV-ADV4-03 | If the 8/A12.10 termination is the same glass end as the airlock jamb in 3/A08.21 (one piece, not two): -10.04 LF FRT blocking. | see question: see question
RFI-ADV-ADV5-03 | RFI: 3/P00.01 calls '2X BLOCKING BETWEEN STUDS' for the platform-mounted water heater WH-1 in Janitor 112, with no material given. We carry metal stud blocking, 3 levels x 2 bays = 8.0 LF. If 2x FRT wood is required: move 8.0 LF from metal stud blocking to FRT blocking. | see question: see question
RFI-ADV-ADV5-06 | MORNING REVIEW (R71.6 / R59.8): recessed TA-2, TA-13, TA-14 and FEC-1 have no printed rough-in widths. We carry 0 header/sill. Delta if the manufacturer's rough-ins exceed one stud bay: up to +44.4 LF track. | see question: see question
RFI-ADV-ADV5-08 | RFI (documents): A00.60 key note 13 references A08.12, and A03.01 note D and A05.01 general notes A/B reference finish schedule A00.31. Neither sheet is in the bid set or the A00.00 index. Please issue them. Our finishes are based on A00.40 and A05.01, and WC-20 (key note 9) is carried as Level 5 (see RFI-ACC-06). Delta: 0 until issued. | see question: see question
RFI-CLIPS | S1.11 LGSF note 2 asks for manufacturer's standard vertical deflection clips at non-load-bearing walls; the A12.01 type details draw a deflection track. Confirm whether clips are required in addition. | +563 PCS deflection clips (one per full-height stud of walls to structure, cierres_resumen.json) if required; 0 if the deflection track governs
RFI-DOOR116 | Door 116 sits exactly on the A5 / B2 type change (A02.01); which wall carries the opening? | 3.333 LF moves between A5 and B2 (A5-4 3.28 / B2-4 15.073 carried; alternate A5-4 6.613 / B2-4 11.74); line total 18.353 LF unchanged
RFI-BLOCKING-EDGE | 4/S5.20 'PROVIDE BLOCKING AT THE EDGE OF GYPBOARD' gives no location (56.8 / 59.14): carried (b) every face with board taller than the 12 ft sheet = 570.1 LF metal stud blocking (canon.py 'blocking edge'). | (a) exterior walls + double-layer walls only (EXT-*, G, G1: 20 walls) = 309.26 LF -> -260.84 LF metal stud blocking
RFI-BRACING-OPENINGS | Bracing C.R. channel across openings without studs (53.4 literal carried). | -116.78 LF bracing if not run across openings (corridas.py)
RFI-BOTTOM-TRACK-DOORS | Bottom track at door R.O. not deducted (E10, estimator criterion). | -50.49 LF bottom track if deducted (corridas.py)
RFI-CANOPY-BEAM | Canopy beam inside the exterior wall cavity (C/A09.21, 7/A09.26, 15/A09.27): studs carried continuous. | if the wall is split at the beam: +111.59 LF bottom, +111.59 LF top, -104.33 LF 6" stud (canon.py)
RFI-FO-66 | RFI R-11C: schedule description 12.0 ft vs catalog 20.0 ft; carried 12.0 ft (desc = drawn); alternate 20.0 ft | 32.0 LF
RFI-FO-67 | RFI R-11CE: schedule description 12.0 ft vs catalog 20.0 ft; carried 12.0 ft (desc = drawn); alternate 20.0 ft | 32.0 LF
RFI-CLAD-68 | RFI: confirm 7/8" hat channel @ 16" O.C. at EPS-5 formed metal wall panel, north facade (2/A09.31, 1/A09.31, 1/A09.01) is cladding substrate by the cladding installer, excluded from metal frame / drywall scope; add 141.3 LF if included. | 141.3 LF EXCLUDED (cladding substrate by others, 60.4)
RFI-CLAD-69 | RFI: confirm 7/8" hat channel @ 16" O.C. at EPS-5 formed metal wall panel, south facade (2/A09.31, 1/A09.31, 2/A09.02) is cladding substrate by the cladding installer, excluded from metal frame / drywall scope; add 154.0 LF if included. | 154.0 LF EXCLUDED (cladding substrate by others, 60.4)
RFI-CLAD-70 | RFI: confirm Self-furring metal lath at PT-3 7/8" 3-coat cement plaster (stucco), south facade (6/A09.31, 5/A09.31, 2/A09.02) is cladding substrate by the cladding installer, excluded from metal frame / drywall scope; add 371.9 SF if included. | 371.9 SF EXCLUDED (cladding substrate by others, 60.4)
RFI-CLAD-71 | RFI: confirm 7/8" hat channel @ 16" O.C. at EPS-5 formed metal wall panel, east facade (2/A09.31, 1/A09.31, 1/A09.02) is cladding substrate by the cladding installer, excluded from metal frame / drywall scope; add 312.4 LF if included. | 312.4 LF EXCLUDED (cladding substrate by others, 60.4)
RFI-CLAD-72 | RFI: confirm Self-furring metal lath at PT-3 7/8" 3-coat cement plaster (stucco), east facade (6/A09.31, 5/A09.31, 1/A09.02) is cladding substrate by the cladding installer, excluded from metal frame / drywall scope; add 355.68 SF if included. | 355.68 SF EXCLUDED (cladding substrate by others, 60.4)
RFI-CLAD-73 | RFI: confirm 7/8" hat channel @ 16" O.C. at EPS-5 formed metal wall panel, west facade (2/A09.31, 1/A09.31, 2/A09.01) is cladding substrate by the cladding installer, excluded from metal frame / drywall scope; add 145.6 LF if included. | 145.6 LF EXCLUDED (cladding substrate by others, 60.4)
RFI-CLAD-74 | RFI: confirm Self-furring metal lath at PT-3 7/8" 3-coat cement plaster (stucco), west facade (6/A09.31, 5/A09.31, 2/A09.01) is cladding substrate by the cladding installer, excluded from metal frame / drywall scope; add 307.91 SF if included. | 307.91 SF EXCLUDED (cladding substrate by others, 60.4)
RFI-CLAD-75 | RFI: confirm Furring under fiber cement panel on 5/8" FRT plywood at drive-up ATM surround (NHA 9D DU), west facade (6/A08.11, 5/A08.11, 2/A09.01) is cladding substrate by the cladding installer, excluded from metal frame / drywall scope; add 26.88 SF if included. | 26.88 SF EXCLUDED (cladding substrate by others, 60.4)

## Review Items
# | Item | Sheet + detail | Image
1 | Door 116 on the A5 / B2 type change: A reading carried (A5-4 3.28 LF, B2-4 15.073 LF); alternate moves 3.333 LF to A5 (RFI-DOOR116). | A02.01; 4/A12.01 | 3_revision/img_resol/int/019_B2.png
2 | Tag B2K (PC0011) not in the A12.01 schedule: carried as B2 framing with the K (kevlar) build-up of 4/A12.01 (RFI-ACC-03). | A02.01; 4/A12.01 | 1_inventario/recortes/PC0011_B2K_A02.01_p24.png
3 | Elevation titles swapped N/S (1/A09.01 'SOUTH' shows the north face): the north arrow of A02.01 governs (R71.1). | A09.01; A09.02; A02.01 | img/B/ext/north_arrow_A02.01.png
4 | EXT-D facade corrected W -> S in Stage 3; the facade sheathing totals of A still carry its 3.35 LF inside the W facade (N/E/S/W totals; project total unchanged). | A02.01; C/A09.21 | 3_revision/img_resol/ext/002_EXT-D.png
5 | Deflection clips (S1.11 note 2) not in any tool family: EXCLUDED per wall + RFI-CLIPS with delta in PCS (morning review note P04). | S1.11; A12.01 | img/A/acc/S5.20_stud_schedule.png
6 | Two tool contradictions worked around without editing tools: hatch_extent (P01) and fos_chain (P02); planmark.py missing from the zip and rebuilt outside tools/ (P03). | n/a | n/a
7 | Ceiling suspension spacings (furring 16", carrying 48", hanger 48") are not printed: CRITERION + RFI. | A09.33; A04.01 | img/A/rcp/

## Scope Checklist
Scope ID | Scope | Status | Note (quantity, NOT APPLICABLE + sheet, or RFI)
ALC-01 | Interior partition framing (studs + tracks) | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A00.00, A02.02, A08.11, A08.21, A09.21, A09.25, A09.26, A09.27
ALC-02 | Exterior wall framing (CFMF) | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A08.21, A09.25, A09.26, A09.27, A09.33, E04.01, S1.14, S5.20
ALC-03 | Parapet framing | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A02.02, A09.01, A09.22, A09.26, A09.27, S5.10, S5.11
ALC-04 | Top / deflection and bottom track | QUANTIFIED | bottom track + top / deflection track rows by stud size (familias_out.json); scan sheets: A12.01, M03.01, S1.11, S5.10, S5.20
ALC-05 | Headers, sills and jambs at openings | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A08.21, A09.25, A09.26, A09.27, A09.30, A12.01, A12.02, A12.10
ALC-06 | Bracing / bridging | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A09.33, S1.11, S1.14, S5.10, S5.20
ALC-07 | Gypsum board on walls (layers per type) | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A00.00, A02.02, A08.01, A08.11, A08.21, A09.25, A09.26, A09.27
ALC-08 | Moisture / abuse / special board at wet zones | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A08.01
ALC-09 | Exterior gypsum / glass mat sheathing | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A09.26, A09.27, A09.33
ALC-10 | FRT plywood sheathing / substrate | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A00.00, A02.02, A08.11, A08.21, A09.21, A09.25, A09.26, A09.27
ALC-11 | Gypsum board ceilings | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A9.22
ALC-12 | Ceiling suspension (furring / carrying channel / hanger wire / ceiling track) | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A09.33, A9.22, M00.01, M00.02, P00.01
ALC-13 | Soffits and bulkheads (framing + board) | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A09.01, A09.22, A09.27, A09.33, A12.01, A12.02, A12.08, A9.22
ALC-14 | Canopy / marquee framing and sheathing | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A00.60, A02.02, A09.01, A09.22, A09.25, A09.26, A09.27, A09.33
ALC-15 | Column furring / wraps | QUANTIFIED | canopy column wraps 5/A09.25 (CW-1..4) + interior C1 wraps; 0 hits in the keyword scan, quantified from 5/A09.25; scan sheets: none
ALC-16 | Blocking (FRT wood / metal) for millwork and accessories | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A00.00, A02.02, A08.01, A08.21, A09.21, A09.26, A09.30, A09.33
ALC-17 | Framed openings (MEP, access panels, diffusers) | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A9.22, M00.01, P00.01
ALC-18 | Trim: corner bead, casing bead, control joints, reveals | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A00.00, A08.21, A09.01, A09.22, A09.26, A09.31, A09.33, A12.01
ALC-19 | Acoustical sealant / sound attenuation | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A12.01
ALC-20 | FRP / cement board / tile backer | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A08.01, A09.26, A09.27, A12.02
ALC-21 | Shaft walls / area separation walls | NOT APPLICABLE | no shaft wall / area separation wall in the set: keyword scan 0 sheets; A12.01 partition types list none; A02.01 has no shaft; scan sheets: none
ALC-22 | Rated assemblies (UL designs) and their board type | QUANTIFIED | rated assemblies: A12.01 types carry their board (5/8" regular / type X per detail); no UL design changes the board count; scan sheets: A11.03, A12.02, E00.01, E02.02, E04.02, M00.01, M03.01
ALC-23 | Special panels (ballistic, lead-lined, abuse) | QUANTIFIED | quantified in Material Summary from familias_out.json; scan sheets: A12.01
ALC-24 | Finish level (Level 4 / Level 5) | QUANTIFIED | Level 5 finish from the finish schedule WC-18 / WC-22 tags (accesorios.py Level 5 finish); scan sheets: A08.11, A12.02
ALC-X25 | batt insulation | NOT APPLICABLE | EXCLUDED (estimator criterion: no insulation)

## _reglas (hidden)
reglas.py compuerta OK
{"canon": "f15fcad59a3ba47c5f7187fb3e42f26a73e914c59ed7e3da836c49bf9a660bb9", "evidencias": "e5980d1b497a10f2e0ef20ab3a4c7f34d1644d9853c1a77f368923c917add107", "familias_out": "ab8083884bdc433ac17edff9b3cd7159c15517d03d5220489a05cd6881bca108", "reglas": "9c4ddfdf1360c08fc32d1b552676f330af7762e07c882c3cd6b5ba629d38f374", "version": "v72b"}