## Inputs
Bank of America - Broomfield, CO (CO1-111) ¦ METAL FRAMING & DRYWALL TAKEOFF
Bid set: 2025.08.26_CO1-111_Broomfield_PERMIT SET_BID SET.pdf · 2026-10-15 · Edit ONLY the yellow cells.
PARAMETER | VALUE | NOTE / SOURCE
Waste - ALL METAL, any type | 0.15 | Estimator standing rule.
Waste - EVERYTHING THAT IS NOT METAL | 0.06 | Same figure as board.
Board sheet width (ft) | 4
Board sheet length (ft) | 12
SF per board sheet | 48 | Width x length.
Stud stock length (ft) | 20
Track stock length (ft) | 10

## Partition Takeoff
ORGANIZED PARTITION TAKEOFF - Bank of America - Broomfield, CO (CO1-111)
Grouped by partition type. Every row cites its DETAIL/SHEET and its status.
Partition / Scope | Wall # | Length (LF) | Height (FT) | Layers | Stud Size | Stud O.C. (in) | Board (SF) | Location | Source (DETAIL/SHEET) | Status
TYPE G
G #G-01 - ATM Room 102 S / Office 5 CB 109 N ¦ ATM Room 102: 2 layer(s) 5/8" gyp board to 15.38' ¦ Office 109: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 32 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-01 | 16.293 | 15.375 | 4 | 1-5/8" | 16 | 1002.02 | ATM Room 102 S / Office 5 CB 109 N ¦ ATM Room 102: 2 layer(s) 5/8" gyp board to 15.38' ¦ Office 109: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 32 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-02 - Office 109 / Office 110 ¦ Office 109: 2 layer(s) 5/8" gyp board to 15.38' ¦ Office 110: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 24 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-02 | 11.627 | 15.375 | 4 | 1-5/8" | 16 | 715.06 | Office 109 / Office 110 ¦ Office 109: 2 layer(s) 5/8" gyp board to 15.38' ¦ Office 110: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 24 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-03 - Office 110 S / Women's Restroom 114 N ¦ Office 110: 2 layer(s) 5/8" gyp board to 15.38' ¦ Women's 114: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 24 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-03 | 11.627 | 15.375 | 4 | 1-5/8" | 16 | 715.06 | Office 110 S / Women's Restroom 114 N ¦ Office 110: 2 layer(s) 5/8" gyp board to 15.38' ¦ Women's 114: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 24 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-04 - Office 2 CL 106 / Office 3 SB 107 ¦ Office 106: 2 layer(s) 5/8" gyp board to 15.38' ¦ Office 107: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 24 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-04 | 11.767 | 15.375 | 4 | 1-5/8" | 16 | 723.67 | Office 2 CL 106 / Office 3 SB 107 ¦ Office 106: 2 layer(s) 5/8" gyp board to 15.38' ¦ Office 107: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 24 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-05 - Office 3 SB 107 / Office 4 CB 108 ¦ Office 107: 2 layer(s) 5/8" gyp board to 15.38' ¦ Office 108: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 24 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-05 | 11.767 | 15.375 | 4 | 1-5/8" | 16 | 723.67 | Office 3 SB 107 / Office 4 CB 108 ¦ Office 107: 2 layer(s) 5/8" gyp board to 15.38' ¦ Office 108: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 24 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-06 - Office 4 CB 108 S / Cash Window 116 N (east part) ¦ Office 108: 2 layer(s) 5/8" gyp board to 15.38' ¦ Cash Window 116: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 18 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-06 | 7.093 | 15.375 | 4 | 1-5/8" | 16 | 436.22 | Office 4 CB 108 S / Cash Window 116 N (east part) ¦ Office 108: 2 layer(s) 5/8" gyp board to 15.38' ¦ Cash Window 116: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 18 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-07 - Office 1 ME 105 W stub (north of office front) ¦ Office 105: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 10 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-07 | 2.42 | 15.375 | 4 | 1-5/8" | 16 | 148.83 | Office 1 ME 105 W stub (north of office front) ¦ Office 105: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 10 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-08 - Office 105/106 W stub at office fronts ¦ Office 106: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-08 | 3.467 | 15.375 | 4 | 1-5/8" | 16 | 213.22 | Office 105/106 W stub at office fronts ¦ Office 106: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-09 - Office 106/107 W stub at office fronts ¦ Office 107: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-09 | 3.253 | 15.375 | 4 | 1-5/8" | 16 | 200.06 | Office 106/107 W stub at office fronts ¦ Office 107: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-10 - Office 107/108 W stub at office fronts ¦ Office 108: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-10 | 3.253 | 15.375 | 4 | 1-5/8" | 16 | 200.06 | Office 107/108 W stub at office fronts ¦ Office 108: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-11 - Office 108 SW stub ¦ Office 108: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 8 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-11 | 0.973 | 15.375 | 4 | 1-5/8" | 16 | 59.84 | Office 108 SW stub ¦ Office 108: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 8 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-12 - Office 109 NE stub at office front ¦ Office 109: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 10 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-12 | 1.34 | 15.375 | 4 | 1-5/8" | 16 | 82.41 | Office 109 NE stub at office front ¦ Office 109: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 10 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G #G-13 - Office 110 SE stub at office front ¦ Office 110: 2 layer(s) 5/8" gyp board to 15.38' ¦ Corridor 111: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G-13 | 2.907 | 15.375 | 4 | 1-5/8" | 16 | 178.78 | Office 110 SE stub at office front ¦ Office 110: 2 layer(s) 5/8" gyp board to 15.38' ¦ Corridor 111: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
TYPE G1
G1 #G1-01 - Office 1 ME 105 / Office 2 CL 106 ¦ Office 105: 2 layer(s) 5/8" gyp board to 15.38' ¦ Office 106: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 24 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G1-01 | 11.767 | 15.375 | 4 | 1-5/8" | 16 | 723.67 | Office 1 ME 105 / Office 2 CL 106 ¦ Office 105: 2 layer(s) 5/8" gyp board to 15.38' ¦ Office 106: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 24 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
G1 #G1-02 - Office 109/110 E stub at office fronts ¦ Office 109: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | G1-02 | 3.667 | 15.375 | 4 | 1-5/8" | 16 | 225.52 | Office 109/110 E stub at office fronts ¦ Office 109: 2 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 2 layer(s) 5/8" gyp board to 15.38' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 5/A12.01 ¦ A02.01 -> 5/A12.01 | [DERIVADO]
TYPE A1
A1 #A1-01 - Calling Cubes 122 N / Waiting 104 ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Waiting 104: 1 layer(s) 5/8" gyp board to 11.50' ¦ studs 16 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A1-01 | 16.274 | 15.375 | 2 | 3-5/8" | 16 | 333.62 | Calling Cubes 122 N / Waiting 104 ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Waiting 104: 1 layer(s) 5/8" gyp board to 11.50' ¦ studs 16 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
A1 #A1-02 - Calling Cubes 122 S / Break Room 118-Corridor ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 19 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors ['122'] | A1-02 | 15.62 | 13.052 | 2 | 3-5/8" | 16 | 239.16 | Calling Cubes 122 S / Break Room 118-Corridor ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 19 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors ['122'] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
A1 #A1-03 - MW01 wall, Calling Cubes 122 NW ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 6 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A1-03 | 3.127 | 15.375 | 2 | 3-5/8" | 16 | 65.67 | MW01 wall, Calling Cubes 122 NW ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 6 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
A1 #A1-04 - Break Room 118 N stub (door 118A) ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A1-04 | 1.707 | 13.052 | 2 | 3-5/8" | 16 | 35.85 | Break Room 118 N stub (door 118A) ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
A1 #A1-05 - Corridor 111 E / Electrical 120 W / NER 121 W ¦ Corridor 111: 1 layer(s) 5/8" gyp board to 9.00' ¦ Electrical 120 / NER 121: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 16 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A1-05 | 17.06 | 13.052 | 2 | 3-5/8" | 16 | 376.21 | Corridor 111 E / Electrical 120 W / NER 121 W ¦ Corridor 111: 1 layer(s) 5/8" gyp board to 9.00' ¦ Electrical 120 / NER 121: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 16 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
A1 #A1-06 - Electrical 120 / NER 121 E / Break Room 118 W ¦ Electrical 120 / NER 121: 1 layer(s) 5/8" gyp board to 13.05' ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 22 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors ['120', '121'] | A1-06 | 13.72 | 13.052 | 2 | 3-5/8" | 16 | 218.55 | Electrical 120 / NER 121 E / Break Room 118 W ¦ Electrical 120 / NER 121: 1 layer(s) 5/8" gyp board to 13.05' ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 22 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors ['120', '121'] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
A1 #A1-07 - Work Room 119 N / Break Room 118 ¦ Work Room 119: 1 layer(s) 5/8" gyp board to 9.00' ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 16 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors ['119'] | A1-07 | 11.667 | 13.052 | 2 | 3-5/8" | 16 | 168.01 | Work Room 119 N / Break Room 118 ¦ Work Room 119: 1 layer(s) 5/8" gyp board to 9.00' ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 16 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors ['119'] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
TYPE A5
A5 #A5-01a - Calling Cubes 122 E (north of grid B) ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 15 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A5-01a | 15.5 | 15.375 | 2 | 6" | 16 | 325.5 | Calling Cubes 122 E (north of grid B) ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 15 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
A5 #A5-01b - Calling Cubes 122 E (south of grid B) ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 8 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A5-01b | 6.05 | 13.052 | 2 | 6" | 16 | 127.05 | Calling Cubes 122 E (south of grid B) ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 8 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
A5 #A5-02 - Calling Cubes 122 W / Corridor-Central Zone ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 11 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A5-02 | 10.593 | 15.375 | 2 | 6" | 16 | 222.45 | Calling Cubes 122 W / Corridor-Central Zone ¦ Calling Cubes 122: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 11 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
A5 #A5-04 - Stub at door 111, Corridor 111 N end / Central Zone ¦ Corridor 111: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A5-04 | 1.373 | 15.375 | 2 | 6" | 16 | 28.83 | Stub at door 111, Corridor 111 N end / Central Zone ¦ Corridor 111: 1 layer(s) 5/8" gyp board to 9.00' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
A5 #A5-03 - Door 118A E jamb wall / Future FCAM ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 9.00' ¦ Cash Window 116: 1 layer(s) 5/8" gyp board to 9.50' ¦ studs 6 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A5-03 | 3.713 | 13.052 | 2 | 6" | 16 | 68.69 | Door 118A E jamb wall / Future FCAM ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 9.00' ¦ Cash Window 116: 1 layer(s) 5/8" gyp board to 9.50' ¦ studs 6 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 3/A12.01 ¦ A02.01 -> 3/A12.01 -> S5.20 | [DERIVADO]
TYPE B
B #B-01 - Electrical 120 N / Break Room 118 ¦ Electrical 120: 1 layer(s) 5/8" gyp board to 13.05' ¦ Corridor 111: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 11 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | B-01 | 9.987 | 13.052 | 2 | 3-5/8" | 16 | 260.7 | Electrical 120 N / Break Room 118 ¦ Electrical 120: 1 layer(s) 5/8" gyp board to 13.05' ¦ Corridor 111: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 11 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 1/A12.01 ¦ A02.01 -> 1/A12.01 -> S5.20 | [DERIVADO]
B #B-02 - Electrical 120 / NER 121 ¦ Electrical 120: 1 layer(s) 5/8" gyp board to 13.05' ¦ NER 121: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 11 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | B-02 | 9.58 | 13.052 | 2 | 3-5/8" | 16 | 250.08 | Electrical 120 / NER 121 ¦ Electrical 120: 1 layer(s) 5/8" gyp board to 13.05' ¦ NER 121: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 11 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 1/A12.01 ¦ A02.01 -> 1/A12.01 -> S5.20 | [DERIVADO]
B #B-03 - Men's Restroom 113 S / Janitor Closet 112 ¦ Men's 113: 1 layer(s) 5/8" gyp board to 13.05' ¦ Janitor 112: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 16 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors ['112'] | B-03 | 11.733 | 13.052 | 2 | 3-5/8" | 16 | 264.28 | Men's Restroom 113 S / Janitor Closet 112 ¦ Men's 113: 1 layer(s) 5/8" gyp board to 13.05' ¦ Janitor 112: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 16 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors ['112'] | 1/A12.01 ¦ A02.01 -> 1/A12.01 -> S5.20 | [DERIVADO]
B #B-04 - Janitor Closet 112 / Wellness 115 ¦ Janitor 112: 1 layer(s) 5/8" gyp board to 13.05' ¦ Wellness 115: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | B-04 | 11.733 | 13.052 | 2 | 3-5/8" | 16 | 306.28 | Janitor Closet 112 / Wellness 115 ¦ Janitor 112: 1 layer(s) 5/8" gyp board to 13.05' ¦ Wellness 115: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 1/A12.01 ¦ A02.01 -> 1/A12.01 -> S5.20 | [DERIVADO]
B #B-05 - Storage 117 W / Janitor 112 ¦ Storage 117: 1 layer(s) 5/8" gyp board to 13.05' ¦ Janitor 112: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 6 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | B-05 | 3.5 | 13.052 | 2 | 3-5/8" | 16 | 91.36 | Storage 117 W / Janitor 112 ¦ Storage 117: 1 layer(s) 5/8" gyp board to 13.05' ¦ Janitor 112: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 6 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 1/A12.01 ¦ A02.01 -> 1/A12.01 -> S5.20 | [DERIVADO]
B #B-06 - Janitor 112 / MW06A partition ¦ Janitor 112: 1 layer(s) 5/8" gyp board to 13.05' ¦ Janitor 112: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 6 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | B-06 | 3.5 | 13.052 | 2 | 3-5/8" | 16 | 91.36 | Janitor 112 / MW06A partition ¦ Janitor 112: 1 layer(s) 5/8" gyp board to 13.05' ¦ Janitor 112: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 6 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 1/A12.01 ¦ A02.01 -> 1/A12.01 -> S5.20 | [DERIVADO]
TYPE B2
B2 #B2-01 - Restrooms 113-114, Storage 117, Wellness 115 E / Corridor 111 W ¦ Restrooms/Storage/Wellness: 1 layer(s) 5/8" gyp board to 13.05' ¦ Corridor 111: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 39 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors ['114', '113', '117', '115'] | B2-01 | 25.347 | 13.052 | 2 | 6" | 16 | 493.66 | Restrooms 113-114, Storage 117, Wellness 115 E / Corridor 111 W ¦ Restrooms/Storage/Wellness: 1 layer(s) 5/8" gyp board to 13.05' ¦ Corridor 111: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 39 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors ['114', '113', '117', '115'] | 1/A12.01 ¦ A02.01 -> 1/A12.01 -> S5.20 | [DERIVADO]
B2 #B2-02 - ATM Room 102 E stub (door 102) ¦ ATM Room 102: 1 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 15.38' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | B2-02 | 1.653 | 15.375 | 2 | 6" | 16 | 50.83 | ATM Room 102 E stub (door 102) ¦ ATM Room 102: 1 layer(s) 5/8" gyp board to 15.38' ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 15.38' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 1/A12.01 ¦ A02.01 -> 1/A12.01 -> S5.20 | [DERIVADO]
B2 #B2-03 - Work Room 119 W / Break Room 118 E ¦ Work Room 119: 1 layer(s) 5/8" gyp board to 13.05' ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | B2-03 | 11.74 | 13.052 | 2 | 6" | 16 | 306.46 | Work Room 119 W / Break Room 118 E ¦ Work Room 119: 1 layer(s) 5/8" gyp board to 13.05' ¦ Break Room 118: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 1/A12.01 ¦ A02.01 -> 1/A12.01 -> S5.20 | [DERIVADO]
TYPE A1K
A1K #A1K-01 - Cash Window 116 N end (teller line) ¦ Teller side: 1 layer(s) 5/8" gyp board to 15.38' ¦ Customer side: 1 layer(s) 5/8" gyp board to 15.38' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A1K-01 | 3.4 | 15.375 | 2 | 3-5/8" | 24 | 104.55 | Cash Window 116 N end (teller line) ¦ Teller side: 1 layer(s) 5/8" gyp board to 15.38' ¦ Customer side: 1 layer(s) 5/8" gyp board to 15.38' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 4/A12.01 ¦ A02.01 -> 4/A12.01 | [DERIVADO]
A1K #A1K-02 - Cash Window 116 S end (teller line) ¦ Teller side: 1 layer(s) 5/8" gyp board to 13.05' ¦ Customer side: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A1K-02 | 3.4 | 13.052 | 2 | 3-5/8" | 24 | 88.75 | Cash Window 116 S end (teller line) ¦ Teller side: 1 layer(s) 5/8" gyp board to 13.05' ¦ Customer side: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 4/A12.01 ¦ A02.01 -> 4/A12.01 | [DERIVADO]
A1K #A1K-03 - Cash Window 116 SW jog ¦ Teller side: 1 layer(s) 5/8" gyp board to 13.05' ¦ Customer side: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | A1K-03 | 2.17 | 13.052 | 2 | 3-5/8" | 24 | 56.65 | Cash Window 116 SW jog ¦ Teller side: 1 layer(s) 5/8" gyp board to 13.05' ¦ Customer side: 1 layer(s) 5/8" gyp board to 13.05' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 4/A12.01 ¦ A02.01 -> 4/A12.01 | [DERIVADO]
TYPE B2K
B2K #B2K-01 - Cash Window 116 NW jog / Office 108 ¦ Teller side: 1 layer(s) 5/8" gyp board to 15.38' ¦ Office 108: 1 layer(s) 5/8" gyp board to 15.38' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | B2K-01 | 2.17 | 15.375 | 2 | 6" | 24 | 66.73 | Cash Window 116 NW jog / Office 108 ¦ Teller side: 1 layer(s) 5/8" gyp board to 15.38' ¦ Office 108: 1 layer(s) 5/8" gyp board to 15.38' ¦ studs 5 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 4/A12.01 ¦ A02.01 -> 4/A12.01 | [DERIVADO]
TYPE F
F #F-01 - ATM wall (60 deg), 24 HR Vestibule 101 / ATM Room 102 ¦ 24 HR Vestibule 101 (public): 1 layer(s) 5/8" gyp board to 10.50' ¦ ATM Room 102: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 17 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | F-01 | 17.46 | 15.375 | 2 | 3-5/8" | 16 | 340.47 | ATM wall (60 deg), 24 HR Vestibule 101 / ATM Room 102 ¦ 24 HR Vestibule 101 (public): 1 layer(s) 5/8" gyp board to 10.50' ¦ ATM Room 102: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 17 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 12/A12.01 ¦ A02.01 -> 12/A12.01 -> 1/A08.11 | [DERIVADO]
TYPE C1
C1 #C1-01 - Plumbing chase face, Women's 114 ¦ Women's 114: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 11 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | C1-01 | 10.133 | 13.052 | 1 | 3-5/8" | 16 | 91.2 | Plumbing chase face, Women's 114 ¦ Women's 114: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 11 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 6/A12.01 ¦ A02.01 -> 6/A12.01 -> F/A08.01 | [DERIVADO]
C1 #C1-02 - Plumbing chase face, Men's 113 ¦ Men's 113: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 11 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | C1-02 | 10.133 | 13.052 | 1 | 3-5/8" | 16 | 91.2 | Plumbing chase face, Men's 113 ¦ Men's 113: 1 layer(s) 5/8" gyp board to 9.00' ¦ studs 11 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 6/A12.01 ¦ A02.01 -> 6/A12.01 -> F/A08.01 | [DERIVADO]
C1 #C1-03 - Future FCAM furring, Cash Window 116 S ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 6 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | C1-03 | 3 | 13.052 | 1 | 3-5/8" | 16 | 36 | Future FCAM furring, Cash Window 116 S ¦ Central Zone 103: 1 layer(s) 5/8" gyp board to 12.00' ¦ studs 6 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 6/A12.01 ¦ A02.01 -> 6/A12.01 -> F/A08.01 | [DERIVADO]
C1 #C1-04 - 85" display monitor furring (key note 7), Waiting 104 ¦ Waiting 104: 1 layer(s) 5/8" gyp board to 11.50' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | C1-04 | 11.333 | 15.375 | 1 | 3-5/8" | 16 | 130.33 | 85" display monitor furring (key note 7), Waiting 104 ¦ Waiting 104: 1 layer(s) 5/8" gyp board to 11.50' ¦ studs 12 (ROUNDUP(L/OC)+1 +2 ends +4/door) ¦ doors [] | 6/A12.01 ¦ A02.01 -> 6/A12.01 -> F/A08.01 | [DERIVADO]
TYPE EXT 6" CFMF
EXT 6" CFMF #EXT-N1 - North wall, Office 105 (grid 7-8) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 2.042' ¦ openings [] | EXT-N1 | 11.873 | 17.417 | 1 | 6" | 16 | 182.55 | North wall, Office 105 (grid 7-8) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 2.042' ¦ openings [] | C/A09.21 ¦ A02.01 -> C/A09.21 -> 4/A09.26 (parapet) | [DERIVADO]
EXT 6" CFMF #EXT-N2 - North wall over storefront, Central Zone 103 (grid 4-7) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 2.042' ¦ openings [(26.247, 8.5, 0, 'storefront GL-2')] | EXT-N2 | 26.247 | 17.417 | 1 | 6" | 16 | 180.45 | North wall over storefront, Central Zone 103 (grid 4-7) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 2.042' ¦ openings [(26.247, 8.5, 0, 'storefront GL-2')] | B/A09.21 ¦ A02.01 -> B/A09.21; 2/A09.26 | [DERIVADO]
EXT 6" CFMF #EXT-N3 - North tower, Vestibule 100 front (grid 2-4, T.O. PARAPET 2) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 19.667' ¦ parapet roof side: 5/8" exterior gyp sheathing 4.292' ¦ openings [(12.56, 8.5, 0, 'entrance storefront')] | EXT-N3 | 17.683 | 19.667 | 1 | 6" | 16 | 165.12 | North tower, Vestibule 100 front (grid 2-4, T.O. PARAPET 2) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 19.667' ¦ parapet roof side: 5/8" exterior gyp sheathing 4.292' ¦ openings [(12.56, 8.5, 0, 'entrance storefront')] | A/A09.21 ¦ A02.01 -> A/A09.21; 1,2/A09.25 | [DERIVADO]
EXT 6" CFMF #EXT-E-N - East wall grid F to B (high roof) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 2.042' ¦ openings [(8, 2, 6.5, 'GL-2'), (8, 2, 6.5, 'GL-2'), (8, 2, 6.5, 'GL-2'), (8, 2, 6.5, 'GL-2')] | EXT-E-N | 50.5 | 17.417 | 1 | 6" | 16 | 712.44 | East wall grid F to B (high roof) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 2.042' ¦ openings [(8, 2, 6.5, 'GL-2'), (8, 2, 6.5, 'GL-2'), (8, 2, 6.5, 'GL-2'), (8, 2, 6.5, 'GL-2')] | D,E/A09.22 ¦ A02.01 -> D,E/A09.22; 3/A09.25 | [DERIVADO]
EXT 6" CFMF #EXT-E-S - East wall grid B to A (low roof, sloped deck) ¦ interior face: 1 layer 5/8" gyp board to deck 12.791' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 4.626' ¦ openings [] | EXT-E-S | 24.853 | 17.417 | 1 | 6" | 16 | 317.91 | East wall grid B to A (low roof, sloped deck) ¦ interior face: 1 layer 5/8" gyp board to deck 12.791' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 4.626' ¦ openings [] | E/A09.22 ¦ A02.01 -> E/A09.22; S2.20 -> 4/A09.26 (parapet) | [DERIVADO]
EXT 6" CFMF #EXT-S - South wall grid 3 to 8 (low roof) ¦ interior face: 1 layer 5/8" gyp board to deck 12.531' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 4.886' ¦ openings [(3.333, 8.0, 0, 'door 123')] | EXT-S | 51.733 | 17.417 | 1 | 6" | 16 | 621.6 | South wall grid 3 to 8 (low roof) ¦ interior face: 1 layer 5/8" gyp board to deck 12.531' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 4.886' ¦ openings [(3.333, 8.0, 0, 'door 123')] | F/A09.22 ¦ A02.01 -> F/A09.22; 4/A09.25 | [DERIVADO]
EXT 6" CFMF #EXT-W1 - West tower wall grid G to D (T.O. PARAPET 2) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 19.667' ¦ parapet roof side: 5/8" exterior gyp sheathing 4.292' ¦ openings [(6.5, 8.5, 0, 'vestibule storefront')] | EXT-W1 | 29.756 | 19.667 | 1 | 6" | 16 | 402.25 | West tower wall grid G to D (T.O. PARAPET 2) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 19.667' ¦ parapet roof side: 5/8" exterior gyp sheathing 4.292' ¦ openings [(6.5, 8.5, 0, 'vestibule storefront')] | J/A09.23 ¦ A02.01 -> J/A09.23; 5,6/A08.11 | [DERIVADO]
EXT 6" CFMF #EXT-W2-N - West wall grid D to B (high roof) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 2.042' ¦ openings [(8, 2, 6.5, 'GL-2'), (8, 2, 6.5, 'GL-2')] | EXT-W2-N | 22.556 | 17.417 | 1 | 6" | 16 | 314.8 | West wall grid D to B (high roof) ¦ interior face: 1 layer 5/8" gyp board to deck 15.375' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 2.042' ¦ openings [(8, 2, 6.5, 'GL-2'), (8, 2, 6.5, 'GL-2')] | H/A09.23 ¦ A02.01 -> H/A09.23 -> 4/A09.26 (parapet) | [DERIVADO]
EXT 6" CFMF #EXT-W2-S - West wall grid B to A (low roof, sloped deck) ¦ interior face: 1 layer 5/8" gyp board to deck 12.791' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 4.626' ¦ openings [] | EXT-W2-S | 24.853 | 17.417 | 1 | 6" | 16 | 317.91 | West wall grid B to A (low roof, sloped deck) ¦ interior face: 1 layer 5/8" gyp board to deck 12.791' ¦ exterior face: 5/8" FRT plywood/polyiso to T/STUD 17.417' ¦ parapet roof side: 5/8" exterior gyp sheathing 4.626' ¦ openings [] | H/A09.23 ¦ A02.01 -> H/A09.23; S2.20 -> 4/A09.26 (parapet) | [DERIVADO]
TYPE PARAPET INFILL
PARAPET INFILL #PAR-TWR-E - Tower parapet above roof, grid 4 line G-D ¦ 6 bays x 5 studs (1 each side of HSS post + @16" in bay); exterior gyp sheathing both faces 4.292' | PAR-TWR-E | 29.93 | 4.292 | 2 | 6" | 16 | 256.92 | Tower parapet above roof, grid 4 line G-D ¦ 6 bays x 5 studs (1 each side of HSS post + @16" in bay); exterior gyp sheathing both faces 4.292' | 11/S5.10 ¦ A02.02 -> J/A09.23 -> 11/S5.10 | [DERIVADO]
PARAPET INFILL #PAR-TWR-S - Tower parapet above roof, grid D line 2-4 ¦ 4 bays x 5 studs (1 each side of HSS post + @16" in bay); exterior gyp sheathing both faces 4.292' | PAR-TWR-S | 17.68 | 4.292 | 2 | 6" | 16 | 151.77 | Tower parapet above roof, grid D line 2-4 ¦ 4 bays x 5 studs (1 each side of HSS post + @16" in bay); exterior gyp sheathing both faces 4.292' | 11/S5.10 ¦ A02.02 -> J/A09.23 -> 11/S5.10 | [DERIVADO]
TYPE BULKHEAD
BULKHEAD #BH-01 - Office front bulkhead, Office 105 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | BH-01 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 227.64 | Office front bulkhead, Office 105 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | 8/A12.01 ¦ A02.01 -> 7'-6" HOLD CLEAR FINISHED OPENING -> 8/A12.01 + 9/A12.01 -> 10/A12.01 | [DERIVADO]
BULKHEAD #BH-02 - Office front bulkhead, Office 106 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | BH-02 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 227.64 | Office front bulkhead, Office 106 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | 8/A12.01 ¦ A02.01 -> 7'-6" HOLD CLEAR FINISHED OPENING -> 8/A12.01 + 9/A12.01 -> 10/A12.01 | [DERIVADO]
BULKHEAD #BH-03 - Office front bulkhead, Office 107 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | BH-03 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 227.64 | Office front bulkhead, Office 107 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | 8/A12.01 ¦ A02.01 -> 7'-6" HOLD CLEAR FINISHED OPENING -> 8/A12.01 + 9/A12.01 -> 10/A12.01 | [DERIVADO]
BULKHEAD #BH-04 - Office front bulkhead, Office 108 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | BH-04 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 227.64 | Office front bulkhead, Office 108 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | 8/A12.01 ¦ A02.01 -> 7'-6" HOLD CLEAR FINISHED OPENING -> 8/A12.01 + 9/A12.01 -> 10/A12.01 | [DERIVADO]
BULKHEAD #BH-05 - Office front bulkhead, Office 109 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | BH-05 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 227.64 | Office front bulkhead, Office 109 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | 8/A12.01 ¦ A02.01 -> 7'-6" HOLD CLEAR FINISHED OPENING -> 8/A12.01 + 9/A12.01 -> 10/A12.01 | [DERIVADO]
BULKHEAD #BH-06 - Office front bulkhead, Office 110 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | BH-06 | 7.5 | 7.333 | 4 | 1-5/8" | 16 | 227.64 | Office front bulkhead, Office 110 (DFC-1A) ¦ office side 2 layers to deck + central zone side 2 layers to deck, band 7.333' = 15.375 - 8.042 (2/A11.01 8'-0 1/2" HOLD) | 8/A12.01 ¦ A02.01 -> 7'-6" HOLD CLEAR FINISHED OPENING -> 8/A12.01 + 9/A12.01 -> 10/A12.01 | [DERIVADO]
BULKHEAD #VB-1 - Vestibule 100 / 24 HR Vestibule 101 glass (GL-4) ¦ band 10'-0" (GB ceiling A04.01) to deck 15.375; board central zone face 0.0' + head soffit 0.5' | VB-1 | 15.633 | 5.375 | 1 | 3-5/8" | 16 | 7.82 | Vestibule 100 / 24 HR Vestibule 101 glass (GL-4) ¦ band 10'-0" (GB ceiling A04.01) to deck 15.375; board central zone face 0.0' + head soffit 0.5' | 5/A12.10 ¦ A02.01 -> 1/A12.10 -> 4,5,6,7/A12.10 | [DERIVADO]
BULKHEAD #VB-2 - 24 HR Vestibule 101 / Central Zone 103 (13'-4" R.O.) ¦ band 10'-0" (GB ceiling A04.01) to deck 15.375; board central zone face 2.0' + head soffit 0.5' | VB-2 | 13.333 | 5.375 | 1 | 3-5/8" | 16 | 33.33 | 24 HR Vestibule 101 / Central Zone 103 (13'-4" R.O.) ¦ band 10'-0" (GB ceiling A04.01) to deck 15.375; board central zone face 2.0' + head soffit 0.5' | 5/A12.10 ¦ A02.01 -> 1/A12.10 -> 4,5,6,7/A12.10 | [DERIVADO]
BULKHEAD #VB-3 - Vestibule 100 / Central Zone 103 (door 100A) ¦ band 10'-0" (GB ceiling A04.01) to deck 15.375; board central zone face 2.0' + head soffit 0.5' | VB-3 | 6.278 | 5.375 | 1 | 3-5/8" | 16 | 15.69 | Vestibule 100 / Central Zone 103 (door 100A) ¦ band 10'-0" (GB ceiling A04.01) to deck 15.375; board central zone face 2.0' + head soffit 0.5' | 5/A12.10 ¦ A02.01 -> 1/A12.10 -> 4,5,6,7/A12.10 | [DERIVADO]
TYPE PIER/COLUMN
PIER/COLUMN #PC-01 - Storefront piers NW/NE vestibule (2) + interior columns (2) at vestibule ¦ perimeters estimated from details; RFI-09 | PC-01 | 13.42 | 10.5 | 1 | 3-5/8" | 16 | 140.91 | Storefront piers NW/NE vestibule (2) + interior columns (2) at vestibule ¦ perimeters estimated from details; RFI-09 | 2/A09.25 ¦ A02.01 -> 1,2/A09.25 -> 8/A12.10 | [DERIVADO]
TYPE CEILING GWB
CEILING GWB #CLG-01 - Vestibule 100 GB 10'-0" ¦ area 112.9 SF, hanger drop 5.375' ; perimeter track 45.7 LF | CLG-01 | 0 | 0 | 1 | n/a | 0 | 112.9 | Vestibule 100 GB 10'-0" ¦ area 112.9 SF, hanger drop 5.375' ; perimeter track 45.7 LF | A04.01 ¦ A04.01 -> 7,8/A09.33 | [DERIVADO]
CEILING GWB #CLG-02 - 24 HR Vestibule 101 GB 10'-0" ¦ area 158.0 SF, hanger drop 5.375' ; perimeter track 53.3 LF | CLG-02 | 0 | 0 | 1 | n/a | 0 | 158 | 24 HR Vestibule 101 GB 10'-0" ¦ area 158.0 SF, hanger drop 5.375' ; perimeter track 53.3 LF | A04.01 ¦ A04.01 -> 7,8/A09.33 | [DERIVADO]
CEILING GWB #CLG-03 - Waiting 104 GB 11'-0" (cloud) ¦ area 510.8 SF, hanger drop 4.375' ; perimeter track 0 LF | CLG-03 | 0 | 0 | 1 | n/a | 0 | 510.8 | Waiting 104 GB 11'-0" (cloud) ¦ area 510.8 SF, hanger drop 4.375' ; perimeter track 0 LF | A04.01 ¦ A04.01 -> 7,8/A09.33 | [DERIVADO]
CEILING GWB #CLG-04 - Restrooms 113/114 GB 8'-6" ¦ area 153.2 SF, hanger drop 4.552' ; perimeter track 72.9 LF | CLG-04 | 0 | 0 | 1 | n/a | 0 | 153.2 | Restrooms 113/114 GB 8'-6" ¦ area 153.2 SF, hanger drop 4.552' ; perimeter track 72.9 LF | A04.01 ¦ A04.01 -> 7,8/A09.33 | [DERIVADO]
CEILING GWB #CLG-05 - Cash Window 116 GB 8'-0" strip ¦ area 41.0 SF, hanger drop 5.052' ; perimeter track 30.9 LF | CLG-05 | 0 | 0 | 1 | n/a | 0 | 41 | Cash Window 116 GB 8'-0" strip ¦ area 41.0 SF, hanger drop 5.052' ; perimeter track 30.9 LF | A04.01 ¦ A04.01 -> 7,8/A09.33 | [DERIVADO]
TYPE SOFFIT EXT
SOFFIT EXT #SOF-N - North canopy (grid 4-8) ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | SOF-N | 0 | 0 | 1 | 3-5/8" | 16 | 159.66 | North canopy (grid 4-8) ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | 3/A09.26 ¦ A04.01 -> 3/A09.26 -> 7/A09.26 -> 4,5/A09.33 | [DERIVADO]
SOFFIT EXT #SOF-NT - North canopy at tower (grid 2-4) ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | SOF-NT | 0 | 0 | 1 | 3-5/8" | 16 | 53.05 | North canopy at tower (grid 2-4) ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | 3/A09.26 ¦ A04.01 -> 3/A09.26 -> 7/A09.26 -> 4,5/A09.33 | [DERIVADO]
SOFFIT EXT #SOF-E - East canopy ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | SOF-E | 0 | 0 | 1 | 3-5/8" | 16 | 127.12 | East canopy ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | 3/A09.26 ¦ A04.01 -> 3/A09.26 -> 7/A09.26 -> 4,5/A09.33 | [DERIVADO]
SOFFIT EXT #SOF-WT - West canopy, tower zone (G-D) ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | SOF-WT | 0 | 0 | 1 | 3-5/8" | 16 | 563.43 | West canopy, tower zone (G-D) ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | 3/A09.26 ¦ A04.01 -> 3/A09.26 -> 7/A09.26 -> 4,5/A09.33 | [DERIVADO]
SOFFIT EXT #SOF-WL - West canopy, D-B ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | SOF-WL | 0 | 0 | 1 | 3-5/8" | 16 | 472.89 | West canopy, D-B ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | 3/A09.26 ¦ A04.01 -> 3/A09.26 -> 7/A09.26 -> 4,5/A09.33 | [DERIVADO]
SOFFIT EXT #SOF-S - South canopy (grid 3-5) ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | SOF-S | 0 | 0 | 1 | 3-5/8" | 16 | 54.77 | South canopy (grid 3-5) ¦ 5/8" ext grade FRT plywood on 3-5/8" CFMF @16" O.C.; PT-4 by others; area from RCP vector lines | 3/A09.26 ¦ A04.01 -> 3/A09.26 -> 7/A09.26 -> 4,5/A09.33 | [DERIVADO]
TYPE FASCIA EXT
FASCIA EXT #FAS-01 - Canopy fascia perimeter (N, E, W, S canopies + returns) ¦ height 12'-7" - 10'-8 5/8" = 1.865' | FAS-01 | 240.76 | 1.864 | 1 | 3-5/8" | 16 | 448.78 | Canopy fascia perimeter (N, E, W, S canopies + returns) ¦ height 12'-7" - 10'-8 5/8" = 1.865' | 7/A09.26 ¦ A04.01 -> 7/A09.26 -> 3/A09.26 -> 7/S5.20 | [DERIVADO]
TYPE COLUMN WRAP
COLUMN WRAP #CW-01..04 - Canopy columns grid 1 (4 ea) ¦ FOS 1'-2 1/2" sq; 1 stud per corner; height to B/CANOPY 10'-6" A09.01 | CW-01..04 | 19.32 | 10.5 | 1 | 3-5/8" | 16 | 255.36 | Canopy columns grid 1 (4 ea) ¦ FOS 1'-2 1/2" sq; 1 stud per corner; height to B/CANOPY 10'-6" A09.01 | 5/A09.25 ¦ A02.01 -> 5/A09.25 | [DERIVADO]
TYPE ROOF STEP
ROOF STEP #RS-01 - Roof step at grid B, grid 3-8 (key note 13 A02.02) ¦ height 15.375-13.05+1 tapered insulation (approx); from completeness critic, re-checked text A02.02 | RS-01 | 51.7 | 3.3 | 1 | 3-5/8" | 16 | 230 | Roof step at grid B, grid 3-8 (key note 13 A02.02) ¦ height 15.375-13.05+1 tapered insulation (approx); from completeness critic, re-checked text A02.02 | 4/A02.02 ¦ A02.02 -> 4/A02.02 | [DERIVADO]
TOTAL - PARTITIONS |  | 1084.705 |  |  |  |  | 20206.84

## Material Summary
MATERIAL SUMMARY - NET / WASTE / PURCHASE
Waste lives HERE, in its own column, never inside the net quantity.
Material | Unit | Net | Waste % | Waste | Purchase | Selling unit | Pieces to buy | Where it comes from
1-5/8" bottom track 162T125-33 | LF | 296.44 | 0.15 | 44.466 | 340.906 | stick 10 ft | 35 | 5/A12.01; 8,9/A12.01
1-5/8" metal stud 162S125-33 (double row w/ isolator) | LF | 4582.72 | 0.15 | 687.408 | 5270.128 | stick 20 ft | 264 | 5/A12.01; 8/A12.01; 9/A12.01
1-5/8" top slip / deflection track 162T200-33 (office bulkheads) | LF | 90 | 0.15 | 13.5 | 103.5 | stick 10 ft | 11 | 8,9/A12.01 CONT. SLIP TRACK
1-5/8" top track 162T125-33 (secure to structure) | LF | 206.44 | 0.15 | 30.966 | 237.406 | stick 10 ft | 24 | 5/A12.01; -
2-1/2" bottom track 250T125-33 (coiling grille drop) | LF | 13.5 | 0.15 | 2.025 | 15.525 | stick 10 ft | 2 | 4/A08.21
2-1/2" metal stud 250S137-33 (coiling grille head drop / ATM sister) | LF | 47 | 0.15 | 7.05 | 54.05 | stick 20 ft | 3 | 4/A08.21; 8/A08.11
2-1/2" top track 250T125-33 (coiling grille drop) | LF | 13.5 | 0.15 | 2.025 | 15.525 | stick 10 ft | 2 | 4/A08.21
3-5/8" bottom track 362T125-33 | LF | 296.5 | 0.15 | 44.475 | 340.975 | stick 10 ft | 35 | 3/A12.01; 1/A12.01; 4/A12.01; 12/A12.01; 6/A12.01; 4-7/A12.10; 5/A09.25; 4/A02.02
3-5/8" metal stud 14 GA 362S137-68 @ 24" O.C. (A1K ballistic) | LF | 207.39 | 0.15 | 31.1085 | 238.4985 | stick 20 ft | 12 | 4/A12.01
3-5/8" metal stud 362S137-33 canopy column wraps | LF | 168 | 0.15 | 25.2 | 193.2 | stick 20 ft | 10 | 5/A09.25 STUCCO ON 5/8" EXT FRT PLYWOOD ON 3-5/8" METAL FRAMING
3-5/8" metal stud 362S137-33 canopy fascia framing @ 16" O.C. | LF | 339.25 | 0.15 | 50.8875 | 390.1375 | stick 20 ft | 20 | 7/A09.26 T/STUD 12'-7" B/STUD 10'-8 5/8"; 7/S5.20
3-5/8" metal stud 362S137-33 canopy soffit framing @ 16" O.C. | LF | 1073.19 | 0.15 | 160.9785 | 1234.1685 | stick 20 ft | 62 | 4,5/A09.33 5/8" EXTERIOR SHEATHING ON 3 5/8" CFMF @ 16" O.C.
3-5/8" metal stud 362S137-33 interior | LF | 3881.62 | 0.15 | 582.243 | 4463.863 | stick 20 ft | 224 | 3/A12.01; S5.20; 1/A12.01; S5.20; 12/A12.01; S5.20; 6/A12.01; S5.20; 4-7/A12.10 METAL STUD FRAMING & BOX HEADER AS NEEDED; 1,2/A09.25 storefront piers; 8/A12.10 column termination; 7/A09.33 3 5/8" METAL STUD KICKER AT 48" O.C.; 4/A02.02 SECTION DETAIL @ ROOF STEP; 10/A09.33 STL STUD to CONT. TRACK at deck
3-5/8" top slip / deflection track 362T200-33 | LF | 138.18 | 0.15 | 20.727 | 158.907 | stick 10 ft | 16 | 3/A12.01; 1/A12.01; 4/A12.01
3-5/8" top track 362T125-33 (secure to structure) | LF | 158.32 | 0.15 | 23.748 | 182.068 | stick 10 ft | 19 | 12/A12.01; 6/A12.01; 4-7/A12.10; 5/A09.25; 4/A02.02
6" bottom track 600T125-33 | LF | 78.14 | 0.15 | 11.721 | 89.861 | stick 10 ft | 9 | 3/A12.01; 1/A12.01; 4/A12.01
6" bottom track 600T125-33 exterior | LF | 260.05 | 0.15 | 39.0075 | 299.0575 | stick 10 ft | 30 | S5.20
6" metal stud 14 GA 600S137-68 @ 24" O.C. (B2K ballistic) | LF | 76.88 | 0.15 | 11.532 | 88.412 | stick 20 ft | 5 | 4/A12.01
6" metal stud 600S137-33 interior | LF | 1401.88 | 0.15 | 210.282 | 1612.162 | stick 20 ft | 81 | 3/A12.01; S5.20; 1/A12.01; S5.20
6" metal stud 600S162-54 exterior CFMF @ 16" O.C. | LF | 4423.42 | 0.15 | 663.513 | 5086.933 | stick 20 ft | 255 | C/A09.21; S1.11 LIGHT GAUGE NOTE 5 ALL OTHER EXTERIOR STUDS 600S162-54 @ 16" O.C.; B/A09.21; 2/A09.26; S1.11 LIGHT GAUGE NOTE 5 ALL OTHER EXTERIOR STUDS 600S162-54 @ 16" O.C.; A/A09.21; 1,2/A09.25; S1.11 LIGHT GAUGE NOTE 5 ALL OTHER EXTERIOR STUDS 600S162-54 @ 16" O.C.; D,E/A09.22; 3/A09.25; S1.11 LIGHT GAUGE NOTE 5 ALL OTHER EXTERIOR STUDS 600S162-54 @ 16" O.C.; E/A09.22; S2.20; S1.11 LIGHT GAUGE
6" metal stud 600S162-54 exterior CFMF extra at corners (@12" within 6 ft) | LF | 557.34 | 0.15 | 83.601 | 640.941 | stick 20 ft | 33 | S1.11 note 5 STUDS WITHIN 6 FT OF BUILDING CORNERS 600S162-54 @ 12" O.C. (8 corners x 4 studs)
6" parapet infill bottom track 600T125-54 | LF | 47.61 | 0.15 | 7.1415 | 54.7515 | stick 10 ft | 6 | 11/S5.10 TOP & BOT (54.2)
6" parapet infill stud 600S162-54 | LF | 214.6 | 0.15 | 32.19 | 246.79 | stick 20 ft | 13 | 11/S5.10 bay by bay (55.3)
6" parapet infill top track 600T125-54 | LF | 47.61 | 0.15 | 7.1415 | 54.7515 | stick 10 ft | 6 | 11/S5.10 TOP & BOT (54.2)
6" top deflection track 600T200-97 exterior | LF | 260.05 | 0.15 | 39.0075 | 299.0575 | stick 10 ft | 30 | S5.20
6" top slip / deflection track 600T200-33 | LF | 78.14 | 0.15 | 11.721 | 89.861 | stick 10 ft | 9 | 3/A12.01; 1/A12.01; 4/A12.01
bracing 1-1/2" C.R. channel 54 mil | LF | 2464.67 | 0.15 | 369.7005 | 2834.3705 | stick 10 ft | 284 | F/S5.20; 53.4
canopy soffit / fascia bottom track 362T125-33 | LF | 240.76 | 0.15 | 36.114 | 276.874 | stick 10 ft | 28 | 7/A09.26
canopy soffit / fascia top track 362T125-33 | LF | 240.76 | 0.15 | 36.114 | 276.874 | stick 10 ft | 28 | 7/A09.26
carrying channel 1-1/2" @ 48" O.C. (GWB ceilings) | LF | 243.98 | 0.15 | 36.597 | 280.577 | stick 10 ft | 29 | A04.01; ASTM C754 criterio (RFI-05)
casing bead J/L (office front jambs, window & storefront returns, A1K) | LF | 384.3 | 0.15 | 57.645 | 441.945 | stick 10 ft | 45 | 53.1; 3/A09.25; 2/A09.26; 4/A12.01 APPROPRIATE METAL TRIM AND CASING BEADS
ceiling / soffit track 362T125-33 (canopy soffit at wall) | LF | 186.5 | 0.15 | 27.975 | 214.475 | stick 10 ft | 22 | 3/A09.26
ceiling track 362T125-33 (GWB ceilings perimeter) | LF | 296.9 | 0.15 | 44.535 | 341.435 | stick 10 ft | 35 | A04.01 perimeters; 7/A09.33 waiting cloud edge
corner bead | LF | 400.11 | 0.15 | 60.0165 | 460.1265 | stick 10 ft | 47 | 8,9/A12.01 CORNER BEAD, TYPICAL; 4,5/A12.10; 53.1 exterior corners of gypsum board; 7/A09.33 CORNER BEAD - TYPICAL; 3/A08.21 jamb boxes; 10/A09.33 CONT. CORNER BEAD
framed opening - Knox box recessed 7x7x3 (exterior) | EA | 1 | 0.15 | 0.15 | 1.15 | stick 10 ft | 1 | 2/A02.01 key note; A00.40
framed opening for recessed fixture - GWB R-11A / R-11C / R-11CE | LF | 112 | 0.15 | 16.8 | 128.8 | stick 10 ft | 13 | E00.01; E02.01; 6/A09.33
framed opening for recessed fixture - canopy UU (2 x length per fixture) | LF | 686 | 0.15 | 102.9 | 788.9 | stick 10 ft | 79 | E00.01 LUMINAIRE SCHEDULE x E02.01 tags; 4,5/A09.33
furring channel 7/8" @ 16" O.C. (GWB ceilings) | LF | 731.93 | 0.15 | 109.7895 | 841.7195 | stick 10 ft | 85 | A04.01; ASTM C754 criterio (RFI-05)
gypsum edge trim (R-11 trimless slots) | LF | 112 | 0.15 | 16.8 | 128.8 | stick 10 ft | 13 | 6/A09.33 GYPSUM EDGE TRIM
hanger wire 12 GA (GWB ceilings) | LF | 360.43 | 0.15 | 54.0645 | 414.4945 | LF roll | 415 | 2/A09.33 TYPICAL 12 GAUGE HANGER WIRE; deck - ceiling + 1' tie
header 362T125-43 18 GA single track (interior doors, R.O.+1'-4") | LF | 70.41 | 0.15 | 10.5615 | 80.9715 | stick 10 ft | 9 | S5.20 HEADER SCHEDULE; A00.30; 1/A08.11 walk-up ATM in F wall
header box beam 2-60CSJ14 exterior openings (R.O.+1'-4") | LF | 115.81 | 0.15 | 17.3715 | 133.1815 | stick 10 ft | 14 | S5.20 HEADER SCHEDULE; 53.6; 5,6/A08.11 drive-up ATM; 53.6
header box beam over office front (CONT. BOX BEAM, R.O.+1'-4") | LF | 53 | 0.15 | 7.95 | 60.95 | stick 10 ft | 7 | 8,9/A12.01; 53.6
header box beam over vestibule glazing 2-362CSJ20 (R.O.+1'-4") | LF | 39.24 | 0.15 | 5.886 | 45.126 | stick 10 ft | 5 | 4-7/A12.10; S5.20 HEADER SCHEDULE; 53.6
metal stud blocking 362CR22 at board edges (4/S5.20) | LF | 466 | 0.15 | 69.9 | 535.9 | stick 20 ft | 27 | 4/S5.20 STUD BLOCKING 362CR22; 54.3
shadow molding | LF | 184.1 | 0.15 | 27.615 | 211.715 | stick 10 ft | 22 | 8,9/A12.01 SHADOW MOLDING AS SPECIFIED; 7/A09.33 SHADOW MOLDING AS SPECIFIED
sill track 362T125-33 (R.O.+8" each side) | LF | 5.08 | 0.15 | 0.762 | 5.842 | stick 10 ft | 1 | 1/A08.11; 53.7
sill track 600T125-33 (R.O.+8" each side) | LF | 61.84 | 0.15 | 9.276 | 71.116 | stick 10 ft | 8 | 53.7; 3/A09.25; 5,6/A08.11; 53.7
vertical deflection clip at exterior studs | EA | 280 | 0.15 | 42 | 322 | unit | 322 | S1.11 note 2 VERTICAL DEFLECTION CLIPS AT NON-LOAD-BEARING WALLS
3/4" FRT plywood (ATM surround 6/A08.11) | SF | 33 | 0.06 | 1.98 | 34.98 | sheet 4x8 (32 SF) | 1 | 6/A08.11; 8/A08.11
3/4" FRT plywood (piers / column wraps) | SF | 140.91 | 0.06 | 8.4546 | 149.3646 | sheet 4x8 (32 SF) | 4 | 2/A09.25 3/4" FRT PLYWOOD; 8/A12.10 FRT PLYWOOD
3/4" FRT plywood (type F public side, to deck) | SF | 268.45 | 0.06 | 16.107 | 284.557 | sheet 4x8 (32 SF) | 6 | 12/A12.01
3/4" FRT plywood at storefront / door heads & sills | SF | 85 | 0.06 | 5.1 | 90.1 | sheet 4x8 (32 SF) | 2 | 1,2/A09.26; 10,11,14/A09.27
3/4" FRT plywood backboard painted (key note 6, NER 121 / Electrical 120) | SF | 278 | 0.06 | 16.68 | 294.68 | sheet 4x8 (32 SF) | 7 | 6/A02.01 key note; A11.03
3/4" FRT plywood blocking (CSR soffit 10/A09.33) | LF | 24.38 | 0.06 | 1.4628 | 25.8428 | stick 8 ft | 4 | 10/A09.33 PROVIDE FRTW BLOCKING
3/4" FRT plywood blocking (box beam, office bulkheads) | LF | 45 | 0.06 | 2.7 | 47.7 | stick 8 ft | 6 | 8,9/A12.01 3/4" FRT PLYWOOD BLOCKING
3/4" FRT plywood blocking - 85" monitor (13/A12.02) | SF | 21 | 0.06 | 1.26 | 22.26 | sheet 4x8 (32 SF) | 1 | 9,13/A12.02; 1/A11.01
3/4" FRT plywood blocking at parapet top (4/A09.26) | LF | 307.66 | 0.06 | 18.4596 | 326.1196 | stick 8 ft | 41 | 4/A09.26
3/8" ballistic panel UL752 Level 2 fiberglass (NIJ II) | SF | 89.12 | 0.06 | 5.3472 | 94.4672 | panel 4x8 (32 SF) | 2 | 4/A12.01; 4/A12.01; tag B2K = B2 + Kevlar (legend A02.01)
3/8" gyp board (A1K/B2K above 8'-0") | SF | 69.22 | 0.06 | 4.1532 | 73.3732 | sheet 4x12 (48 SF) | 2 | 4/A12.01
5/8" EXTERIOR gypsum sheathing (parapet roof side) | SF | 1322 | 0.06 | 79.32 | 1401.32 | sheet 4x12 (48 SF) | 30 | C/A09.21 5/8" EXTERIOR GYPSUM SHEATHING; 55.3; B/A09.21; 2/A09.26 5/8" EXTERIOR GYPSUM SHEATHING; 55.3; A/A09.21; 1,2/A09.25 5/8" EXTERIOR GYPSUM SHEATHING; 55.3; D,E/A09.22; 3/A09.25 5/8" EXTERIOR GYPSUM SHEATHING; 55.3; E/A09.22; S2.20 5/8" EXTERIOR GYPSUM SHEATHING; 55.3; F/A09.22; 4/A09.25 5/8" EXTERIOR GYPSUM SHEATHING; 55.3; J/A09.23; 5,6/A08.11 5/8" EXTERIOR GYPSUM SHEATHING; 55.3; H/A09.23
5/8" FRT plywood sheathing bonded to 2-1/2" polyiso (exterior face) | SF | 4299.32 | 0.06 | 257.9592 | 4557.2792 | sheet 4x8 (32 SF) | 95 | C/A09.21 SHEATHING/INSULATION SYSTEM; B/A09.21; 2/A09.26 SHEATHING/INSULATION SYSTEM; A/A09.21; 1,2/A09.25 SHEATHING/INSULATION SYSTEM; D,E/A09.22; 3/A09.25 SHEATHING/INSULATION SYSTEM; E/A09.22; S2.20 SHEATHING/INSULATION SYSTEM; F/A09.22; 4/A09.25 SHEATHING/INSULATION SYSTEM; J/A09.23; 5,6/A08.11 SHEATHING/INSULATION SYSTEM; H/A09.23 SHEATHING/INSULATION SYSTEM; H/A09.23; S2.20 SHEATHING/INSULAT
5/8" ext grade FRT plywood sheathing (canopy soffit & fascia) | SF | 2135.06 | 0.06 | 128.1036 | 2263.1636 | sheet 4x8 (32 SF) | 48 | 3/A09.26; 7/A09.26 5/8" EXT. GRADE FRT PLYWOOD SHEATHING; 7/A09.26 COMPOSITE METAL PANEL ON AWB ON 5/8" EXT. GRADE FRT PLYWOOD; 5/A09.25 column wraps
5/8" glass mat sheathing (base strip slab to T/BASE 0'-6") | SF | 105.75 | 0.06 | 6.345 | 112.095 | sheet 4x8 (32 SF) | 3 | 5,6/A09.26; 9,12/A09.27
5/8" glass mat sheathing (wall at canopy band, 3/A09.26 & 7/A09.26) | SF | 356.24 | 0.06 | 21.3744 | 377.6144 | sheet 4x8 (32 SF) | 8 | 3/A09.26; 7/A09.26 SPRAY FOAM ON 5/8" GLASS-MAT SHEATHING
5/8" gyp board MOISTURE RESISTANT (chase behind toilet/lavatory) | SF | 182.39 | 0.06 | 10.9434 | 193.3334 | sheet 4x12 (48 SF) | 5 | F/A08.01; 55.6
5/8" gyp board regular (ceilings) | SF | 1046.95 | 0.06 | 62.817 | 1109.767 | sheet 4x12 (48 SF) | 24 | A04.01 NEW SUSPENDED GYPSUM WALL BOARD CEILING; 7/A09.33 cloud edge return; 10/A09.33 soffit vertical faces
5/8" gyp board regular (walls) | SF | 16618.77 | 0.06 | 997.1262 | 17615.8962 | sheet 4x12 (48 SF) | 367 | 5/A12.01; 3/A12.01; 1/A12.01; 4/A12.01; 12/A12.01; 6/A12.01; C/A09.21 5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK; B/A09.21; 2/A09.26 5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK; A/A09.21; 1,2/A09.25 5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK; D,E/A09.22; 3/A09.25 5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK; E/A09.22; S2.20 5/8" GYP. BOARD @ PERIMETER EXTERIOR WALL TO DECK
FRP panel (restrooms WC-3, 5'-0" over cove base + mop sink) | SF | 364.6 | 0.06 | 21.876 | 386.476 | panel 4x10 (40 SF) | 9 | A08.01 TOILET ROOM FINISH SCHEDULE WC-3; 3,5/A08.01; 53.9.1
FRT blocking - 2x at roof step top (4/A02.02) | LF | 51.7 | 0.06 | 3.102 | 54.802 | stick 8 ft | 7 | 4/A02.02
FRT blocking - coiling grille jambs (3/A08.21) | LF | 29 | 0.06 | 1.74 | 30.74 | stick 8 ft | 4 | 3/A08.21
FRT blocking - door wall stops (2'-0" each) | LF | 28 | 0.06 | 1.68 | 29.68 | stick 8 ft | 4 | D/A00.30 PROVIDE BLOCKING AT EACH WALL STOP
FRT blocking - lockers CW-16 (key note 5) | LF | 5 | 0.06 | 0.3 | 5.3 | stick 8 ft | 1 | 5/A02.01; A06.01 CW-16
FRT blocking - millwork MW01-MW21 | LF | 158.2 | 0.06 | 9.492 | 167.692 | stick 8 ft | 21 | A00.30 MILLWORK SCHEDULE; A12.03-A12.06; C/A02.01
FRT blocking - roof hatch ladder (key notes 3,4) | LF | 8 | 0.06 | 0.48 | 8.48 | stick 8 ft | 2 | 3,4/A02.01; A09.30
FRT blocking - toilet accessories | LF | 44 | 0.06 | 2.64 | 46.64 | stick 8 ft | 6 | E/A08.01; TA legend A08.01
FRT blocking - wall equipment (note C A02.01: monitor arms, phones, hooks, sanitizer, clock) | LF | 20 | 0.06 | 1.2 | 21.2 | stick 8 ft | 3 | C/A02.01; A00.40; A06.01
acoustical sealant | LF | 668.46 | 0.06 | 40.1076 | 708.5676 | tube (~ 25 LF) | 29 | 3/A12.01 (runs top/bottom per detail; 55.5); 1/A12.01 (runs top/bottom per detail; 55.5); 4/A12.01 (runs top/bottom per detail; 55.5); 8,9/A12.01 SEALANT at office front head
sealant at base of gypsum (exterior, 5/A09.26) | LF | 260.05 | 0.06 | 15.603 | 275.653 | tube (~ 25 LF) | 12 | 5/A09.26 SEALANT AT BASE OF GYPSUM; 53.9.3
sound attenuation batt above ceiling (restrooms, A04.01 note 11) | SF | 153.2 | 0.06 | 9.192 | 162.392 | bag (~ 88 SF) | 4 | 11/A04.01 key note
sound attenuation batt insulation (partition cavity) | SF | 5134.48 | 0.06 | 308.0688 | 5442.5488 | bag (~ 88 SF) | 114 | 5/A12.01 BATT INSULATION; 3/A12.01 BATT INSULATION; 1/A12.01 BATT INSULATION; 4/A12.01 BATT INSULATION; 12/A12.01 BATT INSULATION; 8,9/A12.01 BATT
taping & finishing Level 4 (all gyp board surfaces, assumed) | SF | 17172.33 | 0.06 | 1030.3398 | 18202.6698 | sheet 4x12 (48 SF) | 380 | Clarifications: finish level not specified except Level 5 at WC-20/WC-22 (9,10/A05.01)
taping & finishing Level 5 (WC-18 felt, WC-22) | SF | 745 | 0.06 | 44.7 | 789.7 | unit | 17 | A00.40 WALL SURFACE TO BE LEVEL 5; A05.01; A11.01/A11.03

## Pending Items
RFI | Question / condition | Delta of each alternative
RFI-01 | A09.01 "SOUTH ELEVATION" shows the north facade (grid 8 at left, entrance storefront 2-4) and A09.02 "NORTH ELEVATION" shows the south facade (door 123 at 4-5). Confirm titles are transposed. | No quantity change; facades assigned by grid order + plan content.
RFI-02 | Interior slip / deflection track not designated (S5.20 lists only exterior 600T200-97). Confirm interior slip track profile. | Base: 362T200-33 / 600T200-33 (derived from stud gauge). If 600T200-97 applies to 6" interior: same LF, heavier gauge.
RFI-03 | Type G/G1 1-5/8" stud designation and gauge not scheduled (S5.20 has 362S137-33 and 600S137-33 only). | Base 162S125-33 derived; LF unchanged.
RFI-04 | 5/A12.01 PARTITION G draws sealant beads at the base of both faces without label. Confirm acoustical sealant at G/G1. | Base 0 LF (not labeled). Alternate +206.4 LF (2 runs x 103.2 LF).
RFI-05 | GWB ceiling suspension (furring / carrying channel spacing, hanger spacing) not detailed; only "TYPICAL 12 GAUGE HANGER WIRE" (2/A09.33). | Base ASTM C754: 7/8" furring @16", 1-1/2" carrying @48", hangers @48"x48".
RFI-06 | Tag A1 near corridor 111 (A02.01) leads to a 6.0" wall segment (office 110 SE stub / restroom E). Measured thickness matches G (6-1/8"). | Classified by measured thickness (55.4): G. If A1: -1 row of 1-5/8" studs and 2 layers less per face (~2.9 LF).
RFI-07 | Calling Cubes 122 west wall carries tags A5 and A1; measured 7.27" = A5. | Base A5 (6" studs). If A1: 10.6 LF changes to 3-5/8" studs.
RFI-08 | Drive-up ATM (5,6,8,9/A08.11): R.O. 26.4" x 31.3", 6'-0" to underside of box beam (printed). GC-built plinth (9/A08.11, 2x FRT + FRT plywood) scope: Div 06 or drywall? | Plinth not included. Opening deduction ignored (5.7 SF).
RFI-09 | Storefront piers (1,2/A09.25) and interior column terminations (8/A12.10): perimeters estimated from details, not dimensioned. | Base 2 piers x 2.71 LF + 2 columns x 4.0 LF exposed faces.
RFI-10 | R-11C/R-11CE: E00.01 says 12' LINEAR but catalog number says 20'-0". | Base 12 ft each (RCP "R-11 (12')"). If 20 ft: +64 LF framed opening, +64 LF edge trim.
RFI-11 | Canopy UU fixtures: end width of framed opening not printed (cutsheet not in set). | 42 ends (21 fixtures x 2) PENDING; base counts only 2 x length (686 LF).
RFI-12 | Tower parapet infill (11/S5.10): sheathing on both faces above roof assumed (exterior protection board key note 7 on outer face). | If one face only: -204 SF exterior gyp sheathing.
RFI-13 | Key note 6 backboard measured on A11.03 elev 2-5 (3 Electrical walls + 1 NER wall, 8'-0" high), scaled lengths. | Base 278 SF (34.7 LF x 8 ft).
RFI-14 | Millwork blocking lengths taken from plan, not from A12.03-A12.06 details. | Base 158.2 LF; +/- 30% possible.
RFI-15 | Lockers CW-16 (A06.01) in Break Room 118 south wall: blocking length not dimensioned. | Base 5 LF (2 rows x 2.5 ft).
RFI-16 | Wall stop blocking counted at all 14 interior swing doors; hardware groups not verified one by one. | Base 28 LF; each door without wall stop -2 LF.
RFI-17 | Storefront heads: 53.6 box beam included; 2/A09.26 shows STEEL HEADER FRAMING. | If steel header by others: -49.3 LF box beam at N2/N3/W1 storefronts.
RFI-18 | Interior wall LF measured face to face on vector (not centerline). | Centerline would add ~0.2-0.5 ft per abutting end (~+15 to +25 LF total).
RFI-19 | FRP (WC-3) in restrooms: confirm drywall scope vs GC/tile. | Base included 364.6 SF.
RFI-20 | Type C1 detail (6/A12.01) shows block partition + 3-5/8" studs one face; tag C1 used at plumbing chase, FCAM box and monitor recess. Block (Div 04) excluded. | C1 quantified as 3-5/8" furring + 1 layer 5/8" (MR at chase).
RFI-21 | Janitor MW06A partition (B-06) not vector-verified (taken = B-05 3.5 LF). | +/- 3.5 LF type B.
RFI-22 | Interior walls south of grid B: deck slopes 13'-0 5/8" (B) to 12'-6 3/8" (A). High side used (53.2). | Low side would reduce studs/board ~4% in that zone.
RFI-24 | G1 schedule thickness 8" vs drawn G build-up 5-3/4" (5/A12.01): G1 cavity gap not drawn. | Base G1 = same materials as G (wider track gap not priced).
RFI-25 | Tag B2K on A02.01 (cash window / office 108) not defined on A12.01 (only A1K/A5K). | Base B2K = A5K build-up (6" 14 GA + ballistic 8'-0"), 2.17 LF.
RFI-26 | S2.20 canopy "B.O.D. EL. 111'-9" TYP @ CANOPY" (typo, read 11'-9"); S2.20 note "@ LOW ROOF" between E and D without elevation. | No change: canopy soffit framed below canopy steel; interior north of B kept at 15'-4 1/2".
RFI-27 | MEP crossing (M01.01, P01.01, E02.01) against walls that reach the deck was not performed in this run. | Framed openings / patch at duct penetrations PENDING.
RFI-23 | Level 5 at WC-18 (6 office walls 11'-9 1/4" x 9'-0") and WC-22 media wall (~10x11 ft); WC-20 named in key note 9 A05.01 but not tagged. | Base 745 SF Level 5 (scaled), rest Level 4.
RFI-28 | Metal stud blocking 362CR22 at gypboard edges (4/S5.20) depends on board orientation; base one row on exterior walls + G/G1 both faces. | Base 466 LF; 0 if vertical board without butt joints.
RFI-29 | Roof step 4/A02.02 height and beam enclosure faces scaled, not dimensioned. | Base 51.7 LF x 3.3 ft; enclosure 230 SF.
RFI-30 | R-14A/B downlights in GWB ceilings (~20): cut-outs only, no backing priced. | Not included.

## PARA REVISAR EN LA MANANA
# | Punto | Hoja + detalle | Imagen
1 | Barrido de tags: lista de walls por tipo con LF (55 elementos interiores + exteriores). Revisar imagenes por tipo en Planos marcados. | A02.01 | marcado_*.jpg
2 | Tags A1 que apuntan a wall de 6" (clasificado G por espesor) y A1/A5 en calling cubes W (RFI-06, RFI-07). | 3/A12.01, 5/A12.01 | marcado_G.jpg
3 | Elevaciones N/S con titulo transpuesto (RFI-01). | A09.01, A09.02 | ov_34 / ov_35
4 | Box beam en storefronts vs steel header 2/A09.26 (RFI-17, delta -49.3 LF). | 2/A09.26 | -
5 | Sealant base de G sin rotulo (RFI-04). | 5/A12.01 | a1201_d5.png
6 | Suspension de ceilings GWB por ASTM C754 (RFI-05). | 2/A09.33 | -
7 | Bloqueos de millwork, lockers, plywood backboard: estimados (RFI-13,14,15). | A12.03-A12.06, A11.03 | -
8 | Ends de framed openings del canopy UU: PENDIENTE cutsheet (RFI-11). | E00.01, E02.01 | -
9 | LF face-a-face, no centerline (RFI-18). | A02.01 | -
10 | Altura de ATM drive-up no confirmada; no se descuenta (RFI-08). | 5,6/A08.11 | -

## Alcances
ALC | Alcance | Estado | Nota (cantidad, NO APLICA + hoja, o RFI)
ALC-01 | ALC-01 | CUANTIFICADO | Interior studs/tracks per type, A12.01 details 1,3,4,5,6,12
ALC-02 | ALC-02 | CUANTIFICADO | Exterior 6" CFMF 600S137-33 @16" (S5.20; A09.21-A09.23)
ALC-03 | ALC-03 | CUANTIFICADO | Parapet: exterior wall studs to T/STUD + tower infill 11/S5.10; exterior gyp sheathing roof side
ALC-04 | ALC-04 | CUANTIFICADO | Bottom / top / deflection track in separate rows
ALC-05 | ALC-05 | CUANTIFICADO | Headers (S5.20 header schedule), box beams, sill tracks
ALC-06 | ALC-06 | CUANTIFICADO | Bracing 1-1/2" C.R. channel @48" (F/S5.20; 53.4)
ALC-07 | ALC-07 | CUANTIFICADO | 5/8" gyp board per face per type
ALC-08 | ALC-08 | CUANTIFICADO | MR board at chase C1 behind toilets/lavatories (F/A08.01)
ALC-09 | ALC-09 | CUANTIFICADO | Exterior gyp sheathing parapet roof side; glass mat at canopy band (3,7/A09.26)
ALC-10 | ALC-10 | CUANTIFICADO | FRT plywood: exterior sheathing system, type F, canopy, backboard, piers
ALC-11 | ALC-11 | CUANTIFICADO | GWB ceilings A04.01 (vestibules, waiting, restrooms, cash window)
ALC-12 | ALC-12 | CUANTIFICADO | Furring channel, carrying channel, hanger wire, ceiling track (ASTM C754, RFI-05)
ALC-13 | ALC-13 | CUANTIFICADO | Office front bulkheads 8,9/A12.01; vestibule glass bulkheads 4-7/A12.10; canopy soffits
ALC-14 | ALC-14 | CUANTIFICADO | Canopy soffit/fascia framing and FRT plywood (3,7/A09.26; 4,5/A09.33)
ALC-15 | ALC-15 | CUANTIFICADO | Canopy column wraps 5/A09.25 (4 ea), piers 1,2/A09.25
ALC-16 | ALC-16 | CUANTIFICADO | FRT blocking: toilet accessories, wall stops, millwork, monitor, roof ladder; parapet FRT plywood blocking
ALC-17 | ALC-17 | CUANTIFICADO | Framed openings for recessed fixtures UU / R-11 (54.1)
ALC-18 | ALC-18 | CUANTIFICADO | Corner bead, casing bead, shadow molding, gypsum edge trim
ALC-19 | ALC-19 | CUANTIFICADO | Acoustical sealant per detail runs; batt insulation in partitions
ALC-20 | ALC-20 | CUANTIFICADO | FRP WC-3 restrooms (A08.01)
ALC-21 | ALC-21 | NO APLICA | A02.01: no shaft walls or area separation walls in the set (escaneo sin hallazgos)
ALC-22 | ALC-22 | NO APLICA | A12.01 schedule FIRE RATING "--" for all types; A02.01 only fire rated plywood backboard (quantified as FRT plywood)
ALC-23 | ALC-23 | CUANTIFICADO | 3/8" UL752 Level 2 ballistic panel at A1K/B2K (4/A12.01)
ALC-24 | ALC-24 | CUANTIFICADO | Level 4 taping assumed; Level 5 at WC-20/WC-22 (A05.01) area as RFI-23