## CAMBIOS vs original
Referencia corregida con el arbitraje del 14-oct-2026 (ARBITRAJE.md). El original NO se modificó.
Pendiente del criterio del estimador (sin cambio aquí): metal trim, 3-5/8" stud, 1-5/8" stud, bracing, exterior gyp sheathing, header, sill track, LF de C1/A5/B2.
Material | Unit | Antes | Ahora | Motivo (hoja + detalle)
FRP WC-3 | SF | 132.1 | 338 | FRP WC-3 a 5'-0" sobre el cove base de 6" (A-D/A08.01), 67.6 LF x 5.00 ft. Mop sink: ancho no impreso, queda PENDIENTE
Acoustical sealant | LF | 2652.66 | 1220.5 | Acoustical sealant por regla de cada detalle de A12.01 (1/,3/,4/,6/,8/,9/,12/A12.01): rango 1,196-1,245 LF, se toma el centro; el exterior/parapet no lleva acoustical sealant
Exterior sheathing 5/8" FRT plywood bonded to 2-1/2" polyiso | SF | 3698.28 | 4224.28 | Exterior FRT plywood: + 526 SF arriba de storefront (H/A09.23)
Hanger wire | LF | 316.26 | 293 | Hanger wire: hangers enteros @48"x48"; restrooms en zona baja de deck (S2.20), 4.552 ft cada uno
Track, ceilings / soffits / canopy | LF | 884.17 | 1154 | Ceiling/soffit/canopy track: canopy 822.5 (track en ambos extremos de cada stud, 4,5/A09.33) + soffit 61.7 + perímetro GWB ceiling 269.9 (3/A09.33)
5/8" gypsum board, MOISTURE RESISTANT | SF | 213.74 | 261.8 | Moisture resistant: va en el chase detrás de toilet y lavatory (A08.01 nota F; 1 y A/A08.01), hasta deck; los 112.9 SF en muro exterior no van
5/8" gypsum board, regular | SF | 16595.2998 | 16339.7998 | CANOPY-COL: los 255.5 SF van como 5/8" FRT plywood (5/A09.25), no como gypsum board (back-check 13-oct)
5/8" FRT plywood at canopy column wraps | SF |  | 255.5 | NUEVO: 5/A09.25 '5/8" EXTERIOR GRADE FRT PLYWOOD' en column wraps (220.5 SF del arbitraje; se usan los 255.5 SF que la referencia ya tenía medidos como board)
3/4" FRT plywood at storefront piers | SF |  | 327.2 | NUEVO: 1,2/A09.25 '3/4" FRT PLYWOOD' en piers
Sealant at base of gypsum (exterior, not acoustical) | LF |  | 217.6 | NUEVO: 5/A09.26, 9 y 12/A09.27 'SEALANT AT BASE OF GYPSUM' - renglón aparte
--- 15-oct-2026: arbitraje prueba #4 (ARBITRAJE.md 1ZZPwkhjizX61SznBbsPQkjiidRayMSuq) ---
Framed openings - MEP, light slots and diffusers | LF | 165.67 | 859.67 | Framed openings: canopy linear lights 2x343 LF = 686 (4,5/A09.33; largos E00.01, conteo E02.01) + light slots 112 (6/A09.33) + access panel 8 (A04.01 KN4) + MEP 43 y diffuser 10.67 de la referencia (no re-medidos, PENDIENTE). Ends de fixtures y recessed toilet accessories PENDIENTE
Parapet bottom track 600T125-54 (PAF to steel beam) | LF | 217.64 | 263.84 | Parapet bottom track: el parapet sigue sobre el storefront (A/A09.21) +46.2 LF
Parapet top track 600T125-54 | LF | 217.64 | 263.84 | Parapet top track: mismo faltante sobre storefront (A/A09.21) +46.2 LF; 11/S5.10 TOP & BOT.
Blocking FRT / 2X FRT wood | LF | 748 | 593.2 | FRT blocking: 748 - 201 de blocking METALICO 362CR22 (4/S5.20, renglon propio) + 46.2 parapet sobre storefront (4/A09.26). Artwork (A11.0x) PENDIENTE
Acoustical sealant | LF | 1220.5 | 1002.98 | Acoustical sealant corrida por corrida segun cada detalle de A12.01 (el 1,220.5 era punto medio de un rango). RFI: G sin rotulo -201.34; office front 9/A12.01 +90
Stud blocking 362CR22 at edge of gypboard (4/S5.20) | LF |  | 201 | NUEVO: 4/S5.20 STUD BLOCKING 362CR22 = metal; la referencia lo traia dentro del FRT blocking. ~201 LF [DERIVADO]
5/8" glass mat sheathing | SF | 2939.76 | 2939.76 | Sin cambio: la referencia gana (2/A09.26 no lleva glass mat sobre storefront)

## Partition Takeoff
ORGANIZED PARTITION TAKEOFF ESTIMATOR - BANK OF AMERICA, BROOMFIELD CO
Grouped by partition type, longest first inside each type. Stud columns are in LF of MATERIAL (pieces x height) and never mix two stud sizes. Quantities are NET - waste lives in its own cells on Material Summary.
Partition / Scope | Wall # | Length (LF) | Height (FT) | Layers | Stud Size | Stud (pcs) | 6" Metal Stud (LF) | 3-5/8" Metal Stud (LF) | 1-5/8" Metal Stud (LF) | 5/8" Gyp Board (SF) | FRP-1 (SF) | FRP-2 (SF) | Durock / Cement Bd (SF) | Demolition (SF) | Labor (Hrs) | Bottom Track (LF) | Top / Deflection Track (LF) | Bracing (LF) | Clips (pcs) | Blocking (LF) | Insulation (SF) | Ext. Gypsum Sheathing, deck to parapet (SF) | Ext. Sheathing FRT+Polyiso (SF) | Ballistic Panel 3/8" UL752 (SF) | 3/8" Gyp Board (SF) | FRT Plywood Substrate (SF) | Level 5 Finish (SF) | Trim - corner/casing/shadow (LF) | Extra Framing - sistered, furring, MEP (LF) | Fasteners (pcs) | Sealant (LF) | Header / Box Beam (LF) | Sill Track (LF) | Openings | Status | Source / Seal | Stud (LF of material) | Addl Head Track >4'-0" opening (LF) | Ext. Glass Mat Sheathing at stud face (SF) | Gypsum Board Jamb Return (SF) | Detail sequence (plan → section → detail → schedule)
TYPE A1
A1 #8 - Corridor 111 / Break Room 118 + Electrical 120 + NER 121 - the long wall (tags #8 and #10). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Corridor 111: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ Break Room 118: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ Electrical 120: 1 layer(s) 5/8 GYP @ 12.820 FT ¦ NER 121: 1 layer(s) 5/8 GYP @ 12.690 FT (1 instance) | 8 | 17.06 | 12.89 | 1.95 | 3-5/8" | 21 | 0 | 270.69 | 0 | 349.6456 | [5 empty] | 17.06 | 17.06 | 51.18 |  | 21.97 | [5 empty] | 106.66 |  |  |  |  | 34.12 | 3.33 |  | door 118B 3.33 x 7.00 | CLOSED | seal f6f3ebf997a3f559 | 270.69 |  |  |  | A02.01 → A04.01 → S2.20 → 2/A11.03 → 3/A11.03 → 4/A11.03 → 5/A11.03 → 7/A11.03 → 1/A12.01 → 3/A12.01 → 4/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 2/S5.20 → 4/S5.20 → 7/S5.20 → 9/S5.20 → A00.01 → A00.30 → A09.27 → A09.33 → E02.01 → M01.01 → P01.01 → P01.02
A1 #1 - Central Zone 103 / Calling Cubes 122 - north wall of Calling Cubes. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Central Zone 103: 1 layer(s) 5/8 GYP @ 12.000 FT ¦ Calling Cubes 122: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 1 | 16.42 | 15.375 | 2 | 3-5/8" | 16 | 0 | 246 | 0 | 344.82 | [5 empty] | 16.42 | 16.42 | 49.26 |  | 32.84 | [10 empty] | 32.84 |  |  | none | CLOSED | seal 0b6d1dcbcf676ced | 246 |  |  |  | A02.01 → A04.01 → S2.20 → 1/A12.01 → 3/A12.01 → 4/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A00.01 → A00.30 → A09.27 → A09.33 → E02.01 → M01.01 → P01.01 → P01.02
A1 #5 - Calling Cubes 122 / Break Room 118 - carries MW21 on the south face. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Calling Cubes 122: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ Break Room 118: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 5 | 15.23 | 12.971 | 2 | 3-5/8" | 14 | 0 | 181.59 | 0 | 274.14 | [5 empty] | 15.23 | 15.23 | 45.69 |  | 40.46 | [10 empty] | 30.46 |  |  | none | CLOSED | seal b142fb73ec3b93d8 | 181.59 |  |  |  | A02.01 → A04.01 → S2.20 → 1/A12.01 → 3/A12.01 → 4/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A00.01 → A00.30 → A09.27 → A09.33 → A12.04 → A12.06 → E02.01 → M01.01 → P01.01 → P01.02
A1 #9 - Cash Window 116 / Work Room 119 - north wall of the Work Room, carries MW12 and door 119. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Cash Window 116: 1 layer(s) 5/8 GYP @ 9.500 FT ¦ Work Room 119: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 9 | 11.667 | 12.775 | 2 | 3-5/8" | 23 | 0 | 293.82 | 0 | 169.235 | [5 empty] | 11.667 | 11.667 | 35 |  | 46.27 | [10 empty] | 23.33 | 5.33 | 2 | door 119 3.33 x 7.00 + framed opening 8" duct M01.01 (solid run) 1.00 x 1.00 + framed opening 8" duct M01.01 (over the 119 header) 1.00 x 1.00 | CLOSED | seal 5ae93fd71c06450b | 293.82 |  |  |  | A02.01 → A04.01 → S2.20 → 1/A12.01 → 3/A12.01 → 4/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 2/S5.20 → 4/S5.20 → 6/S5.20 → 7/S5.20 → 9/S5.20 → A00.01 → A00.30 → A09.27 → A09.33 → A12.05 → E02.01 → M01.01 → P01.01 → P01.02
A1 #6 - Break Room 118 / Future FCAM - carries door 118A. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Cash Window 116: 1 layer(s) 5/8 GYP @ 9.500 FT ¦ Break Room 118: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 6 | 5.5 | 12.927 | 2 | 3-5/8" | 11 | 0 | 142.2 | 0 | 48.43 | [5 empty] | 5.5 | 5.5 | 16.5 |  | 13 | [10 empty] | 11 | 3.33 |  | door 118A 3.33 x 8.00 | CLOSED | seal 330ea163b4a7954b | 142.2 |  |  |  | A02.01 → A04.01 → S2.20 → 1/A12.01 → 3/A12.01 → 4/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 2/S5.20 → 4/S5.20 → 7/S5.20 → 9/S5.20 → A00.01 → A00.30 → A09.27 → A09.33 → E02.01 → M01.01 → P01.01 → P01.02
A1 #4 - Corridor 111 - jambs of door 111, entry from Central Zone. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Corridor 111: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ Corridor 111 (face 2): 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 4 | 5 | 15.375 | 2 | 3-5/8" | 10 | 0 | 153.75 | 0 | 36.68 | [5 empty] | 5 | 5 | 15 |  | 12 | [10 empty] | 10 | 3.33 |  | door 111 3.33 x 8.00 | CLOSED | seal bad128ab97504e87 | 153.75 |  |  |  | A02.01 → A04.01 → S2.20 → 1/A12.01 → 3/A12.01 → 4/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 2/S5.20 → 4/S5.20 → 7/S5.20 → 9/S5.20 → A00.01 → A00.30 → A09.27 → A09.33 → E02.01 → M01.01 → P01.01 → P01.02
A1 #2 - MW01 niche / Calling Cubes 122 - back of the printer cabinet. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Calling Cubes 122: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ MW01 niche: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 2 | 3.13 | 15.375 | 2 | 3-5/8" | 5 | 0 | 76.88 | 0 | 56.34 | [5 empty] | 3.13 | 3.13 | 9.39 |  | 12.52 | [10 empty] | 6.26 |  |  | none | CLOSED | seal f9459712ac3d5e8f | 76.88 |  |  |  | A02.01 → A04.01 → S2.20 → 1/A12.01 → 3/A12.01 → 4/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A00.01 → A00.30 → A09.27 → A09.33 → A12.03 → A12.04 → A12.05 → E02.01 → M01.01 → P01.01 → P01.02
A1 #3 - MW01 niche / Calling Cubes 122 - south close of the niche. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Calling Cubes 122: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ MW01 niche: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 3 | 2.63 | 15.375 | 2 | 3-5/8" | 4 | 0 | 61.5 | 0 | 47.34 | [5 empty] | 2.63 | 2.63 | 7.89 |  | 5.26 | [10 empty] | 5.26 |  |  | none | CLOSED | seal de2d6c733839b704 | 61.5 |  |  |  | A02.01 → A04.01 → S2.20 → 1/A12.01 → 3/A12.01 → 4/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 7/A12.04 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A00.01 → A00.30 → A09.27 → A09.33 → E02.01 → M01.01 → P01.01 → P01.02
A1 #7 - Break Room 118 / Cash Window 116 - vertical return between walls A1-5 and A1-6. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Break Room 118: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ Cash Window 116: 1 layer(s) 5/8 GYP @ 9.500 FT (1 instance) | 7 | 1.73 | 12.963 | 2 | 3-5/8" | 4 | 0 | 51.85 | 0 | 32.005 | [5 empty] | 1.73 | 1.73 | 5.19 |  | 3.46 | [10 empty] | 3.46 |  |  | none | CLOSED | seal 59b6ae489514c65f | 51.85 |  |  |  | A02.01 → A04.01 → S2.20 → 1/A12.01 → 3/A12.01 → 4/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A00.01 → A00.30 → A09.27 → A09.33 → E02.01 → M01.01 → P01.01 → P01.02
TYPE A1K
A1K #11 - NORTH head of Cash Window 116 / CSR line (banda y 1120.68/1128.48). Stud 3-5/8" 362S137-68 MST @ 24" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Lado norte (linea de teller, contra el wall G-47): 1 layer(s) 5/8 GYP 1 layer @ 15.375 FT ¦ Cash Window 116: 1 layer(s) 5/8 GYP 1 layer @ 15.375 FT (1 instance) | 11 | 3.417 | 15.375 | 2 | 3-5/8" | 4 | 0 | 61.5 | 0 | 105.0727 | [5 empty] | 3.42 | 3.42 | 10.25 | [5 empty] | 27.34 | 25.2 |  |  | 6.83 |  | 6 | 13.67 |  |  | none | CLOSED | seal 55ac0f1c5756bccf | 61.5 |  |  |  | A02.01 → S2.20 → 4/A12.01 → 1/S5.20 → 7/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
A1K #12 - SOUTH head of Cash Window 116 (banda y 1344.72/1352.64). Stud 3-5/8" 362S137-68 MST @ 24" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Cash Window 116: 1 layer(s) 5/8 GYP 1 layer @ 12.933 FT ¦ Lado sur (zona del FUTURE FCAM): 1 layer(s) 5/8 GYP 1 layer @ 12.933 FT (1 instance) | 12 | 3.413 | 12.933 | 2 | 3-5/8" | 4 | 0 | 51.73 | 0 | 88.2807 | [5 empty] | 3.41 | 3.41 | 10.24 | [5 empty] | 27.3 | 16.84 |  |  | 6.83 |  | 6 | 13.65 |  |  | none | CLOSED | seal 7fa175fb06948b14 | 51.73 |  |  |  | A02.01 → S2.20 → 4/A12.01 → 1/S5.20 → 7/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
A1K #13 - Southwest return at Cash Window 116 (banda y 1355.28/1363.08). Stud 3-5/8" 362S137-68 MST @ 24" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Lado norte: 1 layer(s) 5/8 GYP 1 layer @ 12.921 FT ¦ Lado sur (zona del FUTURE FCAM): 1 layer(s) 5/8 GYP 1 layer @ 12.921 FT (1 instance) | 13 | 1.16 | 12.921 | 2 | 3-5/8" | 3 | 0 | 38.76 | 0 | 29.9767 | [5 empty] | 1.16 | 1.16 | 3.48 | [5 empty] | 9.28 | 5.71 |  |  | 2.32 |  | 4 | 4.64 |  |  | none | CLOSED | seal e3169842073623f7 | 38.76 |  |  |  | A02.01 → S2.20 → 4/A12.01 → 1/S5.20 → 7/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
TYPE A5
A5 #14 - Calling Cubes 122 / Office 4 CB 108. Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Calling Cubes 122: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ Office 4 CB 108: 1 layer(s) 5/8 GYP @ 9.500 FT (1 instance) | 14 | 19 | 15.375 | 2 | 6" | 15 | 223.66 | 0 | 0 | 351.5 | [5 empty] | 19 | 19 | 57 |  | 38 | [10 empty] | 38 |  |  | none | CLOSED | seal 95c67946c0f7261d | 223.66 |  |  |  | A02.01 → A04.01 → 3/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
A5 #15 - Calling Cubes 122 / Corridor 111. Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Calling Cubes 122: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ Corridor 111: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 15 | 11 | 15.375 | 2 | 6" | 9 | 138.38 | 0 | 0 | 198 | [5 empty] | 11 | 11 | 33 |  | 41.88 | [10 empty] | 22 |  |  | none | CLOSED | seal 4742d9e4779e1bab | 138.38 |  |  |  | A02.01 → A04.01 → S2.20 → 3/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33 → A12.05
A5 #16 - Corridor 111 / Calling Cubes 122. Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Corridor 111: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ Calling Cubes 122: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 16 | 5.41 | 13.052 | 2 | 6" | 9 | 119.79 | 0 | 0 | 50.76 | [5 empty] | 5.41 | 5.41 | 16.23 |  | 10.82 | [10 empty] | 10.82 | 3.33 |  | door 122 3.33 x 7.00 | CLOSED | seal 33f26d5ec19f564f | 119.79 |  |  |  | A02.01 → A04.01 → 3/A12.01 → A09.01 → 10/A12.02 → 1/S5.20 → 4/S5.20 → 7/S5.20 → 9/S5.20 → A00.30 → A09.27 → A09.33
A5 #17 - Break Room 118 / Cash Window 116. Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Break Room 118: 1 layer(s) 5/8 GYP @ 9.000 FT ¦ Cash Window 116: 1 layer(s) 5/8 GYP @ 9.500 FT (1 instance) | 17 | 3.71 | 12.927 | 2 | 6" | 3 | 38.78 | 0 | 0 | 68.635 | [5 empty] | 3.71 | 3.71 | 11.13 |  | 7.42 | [10 empty] | 7.42 |  |  | none | CLOSED | seal e3797658ed2d6b14 | 38.78 |  |  |  | A02.01 → A04.01 → S2.20 → 3/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
TYPE B
B #23 - Electrical 120 + NER 121 / Break Room 118 (east wall). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Electrical 120: 1 layer(s) 5/8 GYP @ 12.831 FT ¦ NER 121: 1 layer(s) 5/8 GYP @ 12.831 FT ¦ Break Room 118: 1 layer(s) 5/8 GYP @ 12.831 FT (1 instance) | 23 | 14.15 | 12.831 | 2 | 3-5/8" | 19 | 0 | 243.79 | 0 | 269.749 | [5 empty] | 14.15 | 14.15 | 42.45 | [12 empty] | 56.6 | 6.66 |  | door 120 3.33 x 7.00 + door 121 3.33 x 7.00 | CLOSED | seal 94fc9636f6965f50 | 243.79 |  |  |  | A02.01 → S2.20 → 1/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 4/S5.20 → 7/S5.20 → 9/S5.20 → A00.30 → A09.27 → A09.33
B #20 - Janitor Closet 112 / Storage 117 (horizontal wall, with door 112). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Janitor Closet 112: 1 layer(s) 5/8 GYP @ 12.748 FT ¦ Storage 117: 1 layer(s) 5/8 GYP @ 12.748 FT (1 instance) | 20 | 11.83 | 12.748 | 2 | 3-5/8" | 13 | 0 | 165.72 | 0 | 259.6177 | [5 empty] | 11.83 | 11.83 | 35.49 | [12 empty] | 47.32 | 3 |  | door 112 3.00 x 7.00 | CLOSED | seal cf6621bf33cfc512 | 165.72 |  |  |  | A02.01 → S2.20 → 1/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 4/S5.20 → 7/S5.20 → 9/S5.20 → A00.30 → A09.27 → A09.33
B #21 - Janitor Closet 112 + Storage 117 / Wellness 115. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Wellness 115: 1 layer(s) 5/8 GYP @ 12.666 FT ¦ Janitor Closet 112: 1 layer(s) 5/8 GYP @ 12.666 FT ¦ Storage 117: 1 layer(s) 5/8 GYP @ 12.666 FT (1 instance) | 21 | 11.73 | 12.666 | 2 | 3-5/8" | 9 | 0 | 113.99 | 0 | 297.1444 | [5 empty] | 11.73 | 11.73 | 35.19 | [12 empty] | 46.92 |  |  | none | CLOSED | seal 97c412d53363891c | 113.99 |  |  |  | A02.01 → S2.20 → 1/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
B #18 - Electrical 120 / Break Room 118 (north wall of Electrical). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Break Room 118: 1 layer(s) 5/8 GYP @ 12.827 FT ¦ Electrical 120: 1 layer(s) 5/8 GYP @ 12.827 FT (1 instance) | 18 | 9.99 | 12.827 | 2 | 3-5/8" | 8 | 0 | 102.62 | 0 | 256.2835 | [5 empty] | 9.99 | 9.99 | 29.97 | [7 empty] | 76.32 |  |  |  |  | 39.96 |  |  | none | CLOSED | seal 22cceb27f4d24f0a | 102.62 |  |  |  | A02.01 → S2.20 → 2/A11.03 → 3/A11.03 → 4/A11.03 → 1/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
B #22 - Electrical 120 / NER 121 (south wall of Electrical). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Electrical 120: 1 layer(s) 5/8 GYP @ 12.698 FT ¦ NER 121: 1 layer(s) 5/8 GYP @ 12.698 FT (1 instance) | 22 | 9.58 | 12.698 | 2 | 3-5/8" | 8 | 0 | 101.58 | 0 | 243.2937 | [5 empty] | 9.58 | 9.58 | 28.74 | [7 empty] | 76.16 |  |  |  |  | 38.32 |  |  | none | CLOSED | seal 1f8b6511c9a47902 | 101.58 |  |  |  | A02.01 → S2.20 → 2/A11.03 → 3/A11.03 → 4/A11.03 → 1/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
B #19 - Janitor Closet 112 / Storage 117 (also carries tag #20, same wall). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Janitor Closet 112: 1 layer(s) 5/8 GYP @ 12.743 FT ¦ Storage 117: 1 layer(s) 5/8 GYP @ 12.743 FT (1 instance) | 19 | 3.5 | 12.743 | 2 | 3-5/8" | 3 | 0 | 38.23 | 0 | 89.201 | [5 empty] | 3.5 | 3.5 | 10.5 |  | 29.22 | [9 empty] | 1 | 14 |  |  | none | CLOSED | seal 3fed9fd55804aca5 | 38.23 |  |  |  | A02.01 → S2.20 → 1/A12.01 → 1/S5.20 → 4/S5.20 → 6/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33 → M01.01
TYPE B2
B2 #27 - Corridor 111 / Men's Restroom 113 + Storage 117 + Wellness 115 (lleva tambien el tag #29, mismo wall). Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Men's Restroom 113: 1 layer(s) 5/8 GYP @ 13.052 FT ¦ Storage 117: 1 layer(s) 5/8 GYP @ 13.052 FT ¦ Wellness 115: 1 layer(s) 5/8 GYP @ 13.052 FT ¦ Corridor 111: 1 layer(s) 5/8 GYP @ 13.052 FT (1 instance) | 27 | 15.787 | 13.052 | 2 | 6" | 24 | 313.25 | 0 | 0 | 272.1108 | 10.9 |  | 1.09 |  |  | 15.79 | 15.79 | 47.36 |  | 6 | [9 empty] | 3 | 63.15 | 10 |  | door 113 3.33 x 7.00 + door 117 3.33 x 7.00 + door 115 3.33 x 7.00 | CLOSED | seal 7730432fa7356abd | 313.25 |  |  |  | A02.01 → B/A08.01 → S2.20 → 1/A12.01 → 3/A12.01 → A09.01 → 9/A00.41 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 4/S5.20 → 6/S5.20 → 7/S5.20 → 9/S5.20 → A00.30 → A09.27 → A09.33 → E02.01 → M01.01 → P01.01 → P01.02
B2 #28 - Break Room 118 / Cash Window 116 + Work Room 119 (lleva tambien el tag #30, mismo wall). Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Break Room 118: 1 layer(s) 5/8 GYP @ 13.052 FT ¦ Cash Window 116: 1 layer(s) 5/8 GYP @ 13.052 FT ¦ Work Room 119: 1 layer(s) 5/8 GYP @ 13.052 FT (1 instance) | 28 | 11.74 | 13.052 | 1.97 | 6" | 13 | 169.68 | 0 | 0 | 301.1488 | [5 empty] | 11.74 | 11.74 | 35.22 |  | 24.9 | [10 empty] | 46.96 | 3.33 |  | none | CLOSED | seal 038efd60d5bbdd8f | 169.68 |  |  |  | A02.01 → S2.20 → 1/A12.01 → 3/A12.01 → A09.01 → 7/A12.04 → 10/A12.04 → 11/A12.04 → 9/A12.05 → 1/S5.20 → 7/S5.20 → 9/S5.20 → A00.30 → A09.27 → A09.33 → A12.06 → E02.01 → M01.01 → P01.01 → P01.02
B2 #25 - ATM Room 102 / Central Zone 103 (wall de la door 102). Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. ATM Room 102: 1 layer(s) 5/8 GYP @ 15.375 FT ¦ Central Zone 103: 1 layer(s) 5/8 GYP @ 15.375 FT (1 instance) | 25 | 5.667 | 15.375 | 2 | 6" | 9 | 138.38 | 0 | 0 | 112.9403 | [5 empty] | 5.67 | 5.67 | 17 | [12 empty] | 22.67 | 3.83 |  | door 102 3.83 x 8.00 | CLOSED | seal dc201c1d1b0c9138 | 138.38 |  |  |  | A02.01 → S2.20 → 1/A12.01 → 3/A12.01 → A09.01 → 10/A12.02 → 11/A12.02 → 1/S5.20 → 7/S5.20 → 9/S5.20 → A00.30 → A09.27 → A09.33 → E02.01 → M01.01 → P01.01 → P01.02
B2 #26 - Women's Restroom 114 / Corridor 111 (jamb sur de la door 114). Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Women's Restroom 114: 1 layer(s) 5/8 GYP @ 13.052 FT ¦ Corridor 111: 1 layer(s) 5/8 GYP @ 13.052 FT (1 instance) | 26 | 1.82 | 13.052 | 2 | 6" | 6 | 78.31 | 0 | 0 | 47.5093 | 9.1 |  | 0.91 |  |  | 1.82 | 1.82 | 5.46 |  | 2 | [10 empty] | 7.28 | 3.33 |  | none | CLOSED | seal 87cfa9ebe94dc6bf | 78.31 |  |  |  | A02.01 → 2/A08.01 → B/A08.01 → S2.20 → 1/A12.01 → 3/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
TYPE B2K
B2K #31 - Office 4 CB 108 (customer side) / Cash Window 116 (teller side). Stud 6" 600S137-68 MST @ 24" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Office 4 CB 108: 1 layer(s) 5/8 GYP @ 15.375 FT ¦ Cash Window 116: 1 layer(s) 5/8 GYP @ 15.375 FT (1 instance) | 31 | 1.26 | 15.375 | 2 | 6" | 2 | 30.75 | 0 | 0 | 38.745 | [5 empty] | 1.26 | 1.26 | 3.78 | [5 empty] | 10.08 | 9.29 |  |  | 1.26 |  |  | 5.04 |  |  | none | CLOSED | seal f0416b251e71edd3 | 30.75 |  |  |  | A02.01 → S2.20 → 4/A12.01 → 1/S5.20 → 4/S5.20 → 5/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33 → E02.01 → M01.01 → P01.01 → P01.02
TYPE BULKHEAD-G
BULKHEAD-G #54 - Over the 4 office fronts at Offices 105, 106, 107 and 108 (alineacion x 1622.04/1631.28). Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Lado oficina (105-108): 2 layer(s) 5/8 GYP x2 layers @ 7.333 FT ¦ Central Zone 103: 2 layer(s) 5/8 GYP x2 layers @ 7.333 FT (1 instance) | 54 | 30 | 7.333 | 4 | 1-5/8" | 64 | 0 | 0 | 469.31 | 879.96 | [5 empty] | 60 | 60 | 60 |  | 30 | [7 empty] | 120 |  |  | 120 | 30 |  | none | CLOSED | seal 778c08f5074a3f2b | 469.31 |  |  |  | A02.01 → S2.20 → 7/A11.01 → 9/A12.01 → 1/S5.20 → 7/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
BULKHEAD-G #55 - Over the 2 office fronts at Offices 109 and 110 (alineacion x 1121.16/1133.88). Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Lado oficina (109-110): 2 layer(s) 5/8 GYP x2 layers @ 7.333 FT ¦ Area abierta al este (Waiting 104): 2 layer(s) 5/8 GYP x2 layers @ 7.333 FT (1 instance) | 55 | 15 | 7.333 | 4 | 1-5/8" | 32 | 0 | 0 | 234.66 | 439.98 | [5 empty] | 30 | 30 | 30 |  | 15 | [7 empty] | 60 |  |  | 60 | 15 |  | none | CLOSED | seal c904037bf9ccbc5c | 234.66 |  |  |  | A02.01 → S2.20 → 7/A11.01 → 9/A12.01 → 1/S5.20 → 7/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
TYPE C1
C1 #36 - North wall of Calling Cubes 122, face towards Central Zone 103. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Central Zone 103: 1 layer(s) 5/8 GYP @ 11.500 FT (1 instance) | 36 | 11.333 | 11.5 | 1 | 3-5/8" | 10 | 0 | 115 | 0 | 130.295 | [5 empty] | 11.333 | 11.333 | 22.67 |  | 10 | [13 empty] | none | CLOSED | seal ee061539aa99e04a | 115 |  |  |  | A02.01 → A04.01 → 2/A12.01 → 3/A12.01 → 6/A12.01 → 12/A12.01 → A09.01 → 9/A12.02 → 13/A12.02 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A00.30 → A09.27 → A09.33
C1 #37 - North face of the plumbing chase between restrooms 113 and 114. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Women's Restroom 114: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 37 | 5.6 | 9 | 1 | 3-5/8" | 8 | 0 | 72 | 0 | 50.4 | [5 empty] | 5.6 | 5.6 | 11.2 |  | 5.6 | [13 empty] | none | CLOSED | seal 8f93a0dfc5e6f9be | 72 |  |  |  | A02.01 → A04.01 → A08.01 → 2/A12.01 → 3/A12.01 → 6/A12.01 → 12/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → 8/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
C1 #39 - South face of the plumbing chase between restrooms 113 and 114. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Men's Restroom 113: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 39 | 5.6 | 9 | 1 | 3-5/8" | 8 | 0 | 72 | 0 | 50.4 | [5 empty] | 5.6 | 5.6 | 11.2 |  | 5.6 | [13 empty] | none | CLOSED | seal 05f3cbbb46afc9d5 | 72 |  |  |  | A02.01 → A04.01 → A08.01 → 2/A12.01 → 3/A12.01 → 6/A12.01 → 12/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → 8/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
C1 #32 - Entry pilaster of Vestibule 100, next to door 100A; it carries the push button (PB) and the card reader (CR). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Vestibule 100: 1 layer(s) 5/8 GYP @ 10.000 FT (1 instance) | 32 | 4.56 | 10 | 1 | 3-5/8" | 5 | 0 | 50 | 0 | 45.6 | [5 empty] | 4.56 | 4.56 | 9.12 |  | 4 | [7 empty] | 30 | [5 empty] | none | CLOSED | seal 18f719ea04d85cfd | 50 |  |  |  | A02.01 → A04.01 → 2/A12.01 → 3/A12.01 → 6/A12.01 → 12/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
C1 #33 - Pilaster at the northwest corner of Vestibule 100. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Vestibule 100: 1 layer(s) 5/8 GYP @ 10.000 FT (1 instance) | 33 | 3.58 | 10 | 1 | 3-5/8" | 5 | 0 | 50 | 0 | 35.8 | [5 empty] | 3.58 | 3.58 | 7.16 | [9 empty] | 30 | [5 empty] | none | CLOSED | seal 99e04a76facc8aa6 | 50 |  |  |  | A02.01 → A04.01 → 2/A12.01 → 3/A12.01 → 6/A12.01 → 12/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
C1 #38 - Future FCAM, south face of the A1K wall that closes Cash Window 116. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Cash Window 116: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 38 | 3.39 | 9 | 1 | 3-5/8" | 4 | 0 | 36 | 0 | 30.51 | [5 empty] | 3.39 | 3.39 | 6.78 | [15 empty] | none | CLOSED | seal ca69ddeec498e65b | 36 |  |  |  | A02.01 → A04.01 → 2/A12.01 → 3/A12.01 → 6/A12.01 → 12/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
C1 #34 - Steel column enclosure between 24 HR Vestibule 101 and Central Zone 103; the column is drawn inside the box. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Central Zone 103: 1 layer(s) 5/8 GYP @ 11.500 FT (1 instance) | 34 | 3.33 | 11.5 | 1 | 3-5/8" | 4 | 0 | 46 | 0 | 38.295 | [5 empty] | 3.33 | 3.33 | 6.66 | [9 empty] | 46 | [5 empty] | none | CLOSED | seal 8fb0489490dc755f | 46 |  |  |  | A02.01 → A04.01 → 2/A12.01 → 3/A12.01 → 6/A12.01 → 12/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
C1 #35 - Steel column enclosure at the south end of the sloped ATM wall, between ATM Room 102 and Central Zone 103. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Central Zone 103: 1 layer(s) 5/8 GYP @ 11.500 FT (1 instance) | 35 | 2.52 | 11.5 | 1 | 3-5/8" | 4 | 0 | 46 | 0 | 28.98 | [5 empty] | 2.52 | 2.52 | 5.04 | [9 empty] | 46 | [5 empty] | none | CLOSED | seal 3b9e6e7a71481bbb | 46 |  |  |  | A02.01 → A04.01 → 2/A12.01 → 3/A12.01 → 6/A12.01 → 12/A12.01 → 1/S5.20 → 4/S5.20 → 7/S5.20 → A09.01 → A00.30 → A09.27 → A09.33
TYPE CANOPY-COL
CANOPY-COL #66 - CANOPY COLUMN 1 (drive-through island, northmost -- A02.01 y=283.8). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Exterior (4 faces of the wrap): 1 layer(s) 5/8 EXTERIOR GRADE FRT PLYWOOD @ 10.500 FT (1 instance) | 66 | 5.668 | 10.5 | 1.07 | 3-5/8" | 8 | 0 | 84 | 0 | 63.882 | [5 empty] | 5.668 | 5.668 | 11.34 | [12 empty] | 12.17 |  |  | none | CLOSED | seal 159cfafc30d95d57 | 84 |  |  |  | A02.01 → D/A08.01 → 6/A08.11 → S2.10 → A/A09.21 → D/A09.22 → F/A09.22 → H/A09.23 → 2/A09.25 → 5/A09.25 → 9/S3.20 → 6/S5.10 → 10/S5.10 → A09.01 → A12.01 → 5/A09.26 → 9/A09.27 → 6/A09.31 → 7/S5.20 → A00.30 → A09.33
CANOPY-COL #67 - CANOPY COLUMN 2 (drive-through island -- A02.01 y=564.2). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Exterior (4 faces of the wrap): 1 layer(s) 5/8 EXTERIOR GRADE FRT PLYWOOD @ 10.500 FT (1 instance) | 67 | 5.668 | 10.5 | 1.07 | 3-5/8" | 8 | 0 | 84 | 0 | 63.882 | [5 empty] | 5.668 | 5.668 | 11.34 | [12 empty] | 12.17 |  |  | none | CLOSED | seal 83d00f2c2952a67c | 84 |  |  |  | A02.01 → D/A08.01 → 6/A08.11 → S2.10 → A/A09.21 → D/A09.22 → F/A09.22 → H/A09.23 → 2/A09.25 → 5/A09.25 → 9/S3.20 → 6/S5.10 → 10/S5.10 → A09.01 → A12.01 → 5/A09.26 → 9/A09.27 → 6/A09.31 → 7/S5.20 → A00.30 → A09.33
CANOPY-COL #68 - CANOPY COLUMN 3 (drive-through island -- A02.01 y=849.2). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Exterior (4 faces of the wrap): 1 layer(s) 5/8 EXTERIOR GRADE FRT PLYWOOD @ 10.500 FT (1 instance) | 68 | 5.668 | 10.5 | 1.07 | 3-5/8" | 8 | 0 | 84 | 0 | 63.882 | [5 empty] | 5.668 | 5.668 | 11.34 | [12 empty] | 12.17 |  |  | none | CLOSED | seal 871fd9270d16311a | 84 |  |  |  | A02.01 → D/A08.01 → 6/A08.11 → S2.10 → A/A09.21 → D/A09.22 → F/A09.22 → H/A09.23 → 2/A09.25 → 5/A09.25 → 9/S3.20 → 6/S5.10 → 10/S5.10 → A09.01 → A12.01 → 5/A09.26 → 9/A09.27 → 6/A09.31 → 7/S5.20 → A00.30 → A09.33
CANOPY-COL #69 - CANOPY COLUMN 4 (drive-through island, southmost -- A02.01 y=1125.0). Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Exterior (4 faces of the wrap): 1 layer(s) 5/8 EXTERIOR GRADE FRT PLYWOOD @ 10.500 FT (1 instance) | 69 | 5.668 | 10.5 | 1.07 | 3-5/8" | 8 | 0 | 84 | 0 | 63.882 | [5 empty] | 5.668 | 5.668 | 11.34 | [12 empty] | 12.17 |  |  | none | CLOSED | seal a46b2f79804210e6 | 84 |  |  |  | A02.01 → D/A08.01 → 6/A08.11 → S2.10 → A/A09.21 → D/A09.22 → F/A09.22 → H/A09.23 → 2/A09.25 → 5/A09.25 → 9/S3.20 → 6/S5.10 → 10/S5.10 → A09.01 → A12.01 → 5/A09.26 → 9/A09.27 → 6/A09.31 → 7/S5.20 → A00.30 → A09.33
TYPE EXT-6CFMF
EXT-6CFMF #61 - EAST facade (grid 8, x=1851.78) -- the 4 offices 105-108. Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Interior: 1 layer(s) 5/8 GYP @ 14.520 FT (1 instance) | 61 | 76.3 | 14.52 | 1 | 6" | 132 | 1916.64 | 0 | 0 | 1043.876 | [5 empty] | 76.3 | 76.3 | 228.9 |  |  |  |  | 1043.88 |  |  | 40 |  |  |  |  | 305.2 | 37.33 | 37.33 | window window GL-2 #1 (R.O. 8'-0" x 2'-0") 8.00 x 2.00 + window window GL-2 #2 (R.O. 8'-0" x 2'-0") 8.00 x 2.00 + window window GL-2 #3 (R.O. 8'-0" x 2'-0") 8.00 x 2.00 + window window GL-2 #4 (R.O. 8'-0" x 2'-0") 8.00 x 2.00 | CLOSED | seal a3203de09a3a9d2f | 1916.64 |  | 1043.88 | 40 | A02.01 → 5/A08.11 → 6/A08.11 → A08.01 → 2/A09.01 → 1/A09.02 → A/A09.21 → B/A09.21 → C/A09.21 → D/A09.22 → E/A09.22 → F/A09.22 → H/A09.23 → J/A09.23 → 1/A09.25 → 2/A09.25 → 3/A09.25 → 4/A11.01 → 10/A11.03 → 3/A11.04 → 7/A11.04 → 9/A11.04 → 16/A11.04 → 2/S3.20 → 8/S3.20 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A12.01 → 1/A09.26 → 2/A09.26 → 4/A09.26 → 5/A09.26 → 6/A09.26 → 7/A09.26 → 9/A09.27 → 10/A09.27 → 11/A09.27 → 6/A09.31 → 7/S5.20 → A09.33
EXT-6CFMF #62 - SOUTH facade (grid A, y=1702.14) -- service side, egress door 123. Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Interior: 1 layer(s) 5/8 GYP @ 12.531 FT (1 instance) | 62 | 52.7 | 12.531 | 1 | 6" | 46 | 576.43 | 0 | 0 | 637.0737 | [5 empty] | 52.7 | 52.7 | 158.1 |  |  |  |  | 637.07 | [7 empty] | 210.8 | 4.66 |  | door door 123 de egreso 3.33 x 7.00 | CLOSED | seal 3eacd1caf553f123 | 576.43 |  | 637.07 |  | A02.01 → 5/A08.11 → 6/A08.11 → A08.01 → S2.20 → A/A09.21 → B/A09.21 → C/A09.21 → D/A09.22 → E/A09.22 → F/A09.22 → H/A09.23 → J/A09.23 → 4/A11.01 → 10/A11.03 → 3/A11.04 → 7/A11.04 → 9/A11.04 → 16/A11.04 → 2/S3.20 → 8/S3.20 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A09.01 → A09.02 → A12.01 → 2/A09.26 → 4/A09.26 → 5/A09.26 → 7/A09.26 → 9/A09.27 → 11/A09.27 → 6/A09.31 → 7/S5.20 → A00.30 → A09.33
EXT-6CFMF #63 - WEST LOW facade (grid 3, x=903.18) -- offices 109-110 and restrooms. Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Interior: 1 layer(s) 5/8 GYP @ 13.990 FT (1 instance) | 63 | 47.92 | 13.99 | 1 | 6" | 74 | 1035.26 | 0 | 0 | 638.4008 | 59.79 |  | 6.64 |  |  | 47.92 | 47.92 | 143.76 |  | 25.33 |  |  | 638.4 |  |  | 20 |  |  |  |  | 191.68 | 18.67 | 18.67 | window window GL-2 #1 (R.O. 8'-0" x 2'-0") 8.00 x 2.00 + window window GL-2 #2 (R.O. 8'-0" x 2'-0") 8.00 x 2.00 | CLOSED | seal 689bc85d12113496 | 1035.26 |  | 638.4 | 20 | A02.01 → C/A08.01 → D/A08.01 → 5/A08.11 → 6/A08.11 → 2/A09.01 → 1/A09.02 → A/A09.21 → B/A09.21 → C/A09.21 → D/A09.22 → E/A09.22 → F/A09.22 → H/A09.23 → J/A09.23 → 1/A09.25 → 2/A09.25 → 3/A09.25 → 2/S3.20 → 8/S3.20 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A12.01 → 1/A09.26 → 2/A09.26 → 4/A09.26 → 5/A09.26 → 6/A09.26 → 7/A09.26 → 9/A09.27 → 10/A09.27 → 11/A09.27 → 6/A09.31 → 7/S5.20 → A00.21 → A09.33
EXT-6CFMF #65 - WEST HIGH facade (grid 2, x=833.16) -- 24 hr vestibule and drive-up ATM. Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Interior: 1 layer(s) 5/8 GYP @ 15.375 FT (1 instance) | 65 | 21.88 | 15.375 | 1 | 6" | 27 | 415.12 | 0 | 0 | 330.735 | [5 empty] | 21.88 | 21.88 | 65.64 |  |  |  |  | 305.37 |  |  | 37.12 |  |  | 49.87 |  | 87.52 | 20.85 | 3.51 | framed opening R.O. del ATM drive-up NHA 9D 2.18 x 2.60 | CLOSED | seal aded4bb735f151bd | 415.12 |  | 330.74 | 11.75 | A02.01 → D/A08.01 → 2/A08.11 → 3/A08.11 → 4/A08.11 → 5/A08.11 → 6/A08.11 → 7/A08.11 → 8/A08.11 → 9/A08.11 → A/A09.21 → B/A09.21 → C/A09.21 → D/A09.22 → E/A09.22 → F/A09.22 → H/A09.23 → J/A09.23 → 1/A09.25 → 2/A09.25 → 3/A09.25 → 2/S3.20 → 8/S3.20 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A09.01 → A09.02 → A12.01 → 1/A09.26 → 2/A09.26 → 4/A09.26 → 5/A09.26 → 6/A09.26 → 7/A09.26 → 9/A09.27 → 10/A09.27 → 11/A09.27 → 6/A09.31 → 7/S5.20 → A09.33
EXT-6CFMF #60 - NORTH facade (grid F, y=328.74) -- entrance side. Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Interior: 1 layer(s) 5/8 GYP @ 15.375 FT (1 instance) | 60 | 14.95 | 15.375 | 1 | 6" | 14 | 215.25 | 0 | 0 | 229.8562 | [5 empty] | 14.95 | 14.95 | 44.85 |  |  |  |  | 229.86 |  |  | 29.32 |  |  |  |  | 59.8 | 42.97 |  | none | CLOSED | seal 99b40ea2d02d7ef9 | 215.25 |  | 229.86 | 29.32 | A02.01 → 6/A08.11 → A08.01 → S2.20 → A/A09.21 → B/A09.21 → C/A09.21 → D/A09.22 → E/A09.22 → F/A09.22 → H/A09.23 → J/A09.23 → 1/A09.25 → 2/A09.25 → 3/A09.25 → 4/A11.01 → 10/A11.03 → 3/A11.04 → 7/A11.04 → 9/A11.04 → 16/A11.04 → 2/S3.20 → 8/S3.20 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A09.01 → A09.02 → A12.01 → 1/A09.26 → 2/A09.26 → 4/A09.26 → 5/A09.26 → 6/A09.26 → 7/A09.26 → 9/A09.27 → 10/A09.27 → 11/A09.27 → 6/A09.31 → 7/S5.20 → A00.30 → A09.33
EXT-6CFMF #64 - West perimeter jog (y=839.58, grid 2 to grid 3). Stud 6" 600S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. Interior: 1 layer(s) 5/8 GYP @ 15.375 FT (1 instance) | 64 | 3.89 | 15.375 | 1 | 6" | 5 | 76.88 | 0 | 0 | 59.8088 | [5 empty] | 3.89 | 3.89 | 11.67 |  |  |  |  | 59.81 | [7 empty] | 15.56 |  |  | none | CLOSED | seal 1a04cf242764cf6c | 76.88 |  | 59.81 |  | A02.01 → 6/A08.11 → A08.01 → A/A09.21 → B/A09.21 → C/A09.21 → D/A09.22 → E/A09.22 → F/A09.22 → H/A09.23 → J/A09.23 → 4/A11.01 → 10/A11.03 → 3/A11.04 → 7/A11.04 → 9/A11.04 → 16/A11.04 → 2/S3.20 → 8/S3.20 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A09.01 → A09.02 → A12.01 → 2/A09.26 → 4/A09.26 → 5/A09.26 → 7/A09.26 → 9/A09.27 → 11/A09.27 → 6/A09.31 → 7/S5.20 → A00.30 → A09.33
TYPE EXT-PARAPET
EXT-PARAPET #161 - EAST facade (grid 8, x=1851.78) -- the 4 offices 105-108 -- PARAPET INFILL, from B.O.D. up to T/ STUD. Stud 6" 54mil 600S162-54 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. (1 instance) | 161 | 76.3 | 2.897 | 0 | 6" 54mil | 92 | 0 | 0 | 0 | 0 | [5 empty] | 76.3 | 76.3 | 0 |  | 76.3 |  | 221.04 | 221.04 | [6 empty] | 77 | 152.6 |  |  | none | CLOSED | seal ef38ead4712e6278 | 266.52 |  |  |  | A02.01 → A/A09.21 → C/A09.21 → D/A09.22 → H/A09.23 → J/A09.23 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A09.01 → A09.02 → A12.01 → 4/A09.26 → 7/S5.20 → A00.30 → A09.27 → A09.33
EXT-PARAPET #162 - SOUTH facade (grid A, y=1702.14) -- service side, egress door 123 -- PARAPET INFILL, from B.O.D. up to T/ STUD. Stud 6" 54mil 600S162-54 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. (1 instance) | 162 | 52.7 | 4.886 | 0 | 6" 54mil | 64 | 0 | 0 | 0 | 0 | [5 empty] | 52.7 | 52.7 | 52.7 |  | 52.7 |  | 257.49 | 257.49 | [6 empty] | 53 | 105.4 |  |  | none | CLOSED | seal 13d7c711fa03fb8f | 312.7 |  |  |  | A02.01 → S2.20 → A/A09.21 → C/A09.21 → D/A09.22 → H/A09.23 → J/A09.23 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A09.01 → A09.02 → A12.01 → 4/A09.26 → 7/S5.20 → A00.30 → A09.27 → A09.33
EXT-PARAPET #163 - WEST LOW facade (grid 3, x=903.18) -- offices 109-110 and restrooms -- PARAPET INFILL, from B.O.D. up to T/ STUD. Stud 6" 54mil 600S162-54 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. (1 instance) | 163 | 47.92 | 3.427 | 0 | 6" 54mil | 58 | 0 | 0 | 0 | 0 | [5 empty] | 47.92 | 47.92 | 0 |  | 47.92 |  | 164.22 | 164.22 | [6 empty] | 48 | 95.84 |  |  | none | CLOSED | seal d0130a7cdbf4c776 | 198.77 |  |  |  | A02.01 → A/A09.21 → C/A09.21 → D/A09.22 → H/A09.23 → J/A09.23 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A09.01 → A09.02 → A12.01 → 4/A09.26 → 7/S5.20 → A00.30 → A09.27 → A09.33
EXT-PARAPET #165 - WEST HIGH facade (grid 2, x=833.16) -- 24 hr vestibule and drive-up ATM -- PARAPET INFILL, from B.O.D. up to T/ STUD. Stud 6" 54mil 600S162-54 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. (1 instance) | 165 | 21.88 | 4.292 | 0 | 6" 54mil | 29 | 0 | 0 | 0 | 0 | [5 empty] | 21.88 | 21.88 | 21.88 |  | 21.88 |  | 93.91 | 93.91 | [6 empty] | 22 | 43.76 |  |  | none | CLOSED | seal bb5588df624beb73 | 124.47 |  |  |  | A02.01 → A/A09.21 → C/A09.21 → D/A09.22 → H/A09.23 → J/A09.23 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A09.01 → A09.02 → A12.01 → 4/A09.26 → 7/S5.20 → A00.30 → A09.27 → A09.33
EXT-PARAPET #160 - NORTH facade (grid F, y=328.74) -- entrance side -- PARAPET INFILL, from B.O.D. up to T/ STUD. Stud 6" 54mil 600S162-54 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. (1 instance) | 160 | 14.95 | 2.042 | 0 | 6" 54mil | 20 | 0 | 0 | 0 | 0 | [5 empty] | 14.95 | 14.95 | 0 |  | 14.95 |  | 30.53 | 30.53 | [6 empty] | 15 | 29.9 |  |  | none | CLOSED | seal a01717e19c2cd100 | 40.84 |  |  |  | A02.01 → S2.20 → A/A09.21 → C/A09.21 → D/A09.22 → H/A09.23 → J/A09.23 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A09.01 → A09.02 → A12.01 → 4/A09.26 → 7/S5.20 → A00.30 → A09.27 → A09.33
EXT-PARAPET #164 - West perimeter jog (y=839.58, grid 2 to grid 3) -- PARAPET INFILL, from B.O.D. up to T/ STUD. Stud 6" 54mil 600S162-54 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. (1 instance) | 164 | 3.89 | 4.292 | 0 | 6" 54mil | 7 | 0 | 0 | 0 | 0 | [5 empty] | 3.89 | 3.89 | 3.89 |  | 3.89 |  | 16.7 | 16.7 | [6 empty] | 4 | 7.78 |  |  | none | CLOSED | seal 9c62204d0618ecf0 | 30.04 |  |  |  | A02.01 → A/A09.21 → C/A09.21 → D/A09.22 → H/A09.23 → J/A09.23 → 6/S5.10 → 10/S5.10 → 11/S5.10 → 7/S5.11 → A09.01 → A09.02 → A12.01 → 4/A09.26 → 7/S5.20 → A00.30 → A09.27 → A09.33
TYPE F
F #40 - Wall inclinado 60 grados entre 24 HR VESTIBULE 101 (ATM LOBBY) y ATM ROOM 102. Stud 3-5/8" 362S137-33 MST @ 16" O.C.; bracing 1-1/2" C.R. channel @ 48" O.C. 24 HR VESTIBULE 101 (ATM LOBBY, lado publico): 1 layer(s) 5/8 GYP + 3/4 FRT PLYWOOD @ 15.375 FT ¦ ATM ROOM 102: 1 layer(s) 5/8 GYP @ 9.000 FT (1 instance) | 40 | 17.762 | 15.375 | 2 | 3-5/8" | 24 | 0 | 369 | 0 | 418.9198 | [5 empty] | 17.76 | 17.76 | 53.29 |  | 21.41 | [5 empty] | 262.37 |  |  |  |  | 71.05 | 3.58 | 3.58 | framed opening R.O. del ATM NHA 7800TC TTW WU (walk-up) 2.25 x 2.69 | CLOSED | seal c822135c48c91fbe | 369 |  |  |  | A02.01 → 1/A08.11 → 5/A08.11 → 9/A08.11 → A04.01 → S2.20 → 12/A12.01 → A09.01 → 8/A12.06 → 9/A12.06 → 1/S5.20 → 4/S5.20 → 7/S5.20 → 9/S5.20 → A00.01 → A09.27 → A09.33
TYPE G
G #45 - Office 2 CL 106 / Office 3 SB 107. Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Office 2 CL 106: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Office 3 SB 107: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 45 | 11.77 | 15.375 | 4 | 1-5/8" | 22 | 0 | 0 | 338.25 | 723.855 | [5 empty] | 23.54 | 23.54 | 70.62 |  | 4 | [6 empty] | 101.52 |  |  |  | 47.08 |  |  | none | CLOSED | seal c6e057cc76414ea0 | 338.25 |  |  |  | A02.01 → A04.01 → S2.20 → 6/A11.01 → 7/A11.04 → 5/A12.01 → 1/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
G #46 - Office 3 SB 107 / Office 4 CB 108. Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Office 3 SB 107: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Office 4 CB 108: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 46 | 11.77 | 15.375 | 4 | 1-5/8" | 30 | 0 | 0 | 461.25 | 723.855 | [5 empty] | 23.54 | 23.54 | 70.62 |  | 4 | [6 empty] | 101.52 |  | 12 |  | 47.08 |  |  | none | CLOSED | seal a9d240d10ad50f93 | 461.25 |  |  |  | A02.01 → A04.01 → S2.20 → 5/A11.04 → 9/A11.04 → 5/A12.01 → 1/S5.20 → 6/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33 → M01.01
G #48 - ATM Room 102 / Office 5 CB 109. Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. ATM Room 102: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Office 5 CB 109: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 48 | 11.625 | 15.375 | 4 | 1-5/8" | 26 | 0 | 0 | 399.75 | 714.9375 | [5 empty] | 23.25 | 23.25 | 69.75 |  | 4 | [8 empty] | 6 |  | 46.5 |  |  | none | CLOSED | seal a11bf7bf2f4fd70a | 399.75 |  |  |  | A02.01 → S2.20 → 16/A11.04 → 5/A12.01 → 1/S5.20 → 6/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33 → M01.01
G #49 - Office 5 CB 109 / Office 6 CB 110. Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Office 5 CB 109: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Office 6 CB 110: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 49 | 11.625 | 15.375 | 4 | 1-5/8" | 26 | 0 | 0 | 399.75 | 714.9375 | [5 empty] | 23.25 | 23.25 | 69.75 | [8 empty] | 200.54 |  | 6 |  | 46.5 |  |  | none | CLOSED | seal f0693cf5177c3cea | 399.75 |  |  |  | A02.01 → A04.01 → S2.20 → 10/A11.03 → 14/A11.04 → 5/A12.01 → 1/S5.20 → 6/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33 → M01.01
G #52 - Office 6 CB 110 / Women's Restroom 114 (SIN TAG, numero nuevo). Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Office 6 CB 110: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Womens Restroom 114: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 52 | 11.625 | 15.375 | 4 | 1-5/8" | 30 | 0 | 0 | 461.25 | 714.9375 | 52.31 |  | 5.81 |  |  | 23.25 | 23.25 | 69.75 |  | 9.67 | [8 empty] | 12 |  | 46.5 |  |  | none | CLOSED | seal 43721dd850e9c63f | 461.25 |  |  |  | A02.01 → 1/A08.01 → 8/A08.01 → C/A08.01 → A04.01 → S2.20 → 8/A11.03 → 5/A12.01 → 1/S5.20 → 6/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33 → M01.01
G #47 - Office 4 CB 108 / teller line. Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Office 4 CB 108: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Linea de teller: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 47 | 10.07 | 15.375 | 4 | 1-5/8" | 24 | 0 | 0 | 369 | 619.305 | [5 empty] | 20.14 | 20.14 | 60.42 | [8 empty] | 86.85 |  | 6 |  | 40.28 |  |  | none | CLOSED | seal ae0af120fa3e5465 | 369 |  |  |  | A02.01 → A04.01 → S2.20 → 11/A11.04 → 5/A12.01 → 1/S5.20 → 6/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33 → M01.01
G #42 - Return between the office fronts at 105 y 106. Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Central Zone 103: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Offices 105-106: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 42 | 3.47 | 15.375 | 4 | 1-5/8" | 10 | 0 | 0 | 153.75 | 213.405 | [5 empty] | 6.94 | 6.94 | 20.82 | [12 empty] | 13.88 |  |  | none | CLOSED | seal 64b6347a21c26f79 | 153.75 |  |  |  | A02.01 → S2.20 → 5/A12.01 → 1/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
G #43 - Return between the office fronts at 106 y 107. Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Central Zone 103: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Offices 106-107: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 43 | 3.25 | 15.375 | 4 | 1-5/8" | 14 | 0 | 0 | 215.25 | 199.875 | [5 empty] | 6.5 | 6.5 | 19.5 | [10 empty] | 6 |  | 13 |  |  | none | CLOSED | seal 2ff2b63919825b92 | 215.25 |  |  |  | A02.01 → S2.20 → 5/A12.01 → 1/S5.20 → 6/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33 → M01.01
G #44 - Return between the office fronts at 107 y 108. Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Central Zone 103: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Offices 107-108: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 44 | 3.25 | 15.375 | 4 | 1-5/8" | 10 | 0 | 0 | 153.75 | 199.875 | [5 empty] | 6.5 | 6.5 | 19.5 | [12 empty] | 13 |  |  | none | CLOSED | seal 2a5975f6c813bee9 | 153.75 |  |  |  | A02.01 → S2.20 → 5/A12.01 → 1/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
G #41 - North return at the Office 1 ME 105 office front (UNTAGGED). Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Central Zone 103: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Office 1 ME 105: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 41 | 2.42 | 15.375 | 4 | 1-5/8" | 8 | 0 | 0 | 123 | 148.83 | [5 empty] | 4.84 | 4.84 | 14.52 | [12 empty] | 9.68 |  |  | none | CLOSED | seal 240a328ab2dda3de | 123 |  |  |  | A02.01 → S2.20 → 5/A12.01 → 1/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
TYPE G1
G1 #50 - Office 1 ME 105 / Office 2 CL 106 (right block). Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Office 1 ME 105: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Office 2 CL 106: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 50 | 11.77 | 15.375 | 4 | 1-5/8" | 30 | 0 | 0 | 461.25 | 723.855 | [5 empty] | 23.54 | 23.54 | 70.62 |  | 4 | [8 empty] | 12 |  | 47.08 |  |  | none | CLOSED | seal bc794c614f269517 | 461.25 |  |  |  | A02.01 → S2.20 → 4/A11.01 → 6/A11.03 → 15/A11.04 → 5/A12.01 → 6/S5.20 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33 → M01.01 → P01.01
G1 #51 - South return at the Office 5 CB 109 office front (left block). Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Office 5 CB 109: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Area abierta al este del office front (Waiting 104): 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 51 | 2.67 | 15.375 | 4 | 1-5/8" | 10 | 0 | 0 | 153.75 | 164.205 | [5 empty] | 5.34 | 5.34 | 16.02 | [12 empty] | 10.68 |  |  | none | CLOSED | seal 5f1c942218aa57cf | 153.75 |  |  |  | A02.01 → S2.20 → 6/A11.03 → 15/A11.04 → 5/A12.01 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
G1 #53 - South return at the Office 6 CB 110 office front, UNTAGGED (left block). Stud 1-5/8" 162S-family MST @ 16" O.C. DOUBLE ROW (2 rows of stud); bracing 1-1/2" C.R. channel @ 48" O.C. Office 6 CB 110: 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT ¦ Area abierta al este del office front (Waiting 104): 2 layer(s) 5/8 GYP x2 layers @ 15.375 FT (1 instance) | 53 | 2.67 | 15.375 | 4 | 1-5/8" | 10 | 0 | 0 | 153.75 | 164.205 | [5 empty] | 5.34 | 5.34 | 16.02 | [12 empty] | 10.68 |  |  | none | CLOSED | seal 4fd0e58727f7b139 | 153.75 |  |  |  | A02.01 → S2.20 → 6/A11.03 → 15/A11.04 → 5/A12.01 → 7/S5.20 → 9/S5.20 → A09.01 → A00.01 → A09.27 → A09.33
TOTAL - PARTITIONS |  | 881.143 | 832.821 | 134.2 |  | 1287 | 5486.56 | 3588.2 | 4547.72 | 15809.0998 | 132.1 | 0 | 14.45 | 0 | 0 | 1024.132 | 1024.132 | 2255.37 | 0 | 708.27 | 0 | 783.89 | 3698.28 | 74 | 57.04 | 647.95 | 490.43 | 349.24 | 109.87 | 239 | 2652.66 | 221.86 | 65.09 |  |  |  | 14595.82 | 0 | 2939.76 | 101.07

## Ceilings & Soffits
GYPSUM CEILINGS, SOFFITS AND DRIVE-UP CANOPY - separate tables, never mixed with partitions
A soffit is BUILT: its labor and its material do not look like a flat ceiling's. ACT and open-to-deck areas are excluded and named on Clarifications.
Group | ID | Element | Height A.F.F. (FT) | Area (SF) | Board (SF) | Furring Channel (LF) | Carrying Channel (LF) | Hanger Wire (LF) | 3-5/8" Stud (LF) | 3-5/8" Stud (pcs) | Track (LF) | Bracing (LF) | Sheathing FRT Ply (SF) | Corner Bead / Ceiling Trim (LF) | Blocking (LF) | Access Panel (pcs) | Status | Seal | Detail sequence (RCP → section → detail → schedule)
CEILING GWB | CIELO-70 | VESTIBULE 100 |  | 131.3 | 131.3 | 98.48 | 32.83 | 48.38 | [7 empty] | 1 | CLOSED | 5bd1ec5d0fcc167b | A04.01 → A02.01 → S2.20 → A12.01 → 3/A09.33 → 7/A09.33 → 10/A09.33
CEILING GWB | CIELO-71 | 24 HR VESTIBULE 101 |  | 163.92 | 163.92 | 122.94 | 40.98 | 59.12 | [8 empty] | CLOSED | 0d32abc5f7c5bddf | A04.01 → S2.20 → A12.01 → 3/A09.33 → 7/A09.33 → 10/A09.33
CEILING GWB | CIELO-72 | WAITING 104 |  | 510.8 | 510.8 | 383.1 | 127.7 | 140 | [8 empty] | CLOSED | 11d7860858a6b528 | A04.01 → S2.20 → A12.01 → 3/A09.33 → 7/A09.33 → 10/A09.33
CEILING GWB | CIELO-73 | WOMEN'S RESTROOM 114 |  | 76.75 | 76.75 | 57.56 | 19.19 | 34.38 | [8 empty] | CLOSED | ef1501f9315bda5a | A04.01 → A02.01 → S2.20 → A12.01 → 3/A09.33 → 7/A09.33 → 10/A09.33
CEILING GWB | CIELO-74 | MEN'S RESTROOM 113 |  | 76.17 | 76.17 | 57.13 | 19.04 | 34.38 | [8 empty] | CLOSED | c795cff7ebb6a001 | A04.01 → S2.20 → A12.01 → 3/A09.33 → 7/A09.33 → 10/A09.33
SOFFIT | SOFFIT-80 | SOFFIT-80 |  | 41 | 41 |  |  |  |  | 26 | 61.7 |  |  | 42.86 | 12.01 |  | CLOSED | 190433897dc8f674 | A04.01 → 9/A12.01 → 10/A09.33
CANOPY | CANOPY-81 | CANOPY-81 |  | 561.75 |  |  |  |  | 427.25 |  | 99.92 | 131.48 | 561.75 |  |  |  | CLOSED | fef35eab36b7ebbd | A04.01 → A02.01 → D/A09.22 → F/A09.22 → A09.01 → A09.02 → A09.21 → 3/A09.26 → 7/A09.26 → 15/A09.27 → 16/A09.27 → 10/A09.33 → 7/S5.20
CANOPY | CANOPY-82 | CANOPY-82 |  | 474.22 |  |  |  |  | 356.66 |  | 87.17 | 113.02 | 474.22 |  |  |  | CLOSED | 37191aedb28a90bb | A04.01 → A02.01 → D/A09.22 → F/A09.22 → A09.01 → A09.02 → A09.21 → 3/A09.26 → 7/A09.26 → 15/A09.27 → 16/A09.27 → 10/A09.33 → 7/S5.20
CANOPY | CANOPY-83 | CANOPY-83 |  | 230.61 |  |  |  |  | 176.29 |  | 123.12 | 57.56 | 230.61 |  |  |  | CLOSED | ecd9ed69f3bcb5e6 | A04.01 → A02.01 → D/A09.22 → F/A09.22 → A09.01 → A09.02 → A09.21 → 3/A09.26 → 7/A09.26 → 15/A09.27 → 16/A09.27 → 10/A09.33 → 7/S5.20
CANOPY | CANOPY-84 | CANOPY-84 |  | 118.52 |  |  |  |  | 91.27 |  | 101.02 |  | 118.52 |  |  |  | CLOSED | 82e1ba339408e9f8 | A04.01 → A02.01 → D/A09.22 → F/A09.22 → A09.01 → A09.02 → A09.21 → 3/A09.26 → 7/A09.26 → 15/A09.27 → 16/A09.27 → 10/A09.33 → 7/S5.20
CANOPY | CANOPY-85 | CANOPY-85 |  | 383.28 |  |  |  |  | 288.92 |  | 411.24 |  | 383.28 |  |  |  | CLOSED | 6337f0fad40bbc4c | A04.01 → A02.01 → 1/A09.01 → 2/A09.02 → D/A09.22 → F/A09.22 → A09.21 → 3/A09.26 → 7/A09.26 → 15/A09.27 → 16/A09.27 → 7/S5.20
|  | TOTAL | 0 | 2768.32 | 999.94 | 719.21 | 239.74 | 316.26 | 1340.39 | 26 | 884.17 | 302.06 | 1768.38 | 42.86 | 12.01 | 1

## Other Scope
SCOPE THAT IS NOT A PARTITION - MEP penetrations, recessed fixture openings, misc
Ground-up job: there is no Demolition Plan, so an MEP penetration is a FRAMED OPENING, not a patch. Every penetration was measured on its own - the 1/4-sheet threshold is never cumulative.
Group | ID | Description | Line item | Qty | Unit | Seal
MEP PENETRATIONS | MEP | MEP | DEDUCCION_BOARD_MEP | 38.36 | SF | 2ee850c5da7659b2
MEP PENETRATIONS | MEP | MEP | FRAMED_OPENING_MEP | 43 | LF | 2ee850c5da7659b2
MEP PENETRATIONS | MEP | MEP | REFUERZO_STUD_MEP | 18 | pcs | 2ee850c5da7659b2
RECESSED FIXTURE OPENINGS | HUECOS | HUECOS | FRAMED_OPENING_DIFUSOR | 10.67 | LF | 7d8caa7409375969
RECESSED FIXTURE OPENINGS | HUECOS | HUECOS | FRAMED_OPENING_RANURA | 112 | LF | 7d8caa7409375969
RECESSED FIXTURE OPENINGS | HUECOS | HUECOS | GYPSUM_EDGE_TRIM | 122.67 | LF | 7d8caa7409375969
RECESSED FIXTURE OPENINGS | HUECOS | HUECOS | RETORNO_BOARD_RANURA | PENDING | LF | no cuantificado - ver Pending Items
MISC SCOPE | LADDER-90 | JANITOR CLOSET 112 (el marcador del key note 9 de A04.01 cae dentro del cuarto, en pt 960, 1541) | BLOCKING_2X_FRT | 6 | LF | 288a5526f7319968
MISC SCOPE | WR-92 | WR-92 | BOARD_REGULAR_A_RESTAR | 100.8 | SF | 289e8bf1446af7d4
MISC SCOPE | WR-92 | WR-92 | BOARD_WR | 100.8 | SF | 289e8bf1446af7d4
MISC SCOPE | PURLIN-97 | Every wall running EAST-WEST that goes up to the deck: 21 walls, 189.08 LF de top track. | PURLIN_1X1X1_16GA | 141.81 | LF | 3c1e4b6e392a0e8b
WET AREAS | HUMEDA-93 | JANITOR CLOSET 112, corner. El marcador del key note 6 del FINISH PLAN cae dentro del cuarto (pt 965.4, 1534.0) y su linea guia apunta al oeste, a pt x=913.7, que es la face interior del wall exterior oeste (x=911.88): el mop sink va en la esquina contra esa face. | PVC INSIDE CORNER TRIM MOLDING | 4 | LF | dbf3f948b58f6fc7
WET AREAS | HUMEDA-93 | JANITOR CLOSET 112, corner. El marcador del key note 6 del FINISH PLAN cae dentro del cuarto (pt 965.4, 1534.0) y su linea guia apunta al oeste, a pt x=913.7, que es la face interior del wall exterior oeste (x=911.88): el mop sink va en la esquina contra esa face. | CLEAR SEALANT | PENDING | LF | no cuantificado - ver Pending Items
WET AREAS | HUMEDA-93 | JANITOR CLOSET 112, corner. El marcador del key note 6 del FINISH PLAN cae dentro del cuarto (pt 965.4, 1534.0) y su linea guia apunta al oeste, a pt x=913.7, que es la face interior del wall exterior oeste (x=911.88): el mop sink va en la esquina contra esa face. | FRP WC-3 | PENDING | SF | no cuantificado - ver Pending Items
WET AREAS | HUMEDA-93 | JANITOR CLOSET 112, corner. El marcador del key note 6 del FINISH PLAN cae dentro del cuarto (pt 965.4, 1534.0) y su linea guia apunta al oeste, a pt x=913.7, que es la face interior del wall exterior oeste (x=911.88): el mop sink va en la esquina contra esa face. | PVC EDGE TRIM MOLDING | PENDING | LF | no cuantificado - ver Pending Items
WET AREAS | HUMEDA-94 | INSIDE face of the west exterior wall (#63) at the restroom runs 113 y 114 -- la wall de los inodoros | BOARD_REGULAR_A_RESTAR | 112.94 | SF | f075a0d59055f329
WET AREAS | HUMEDA-94 | INSIDE face of the west exterior wall (#63) at the restroom runs 113 y 114 -- la wall de los inodoros | BOARD_WR | 112.94 | SF | f075a0d59055f329
MILLWORK BLOCKING | MWBLK-MW11 | CASH WINDOW 116 | BLOCKING | 13.5 | LF | c919275b7d9ef7ac
MILLWORK BLOCKING | MWBLK-MW06A-2 | JANITOR CLOSET 112 (east side) | BLOCKING | 8.22 | LF | 7558a389c353d1a6

## Material Summary
MATERIAL SUMMARY - NET / WASTE / PURCHASE, and purchase converted to real selling units
Waste lives HERE, in its own column, never inside a takeoff quantity. Percentages and sheet/stick sizes come from Inputs - change them there.
Material | Unit | Net | Waste % | Waste | Purchase | Selling unit | Pieces to buy | Where it comes from
METAL FRAMING
6" metal stud 600S137-33 / -68 (LF of material) | LF | 5486.56 | 15% | 822.984 | 6309.544 | stick 20 ft | 316 | Partition Takeoff "6" Metal Stud (LF)". A12.01 PARTITION SCHEDULE gives A5 and B2 a 6" stud with 7-1/4" wall thickness; the exterior walls and B2K are 6" too
6" parapet infill stud 600S162-54 @ 16" O.C. (LF of material) | LF | 973.34 | 15% | 146.001 | 1119.341 | stick 20 ft | 56 | Separate line from the 33 mil stud: 11/S5.10 PARAPET INFILL FRAMING calls the parapet "600S162-54 @ 16" W/ 600T125-54 TOP & BOT." - 54 mil and a 1-5/8" flange, a different product and a different price from the 600S137-33 of the wall below. The wall below stops at the deflection track on the perimeter beam (6/S5.10 and 10/S5.10)
3-5/8" metal stud 362S137-33 / -68 (LF of material) | LF | 4928.59 | 15% | 739.2885 | 5667.8785 | stick 20 ft | 284 | Partition Takeoff 3-5/8" column + Ceilings & Soffits 3-5/8" column (drive-up canopy)
1-5/8" metal stud (LF of material) | LF | 4547.72 | 15% | 682.158 | 5229.878 | stick 20 ft | 262 | Partition Takeoff "1-5/8" Metal Stud (LF)" - types G, G1 and the office-front bulkhead, double row
Bottom track 6" | LF | 293.04 | 15% | 43.956 | 336.996 | run 10 ft | 34 | Track follows the stud of its wall. SUMIFS over the Stud Size column of Partition Takeoff
Bottom track 3-5/8" | LF | 227.482 | 15% | 34.1223 | 261.6043 | run 10 ft | 27 | Partition Takeoff
Parapet bottom track 600T125-54 (PAF to steel beam) | LF | 263.84 | 15% | 39.576 | 303.416 | run 10 ft | 26 | 11/S5.10: "600T125-54 TOP & BOT." with "PAFs SPACED AT 12" O.C. MAX." into the steel beam - not the Hilti anchor into concrete that the wall below uses
Parapet top track 600T125-54 | LF | 263.84 | 15% | 39.576 | 303.416 | run 10 ft | 26 | 11/S5.10: "600T125-54 TOP & BOT.". No deflection track here - the deflection track is the one below, against the beam that moves
Bottom track 1-5/8" | LF | 285.97 | 15% | 42.8955 | 328.8655 | run 10 ft | 33 | Partition Takeoff
Top / deflection track 6" | LF | 293.04 | 15% | 43.956 | 336.996 | run 10 ft | 34 | Separate row from bottom track - never combined. Control: bottom + top = 2 runs per row of stud
Top / deflection track 3-5/8" | LF | 227.482 | 15% | 34.1223 | 261.6043 | run 10 ft | 27 | Partition Takeoff
Top / deflection track 1-5/8" | LF | 285.97 | 15% | 42.8955 | 328.8655 | run 10 ft | 33 | Partition Takeoff
Track, ceilings / soffits / canopy | LF | 1154 | 15% | 132.6255 | 1016.7955 | run 10 ft | 102 | Ceilings & Soffits. On a soffit the track sits at the two ENDS of each stud and on the two side edges
Bracing 1-1/2" C.R. channel @ 48" O.C. | LF | 2557.43 | 15% | 383.6145 | 2941.0445 | C.R. channel 16 ft | 184 | 7/S5.20 note F: "BRIDGING AND BRACING: 1 1/2" C.R. CHANNEL @ 48" O.C." with CONTINUOUS BRIDGING
Additional head track at openings over 4'-0" wide | LF | 0 | 15% | 0 | 0 | run 10 ft | 0 | 2/S5.20 HEAD TRACK @ NON LOAD BRG: "ADD FULL LENGTH ADDL HEAD TRACK @ OPNG >4'-0"". A SECOND head track on every opening wider than 4 ft - the six 8'-0" GL-2 windows on walls 61 and 63. No door reaches 4 ft, so none of them carries it
Header / metal stud box beam | LF | 221.86 | 15% | 33.279 | 255.139 | stick 20 ft | 13 | Each opening with ITS OWN R.O. width + 1.333 ft bearing (8" each side). Includes the ATM metal stud box beam
Sill track | LF | 65.09 | 15% | 9.7635 | 74.8535 | run 10 ft | 8 | Only openings WITH a sill: windows (B/GLAZING 6'-6"), the drive-up ATM, and the framed duct opening on wall 9. Doors carry header only
Framed openings - MEP, light slots and diffusers | LF | 859.67 | 15% | 128.9505 | 988.6205 | stick 20 ft | 10 | Other Scope. Ground-up job, so an MEP penetration is a framed opening, not a patch. Excludes the penetrations already inside walls 43, 46, 47, 48, 49, 50 and 52
Stud reinforcement at MEP penetrations | pcs | 18 |  |  | 18 | each | 18 | Other Scope. One per stud the duct crosses. 6/S5.20 WEB PENETRATION limits the web hole and forbids cutting the flanges
3-5/8" stud, CSR soffit (pieces - length pending) | pcs | 26 |  |  | 26 | each | 26 | 10/A09.33 CSR soffit: 26 pieces at 16" O.C. BOTH ways. A09.33 labels the soffit framing "3 5/8" METAL STUD FRAMING AND TRACK @ 16" O.C." - size CONFIRMED, individual length PENDING. See Pending Items
Purlin 1x1x1 16 ga, top track to deck | LF | 141.81 | 15% | 21.2715 | 163.0815 | run 10 ft | 17 | A09.33, top-track-to-deck detail: "1X1X1 16GA PURLIN, ACROSS MIN. (2) FLUTES" - needed wherever the deck flute runs PARALLEL to the track, because there is no valley to fasten into. 185.61 LF of top track on walls that run east-west and go to deck, at 0.75 LF of purlin per LF of track. The detail itself says VIF FLUTE DIRECTION, so the flute direction is DERIVED from the joist direction on S2.20 and declared on Clarifications. Exterior walls and the inclined wall 40 are not included - see Pending
Furring channel (ceilings) | LF | 719.21 | 15% | 107.8815 | 827.0915 | hat channel 12 ft | 69 | Ceilings & Soffits
Carrying channel (ceilings) | LF | 239.74 | 15% | 35.961 | 275.701 | C.R. channel 16 ft | 18 | Ceilings & Soffits
Hanger wire | LF | 293 | 15% | 47.439 | 363.699 | continuous coil | 364 | Length = B.O. Deck minus that zone's ceiling height. Bought as a continuous coil by gauge, never pre-cut
Extra framing - sistered stud and furring at the ATM recess | LF | 109.87 | 15% | 16.4805 | 126.3505 | stick 20 ft | 7 | 6/A08.11: 2-1/2" stud sistered to the 6" stud, and the furring under the fiber cement panel
BOARD AND SUBSTRATE
5/8" gypsum board, regular | SF | 16339.7998 | 6% | 995.718 | 17591.0178 | 4x12 ft sheet | 367 | Partition Takeoff (fed face by face from Board by Face) + gypsum ceilings and the CSR soffit, MINUS the area that A08.01 sheet note F turns moisture-resistant
5/8" gypsum board, MOISTURE RESISTANT | SF | 261.8 | 6% | 12.8244 | 226.5644 | 4x12 ft sheet | 5 | A08.01 sheet note F: "USE MOISTURE RESISTANT GYPSUM BOARD BEHIND TOILET AND LAVATORY". TWO fixtures on TWO different walls: the LAVATORY side is the chase (walls 37 and 39, 100.80 SF) and the TOILET side is the inside face of the west exterior wall in both restrooms (112.94 SF). Reclassification, not new board - the same area comes out of the regular gypsum line
5/8" EXTERIOR gypsum sheathing (deck to top of parapet) | SF | 783.89 | 6% | 47.0334 | 830.9234 | 4x12 ft sheet | 18 | H/A09.23, textual: "5/8" EXTERIOR GYPSUM SHEATHING". It is the INSIDE face of the parapet and it does not exist below the deck - a different material from the interior board, priced on its own line
FRP WC-3 | SF | 338 | 6% | 7.926 | 140.026 | 4x12 ft sheet | 3 | Restrooms 113 / 114 up to 4'-6" (5'-0" to top of FRP minus the 6" cove base), plus the mop sink FRP of Janitor Closet 112 - that one is PENDING on width
Cement board (substrate under the FRP cove base band) | SF | 14.45 | 6% | 0.867 | 15.317 | 4x12 ft sheet | 1 | Carried under the 6" cove base band only - see Clarifications for exactly where
Exterior sheathing 5/8" FRT plywood bonded to 2-1/2" polyiso | SF | 4224.28 | 6% | 221.8968 | 3920.1768 | 4x12 ft sheet | 82 | H/A09.23, textual: "SHEATHING/INSULATION SYSTEM: 5/8" FRT PLYWOOD BONDED TO 2 1/2" POLYISO INSULATION"
5/8" glass mat sheathing (exterior face of the stud) | SF | 2939.76 | 6% | 176.3856 | 3116.1456 | 4x12 ft sheet | 65 | Found 3-Oct-2026 by following the detail chain. The 1"=1'-0" wall sections do not label this layer, but every detail they point to does: 5/A09.26 SECTION DETAIL @ ACM BASE and 9/A09.27 SECTION DETAIL @ METAL PANEL BASE label "5/8" GLASS MAT SHEATHING" with the arrow on the OUTSIDE face of the 6" metal stud, and 7/A09.26 repeats it at mid height ("SPRAY FOAM INSULATION ON 5/8" GLASS-MAT SHEATHING"). All 95 sheets were swept for "GLASS MAT" / "GLASS-MAT": it appears only on A09.26 and A09.27 and never above the deck, so it is carried slab to B.O.D. and does not continue up the parapet
Gypsum board jamb return at openings | SF | 101.07 | 6% | 6.0642 | 107.1342 | 4x12 ft sheet | 3 | 11/A09.27 and 2/A09.26 SECTION DETAIL @ STOREFRONT HEAD, textual: "GYPSUM BOARD JAMB RETURN BEYOND"; 1/A09.25 and 2/A09.25 close it in plan with "5/8" GYPSUM BOARD" turning into the aluminum frame. The return WIDTH is not dimensioned on any of the four details - the 6" stud depth is used. See Clarifications
Ballistic panel 3/8" UL752 | SF | 74 | 6% | 4.44 | 78.44 | 4x12 ft sheet | 2 | Types A1K and B2K - 4/A12.01, bullet-resistant assembly
3/8" gypsum board | SF | 57.04 | 6% | 3.4224 | 60.4624 | 4x12 ft sheet | 2 | A1K / B2K: 3/8" gyp above the ballistic panel, 4/A12.01
FRT plywood substrate | SF | 647.95 | 6% | 38.877 | 686.827 | 4x12 ft sheet | 15 | Type F 3/4" FRT plywood (12/A12.01), backboards, and the 5/8" FRT plywood in the ATM recess
Level 5 finish | SF | 490.43 | 6% | 29.4258 | 519.8558 | 4x12 ft sheet | 11 | Where the Finish Schedule calls for it. Board only - the coating is Div 09 90 00
5/8" FRT plywood sheathing (canopy and soffits) | SF | 1768.38 | 6% | 106.1028 | 1874.4828 | 4x12 ft sheet | 40 | 15 and 16/A09.27: "5/8" EXT. GRADE FRT PLYWOOD SHEATHING ON 3 5/8" METAL STUD FRAMING"
TRIM AND ACCESSORIES
METAL trim - corner bead, casing bead, shadow molding, gypsum edge trim | LF | 514.77 | 15% | 77.2155 | 591.9855 | trim stick 10 ft | 60 | Partition Takeoff trim column + Ceilings & Soffits corner bead + the gypsum edge trim of the recessed light slots. CARRIES 15% WASTE because it is METAL trim cut to length, the same as track - not a box item.
PVC trim - edge trim molding and inside corner molding at the FRP | LF | 4 | 6% | 0.24 | 4.24 | trim stick 10 ft | 1 | SPLIT OUT 11-Oct-2026. These two were riding inside the metal trim line and taking 15%. They are PVC, not metal - 3/A08.01 RESTROOM FRP/TILE DETAIL and 5 and 7/A08.01 label them "PVC EDGE TRIM MOLDING" and "PVC INSIDE CORNER TRIM MOLDING" - so under the standing rule they take the same percentage as the board, 6%. Today the difference is pennies (4.00 LF carried, the mop sink run still PENDING), but mixing two waste classes in one row is how the error grows silently the day the PENDING figure comes in.
Power-driven fasteners and duct sleeves | pcs | 239 |  |  | 239 | each | 239 | 4/A12.01: "POWER DRIVEN FASTENERS @ 2'-0" O.C. ALTERNATING SIDES AND WITHIN 3" OF EACH END OF TRACK"
Blocking FRT / 2X FRT wood | LF | 593.2 | 6% | 35.592 | 628.792 | LF | 793 | Accessory by accessory, each one its own length + 8" bearing each side (A08.01 sheet note E), plus the roof-hatch ladder blocking of 3/A09.30, plus the MILLWORK BLOCKING block of Other Scope: MW11 (13.50 LF) and the second MW06A (8.22 LF), the two that the wall-by-wall sweep could not pick up
Acoustical sealant | LF | 1002.98 | 6% | 60.1788 | 1063.1588 | tube | 113 | Partition Takeoff. Converted to tubes at the coverage set on Inputs. WASTE 11-Oct-2026: carried at 6%. It is a LENGTH measured off the plan, run by run, not a yield figure, and the standing rule says everything that is not metal takes the same percentage as the board. Before today it carried none, which is why it was the only plan-measured material in the book buying exactly its net.
Access panel 2'x2' | pcs | 1 |  |  | 1 | each | 1 | A04.01 key note 4: "2' X 2' LOCKING ACCESS PANEL. KEYED TO MATCH MAIN ENTRY" - marker only in Vestibule 100
5/8" FRT plywood at canopy column wraps | SF | 255.5 | [5 empty] | 5/A09.25 '5/8" EXTERIOR GRADE FRT PLYWOOD' en column wraps (220.5 SF del arbitraje; se usan los 255.5 SF que la referencia ya tenía medidos como board)
3/4" FRT plywood at storefront piers | SF | 327.2 | [5 empty] | 1,2/A09.25 '3/4" FRT PLYWOOD' en piers
Sealant at base of gypsum (exterior, not acoustical) | LF | 217.6 | [5 empty] | 5/A09.26, 9 y 12/A09.27 'SEALANT AT BASE OF GYPSUM' - renglón aparte
Stud blocking 362CR22 at edge of gypboard (4/S5.20) | LF | 201
TAPING, FASTENERS AND INSTALLATION ACCESSORIES
Drywall screws 1-1/4" bugle head | pcs | 20239.2957 |  |  | 20239.2957 | each | 20240 | RENDIMIENTO, no viene del plano: screws por SF de board, celda B20 de Inputs. Por defecto 1.2/SF, que es lo que da GA-216 con campo a 12" O.C. y perimetro a 8" sobre framing a 16" O.C. Aplica al board interior (regular + W.R. + 3/8")
Framing screws, pan head self-drilling | pcs | 2996 |  |  | 2996 | each | 2996 | RENDIMIENTO: screws por pieza de stud, celda B21 de Inputs. Por defecto 4 = 2 por union stud-track en cada extremo
Power-driven fasteners, slab pins for the bottom track | pcs | 403.246 |  |  | 403.246 | each | 404 | RENDIMIENTO: espaciamiento de los pines, celda B22 de Inputs. Por defecto 2 ft, que es lo que pide 4/A12.01: "POWER DRIVEN FASTENERS @ 2'-0" O.C. ALTERNATING SIDES". Solo el bottom track; el top va atornillado a la estructura
Joint compound, all purpose | lb | 1214.3577 |  |  | 1214.3577 | lb | 1215 | RENDIMIENTO: libras por SF de board, celda B23 de Inputs. Por defecto 0.072 = 72 lb por cada 1,000 SF, el consumo tipico de un acabado nivel 4
Joint tape, paper | LF | 6240.4495 |  |  | 6240.4495 | LF | 6241 | RENDIMIENTO: LF de tape por SF de board, celda B24 de Inputs. Por defecto 0.37 = 370 LF por cada 1,000 SF
Every figure above is a formula. Nothing on this sheet is typed in.
The five accessory lines are YIELDS, not drawing quantities: they are marked DERIVED, each one names the yield it used, and the yield lives in a yellow Inputs cell so you can set your own.